Components

|  | Component | Brand | Part # | Cost (USD) |
| --- | --- | --- | --- | --- |
| Materials | ASA 1.75 mm filament | Polymaker |  | 2.33 |
|  | Transparent PETG 1.75 mm filament | Overture |  | 0.02 |
|  | TPU 1.75 mm filament Polycarbonate sheet M2.5 10 mm set screw 5x M2 x 4 x 3.5 inserts | Overture Zonon McMaster-Carr HELIFOUNER |  | 0.17 0.02 0.36 0.40 |
|  | 3x M2 x 18 mm screws | McMaster-Carr |  | 0.33 |
|  | 6x M2 x 10 mm screws Cyanoacrylate glue | McMaster-Carr GH1200 |  | 1.49 0.04 |
| Electronics | 26 AWG wire | DAOKI |  | 0.08 |
|  | 8.2 ohm resistor 63/37 solder Heat shrink tubing | CHANZON Kester DHOOZ |  | 0.05 0.02 0.02 |
|  | Micro-Lipo charger USB Type C | Adafruit | 4410 | 5.95 |
|  | 5 mm light-emitting diode | QT Brightek | QBL8IW15C-WW | 0.44 |
|  | 400 mAh 3.7 V battery | Adafruit | 3898 | 6.95 |
|  | PWM dimmer | ICStation | GY20784-1 | 3.91 |
| Optics | 4x 12.7 x 18 mm mirrors | Edmund Optics | 83-535 | 62.00 |
|  | 15 mm Dia. x 30 mm FL planoconvex lens | Edmund Optics | 23-085 | 27.50 |
|  | 2x 12.7mm Dia. x 500 mm FL biconvex lenses | Eksma Optics | 111-0152E | 34.00 |
|  | SK6 diaphragm | ViaGasaFamido |  | 10.28 |
| Accessories | Glasses strap | SHINKODA |  | 0.90 |
|  | Ergo Fit Nose Pad | Surgitel | 26905-1-3-8 | 25.00 |
|  |  | Total |  | 182.26 |

Tools

| Tool | Brand |  | Cost (USD) |
| --- | --- | --- | --- |
| X1-Carbon 3D Printer with AMS File set Deburring tool X-ACTO knife #1 Micro hand drill Hexagon screwdriver 1.3 mm Slotted and Philips screwdriver set Heat press insert tip M2 Tweezer nose pliers Lexan scissors Wire cutter and stripper Air blower FX888D-23BY digital soldering station Lighter | Bambu Lab Mudder AFA Tooling X-ACTO Craft911 Wera Wiha Virtjoule Xuron Hobbypark DOWELL JJC Hakko BIC |  | 1449 2.66 14.99 5.99 12.99 8.32 25.45 8.95 17.03 9.97 6.99 7.99 133.62 3.25 |
|  | Total |  | 1707.20 |