Supporting Information

miR-Cabiner: A universal microRNA sensing platform based on self-stacking cascaded bicyclic DNA circuit-mediated CRISPR/Cas12a

Ruijia Deng,a Jing Sheng,a Zuowei Xie,a Hongzhao Yang,a Sha Yang,b Shuang Xie,a Xiaoqi Tang,a Shuang Zhao,a Haohao Dong,d,* Ming Chen,a,c,* Kai Chang,a,*

Fig S1. The MFE proxy structure and free energy of the secondary structure of the four hairpins and the products at 37 ℃.

Fig S2. Validation of the feasibility of bicyclic DNA circuit through hairpin exclusion experiment. Lane 1: Bicyclic DNA circuit without H3 and H4 + miR-21; Lane 2: Bicyclic DNA circuit without H1 and H2 + miR-21; Lane 3: Bicyclic DNA circuit without miR-21; Lane 4: Bicyclic DNA circuit without H1 + miR-21; Lane 5: Bicyclic DNA circuit without H2 + miR-21; Lane 6: Bicyclic DNA circuit without H3 + miR-21; Lane 7: Bicyclic DNA circuit without H4 + miR-21; Lane 8: Bicyclic DNA circuit + miR-21.

Fig S3. Row fluorescence spectra of miR-Cabiner with response to varying concentrations of miR-21 (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S4. Linear analysis of traditional CHA-HCR. The linear range was from 1 pm to 10 nm while the limit of detection (LOD) was determined to be 2 pm based on the 3σ/slope calculation method. The data are expressed as mean ± SD (n = 3). The relative standard deviation ranged from 1.44% to 13.40% (Table S3).

Fig S5. Row fluorescence spectra of the traditional CHA-HCR with response to varying concentrations of miR-21 (0, 0.001, 0.01, 0.1, 1, 10 nm).

Fig S6. Row fluorescence spectra of the CHA-Cas system with response to varying concentrations of miR-21 (0, 0.0001, 0.001, 0.01, 0.1, 1 nm).

Fig S7. Row fluorescence spectra of the HCR-Cas system with response to varying concentrations of miR-21 (0, 0.0001, 0.001, 0.01, 0.1, 1 nm).

Fig S8. Kinetic study of miR-Cabiner with response to varying concentrations of miR-130a (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S9. Kinetic study of miR-Cabiner with response to varying concentrations of miR-10b (0, 0.0001, 0.001, 0.01, 0.1, 1 nm).

Fig S10. Kinetic study of miR-Cabiner with response to varying concentrations of miR-21 (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S11. Kinetic study of miR-Cabiner with response to varying concentrations of miR-1285 (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S12. Row fluorescence spectra of Fig. 5D. Response of miR-Cabiner to different concentrations of miR-130a. (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S13. Row fluorescence spectra of Fig. 5D. Response of miR-Cabiner to different concentrations of miR-10b. (0, 0.0001, 0.001, 0.01, 0.1, 1 nm).

Fig S14. Row fluorescence spectra of Fig. 5D. Response of miR-Cabiner to different concentrations of miR-1285. (0, 0.0001, 0.001, 0.01, 0.1 nm).

Fig S15. (A) Linear relationship between the Ct and the logarithm of the concentrations of miR-130a (1 fm, 10 fm, 100 fm, 1 pm, 10 pm, 100 pm, 1 nm and 10 nm). The data are expressed as mean ± SD (n = 3). (B) Real-time fluorescence detection of miR-130a from different samples by RT- qPCR. (Con, Control groups; BC, Breast cancer groups; FB, Fibroadenoma of breast; BN, Breast nodule.)

Fig S16. (A) Linear relationship between the Ct and the logarithm of the concentration of miR-10b (1 fm, 10 fm, 100 fm, 1 pm, 10 pm, 100 pm, 1 nm and 10 nm). The data are expressed as mean ± SD (n = 3). (B) Real-time fluorescence detection of miR-130a from different samples by RT-qPCR.

Fig S17. (A) Linear relationship between the Ct and the logarithm of the concentration of miR-21 (1 fm, 10 fm, 100 fm, 1 pm, 10 pm, 100 pm, 1 nm and 10 nm). The data are expressed as mean ± SD (n = 3). (B) Real-time fluorescence detection of miR-130a from different samples by RT- qPCR.

Fig S18. (A) Linear relationship between the Ct and the logarithm of the concentrations of miR-1285 (1 fm, 10 fm, 100 fm, 1 pm, 10 pm, 100 pm, 1 nm and 10 nm). The data are expressed as mean ± SD (n = 3). (B) Real-time fluorescence detection of miR-130a from different samples by RT- qPCR.

Table S1. Relative standard deviation (RSD) of optimizing conditions.

| Different conditions | Concentration/ Time Concentration/ Temperature | Relative standard deviation (RSD, %) |  |
| --- | --- | --- | --- |
| Concentration of H1 (nm) | 100 | 4.51 |
|  | 200 | 3.95 |
|  | 300 | 3.74 |
|  | 400 | 3.42 |
|  | 500 | 10.92 |
| HCR time (min) | 20 | 4.80 |
|  | 30 | 7.39 |
|  | 40 | 3.18 |
|  | 50 | 9.52 |
|  | 60 | 4.24 |
| Concentration of Na+ (nm) | 0 | 1.98 |
|  | 300 | 3.40 |
|  | 400 | 1.76 |
|  | 500 | 3.44 |
|  | 600 | 34.94 |
|  | 700 | 1.88 |
| Concentration of Mg2+ (nm) | 0 | 16.33 |
|  | 10 | 5.22 |
|  | 20 | 10.16 |
|  | 30 | 4.33 |
|  | 40 | 1.16 |
|  | 50 | 3.66 |
| Concentration of Cas12a (nm) | 10 | 3.60 |
|  | 25 | 1.64 |
|  | 50 | 2.12 |
|  | 100 | 3.73 |
|  | 150 | 4.99 |
|  | 200 | 5.58 |

Table S2. Relative standard deviation (RSD) of miR-Cabiner linear regression of miR-21.

| Concentration of miRNA-21 (nm) | Relative standard deviation (RSD, %) |
| --- | --- |
| 1 | 2.91 |
| 0.5 | 1.44 |
| 0.1 | 4.72 |
| 0.05 | 10.20 |
| 0.01 | 10.08 |
| 0.005 | 13.40 |
| 0.001 | 5.33 |
| 0.0005 | 3.98 |

Table S3. Relative standard deviation (RSD) of Fig S3.

| Concentration of miRNA-21 (nm) | Relative standard deviation (RSD, %) |
| --- | --- |
| 10 | 13.21 |
| 5 | 1.92 |
| 1 | 2.42 |
| 0.5 | 19.17 |
| 0.1 | 3.56 |
| 0.05 | 1.80 |
| 0.01 | 9.35 |
| 0.005 | 4.75 |
| 0.001 | 1.70 |
| 0.0005 | 11.36 |

Table S4. Comparison with other methods for miRNA detection through CRISPR/Cas12a in the last five years.

| Method | Linear Range | Amplification Step |  | Lod | Other target miRNA | Ref |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EM-CRISPR | 10 pm - 1 nm | No | 10 pm |  | No |  | [40] |
| Naked-EyeCRISPR | - | Yes | 500 fm |  | No |  | [41] |
| CTSDR-Cas12a | 100 fm - 100 pm | No | 72.8 fm |  | No |  | [21] |
| SAHARA | 25 nm - 10 fm | No | 767 pm |  | Yes |  | [42] |
| BPTC | 1 pm - 10 nm | Yes | 50 fm |  | Yes |  | [43] |
| PCDetection | 50 fm - 100 pm, | Yes | 50 fm |  | Yes |  | [44] |
| miR-Cabiner | 100 fm - 100 pm | Yes | 34.96 fm |  | Yes |  | This work |

EM-CRISPR: CRISPR/Cas13a-Powered Electrochemical Microfluidic Biosensor;

Naked-EyeCRISPR: a platform that can complete the naked-eye gene detection based on CRISPR and the aggregation behavior of AuNPs-DNA probes pair;

CTSDR-Cas12a: a cascade toehold-mediated strand displacement reaction;

SHARA: split activator for highly accessible RNA analysis;

BPTC: a bis-enzyme cascade platform by combining T7 RNA polymerase and CRISPR-Cas12a; PCDetection: a polyA-CRISPR/Cas12a-based miRNA detection system.

Table S5. Sequence of oligonucleotides used in miR-Cabiner for miRNA detection.

| Oligonucleotides | Sequence (5'-3') |
| --- | --- |
| H1 | TCAACATCAGTCTGATAAGCTACTACAACTGGCGGGGTAGCTTATCAGAC |
| H2 | TAAGCTACCCCGCCAGTTGTAGTAGCTTATCAGACTCTACAACTGGCGGGGAAAA |
| H3 | CTGGCGGGGAAAAGGAAGTTTCCCCGCCAGTTGTAG |
| H4 | CTTCCTTTTCCCCGCCAGCTACAACTGGCGGGGAAA |
| H4t | CTTCC/i6FAMdT/TTTCCCCGCCAGCTACAACTGGCGGGGAAA-3’BHQ1 |
| H1b | TCAACATCAGTCTGATTTGCTACTCCAAATGGCGGGGTAGCAAATCAGAC |
| H2b | TTTGCTACCCCGCCATTTGGAGTAGCAAATCAGACTCTCCAAATGGCGGGGAAAA |
| H1c | AGTCTAGGAAACTGCGTGGGTTAATCAACATCAGTCTGATAAGCTATTAACC |
| H2c | TTAACCAACGCAGTTTCCTAGACTCAGTGTAGTCTAGGAAACTGCGT |
| H3c | AGTCTAGGAAACTGCGTTGGTTAAACGCAGTTTCCTAGACTACACTG |
| aH1-130a | AGTAGCACAATGTGAAAAGAGCCTACAACTGGCGGGGGCTCTTTTCACAT |
| aH2-130a | AAAGAGCCCCCGCCAGTTGTAGGCTCTTTTCACATTCTACAACTGGCGGGGAAAA |
| aH1-10b | CACAAATTCGGTTCTACAGGGTACTACAACTGGCGGGGTACCCTGTAGAAC |
| aH2-10b | CAGGGTACCCCGCCAGTTGTAGTACCCTGTAGAACCCTACAACTGGCGGGGAAAA |
| aH1-1285 | AGGTCTCACTTTGTTGCCCAGACTACAACTGGCGGGGTCTGGGCAACAAA |
| aH2-1285 | GCCCAGACCCCGCCAGTTGTAGTCTGGGCAACAAAGCTACAACTGGCGGGGAAAA |
| miR-21 | UAGCUUAUCAGACUGAUGUUGA |
| bmiR-21-M1 | UAGCUUAUGAGACUGAUGUUGA |
| bmiR-21-M2 | UAGCUUAUGAGAGUGAUGUUGA |
| bmiR-21-M3 | UAGCUUAUGAGACUCAUGUUGA |
| bmiR-21-M4 | UAGCUUAUGAGAGUGAUCUUGA |
| bmiR-130a | GCUCUUUUCACAUUGUGCUACU |
| bmiR-130a-M1 | GCUCUUUUGACAUUGUGCUACU |
| bmiR-130a-M2 | GCUCUUUUGACAAUGUGCUACU |
| bmiR-130a-M3 | GCUCUUUUGACAUUCUGCUACU |
| bmiR-130a-M4 | GCUCUUUUGACAAUCUGCUACU |
| bmiR-10b | UACCCUGUAGAACCGAAUUUGUG |
| bmiR-10b-M1 | UACCCUGUUGAACCGAAUUUGUG |
| bmiR-10b-M2 | UACCCUGUUGAAGCGAAUUUGUG |
| bmiR-10b-M3 | UACCCUGUUGAACCCAAUUUGUG |
| bmiR-10b-M4 | UACCCUGUUGAACCCAAAUUGUG |
| bmiR-1285-5p | UCUGGGCAACAAAGUGAGACCU |
| bmiR-1285-M1 | UCUGGGCAUCAAAGUGAGACCU |
| bmiR-1285-M2 | UCUGGGCAUCAAUGUGAGACCU |
| bmiR-1285-M3 | UCUGGGCAUCAAAGAGAGACCU |
| bmiR-1285-M4 | UCUGGGCAUCAAAGAGACACCU |
| miR-203 | GUGAAAUGUUUAGGACCACUAG |
| let-7a | UGAGGUAGUAGGUUGUAUAGUU |
| miR-200b | UAAUACUGCCUGGUAAUGAUGAC |
| miR-429 | UAAUACUGUCUGGUAAAACCGU |
| ccrRNA | UAAUACGACUCACUAUAGGGUAAUUUCUACUAAGUGUAGAUCUAGACUACACUGAGUCUAG |
| ccrRNA-b | UAAUACGACUCACUAUAGGGUAAUUUCUACUAAGUGUAGAUUACUCCAAAUGGCGGGGUAG |
| ccrRNA-c | UAAUACGACUCACUAUAGGGUAAUUUCUACUAAGUGUAGAUCUAGACUACACUGAGUCUAG |
| reporter | 5’FAM-TTATT-3’BHQ |
| miR-130a-F | GCGCTCACGCTCTTTTCACAT |
| miR-130a-R | ATCCAGTGCAGGGTCCGAGG |
| miR-130a-RT | GTCGTATCCAGTGCAGGGTCCGAGGTATTCGCACTGGATACGACAGTAGC |
| miR-10b-F | ACGACGTACCCTGTAGAACCGA |
| miR-10b-R | ATCCAGTGCAGGGTCCGAGG |
| miR-10b-RT | GTCGTATCCAGTGCAGGGTCCGAGGTATTCGCACTGGATACGACCACAAA |
| miR-21-F | GCGCGTAGCTTATCAGACTGA |
| miR-21-R | ACTCAGTGCAGGGCTCGAGG |
| miR-21-RT | GTCGTATCCAGTGCAGGGTCCGAGGTATTCGCACTGGATACGACTCAACA |
| miR-1285-F | GCGCGGATCTCACTTTGTTG |
| miR-1285-R | ATCCAGTGCAGGGTCCGAGG |
| miR-1285-RT | GTCGTATCCAGTGCAGGGTCCGAGGTATTCGCACTGGATACGACCCTGGG |
| U6F | AGAGAAGATTAGCATGGCCCCTG |
| U6R | ATCCAGTGCAGGGTCCGAGG |
| U6RT | GTCGTATCCAGTGCAGGGTCCGAGGTATTCGCACTGGATACGACAAAATA |

a) The altered sequences of the CHA hairpins are highlighted in bold.

b) The mismatched bases used for the test of specificity are in red font.

c) Underlined characters represent spacer sequence of crRNA.