| Biopsy needle name | Companye | Country | Puncture sheath specifications(G) | Needle core specifications(G) | Needle core length(cm) | Needle type | Puncture needle structure |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Meriton | Merrion Medical Equipment Co., Ltd. | USA | 17 | 18 | 14.5 | Cutting needle | Coaxial biopsy needle |
| Jiali | Jiali Co., Ltd. | China | 17 | 18 | 11 | Cutting needle | Coaxial biopsy needle |
| Lipu | Suzhou Lipu Medical Technology Co., Ltd. | China | 17 | 18 | 14 | Cutting needle | Coaxial biopsy needle |
| Bard | Bard Peripheral Vascular, Inc. | USA | 17 | 18 | 17.8 | Cutting needle | Coaxial biopsy needle |
| Biopince | Argon Medical Devices，Inc | USA | 17 | 18 | 15 | Cutting needle | Coaxial biopsy needle |