Distribution characteristics of per- and polyfluoroalkyl substances (PFASs) in human urines of acrylic fiber plant and chemical plant

Lin Peng1 , Wang Xu2, Qinghuai Zeng2, Yao Cheng1, Yingjie Zhang1, Ying Guo1, Da Chen1, Chao Jiang3 *, and Fei Wang1 *

1School of Environment, Guangdong Key Laboratory of Environmental Pollution and Health, Jinan University, Guangzhou 510632, China

2Shenzhen Environmental Monitoring Center, Shenzhen 518049, Guangdong, China

3The 2nd Hospital of Heilongjiang Province, Heilongjiang, China

* Corresponding author.   Tel: +86-18898607769; E-mail address: feiwang1984@gmail.com.

# These authors contributed equally to this work.

NO. OF TABLES:   3

Table S1

Summary of the demographic characteristics for workers

| Source of samples | Matrix | Age group | female |  | male |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Age: mean(range) | Number | Age: mean(range) | Number |
| Acrylic fiber plant | urine | ≤10a | 7.5(5-10) | 2 | 7.6(5-10) | 11 |
|  |  | 11-20 | 14(11-17) | 2 | 16(12-20) | 15 |
|  |  | 21-30 | 26.8（21-30） | 25 | 28（22-30） | 75 |
|  |  | ≥31 | 31.3(31-32) | 4 | 32.6(31-39) | 31 |
| Chemical plant | urine | ≤40b | 30.6(27-40) | 12 | 33.2(27-39） | 16 |
|  |  | 41-50 | 46.6(41-50) | 20 | 47.2(41-50) | 39 |
|  |  | ≥51 | 52.3(51-55) | 4 | 57.5(51-56) | 49 |
| Total |  |  |  | 69 |  | 236 |

a This figure represents the total working age of the workers

b This number represents the age of the workers

Table S2

The details for the MRM parameter.

| Compounds | Precursor ion (m/z) | Qualitative and quantitative ions (m/z) | declustering potential (DP/(V)) |  | Entrance potential (EP/(V)) |  | Collision energy (CE/(V)） |  | Collision exit potential (CXP/(V)) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PFBA | 213 | 169 | -60 | -12 |  | -16 |  | -10 |  |
| PFPeA | 263 | 219 | -40 | -12 |  | -12 |  | -10 |  |
| PFHxA | 313 | 269 | -40 | -12 |  | -12 |  | -10 |  |
| PFHpA | 363 | 319 | -40 | -12 |  | -13 |  | -10 |  |
| PFOA | 413 | 369 | -40 | -12 |  | -14 |  | -10 |  |
| PFNA | 463 | 419 | -40 | -12 |  | -15 |  | -10 |  |
| PFDA | 513 | 469 | -40 | -12 |  | -16 |  | -10 |  |
| PFUdA | 563 | 519 | -40 | -12 |  | -17 |  | -10 |  |
| PFDoA | 613 | 569 | -40 | -12 |  | -17 |  | -10 |  |
| PFTrDA | 663 | 619 | -40 | -12 |  | -20 |  | -10 |  |
| PFTeDA | 713 | 669 | -40 | -12 |  | -20 |  | -10 |  |
| PFBS | 299 | 99 | -40 | -12 |  | -37 |  | -10 |  |
| PFHxS | 399 | 99 | -60 | -12 |  | -73 |  | -10 |  |
| PFHpS | 449 | 99 | -60 | -12 |  | -90 |  | -10 |  |
| PFOS | 499 | 99 | -60 | -12 |  | -90 |  | -10 |  |
| PFDS | 599 | 99 | -40 | -12 |  | -105 |  | -10 |  |

Table S3 The details for the standard curve of PFASs.

| Compounds | Internal Standard | Regression equation | R2 | LOD* （S/N=3:1） | linear range（ug/L） |
| --- | --- | --- | --- | --- | --- |
| PFBA | MPFBA（13C4） | Y=1.4e3x+1.56e4 | 0.9907 | 0.938 | 0.2-100 |
| PFPeA | MPFHxA（13C2） | Y=4.61e3x+5.21e3 | 0.9917 | 0.041 | 0.2-100 |
| PFHxA | MPFHxA（13C2） | Y=1.25e5x+1.86e4 | 0.9985 | 0.124 | 0.2-100 |
| PFHpA | MPFOA（13C4） | Y=6.18e4x+4.74e4 | 0.9985 | 0.179 | 0.2-100 |
| PFOA | MPFOA（13C4） | Y=3.53e5x+2.62e4 | 0.9996 | 0.067 | 0.2-100 |
| PFNA | MPFNA（13C5） | Y=2.07e3x+3.09e3 | 0.9991 | 0.400 | 0.2-100 |
| PFDA | MPFDA（13C2） | Y=5.41e3x+2.02e3 | 0.9999 | 0.571 | 0.2-100 |
| PFUdA | MPFUdA（13C2） | Y=5.41e4x+1.52e4 | 0.9956 | 0.103 | 0.2-100 |
| PFDoA | MPFDoA（13C2） | Y=1.44e4x+3.37e4 | 0.9946 | 0.019 | 0.2-100 |
| PFTrDA | MPFDoA（13C2） | Y=8.72e3x+1.49e3 | 0.9999 | 0.012 | 0.2-100 |
| PFTeDA | MPFDoA（13C2） | Y=1.61e3x+1.24e3 | 0.9998 | 0.026 | 0.2-100 |
| PFODA | MPFDoA（13C2） | Y=9.13e4x+1.15e5 | 0.9989 | 0.019 | 0.2-100 |
| PFBS | MPFHxS（18O2） | Y=6.92e3x+2.59e3 | 0.9999 | 0.045 | 0.2-100 |
| PFHxS | MPFHxS（18O2） | Y=1.66e3x+410 | 0.9996 | 0.545 | 0.2-100 |
| PFHpS | MPFHxS（18O2） | Y=696x+636 | 0.9996 | 0.667 | 0.2-100 |
| PFOS | MPFOS（13C4） | Y=1.18e5x+1.31e4 | 0.9979 | 0.079 | 0.2-100 |
| PFDS | MPFOS（13C4） | Y=5.85e3x+802 | 0.9999 | 0.091 | 0.2-100 |

*LOD = Limit of detection