Complementary methodology

## Supplementary Table 1. Sialochemical analysis description

| Analyze | Method | Sensitivity | Linearity | Kit code |
| --- | --- | --- | --- | --- |
| ALT | Ultraviolet Kinetic | 0,998 U/L | 400 U/L | K049 |
| AST | Ultraviolet Kinetic | 2,847 U/L | 400 U/L | K048 |
| Calcium | Endpoint Colorimetric Arsenazo III | 0,074 mg/dL | 20 mg/dL | K051 |
| Phosphorus | Endpoint ultraviolet | 0,11 mg/dL | 15 mg/dL | K068 |
| Triglycerides | Trinder Enzymatic | 2,58 mg/dL | 900 mg/dL | K117 |
| Urea | Fixed time kinetics | 1,51 mg/dL | 300 mg/dL | K056 |

GOD = glucose oxidase; IFCC = International Federation of Clinical Chemistry. Observations: the term Quantification Limit (LOQ) can also be used instead of sensitivity.

Supplementary Table 2. Individual use (OG) (n =11)

| Subjects | Min. Ox. (mg/kg/dia) | Max. Ox. (mg/kg/dia) | Weight (kg) | Weeks |
| --- | --- | --- | --- | --- |
| 1 | 0,75 | 1,00 | 80 | 7 |
| 2 | 0,73 | 0,73 | 82 | 9 |
| 3 | 0,39 | 0,39 | 103 | 9 |
| 4 | 0,47 | 0,47 | 85,5 | 7 |
| 5 | 0,47 | 0,47 | 84,6 | 7 |
| 6 | 0,50 | 0,50 | 80 | 7 |
| 9 | 0,51 | 0,51 | 79 | 4,5 |
| 8 | 0,56 | 0,56 | 72 | 6 |
| 9 | 0,24 | 1,20 | 83,5 | 4 |
| 10 | 0,16 | 0,66 | 122 | 12 |
| 11 | 0,06 | 0,45 | 88,4 | 8 |

Ox: oxandrolone; min: minimum; max: maximum. Calculations based on volunteers' self-report.

Supplementary Table 3. Comparison - HDL and Triglycerides stratified by time of use in weeks

| U Mann-Whitney test | Median 4 to 7 (n=4) | Median 7,5 to 12 (n=7) | p value |
| --- | --- | --- | --- |
| HDL T1 | 8,25 | 4,71 | 0,10 |
| HDL T2 | 4,50 | 6,86 | 0,31 |
| HDL T3 | 7,75 | 5,00 | 0,23 |
| Triglycerides T1 | 5,13 | 6,50 | 0,52 |
| Triglycerides T2 | 7,75 | 5,00 | 0,23 |
| Triglycerides T3 | 6,25 | 5,83 | 0,92 |

| Correlation Blood x Saliva (three replicates) r value |  |  | r value |
| --- | --- | --- | --- |
| Blood x Saliva Triglycerides T1 | 0,31 | Blood x Saliva Calcium T1 | 0,01 |
| Blood x Saliva Triglycerides T2 | -0,43 | Blood x Saliva Calcium T2 | -0,30 |
| Blood x Saliva Triglycerides T3 | -0,28 | Blood x Saliva Calcium T3 | 0,16 |
| Blood x Saliva Urea T1 | 0,53 | Blood x Saliva Phosphorus T1 | -0,50 |
| Blood x Saliva Urea T2 | 0,05 | Blood x Saliva Phosphorus T2 | 0,12 |
| Blood x Saliva Urea T3 | 0,47 | Blood x Saliva Phosphorus T3 | -0,25 |
| Blood x Saliva AST T1 | -0,06 | Blood x Urine Testosterone T1 | -0,46 |
| Blood x Saliva AST T2 | 0,18 | Blood x Urine Testosterone T2 | 0,46 |
| Blood x Saliva AST T3 | 0,01 | Blood x Urine Testosterone T3 | 0,52 |
| Blood x Saliva ALT T1 | 0,00 |  |  |
| Blood x Saliva ALT T2 | -0,17 |  |  |
| Blood x Saliva ALT T3 | -0,28 |  |  |

Supplementary Table 4. Spearman’s correlation matrix between blood, salivary, and urine variables for OX Group

Supplementary Text 1. Urine collection and AAS Screening

Samples were processed according to Campos et al. (2005) [82], with modifications. To 500 μL of urine were added 20 μL of internal standard (testosterone-d3; 1 μg/mL), 440 μL of 0.2 M ammonium acetate buffer (pH 6.8), and 40 μL of β-glucuronidase enzyme (200 U). The mix was vortexed for 30 seconds and incubated at 55 °C for 60 minutes. At the end of hydrolysis, liquid-liquid extraction was performed by adding 800 μL of methyl tert-butyl ether, followed by centrifugation at 3500 rpm for 10 minutes. After centrifugation, 600 μL of organic phase was collected, evaporated under nitrogen flow at 40 ºC, and resuspended in 50 μL of methanol-water. Aliquots of 30 μL were injected into a system formed by a Prominence UFLC liquid chromatograph (Shimadzu, Kyoto, Japan) equipped with two binary pumps (LC-30AD, Shimadzu, Kyoto, Japan), a column oven (CTO-20A, Shimadzu, Kyoto, Japan), and an automatic injector (SIL-20A, Shimadzu, Japan). The UHPLC system is integrated with a micrOTOF-Q™ III mass spectrometer (Bruker Corporation, Billerica, MA), and data were processed using Data Analysis and HyStar™ software (Bruker Corporation, Billerica, MA). Chromatographic elution was performed on a 75 × 2.0 mm i.d., 2.2 µm column, Shim-pack XR-ODS II (Shimadzu, Kyoto, Japan), eluted with a water gradient (Solution A) and acetonitrile (Solution B), both solutions supplemented with 0,1% formic acid at 400 µL/min flow rate at 45 °C under the following conditions: 0–2.5 min, 40–100% of B; 2.5–3.5 min, 100% of B; 3.5–3.6 min, 100–40% of B; 3.6–5 min, 40% of B. Total running time was 5 minutes. Mass spectra were obtained in positive mode (ESI+, [M+H]+) using the following optimized parameters: capillary energy, 5500 V; nebulizer gas, 3 bar; drying gas, 6 L/min; temperature, 200 °C; quadrupole energy, 10 eV; hexapole radio frequency, 200 Vpp; and acquisition frequency, 1 Hz. The system was calibrated with ammonium formate solution, and the exclusion mass error adopted was 5 ppm. Monitoring was done in 50–600 m/z for retroactive data analysis. Calibration curves were constructed at 1–1000 ng.mL-1 for 3-hydroxystanozolol (m/z 345.43), 16-β-hydroxystanozolol (m/z 345.43), 17-α-methyl 5-α-androstane-3-α-17-β-diol (m/z 289.16), androsterone (m/z 273.01), boldenone (m/z 287.32), epitestosterone (m/z 289.29), etiocolanolone (m/z 273.00), fluoxymesterone (m/z 337.38), methenienone (m/z 301.37), methenolone (m/z 303.38), methyltestosterone (m/z 303.32), nandrolone (m/z 275.32), norethiocolocolanolone (m/z 277.25), oxymesterone (m/z 319.32), oxandrolone (m/z 307.22), and testosterone (m/z 289.24).