Table 1. Polyclonal antibodies potency assay in immunized mice

| Dilution multiple | Polyclonal antibodies titer |  |  |  |
| --- | --- | --- | --- | --- |
|  | NO.1 | NO.2 | NO.3 |
| 2.0×102 | 3.011 | 2.702 | 2.263 |
| 4.0×102 | 2.223 | 2.032 | 1.652 |
| 8.0×102 | 1.581 | 1.673 | 1.227 |
| 1.6×103 | 1.332 | 1.231 | 0.746 |
| 3.2×103 | 0.880 | 0.937 | 0.689 |
| 6.4×103 | 0.439 | 0.535 | 0.336 |
| 1.28×104 | 0.214 | 0.193 | 0.179 |
| negative control | 0.098 | 0.096 | 0.093 |
| blank control | 0.074 | 0.072 | 0.071 |
| IC50 (μg/kg) | 36.60 | 38.41 | 41.32 |

Table 2. Square-array titration to determine coating concentration of the guanidine acetic acid-OVA and the dilution of the anti-guanidine acetic acid mAb

| Dilution of anti-GAA mAb | Coating concentration of GAA-OVA (μg/mL) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 8.0 | 6.0 | 4.0 | 2.0 | 1.0 | 0.5 |
| 1.0×103 | 3.298 | 2.785 | 2.466 | 2.201 | 1.803 | 1.225 |
| 2.0×103 | 2.757 | 2.312 | 2.162 | 2.016 | 1.461 | 0.748 |
| 4.0×103 | 2.566 | 2.186 | 1.805 | 1.638 | 1.257 | 0.635 |
| 8.0×103 | 2.417 | 1.941 | 1.504 | 1.324 | 1.106 | 0.594 |
| 1.6×104 | 2.063 | 1.623 | 1.202 | 1.105 | 0.839 | 0.426 |
| 3.2×104 | 1.774 | 1.375 | 1.009 | 0.941 | 0.672 | 0.307 |
| 6.4×104 | 1.590 | 1.191 | 0.843 | 0.790 | 0.343 | 0.188 |
| negative control | 0.092 | 0.088 | 0.085 | 0.087 | 0.085 | 0.081 |
| blank control | 0.075 | 0.073 | 0.071 | 0.074 | 0.069 | 0.067 |

Table 3. Accuracy and precision of indirect competitive ELISA

| Spiked GAA (μg/kg) | Intra-assay |  |  |  | Inter-assay |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mean ± SD (μg/kg) | Recovery (%) | CV (%) |  | Mean ± SD (μg/kg) | Recovery (%) | CV (%) |
| 5.0 | 4.11±0.34 | 82.2±6.8 | 8.3 |  | 4.04±0.4 | 80.8±7.8 | 9.6 |
| 10.0 | 8.56±0.56 | 85.6±5.6 | 6.5 |  | 8.35±0.6 | 83.5±6.0 | 7.2 |
| 47.0 | 44.35±2.40 | 94.4±5.1 | 5.4 |  | 43.0±2.6 | 91.5±5.4 | 5.9 |

Table 4. Cross-reactivity of indirect competitive ELISA with competitors

| Compounds | Structure | IC50 (μg/kg) | CR (%) |
| --- | --- | --- | --- |
| GAA |  | 4.65 | 100 |
| Betaine hydrochloride |  | > 500 | < 0.1 |
| Dihydropyridine |  | > 500 | < 0.1 |
| Formamidine acetate |  | > 500 | < 0.1 |
| Arginine |  | > 500 | < 0.1 |
| Sarcosine |  | > 500 | < 0.1 |

Table 5. Comparison between indirect competitive ELISA and HPLC in animal feed samples

| Guanidine acetic acid (μg/kg) in animal feed samples | Indirect competitive ELISA (μg/kg) | HPLC (μg/kg) |
| --- | --- | --- |
| 8.5 | 7.21±0.46a | 7.43±0.40a |
| 23.5 | 20.69±1.20 a | 22.06±1.0a |
| 60.5 | 54.65±2.17a | 57.48±1.36a |