Supplementary material B

Evaluating Cognitive Decline Detection in Aging Populations with Single-Channel EEG Features: Insights from Studies and Meta-Analysis

Lior Molcho†1*, Neta B. Maimon†1,2, Talya Zeimer1, Ofir Chibotero1, Sarit Rabinowicz4, Vered Armoni4, Noa Bar On4, Nathan Intrator1,3, Ady Sasson4

1 Neurosteer Inc, NYC, New York, USA

2 School of Psychological Sciences, Tel Aviv University, Tel Aviv, Israel

3 Blavatnik School of Computer Science, Tel-Aviv University, Tel-Aviv, Israel; Sagol School of Neuroscience, Tel Aviv University, Tel Aviv, Israel

4 Dorot Geriatric Medical Center, Netanya, Israel

*lior@neurosteer.com

†These authors contributed equally to this work.

# Inter-patient variability analysis

To assess inter-patient variability between the two visits in the initial study, reliability tests were conducted. Various statistical methods are commonly employed to test reliability between different EEG sessions, with one such method involving the calculation of Pearson correlation between measurements. Previous research investigated the reliability of EEG recordings during the performance of a cognitive working memory task by calculating Pearson correlations between two sessions recorded with a 7-day interval [1]. In another study, Pearson correlations indicated no statistically significant changes in the mean EEG alpha values between two sessions recorded over a 1-month period [2]. The Intraclass Correlation Coefficient (ICC) method is another approach employed to assess the reliability between two consecutive measurements. ICC values range from 0 (indicating no reliability) to 1 (indicating perfect reliability) [3]. Specifically, values below 0.4 are considered poor reliability, those between 0.4 and 0.6 are classified as moderate reliability, those between 0.6 and 0.75 are regarded as good reliability, and an ICC exceeding 0.75 is characterized as excellent reliability. This method is widely employed in EEG studies examining reliability between different sessions recorded within one [4] or several [5] weeks, and even between long-term sessions recorded five months apart [6]. In a study collecting EEG data during auditory oddball and resting state conditions at one-day, one-week, and one-month intervals, the reliability of a single-channel wireless EEG system was evaluated using the ICC method [7].

In the current study we examined the reliability between the two measurement sessions employing both methods described. Initially, we calculated Pearson correlations for each EEG feature across various cognitive tasks. Then, we calculated the ICCs for each EEG feature and frequency band during the cognitive tasks across the two sessions using the Python pingouin statistical package [8]. The pingouin.intraclass_corr function output includes six types of ICCs, which are based on three general models that can be calculated in two different ways. Here we reported ICC(2,1), which assumes each subject was assessed by the same group of randomly selected raters, and that the reliability is calculated on a single score [3].

# Inter-patient variability results

In the first study, inter-patient variability was assessed through two widely utilized methods. Initially, Pearson correlations between assessment sessions were calculated, revealing significant positive correlations across all EEG features and frequency bands during both detection and n-back tasks (refer to Tables 1-4). Subsequently, Intraclass Correlation Coefficients (ICCs) were calculated for each EEG feature and frequency band, indicating moderate to excellent reliability for n-back tasks and moderate to good reliability for detection tasks (refer to Tables 5-8).

| EEG feature | r | p |
| --- | --- | --- |
| VC9 | 0.62525 | 0.00000002 |
| A0 | 0.661526 | 0.00000000 |
| ST4 | 0.56774 | 0.00000054 |
| L1 | 0.668474 | 0.00000000 |
| T2 | 0.772572 | 0.00000000 |
| T4 | 0.757811 | 0.00000000 |
| Delta | 0.551949 | 0.00000129 |
| Theta | 0.65556 | 0.00000000 |
| Alpha | 0.592651 | 0.00000013 |
| Beta | 0.768033 | 0.00000000 |
| Gamma | 0.802094 | 0.00000000 |

Table 1. Pearson r and p values for each EEG feature and frequency band during the Detection level 1 task. Pearson correlations were calculated between the two assessment sessions in the first experiment.

| EEG feature | r | p |
| --- | --- | --- |
| VC9 | 0.583999 | 0.00000014 |
| A0 | 0.578007 | 0.00000020 |
| ST4 | 0.511148 | 0.00000719 |
| L1 | 0.637498 | 0.00000000 |
| T2 | 0.752122 | 0.00000000 |
| T4 | 0.697698 | 0.00000000 |
| Delta | 0.518347 | 0.00000506 |
| Theta | 0.616914 | 0.00000002 |
| Alpha | 0.61178 | 0.00000002 |
| Beta | 0.74739 | 0.00000000 |
| Gamma | 0.725869 | 0.00000000 |

Table 2. Pearson r and p values for each EEG feature and frequency band during the Detection level 2 task. Pearson correlations were calculated between the two assessment sessions in the first experiment.

| EEG feature | r | p |
| --- | --- | --- |
| VC9 | 0.652817 | 0.00000000 |
| A0 | 0.710004 | 0.00000000 |
| ST4 | 0.510809 | 0.00000731 |
| L1 | 0.63218 | 0.00000000 |
| T2 | 0.763395 | 0.00000000 |
| T4 | 0.784527 | 0.00000000 |
| Delta | 0.568555 | 0.00000035 |
| Theta | 0.663874 | 0.00000000 |
| Alpha | 0.690499 | 0.00000000 |
| Beta | 0.801329 | 0.00000000 |
| Gamma | 0.826915 | 0.00000000 |

Table 3. Pearson r and p values for each EEG feature and frequency band during the N-back level 0 task. Pearson correlations were calculated between the two assessment sessions in the first experiment.

| EEG feature | r | p |
| --- | --- | --- |
| VC9 | 0.60017 | 0.00000004 |
| A0 | 0.738147 | 0.00000000 |
| ST4 | 0.498513 | 0.00001124 |
| L1 | 0.525632 | 0.00000298 |
| T2 | 0.723793 | 0.00000000 |
| T4 | 0.71775 | 0.00000000 |
| Delta | 0.506235 | 0.00000779 |
| Theta | 0.58664 | 0.00000009 |
| Alpha | 0.623689 | 0.00000001 |
| Beta | 0.849989 | 0.00000000 |
| Gamma | 0.855974 | 0.00000000 |

Table 4. Pearson r and p values for each EEG feature and frequency band during the N-back level 1 task. Pearson correlations were calculated between the two assessment sessions in the first experiment.

| EEG feature | ICC(2,1) | F | df1 | df2 | pval | CI95% |
| --- | --- | --- | --- | --- | --- | --- |
| VC9 | 0.614 | 4.332 | 66 | 66 | 6.15229e-09 | [0.44, 0.74] |
| A0 | 0.613 | 4.906 | 66 | 66 | 4.14813e-10 | [0.37, 0.76] |
| ST4 | 0.568 | 3.607 | 66 | 66 | 2.46733e-07 | [0.38, 0.71] |
| L1 | 0.666 | 4.984 | 66 | 66 | 2.92041e-10 | [0.51, 0.78] |
| T2 | 0.759 | 7.57 | 66 | 66 | 1.26383e-14 | [0.63, 0.84] |
| T4 | 0.752 | 7.221 | 66 | 66 | 4.20077e-14 | [0.63, 0.84] |
| Delta | 0.542 | 3.459 | 66 | 66 | 5.47801e-07 | [0.35, 0.69] |
| Theta | 0.642 | 4.797 | 66 | 66 | 6.81182e-10 | [0.47, 0.76] |
| Alpha | 0.566 | 3.89 | 66 | 66 | 5.60872e-08 | [0.37, 0.71] |
| Beta | 0.712 | 7.622 | 66 | 66 | 1.06277e-14 | [0.45, 0.84] |
| Gamma | 0.746 | 9.059 | 66 | 66 | 1.16284e-16 | [0.48, 0.87] |

Table 5. ICC values for each EEG feature and frequency band during the detection level 1 task. ICCs were calculated between the two assessment sessions in the first experiment.

| EEG feature | ICC(2,1) | F | df1 | df2 | pval | CI95% |
| --- | --- | --- | --- | --- | --- | --- |
| VC9 | 0.575 | 3.804 | 68 | 68 | 5.67136e-08 | [0.39, 0.71] |
| A0 | 0.536 | 3.739 | 68 | 68 | 8.05428e-08 | [0.31, 0.7] |
| ST4 | 0.51 | 3.089 | 68 | 68 | 3.11713e-06 | [0.31, 0.66] |
| L1 | 0.633 | 4.517 | 68 | 68 | 1.47677e-09 | [0.47, 0.76] |
| T2 | 0.75 | 6.96 | 68 | 68 | 4.58539e-14 | [0.63, 0.84] |
| T4 | 0.675 | 5.549 | 68 | 68 | 1.28291e-11 | [0.51, 0.79] |
| Delta | 0.519 | 3.148 | 68 | 68 | 2.2047e-06 | [0.32, 0.67] |
| Theta | 0.61 | 4.22 | 68 | 68 | 6.48191e-09 | [0.44, 0.74] |
| Alpha | 0.611 | 4.132 | 68 | 68 | 1.01524e-08 | [0.44, 0.74] |
| Beta | 0.722 | 6.917 | 68 | 68 | 5.37643e-14 | [0.56, 0.83] |
| Gamma | 0.691 | 6.291 | 68 | 68 | 5.94503e-13 | [0.5, 0.81] |

Table 6. ICC values for each EEG feature and frequency band during the detection level 2 task. ICCs were calculated between the two assessment sessions in the first experiment.

| EEG feature | ICC(2,1) | F | df1 | df2 | pval | CI95% |
| --- | --- | --- | --- | --- | --- | --- |
| VC9 | 0.645 | 4.76 | 68 | 68 | 4.57238e-10 | [0.48, 0.76] |
| A0 | 0.706 | 5.728 | 68 | 68 | 5.97628e-12 | [0.56, 0.81] |
| ST4 | 0.49 | 3.088 | 68 | 68 | 3.12055e-06 | [0.29, 0.65] |
| L1 | 0.624 | 4.432 | 68 | 68 | 2.24336e-09 | [0.46, 0.75] |
| T2 | 0.748 | 7.372 | 68 | 68 | 1.02959e-14 | [0.62, 0.84] |
| T4 | 0.752 | 8.268 | 68 | 68 | 4.92061e-16 | [0.57, 0.85] |
| Delta | 0.569 | 3.636 | 68 | 68 | 1.41423e-07 | [0.39, 0.71] |
| Theta | 0.657 | 4.939 | 68 | 68 | 1.97683e-10 | [0.5, 0.77] |
| Alpha | 0.693 | 5.461 | 68 | 68 | 1.88287e-11 | [0.55, 0.8] |
| Beta | 0.799 | 8.998 | 68 | 68 | 4.93155e-17 | [0.7, 0.87] |
| Gamma | 0.825 | 10.314 | 68 | 68 | 1.10968e-18 | [0.73, 0.89] |

Table 7. ICC values for each EEG feature and frequency band during the N-back level 0 task. ICCs were calculated between the two assessment sessions in the first experiment.

| EEG feature | ICC(2,1) | F | df1 | df2 | pval | CI95% |
| --- | --- | --- | --- | --- | --- | --- |
| VC9 | 0.58 | 3.966 | 69 | 69 | 1.92041e-08 | [0.4, 0.72] |
| A0 | 0.724 | 6.554 | 69 | 69 | 1.4255e-13 | [0.59, 0.82] |
| ST4 | 0.494 | 2.987 | 69 | 69 | 4.8605e-06 | [0.3, 0.65] |
| L1 | 0.523 | 3.213 | 69 | 69 | 1.28255e-06 | [0.33, 0.67] |
| T2 | 0.721 | 6.094 | 69 | 69 | 9.06338e-13 | [0.59, 0.82] |
| T4 | 0.716 | 6.079 | 69 | 69 | 9.64367e-13 | [0.58, 0.81] |
| Delta | 0.487 | 3.004 | 69 | 69 | 4.39258e-06 | [0.29, 0.65] |
| Theta | 0.567 | 3.799 | 69 | 69 | 4.72082e-08 | [0.38, 0.71] |
| Alpha | 0.623 | 4.314 | 69 | 69 | 3.12957e-09 | [0.46, 0.75] |
| Beta | 0.839 | 12.115 | 69 | 69 | 5.87869e-21 | [0.75, 0.9] |
| Gamma | 0.833 | 12.242 | 69 | 69 | 4.32646e-21 | [0.72, 0.9] |

Table 8. ICC values for each EEG feature and frequency band during the N-back level 1 task. ICCs were calculated between the two assessment sessions in the first experiment.

# References

[1]	L. K. McEvoy, M. E. Smith, and A. Gevins, ‘Test-retest reliability of cognitive EEG’, Clinical Neurophysiology, vol. 111, no. 3, 2000, doi: 10.1016/S1388-2457(99)00258-8.

[2]	A. K. Winegust, K. J. Mathewson, and L. A. Schmidt, ‘Test-retest reliability of frontal alpha electroencephalogram (EEG) and electrocardiogram (ECG) measures in adolescents: A pilot study’, International Journal of Neuroscience, vol. 124, no. 12, 2014, doi: 10.3109/00207454.2014.895003.

[3]	J. P. Weir, ‘Quantifying test-retest reliability using the intraclass correlation coefficient and the SEM’, 2005. doi: 10.1519/15184.1.

[4]	B. van der Velde, R. Haartsen, and C. Kemner, ‘Test-retest reliability of EEG network characteristics in infants’, Brain Behav, vol. 9, no. 5, 2019, doi: 10.1002/brb3.1269.

[5]	C. T. Ip et al., ‘Pre-intervention test-retest reliability of EEG and ERP over four recording intervals’, International Journal of Psychophysiology, vol. 134, 2018, doi: 10.1016/j.ijpsycho.2018.09.007.

[6]	Y. Hirano, I. Nakamura, S. Tamura, and T. Onitsuka, ‘Long-Term Test-Retest Reliability of Auditory Gamma Oscillations Between Different Clinical EEG Systems’, Front Psychiatry, vol. 11, 2020, doi: 10.3389/fpsyt.2020.00876.

[7]	J. M. Rogers, S. J. Johnstone, A. Aminov, J. Donnelly, and P. H. Wilson, ‘Test-retest reliability of a single-channel, wireless EEG system’, International Journal of Psychophysiology, vol. 106, 2016, doi: 10.1016/j.ijpsycho.2016.06.006.

[8]	R. Vallat, ‘Pingouin: statistics in Python’, J Open Source Softw, vol. 3, no. 31, 2018, doi: 10.21105/joss.01026.