Supporting Information

Green-emitting AIEgen for fluorescent switch-off detection of multi-cations and applications

Dhvani A. Patela, Thangaraj Anandc, Bigyan R. Jalib, and Suban K. Sahooa*

a Department of Chemistry, Sardar Vallabhbhai National Institute Technology, Surat-395007, Gujarat, India.

b Department of Chemistry, Veer Surendra Sai University of Technology, Burla, Sambalpur-768018, Odisha, India.

c Department of Chemistry, Sathyabama Institute of Science and Technology, Chennai-600119, India.

*E-mail: sks@chem.svnit.ac.in.

Fig. S1. Calibration curve to obtain the LOD for (a) Co2+, (b) Ni2+, (c) Cu2+ and (d) Fe2+.

Fig. S2. BH plot of AIEgen HNSA with detected analytes (a) Co2+, (b) Ni2+, (c) Cu2+, and (d) Fe2+ ions.

Fig. S3. Stern-Volmer plot of AIEgen HNSA with detected analytes (a) Co2+, (b) Ni2+, (c) Cu2+, and (d) Fe2+ ions.

Fig. S4. UV-Vis spectral changes of AIEgen HNSA (5×10-5 M) upon gradual incremental addition of (a) Co2+, (b) Ni2+, (c) Cu2+ and (d) Fe2+.

Fig. S5. Fluorescence interference studies of AIEgen HNSA with (a) Co2+, (b) Ni2+, (c) Cu2+, and (d) Fe2+ ions.

Fig. S6. Detection of Co2+, Ni2+, Cu2+, and Fe2+ ions in chickpea sprouts using AIEgen HNSA.

Table S1. Fluorescence lifetime decay parameters of AIEgen HNSA in the absence and presence of Co2+ and Cu2+.

| Compounds | T1 (ns) | T2 (ns) | T3 (ns) | Average time (ns) |
| --- | --- | --- | --- | --- |
| HNSA | 0.023 | 1.65 | 6.88 | 2.85 |
| Co2+ | 0.98 | 5.45 | 0.08 | 2.18 |
| Cu2+ | 0.54 | 3.18 | 2.06 | 1.93 |

Table S2. The recoveries of Co2+, Ni2+, Cu2+ and Fe2+ ions in real water samples using AIEgen HNSA.

| Samples | Co2+ |  |  |
| --- | --- | --- | --- |
|  | Added, M | Found, M | Recovery, % |
| Tap water | 2.49 × 10-6 | 2.40 × 10-6 | 96.38 |
|  | 4.97 × 10-6 | 4.91 × 10-6 | 98.79 |
| Drinking water | 1.23 × 10-5 | 1.22 × 10-5 | 99.18 |
|  | 1.47 × 10-5 | 1.49 × 10-5 | 101.36 |
| Samples | Ni2+ |  |  |
|  | Added, M | Found, M | Recovery, % |
| Tap water | 1.96 × 10-5 | 1.93 × 10-5 | 98.46 |
|  | 2.20 × 10-5 | 2.18 × 10-5 | 99.09 |
| Drinking water | 2.43 × 10-5 | 2.42 × 10-5 | 99.58 |
|  | 2.67 × 10-5 | 2.70 × 10-5 | 100.74 |
| Samples | Cu2+ |  |  |
|  | Added, M | Found, M | Recovery, % |
| Tap water | 3.14 × 10-5 | 2.91 × 10-5 | 92.67 |
|  | 3.38 × 10-5 | 3.09 × 10-5 | 91.42 |
| Drinking water | 3.61 × 10-5 | 3.29 × 10-5 | 91.13 |
|  | 3.84 × 10-5 | 3.48 × 10-5 | 90.62 |
| Samples | Fe2+ |  |  |
|  | Added, M | Found, M | Recovery, % |
| Tap water | 1.47 × 10-5 | 1.39 × 10-5 | 94.56 |
|  | 1.71 × 10-5 | 1.65 × 10-5 | 96.49 |
| Drinking water | 1.96 × 10-5 | 2.00 × 10-5 | 102.04 |
|  | 2.20 × 10-5 | 2.28 × 10-5 | 103.63 |

********