## Legend
Supplementary Data 2. Summary of pIon search results. For IPM, a classic cysteine-specific probe, lysates of HEK293T cells were labeled with IPM at different conditions as indicated, processed into tryptic peptides, and clicked with DMP-tag via CuAAC using each ligand as indicated. The resulting mixtures were directly subjected to LC-MS/MS analysis under different instrumental settings (i.e., isolation window, NCE, instrument). For other classic covalent probes as indicated (ENE, NPM, PPMS, VSF, NHS and STP), lysates of HEK293T cells were labeled with each probe (100 µM, 1h), processed into tryptic peptides, and clicked with DMP tag via CuAAC. The resulting mixtures were directly subjected to LC-MS/MS analysis. For a library of covalent probes (1-61) was built by tagging a clickable group to diverse reactive warheads, lysates of HEK293T cells were labeled with each probe as indicated, processed into tryptic peptides, and clicked with DMP-tag via CuAAC. The resulting mixtures were directly subjected to LC-MS/MS analysis.

## Supplementary Data2
Probe | SMILES | Localization probability | [19 empty] | #PSMs mod | #All PSMs | % Mod | p.p.m | Accurate Mass | RAW Data | Notes
|  | A | C | D/E | F | G | H | I | K | L | M | N/Q | P | R | S | T | V | W | Y | NTERM | CTERM
IPM | ICC(NCC#C)=O | 0 | 0.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 58153 | 0.034392 | 0.17354 | 334.2117 | Fusion3_YangJing_FanYouLong_IPM-4_OTOT_50per_20230526_F1_R1.raw | probe at the concentration of 1 μM
IPM | ICC(NCC#C)=O | 0 | 0.922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 308 | 60693 | 0.50747 | 0.17653 | 334.2118 | Fusion3_YangJing_FanYouLong_IPM-5_OTOT_50per_20230526_F1_R1.raw | probe at the concentration of 10 μM
IPM | ICC(NCC#C)=O | 0 | 0.911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1960 | 59142 | 3.3141 | 0.49669 | 334.2116 | Fusion3_YangJing_FanYouLong_IPM-6_OTOT_50per_20230526_F1_R1.raw | probe at the concentration of 100 μM
IPM | ICC(NCC#C)=O | 0 | 0.917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.087 | 0 | 2751 | 58821 | 4.6769 | 0.70913 | 334.2115 | Fusion3_YangJing_FanYouLong_IPM-7_OTOT_50per_20230526_F1_R1.raw | probe at the concentration of 1 mM
IPM | ICC(NCC#C)=O | 0 | 0.757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077 | 0 | 2589 | 57981 | 4.4653 | 1.1998 | 334.2121 | HFX_YangJing_HJX_IPM-NCE21_20240511_F1_R1.raw | NCE21
IPM | ICC(NCC#C)=O | 0 | 0.829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09 | 0 | 3272 | 64331 | 5.0862 | 0.89165 | 334.212 | HFX_YangJing_HJX_IPM-NCE24_20240511_F1_R1.raw | NCE24
IPM | ICC(NCC#C)=O | 0 | 0.866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3167 | 60239 | 5.2574 | 0.84976 | 334.212 | HFX_YangJing_HJX_IPM-NCE27_20240511_F1_R1.raw | NCE27
IPM | ICC(NCC#C)=O | 0 | 0.871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086 | 0 | 2877 | 62742 | 4.5854 | 1.3494 | 334.2122 | HFX_YangJing_HJX_IPM-NCE30_20240511_F1_R1.raw | NCE30
IPM | ICC(NCC#C)=O | 0 | 0.863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.085 | 0 | 2152 | 52502 | 4.0989 | 1.5379 | 334.2122 | HFX_YangJing_HJX_IPM-NCE33_20240511_F1_R1.raw | NCE33
IPM | ICC(NCC#C)=O | 0 | 0.855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.099 | 0 | 2844 | 82118 | 3.4633 | 0.95748 | 334.212 | HFX_YangJing_HJX_IPM-IW07_20230808_F1_R1.raw | IW0.7
IPM | ICC(NCC#C)=O | 0 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.097 | 0 | 2954 | 94691 | 3.1196 | 1.0502 | 334.2121 | HFX_YangJing_HJX_IPM-IW16_20230808_F1_R1.raw | IW1.6
IPM | ICC(NCC#C)=O | 0 | 0.827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 2705 | 98184 | 2.755 | 1.134 | 334.2121 | HFX_YangJing_HJX_IPM-IW20_20230808_F1_R1.raw | IW2.0
IPM | ICC(NCC#C)=O | 0 | 0.874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.088 | 0 | 4043 | 92674 | 4.3626 | 0.1915 | 334.2119 | HFX_YangJing_HeJiXiang_IPM_20230701_F1_R1.raw | HFX
IPM | ICC(NCC#C)=O | 0 | 0.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086 | 0 | 2752 | 58840 | 4.6771 | 0.71512 | 334.2115 | Fusion3_YangJing_FanYouLong_IPM-7_OTOT_50per_20230526_F1_R1.raw | Fusion
IPM | ICC(NCC#C)=O | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1025 | 26602 | 3.8531 | 0.66425 | 334.2115 | Lumos_YangJ_HJX_IPM-7_20231108.raw | lusmos
IPM | ICC(NCC#C)=O | 0 | 0.854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.209 | 0 | 103 | 17402 | 0.59189 | 0.66425 | 334.2076 | YangJing_HJX_IPM-7_5uL_20230719.wiff.scan | 5600
IPM | ICC(NCC#C)=O | 0 | 0.894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.082 | 0 | 5379 | 80719 | 6.6639 | 0.65228 | 334.2119 | FAIMS_480_DDA_75um_300nL_Yangjing_HJX_75min_20230704_R1.raw | 480
IPM | ICC(NCC#C)=O | 0 | 0.863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.108 | 0 | 1912 | 50019 | 3.8225 | 0.67323 | 334.2119 | HFX_YangJing_HJX_THPTA_20221201_F1_R1.raw | THPTA
IPM | ICC(NCC#C)=O | 0 | 0.884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.102 | 0 | 1636 | 47378 | 3.4531 | 0.96645 | 334.212 | HFX_YangJing_HJX_TBTA_20221201_F1_R1.raw | TBTA
IPM | ICC(NCC#C)=O | 0 | 0.866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.103 | 0 | 1569 | 44676 | 3.512 | 0.14063 | 334.2118 | HFX_YangJing_HJX_BTTAA_20221201_F1_R1.raw | BTTAA
IPM | ICC(NCC#C)=O | 0 | 0.861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.098 | 0 | 1543 | 46514 | 3.3173 | 0.68519 | 334.2119 | HFX_YangJing_HJX_BTTES_20221201_F1_R1.raw | BTTES
IPM | ICC(NCC#C)=O | 0 | 0.877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09 | 0 | 1642 | 43080 | 3.8115 | 0.24236 | 334.2118 | HFX_YangJing_HJX_BTTP_20221201_F1_R1.raw | BTTP
IPM | ICC(NCC#C)=O | 0 | 0.874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.088 | 0 | 4049 | 92674 | 4.36 | 0.19149 | 334.2119 | HFX_YangJing_HeJiXiang_IPM_20230701_F1_R1.raw | probe at the concentration of 1mM
ENE | ICC(NCC#C)=O | 0 | 0.553 | 0 | 0 | 0 | 0.031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.227 | 0 | 5039 | 87168 | 5.78 | 0.044291 | 361.248 | HFX_YangJing_HeJiXiang_ENE_20230701_F1_R1.raw | probe at the concentration of 1mM
NPM | O=C(C=C1)N(CC#C)C1=O | 0 | 0.825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093 | 0 | 3558 | 82896 | 4.26 | 0.31615 | 392.2173 | HFX_YangJing_HeJiXiang_NPM_20230701_F1_R1.raw | probe at the concentration of 1mM
PPMS | C=CS(CCCC#C)(=O)=O | 0 | 0.862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078 | 0 | 6070 | 91015 | 6.69 | 1.5914 | 309.1625 | HFX_YangJing_HeJiXiang_PPMS_20230701_F1_R1.raw | probe at the concentration of 1mM
VSF | O=S(C)(SCC#C)=O | 0 | 0.839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.096 | 0 | 3846 | 90486 | 4.25 | 0.21902 | 397.2149 | HFX_YangJing_HeJiXiang_VSF_20230701_F1_R1.raw | probe at the concentration of 1mM
STP | [NaO3S]C1=C(F)C(F)=C(OC(CCC#C)=O)C(F)=C1F | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3066 | 89860 | 3.41 | 0.26942 | 319.2011 | HFX_YangJing_HJX_STP_20230808_F1_R1.raw | probe at the concentration of 1mM
NHS | O=C(CC1)N(OC(CCCC#C)=O)C1=O | 0 | 0.017 | 0 | 0 | 0 | 0 | 0 | 0.721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6148 | 82445 | 7.45 | 1.8487 | 333.2166 | HFX_YangJing_HeJiXiang_NHS_20230701_F1_R1.raw | probe at the concentration of 1mM
1 | O=C(NCC#C)C=C | 0 | 0.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 101036 | 0.048498 | 1.3755 | 348.2268 | HFX_YangJing_HeJiXiang_A1_20230701_F1_R1.raw
2 | O=C(NCC#C)CCl | 0 | 0.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 299 | 100787 | 0.29667 | 0.56551 | 334.2122 | HFX_YangJing_HeJiXiang_A3_20230701_F1_R1.raw
3 | O=S(C=C)(NCC#C)=O | 0 | 0.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1117 | 59198 | 1.8869 | 0.19261 | 384.1941 | Fusion3_YangJing_FanYouLong_A-4_OTOT_50per_20230526_F1_R1.raw
4 | O=C(NCC#C)C#C | 0 | 0.883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 766 | 59812 | 1.2807 | 1.2478 | 346.2116 | Fusion3_YangJing_FanYouLong_A-5_OTOT_50per_20230526_F1_R1.raw
5 | O=C(NCC#C)C#CC | 0 | 0.824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 60908 | 0.027911 | 13.1056 | 360.2223 | Fusion3_YangJing_FanYouLong_A-6_OTOT_50per_20230526_F1_R1.raw
6 | C#CC1=CC=C(C2CO2)C=C1 | 0 | 0.721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.221 | 0 | 86 | 91467 | 0.094023 | 1.4665 | 383.2327 | HFX_YangJing_HJX_3_20230420_F1_R1.raw
7 | C#CC1=CC=C(NC(C2CO2)=O)C=C1 | 0 | 0.821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 59969 | 0.55862 | 1.4804 | 426.2386 | Fusion3_YangJing_FanYouLong_YK-CO_OTOT_5per_20230613_F1_R1.raw
8 | C#CCNC/C=C/C(OCC)=O | 0 | 0.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270 | 78920 | 0.34212 | 0.19377 | 392.2173 | HFX_YangJing_FanYouLong_A16_20231015_F1_R1.raw
9 | C=CC(NC1=CC=C(C#C)C=C1)=O | 0 | 0.795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 28494 | 0.27374 | 1.4187 | 410.2436 | Lumos_YangJ_HJX_A19_20240111.raw
10 | C=CC(N(C)C1=CC=C(C#C)C=C1)=O | 0 | 0.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143 | 28207 | 0.50697 | 0.0047141 | 424.259 | Lumos_YangJ_HJX_A20_20240111.raw
11 | O=C(NCC#C)CBr | 0 | 0.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.088 | 0 | 1206 | 27137 | 4.4441 | 0.55055 | 334.2118 | Lumos_YangJ_HJX_A21_20240111.raw
12 | BrC(C)C(NCC#C)=O | 0 | 0.711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 28587 | 0.13293 | 2.3835 | 348.2272 | Lumos_YangJ_HJX_A22_20240111.raw
13 | BrC(Br)C(NCC#C)=O | 0 | 0.056 | 0.685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 28412 | 0.19006 | 0.54157 | 334.2118 | HFX_YangJing_HJX_A23_20240413_F1_R1.raw
14 | O=C(NCC#C)/C=C/C(F)(F)F | 0 | 0.809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 28176 | 0.33362 | 0.43007 | 416.2148 | Lumos_YangJ_HJX_A25_20240111.raw
15 | N#CC1=NC=C(C(NCC#C)=O)C=N1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 28602 | 0.066429 | 0.018813 | 425.229 | Lumos_YangJ_HJX_A26_20240111.raw
16 | O=C(C(Cl)Br)NCC#C | 0 | 0.153 | 0.613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248 | 86414 | 0.28699 | 0.24236 | 334.2121 | HFX_YangJing_HJX_A29_20240416_F1_R1.raw
17 | O=C(C(F)Br)NCC#C | 0 | 0 | 0 | 0 | 0 | 0.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87 | 0 | 23 | 88814 | 0.025897 | 0.28297 | 332.1961 | HFX_YangJing_HJX_A30_20240416_F1_R1.raw
| O=C1C=C1C2=CC=C(OCC#C)C=C2 | 0 | 0.435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 88814 | 0.025897 | 2.2203 | 352.2022
18 | C#CCOC1=CC=C(C(SCCC)SCCC)C=C1 | 0 | 0.511 | 0 | 0 | 0 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182 | 83647 | 0.21758 | 3.1117 | 441.2386 | HFX_YangJing_HeJiXiang_CY-1_20230701_F1_R1.raw
| OCC1=CC=C(C(NCC#C)=O)C=C1[N+]([O-])=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 83647 | 0.19726 | 5.647 | 423.2276
19 | CC1(C)CC(OCC#C)CC(C)(C)N1[O] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.701 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224 | 55935 | 0.40046 | 1.58 | 397.212 | HFX_YangJing_HJX_C2_20240104_F1_R1.raw | Rose Bengal (RB)，LED (10 W), 30℃, LED (10 W) ，1 h，CH3CN/H2O (4:1)
20 | OB(O)/C=C/C1=CC=C(CNC(CCCC#C)=O)C=C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 28295 | 0.081286 | 0.73 | 437.2172 | HFX_YangJing_HJX_C4_20240104_F1_R1.raw | 365 nm UV light, 25 °C, 30 min,PBS/MeOH (2:1, pH = 7.4)
21 | OB(O)/C=C/C1=CC=C(CNC(CN=[N+]=[N-])=O)C=C1 | 0 | 0.831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0 | 367 | 42754 | 0.8584 | 1.58 | 416.3447 | HFX_YangJing_HJX_C9-1_20240104_F1_R1.raw | TCEP(5 mM), Mn(OAc)3 (1 mM)，6 M guanidine hydrochloride, 100 mM Na2HPO4, pH 7.2,50℃, 2 h
22 | O=C(NO)C1=CC=C(C#C)C=C1 | 0 | 0.462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 29013 | 0.048254 | 0.32092 | 464.2898 | Lumos_YangJ_HJX_1A_20240111.raw | NMM buffer (50 mM, 0.2 M NaCl, pH 7.4),CuCl2·2H2O (30 µM)
23 | ONCC1=CC=C(OCC#C)C=C1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 62809 | 0.0079606 | 1.3066 | 436.2576 | HFX_YangJing_HJX_1B_20240404_F1_R1.raw | NMM buffer (50 mM, 0.2 M NaCl, pH 7.4),CuCl2·2H2O (30 µM)
24 | O=C(NCC#C)C1=CC=C(N2N=C(C3=CC=CC=C3)N=N2)C=C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.228 | 0 | 377 | 83088 | 0.45374 | 0.55 | 382.2119 | HFX_YangJing_HJX_M1_20231201_F1_R1.raw | 1 mM NaIO4, 4 h, PBS (pH = 7.6),25℃
25 | NCCC1(N=N1)CCC#C | 0 | 0.671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 78733 | 2.5656 | 1.53 | 412.2229 | HFX_YangJing_HJX_W1_20231201_F1_R1.raw | TIFA (1mM),15 min，37℃
26 | ClC1=CC(NC(CCC#C)=O)=[N+](C)C=C1.O=S([O-])(C(F)(F)F)=O | 0 | 0 | 0.634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.163 | 0 | 301 | 74553 | 0.40374 | 0.54056 | 514.2803 | HFX_YangJing_HJX_T24_20231201_F1_R1.raw | 365 nm, 20 min, 37℃
27 | C[N+]1=CC=C(OC(C2=CC=C(OCC#C)C=C2)=O)C=C1.O=S([O-])(C(F)(F)F)=O | 0 | 0 | 0.875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 76930 | 0.020798 | 1.608 | 348.2643 | HFX_YangJing_HJX_DIA_20231201_F1_R1.raw | 302 nm, 4 h, 37℃
28 | ClC1=NC(NCC#C)=NC(Cl)=N1 | 0 | 0.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 139 | 43968 | 0.31614 | 2362.653 | 425.2539 | HFX_YangJing_FanYouLong_L1_20240103_F1_R1.raw
29 | FS(=O)(C1=CC=C(C#C)C=C1)=O | 0 | 0.298 | 0 | 0 | 0 | 0 | 0 | 0.411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.108 | 0.114 | 0 | 1791 | 41613 | 4.3039 | 0.57148 | 397.2118 | HFX_YangJing_FanYouLong_L2_20240103_F1_R1.raw
30 | C#CCOC(C=C1)=CC(C=O)=C1C#C | 0 | 0.19 | 0 | 0 | 0 | 0 | 0 | 0.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047 | 0.138 | 0 | 1693 | 86710 | 1.9525 | 1.6733 | 405.1799 | HFX_YangJing_HeJiXiang_A2_20230701_F1_R1.raw
31 | O=S(C1=CC=CC=C1)(N(C(CCC#C)=O)CC#N)=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.756 | 0.157 | 0 | 394 | 56297 | 0.69986 | 0.8086 | 403.1677 | Fusion3_YangJing_FanYouLong_A14_OTOT_20230711_F1_R1.raw
32 | O=C1C(OC)=C(NCC#C)C1=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 83141 | 0.18402 | 2.9488 | 423.2283 | HFX_YangJing_HJX_A31_20240416_F1_R1_20240418204258.raw
33 | FC1=CC(F)=C(N(C(CCC#C)=O)S(=O)(C)=O)N=C1 | 0 | 0.101 | 0 | 0 | 0 | 0 | 0 | 0.584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3510 | 86355 | 4.0646 | 1.0401 | 319.2012 | HFX_YangJing_HJX_A32_20240416_F1_R1.raw
34 | O=C(NCC#C)N1C=NC=C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1291 | 89170 | 1.4478 | 0.88395 | 372.1913 | HFX_YangJing_HJX_A33_20240416_F1_R1.raw
35 | CC1=CC=C(S(N(C)C(OC(CCCCC#C)=O)=C)(=O)=O)C=C1 | 0 | 0.094 | 0 | 0 | 0 | 0 | 0 | 0.587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2448 | 84128 | 2.9099 | 1.037 | 319.2013 | HFX_YangJing_HJX_A34_20240416_F1_R1.raw
36 | ClC(C=C1)=CC=C1N=C=NC2=CC=C(OCC#C)C=C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.132 | 0 | 2602 | 97569 | 2.6668 | 1.0775 | 320.1963 | HFX_YangJing_HeJiXiang_A9_20230701_F1_R1.raw
37 | C#CCOC(C=C1)=CC=C1N=C=NCCCC | 0 | 0.337 | 0 | 0 | 0 | 0 | 0 | 0.349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 83455 | 0.099455 | 0.26207 | 347.232 | HFX_YangJing_HJX_S6_20230330_F1_R1.raw
38 | CCOC(C(CC#C)=C=C(C)C)=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056 | 0.193 | 0 | 751 | 77749 | 0.96593 | 1.5617 | 521.2314 | HFX_YangJing_HJX_XJ-5_20230812_F1_R1.raw
39 | CCOC(C(CC#C)=C=C(C)C)=O | 0 | 0 | 0.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.125 | 0 | 757 | 67939 | 1.1142 | 1.7719 | 467.3017 | HFX_YangJing_HJX_XJ-6_20230812_F1_R1.raw
40 | O=C1N(C#C)C(C2=CC=C(C#C)C=C21)=O | 0 | 0.903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476 | 85374 | 0.55755 | 2.3486 | 417.275 | HFX_YangJing_HJX_XJ-9_20230812_F1_R1.raw
41 | O=C1N(C#C)CC2=CC=C(C#C)C=C21 | 0 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 512 | 80973 | 0.00633 | 5.0729 | 450.2402 | HFX_YangJing_HJX_21_20230420_F1_R1.raw
42 | CCOC(C(CC#C)=C=NCCCC)=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.246 | 0 | 12 | 90418 | 0.00013 | 2513.702 | 393.1819 | HFX_YangJing_HJX_H4_20230330_F1_R1.raw
43 | CCOC(C(CC#C)=C=NC1=CC=CC=C1)=O | 0 | 0.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 88826 | 0.000687 | 3.5504 | 420.2285 | HFX_YangJing_HJX_24_20230420_F1_R1.raw
44 | O=C(C=C=C)NC1=CC=C(C#C)C=C1 | 0 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 85481 | 0.0058493 | 1.13 | 401.2431 | HFX_YangJing_HJX_XJ-2_20230812_F1_R1.raw
45 | C#CCCC(O/C(C)=C/C(C1=CC=CC=C1)=O)=O | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 84385 | 0.0071103 | 139455.7 | 401.2451 | HFX_YangJing_HJX_XJ-3_20230812_F1_R1.raw
46 | C#CC(O/C(C)=C/C(C1=CC=CC=C1)=O)=O | 0 | 0.916 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093 | 0 | 1466 | 51794 | 2.8304 | 1.7715 | 422.2437 | Fusion3_YangJing_FanYouLong_OY-10_OTOT_5per_20230607_F1_R1.raw
47 | O=C(O/C(C)=C/C(C(/C=C\C)=C)=O)C1=CC=C(C#C)C=C1 | 0 | 0.148 | 0 | 0 | 0 | 0 | 0 | 0.542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635 | 52507 | 1.2094 | 1.0902 | 319.2007 | Fusion3_YangJing_FanYouLong_AN-41_OTOT_50per_20230526_F1_R1.raw
48 | O=C(CC1=CC=C(C#C)C=C1)O/C(C)=C/C(C2=CC=CC=C2)=O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 136 | 54718 | 0.24855 | 2.15 | 291.1684 | Fusion3_YangJing_FanYouLong_AN-46_OTOT_50per_20230526_F1_R1.raw
49 | O=C(O/C(C)=C/C(CCCCC)=O)C1=CC=C(C#C)C=C1 | 0 | 0.279 | 0 | 0 | 0 | 0 | 0 | 0.454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.133 | 0 | 732 | 54824 | 1.3352 | 1.0349 | 367.2006 | Fusion3_YangJing_FanYouLong_AN-51_OTOT_50per_20230526_F1_R1.raw
50 | C#CCCC(O/C(C)=C/C(CCCCC)=O)=O | 0 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.132 | 0 | 1035 | 52030 | 1.9892 | 0.56923 | 381.2162 | Fusion3_YangJing_FanYouLong_AN-63_OTOT_50per_20230526_F1_R1.raw
51 | C[N]1=[C+]SC2=CC(OCC#C)=CC=C21.[I-] | 0 | 0.468 | 0 | 0 | 0 | 0 | 0 | 0.277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 361 | 55079 | 0.65542 | 1.634 | 367.2004 | Fusion3_YangJing_FanYouLong_AN-71_OTOT_50per_20230526_F1_R1.raw
52 | O=C1C(C#CCCCCC#C)=CC(Br)=CO1 | 0 | 0.253 | 0 | 0 | 0 | 0 | 0 | 0.456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182 | 50286 | 0.36193 | 6.4066 | 319.199 | Fusion3_YangJing_FanYouLong_AN-72_OTOT_50per_20230526_F1_R1.raw
53 | O=C1C(C#CCCCCC#C)=CC(Br)=CO1 | 0 | 0.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093 | 0 | 304 | 89849 | 0.33835 | 36171.28 | 458.2105 | HFX_YangJing_HJX_31_20230420_F1_R1.raw
54 | C#CC1=CC=C(C(OC(CC(C)(C)C2)=CC2=O)=O)C=C1 | 0 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 84947 | 0.0094176 | 0.84885 | 517.1704 | HFX_YangJing_HJX_37_20230420_F1_R1.raw
55 | C#CC1=CC=C(C(OC2=CC(CC2)=O)=O)C=C1 | 0 | 0.536 | 0 | 0 | 0 | 0.174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.128 | 0 | 2005 | 77255 | 2.5953 | 2.2674 | 413.2436 | HFX_YangJing_HJX_E4_20230330_F1_R1.raw
56 | C#CCOC1=CC=C([N+]#[C-])C=C1 | 0 | 0.269 | 0 | 0 | 0 | 0 | 0 | 0.518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.116 | 0 | 1878 | 56536 | 3.3218 | 0.073529 | 367.201 | Fusion3_YangJing_FanYouLong_CYB-1_OTOT_5per_20230613_F1_R1.raw
57 | COC1=CC=C([N+]#[C-])C=C1OCC#C | 0 | 0.222 | 0 | 0 | 0 | 0 | 0 | 0.554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072 | 0.131 | 0 | 1781 | 51222 | 3.477 | 0.49019 | 367.2012 | Fusion3_YangJing_FanYouLong_CYB-2_OTOT_5per_20230613_F1_R1.raw
58 | O=C(CC[N+]#[C-])NC1=CC=C(OCC#C)C=C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.891 | 0 | 147 | 92801 | 0.1584 | 0.42453 | 412.2225 | HFX_YangJing_HJX_17_20230420_F1_R1.raw
59 | C#CCN1C2=C(C=C([N+]#[C-])C=C2)C3=CC=CC=C31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.931 | 0 | 202 | 90694 | 0.22273 | 1.359 | 442.2335 | HFX_YangJing_HJX_18_20230420_F1_R1.raw
60 | O=C(CC[N+]#[C-])NC1=CC=C(OCC#C)C=C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 94893 | 0.0073767 | 8.7381 | 467.2604 | HFX_YangJing_HJX_19_20230420_F1_R1.raw
61 | C#CCN1C2=C(C=C([N+]#[C-])C=C2)C3=CC=CC=C31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 57670 | 0.01734 | 0.7563 | 485.2544 | Fusion3_YangJing_FanYouLong_YJ-8_OTOT_50per_20230526_F1_R1.raw