Extended data

Extended data Fig. 1. Fragment separator at GSI. A schematic view of the FRS is shown. A primary beam of 12C-ions from the SIS-18 synchrotron was incident on a beryllium target to produce 11C-ions, separated using the Bρ-ΔE-Bρ method. An achromatic degrader was placed at the mid-focal plane of the FRS. The FRS has three experimental branches for delivering the separated radioactive ion beam. The branch directed to Cave-M is indicated in the figure. The elements between the last dipole of the FRS and Cave-M belong to the high-energy beam transport line of GSI, designed for primary beams and therefore having smaller apertures than the FRS magnetic elements, leading to reduced transmission efficiency of secondary beams to the Cave-M.

Extended data Fig. 2. Dosimetry of the monoenergetic 11C beam. Laterally integrated depth dose profile in water (top left), 2D dose distribution of the beam spot at the entrance of the water phantom (bottom left), vertical and horizontal 2D dose distributions in the central plane along the beam direction (top right and bottom right) for the  pristine Bragg peak.

Extended data Fig. 3. Dosimetry of the SOBP. Laterally integrated depth dose profile in water (top left), 2D dose distribution of the beam spot at the entrance of the water phantom (bottom left),  vertical and horizontal 2D dose distributions in the central plane along the beam direction (top right and bottom right) for the SOBP.

Extended Data Fig. 4. Cave M beamline components.  The scheme of the beamline is shown in Fig. 2A. A. Range modulator used to generate the SOBP from a monoenergetic pencil beam scan. B. Plastic compensator to shape the lateral and distal edges of the irradiation field to the CTV. The length is 25 mm to shield the base of the skull and the rest of the animal spine. Top: inner side with an anatomical cut for fixing the animal neck area Bottom: outer side with a dimple corresponding to the distal edge of the CTV calculated in water-equivalent thickness.

Extended data Fig. 5. Treatment of the mouse osteosarcoma with 20 Gy X-rays. A. Tumour growth curve, showing full tumor control after 20 Gy (5 mice, bars are standard errors of the mean values). B. Image of a mouse 6 months after exposure to 20 Gy X-rays suffering severe weight loss and kyphosis (see also Supplementary video 3). C. Pooled weights of tumor-bearing animals after receiving X-rays (orange circles, 15 and 20 Gy) or 11C treatment (blue squares; 20 Gy). Lines represent the linear fit of the data from each group. The slope coefficients are 0.215±0.046 and 0.525±0.019 for the X-ray and 11C groups, respectively and they are significantly different (t-test, p<0.0001). According to the ethical protocol, animals losing >10% of the weight have to be scarified, and for this reason some data acquisition is stopped early. The weight loss and myelopathy in these mice is due to the high dose to spine and esophagus of the X-ray beam that goes through the tumor.

Extended data Fig. 6. Skin toxicity in animals exposed to 5 and 20 Gy 11C-ions. The Table shows the severity scale, and the images gives examples of the observed toxicities in the irradiated area. Grade 4 was only observed in control animals and was caused by excessive tumour growth. Those animals had to be scarified as specified in the ethical protocol.

Extended data Fig. 7. Grip strength test used to estimate the cervical myelopathy. A. In this quantitative test the animal is pulled by the tail and the strength of the grip on the bar is measured in newton (N). B. Control mouse during the test (lateral view). C. 20 Gy irradiated mouse during the test. The area behind the head is shaved prior to the tumor inoculation, and after the irradiation only some white fur grows back.

Extended Data Table 1. Summary of the beam parameters used in the experiments.

| Spill length | 200 ms |
| --- | --- |
| Duty cycle | 6.25% |
| 12C beam energy | 300 MeV/u |
| 11C beam energy | 209 MeV/u |
| 12C intensity in SIS18 | 1.61010 particles/spill |
| 11C intensity in Cave M | 2.5106 particles/spill |
| Beamspot shape | Horizontal direction: 2.335 cm FWHM Vertical direction: 1.415 cm FWHM |
| Momentum spread | 60% Gaussian – FWHM=0.011 GeV/cu 40% flat distribution: FWHM=0.018 GeV/cu |