Manufacturing cost details

The cost of our devices was 20 times smaller in comparison with professional ones. Costs for materials include electronic components and for 3D printing (Table 1). Resin prints are more expensive than products obtained using filament FDM printers. A bottle of 1 liter of standard clear resin can be bought in e-commerce websites at 30€/L, while 1 kg of ABS filament costs around 15€. On the opposite, FDM printing technique consumes more energy for the heating of nozzle and bed. We considered a mean power consumption of 0.05 kWh for filament printing, 0.03 kWh for SLA [1]. We reported in the table only the costs for raw materials. Time consumption may also be an important factor. Each part of the first prototype took us 3 hours to assemble. While the process was noticeably expedited in the following iterations, it still remains a significant, difficult to estimate, and often overlooked, cost.

| Manifactured part | Cost (€) |
| --- | --- |
| Handle |  |
| - 3D printed parts SLA (FDM) | 1.28 (0.64) |
| - SLA electricity consumption (FDM) | 0.07 (0.12) |
| - 7 cm nickel strip | 0.04 |
| - Switch | 0.09 |
| - 16 cm wire | 0.03 |
| - Screws | 0.06 |
| Total SLA (FDM) | 1.57 (0.98) |
| Otoscope Head |  |
| - 3D printed parts SLA (FDM) | 0.55 (0.28) |
| - SLA electricity consumption (FDM) | 0.05 (0.09) |
| - 6 LEDs (or 6 UV Leds) | 0.3 (0.42) |
| - 8 cm wire | 0.02 |
| - 3 cm nickel strip | 0.02 |
| - Fresnel lens | 1.9 |
| Total SLA (FDM) | 2.84 (2.61) |

Table 1. Manufacturing cost details.

References

- Walls S, Corney JR, Vasantha GVA (2014) Relative energy consumption of low-cost 3d printers. Proceedings of the 12th International Conference on Manufacturing Research, Southampton, UK, January 2014.