Supplemental Materials

Supplementary Table 1 | Clinical trial sites and number of enrolled patients at each site in patients with consensus and forced adjudication of the infection status and in those evaluable for the prognostic endpoint

|  | Consensus Adjudication (N=729) | Forced Adjudication (N=1,222) | Prognostic Population (N=1,120) |
| --- | --- | --- | --- |
| Site, n (%) |  |  |  |
| 101 - Baystate Medical Center | 62 (8.5%) | 90 (7.4%) | 83 (7.4%) |
| 102 - Texas Tech University Health Sciences Center - El Paso | 55 (7.5%) | 69 (5.6%) | 67 (6.0%) |
| 103 - University of Kentucky | 45 (6.2%) | 72 (5.9%) | 72 (6.4%) |
| 104 - Henry Ford Hospital | 31 (4.3%) | 46 (3.8%) | 44 (3.9%) |
| 105 - University of Pittsburgh | 41 (5.6%) | 78 (6.4%) | 61 (5.4%) |
| 106 - University of Iowa | 97 (13.3%) | 168 (13.7%) | 153 (13.7%) |
| 107 - Emory University | 6 (0.8%) | 11 (0.9%) | 5 (0.4%) |
| 108 - University of Southern California | 8 (1.1%) | 14 (1.1%) | 14 (1.3%) |
| 109 - Medical College of Wisconsin | 50 (6.9%) | 87 (7.1%) | 83 (7.4%) |
| 110 - Hackensack Meridian Health | 2 (0.3%) | 2 (0.2%) | 2 (0.2%) |
| 111 - MedStar Health Research Institute | 11 (1.5%) | 16 (1.3%) | 15 (1.3%) |
| 112 - Johns Hopkins Hospital | 43 (5.9%) | 83 (6.8%) | 74 (6.6%) |
| 113 - Mayo Clinic - Rochester | 75 (10.3%) | 124 (10.1%) | 118 (10.5%) |
| 114 - Washington University | 50 (6.9%) | 92 (7.5%) | 83 (7.4%) |
| 115 - Vanderbilt University Medical Center | 3 (0.4%) | 3 (0.2%) | 3 (0.3%) |
| 117 - University of South Alabama | 1 (0.1%) | 1 (0.1%) | 0 (0.0%) |
| 118 - University of Athens -Greece | 4 (0.5%) | 14 (1.1%) | 14 (1.3%) |
| 119 - University of California Davis Medical Center | 14 (1.9%) | 33 (2.7%) | 31 (2.8%) |
| 120 - Cleveland Clinic | 24 (3.3%) | 41 (3.4%) | 37 (3.3%) |
| 121 - University of Florida (UF) - Jacksonville | 92 (12.6%) | 147 (12.0%) | 133 (11.9%) |
| 125 - Geisinger Health | 5 (0.7%) | 9 (0.7%) | 8 (0.7%) |
| 135 – Beth Israel Deaconess Medical Center | 10 (1.4%) | 22 (1.8%) | 20 (1.8%) |

Supplementary Table 2 | Infection status and accuracy of the TriVerity test in patient with forced adjudication. a, infection status and anatomical localization of bacterial and viral infections. b, accuracy of the TriVerity Test for the diagnosis of bacterial infection; c, accuracy of the TriVerity test for the diagnosis of viral infections

a

|  | Type of Infection/ Anatomical Location of Infection2 | % (n/N) |
| --- | --- | --- |
| Type of Infection | Bacterial Infection | 58.1% (710/1222) |
|  | Viral Infection | 20.0% (244/1222) |
|  | Viral-Bacterial Coinfection | 2.5% (31/1222) |
|  | Noninfected | 19.4% (237/1222) |
| Bacterial Infection1 | Blood | 14.0% (104/741) |
|  | Central Nervous System | 0.4% (3/741) |
|  | Gastrointestinal Tract | 13.5% (100/741) |
|  | Joint | 1.2% (9/741) |
|  | Respiratory Tract | 16.7% (124/741) |
|  | Skin or Soft Tissue | 33.3% (247/741) |
|  | Urinary Tract | 26.9% (199/741) |
|  | Unknown/ Other | 19.2% (142/741) |
| Viral Infection1 | Blood | 0.4% (1/275) |
|  | Central Nervous System | 1.8% (5/275) |
|  | Gastrointestinal Tract | 8.7% (24/275) |
|  | Respiratory Tract | 85.1% (234/275) |
|  | Skin or Soft Tissue | 2.2% (6/275) |
|  | Unknown/ Other | 7.3% (20/275) |
| 1 Participants may have multiple sources. 2 Anatomical location of infection was determined by clinical adjudicators after review of the clinical adjudication report. |  |  |

b

| TriVerity Bacterial Band | Clinically Adjudicated Bacterial Infection |  | Sensitivity (%) | Specificity (%) | Likeli-hood Ratio (80% CI) | Relative Frequency of Result (% in Band) | Probability of Bacterial Infection (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Yes (N) | No (N) |  |  |  |  |  |
| Very high | 226 | 28 | 30.5 | 94.2 | 5.24 (4.16–6.52) | 20.8 | 89.0 |
| High | 184 | 61 | 24.8 | 87.3 | 1.96 (1.63–2.35) | 20 | 75.1 |
| Moderate | 142 | 97 | 19.2 | 79.8 | 0.95 (0.84–1.11) | 19.6 | 59.4 |
| Low | 157 | 167 | 78.8 | 34.7 | 0.61 (0.52–0.67) | 26.5 | 48.5 |
| Very low | 32 | 128 | 95.7 | 26.6 | 0.16 (0.13–0.20) | 13.1 | 20.0 |

c

| TriVerity Viral Band | Clinically Adjudicated Viral Infection |  | Sensitivity (%) | Specificity (%) | Likeli-hood Ratio (80% CI) | Relative Frequency of Result (% in Band) | Probability of Viral Infection (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Yes (N) | No (N) |  |  |  |  |  |
| Very high | 128 | 22 | 46.5 | 97.7 | 20.04 (16.00–26.31) | 12.3 | 85.3 |
| High | 35 | 59 | 12.7 | 93.8 | 2.04 (1.50 - 2.65) | 7.7 | 37.2 |
| Moderate | 40 | 144 | 14.5 | 84.8 | 0.96 (0.77–1.26) | 15.1 | 21.7 |
| Low | 41 | 295 | 85.1 | 31.2 | 0.48 (0.37–0.56) | 27.5 | 12.2 |
| Very low | 31 | 427 | 88.7 | 45.1 | 0.25 (0.20–0.31) | 37.5 | 6.8 |

Supplementary Table 3 | Results of laboratory tests in participants at the time of enrollment. 
a, white blood cell counts or percentages; b, C-reactive protein, procalcitonin and lactate concentrations

| a |  |  |  |
| --- | --- | --- | --- |
| White Blood Cell Counts | Diagnostic Population: Consensus (N=729) | Diagnostic Population: Forced (N=1,222) | Prognostic Population (N=1,120) |
| Eosinophils (%) |  |  |  |
| N | 653 | 1087 | 995 |
| Mean (SD) | 0.8 (1.26) | 1.0 (1.68) | 1.0 (1.72) |
| Median (Range) | 0.3 (0.0, 10.0) | 0.4 (0.0, 24.0) | 0.4 (0.0, 24.0) |
| Leukocytes (109/L) |  |  |  |
| N | 709 | 1179 | 1081 |
| Mean (SD) | 11.8 (6.19) | 11.7 (6.06) | 11.7 (6.07) |
| Median (Range) | 10.9 (0.7, 41.4) | 10.7 (0.7, 41.4) | 10.7 (0.7, 41.4) |
| Lymphocytes (%) |  |  |  |
| N | 689 | 1140 | 1046 |
| Mean (SD) | 12.5 (9.26) | 13.7 (10.21) | 13.5 (10.21) |
| Median (Range) | 10.0 (0.0, 53.7) | 11.1 (0.0, 72.0) | 11.0 (0.0, 72.0) |
| Monocytes (%) |  |  |  |
| N | 688 | 1139 | 1045 |
| Mean (SD) | 7.3 (3.84) | 7.6 (4.47) | 7.6 (4.56) |
| Median (Range) | 7.0 (0.0, 44.9) | 7.0 (0.0, 60.9) | 7.0 (0.0, 60.9) |
| Neutrophils (%) |  |  |  |
| N | 687 | 1138 | 1045 |
| Mean (SD) | 76.9 (12.91) | 75.7 (13.60) | 75.8 (13.76) |
| Median (Range) | 79.2 (3.0, 98.2) | 78.0 (3.0, 98.2) | 78.0 (3.0, 98.2) |
| Neutrophils Bands (%) |  |  |  |
| N | 138 | 192 | 183 |
| Mean (SD) | 6.6 (12.13) | 6.2 (12.10) | 6.0 (11.90) |
| Median (Range) | 1.1 (0.0, 92.0) | 1.0 (0.0, 92.0) | 1.0 (0.0, 92.0) |
| b |  |  |  |
| C-Reactive Protein, Procalcitonin and Lactate Concentrations | Diagnostic Population: Consensus (N=729) | Diagnostic Population: Forced (N=1222) | Prognostic Population (N=1120) |
| C-Reactive Protein (mg/dL) |  |  |  |
| N | 714 | 1200 | 1100 |
| Mean (SD) | 10.3 (10.39) | 8.9 (9.65) | 9.1 (9.70) |
| Median (Range) | 6.7 (0.2, 49.4) | 5.3 (0.1, 49.4) | 5.4 (0.1, 49.4) |
| Procalcitonin (ng/mL) |  |  |  |
| N | 711 | 1186 | 1091 |
| Mean (SD) | 4.6 (16.69) | 3.0 (13.14) | 3.2 (13.55) |
| Median (Range) | 0.2 (0.0, 238.4) | 0.2 (0.0, 238.4) | 0.2 (0.0, 238.4) |
| Lactate (mmol/L) |  |  |  |
| N | 702 | 1155 | 1058 |
| Mean (SD) | 1.8 (1.51) | 1.9 (1.61) | 1.9 (1.66) |
| Median (Range) | 1.4 (0.4, 16.0) | 1.5 (0.4, 16.0) | 1.4 (0.4, 16.0) |

Supplementary Table 4 | Healthcare utilization by patient population

|  | Consensus Adjudication (N=729) | Forced Adjudication (N=1,222) | Prognostic Population (N=1,120) |
| --- | --- | --- | --- |
| Discharged to Home, n (%) | 171 (23.5%) | 333 (27.3%) | 286 (25.5%) |
| Admitted to Ward, n (%) | 417 (57.2%) | 662 (54.2%) | 615 (54.9%) |
| Admitted to ICU, n (%) | 98 (13.4%) | 158 (12.9%) | 155 (13.8%) |
| Admitted to Telemetry/Observation/Step Down Unit, n (%) | 79 (10.8%) | 123 (10.1%) | 117 (10.4%) |
| Transferred Out of Hospital to Another Facility, n (%) | 8 (1.1%) | 12 (1.0%) | 12 (1.1%) |
| Other, n (%) | 2 (0.3%) | 4 (0.3%) | 3 (0.3%) |
| Length of ED Stay (hours), n (%) |  |  |  |
| Less than 1 hour | 1 (0.1%) | 4 (0.3%) | 3 (0.3%) |
| 1-5 hours | 240 (32.9%) | 415 (34.0%) | 386 (34.5%) |
| 6-24 hours | 430 (59.0%) | 695 (56.9%) | 634 (56.6%) |
| 25-48 hours | 44 (6.0%) | 84 (6.9%) | 75 (6.7%) |
| 49-72 hours | 14 (1.9%) | 24 (2.0%) | 22 (2.0%) |
| Length of ICU Stay (days) |  |  |  |
| N | 95 | 154 | 151 |
| Mean (SD) | 5.7 (6.42) | 6.0 (6.67) | 6.1 (6.71) |
| Median (Range) | 3.0 (0.0, 28.0) | 4.0 (0.0, 28.0) | 4.0 (0.0, 28.0) |
| Length of Hospital Stay (days) |  |  |  |
| N | 632 | 1029 | 958 |
| Mean (SD) | 6.3 (6.40) | 6.0 (6.36) | 6.3 (6.51) |
| Median (Range) | 4.0 (1.0, 29.0) | 4.0 (1.0, 29.0) | 4.0 (1.0, 29.0) |

Supplementary Table 5 | Clinical outcomes

| Clinical Outcome | Total1 | Viral Infection | Bacterial Infection | Viral- Bacterial Coinfection | Non-infected |
| --- | --- | --- | --- | --- | --- |
|  | N=1,120 n (%) | N=220 n (%) | N=658 n (%) | N=30 n (%) | N=212 n (%) |
| “ICU-level care”2 (Primary Severity Endpoint) |  |  |  |  |  |
| Need for Mechanical Ventilation, Vasopressor Use, and/or Renal Replacement Therapy within 7 days | 122 (10.89%) | 8 (3.64%) | 89 (13.53%) | 10 (33.33%) | 15 (7.08%) |
| Mechanical Ventilation | 63 (51.64%) | 3 (37.50%) | 48 (53.93%) | 5 (50.00%) | 7 (46.67%) |
| Renal Replacement Therapy | 23 (18.85%) | 2 (25.00%) | 15 (16.85%) | 1 (10.00%) | 5 (33.33%) |
| Vasopressor Use | 99 (81.15%) | 5 (62.50%) | 74 (83.15%) | 9 (90.00%) | 11 (73.33%) |
| Overall Intensive Care Unit Use |  |  |  |  |  |
| ICU Admission With or Without Mechanical Ventilation, Vasopressor Use, and/or Renal Replacement Therapy | 147 (13.13%) | 13 (5.91%) | 102 (15.50%) | 9 (30.00%) | 23 (10.85%) |
| ICU Admission With Mechanical Ventilation, Vasopressor Use, and/or Renal Replacement Therapy | 98 (66.67%) | 6 (46.15%) | 71 (69.61%) | 8 (88.89%) | 13 (56.52%) |
| ICU Admission Without Mechanical Ventilation, Vasopressor Use, and/or Renal Replacement Therapy | 49 (33.33%) | 7 (53.85%) | 31 (30.39%) | 1 (11.11%) | 10 (43.48%) |

1 Results shown are for the prognostic population (n=1,120)
2 Defined as the need for mechanical ventilation, vasopressor use, and/or renal replacement therapy

Supplementary Table 6 | AUROC of the TriVerity bacterial result for the diagnosis of bacterial infections compared to commonly used biomarkers. A, Overall AUROC and 80% CI of the TriVerity bacterial results vs. C-reactive protein, procalcitonin and white blood cell count. B, Comparison of AUROC of TriVerity bacterial result vs. procalcitonin across different races

a

| Test/Biomarker | N | AUROC1 80% CI (Lower - Upper) | p-value |
| --- | --- | --- | --- |
| TriVerity Bacterial score C-reactive Protein | 649 | 0.83(0.80 – 0.87) | <0.0001 |
|  |  | 0.72(0.68 - 0.77) |  |
| TriVerity Bacterial score Procalcitonin | 655 | 0.83(0.79 – 0.86) | <0.0001 |
|  |  | 0.69(0.65 – 0.72) |  |
| TriVerity Bacterial score White Blood Cell Count | 686 | 0.82(0.79 - 0.85) | <0.0001 |
|  |  | 0.75 (0.72 – 0.79) |  |

b

| Race | N | AUROC1 80% CI (lower – upper) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | TriVerity Bacterial Result | Procalcitonin | p-value |  |
| Black/African American | 196 | 0.83 (0.79 - 0.86) | 0.63 (0.58 - 0.68) | <0.0001 |  |
| White | 419 | 0.82 (0.79 - 0.84) | 0.74 (0.70 - 0.77) | 0.001 |  |
| Other1 | 40 | 0.92 (0.87 - 0.97) | 0.57 (0.42 - 0.68) | <0.0001 |  |

1 using consensus adjudication as the reference standard

Supplementary Table 7 | Accuracy of bacterial (a) and viral (b) TriVerity results stratified by patient immune status

a

|  |  | Clinically Adjudicated Bacterial Infection |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Population | TriVerity Bacterial Band | Yes n (%) | No n (%) | Likelihood Ratio (80% CI) | AUROC (80% CI) |
| Immunosuppressed Patients | Very high | 42 (93.33%) | 3 (6.67%) | 5.87 (3.67-18.03) | 0.80 (0.75-0.85) |
|  | High | 17 (70.83%) | 7 (29.17%) | 1.02 (0.64-1.90) |  |
|  | Moderate | 18 (75.00%) | 6 (25.00%) | 1.26 (0.71-2.41) |  |
|  | Low | 13 (54.17%) | 11 (45.83%) | 0.5 (0.30-0.81) |  |
|  | Very low | 3 (20.00%) | 12 (80.00%) | 0.10 (0.04-0.23) |  |
| Immunocompetent Patients | Very high | 123 (93.18%) | 9 (6.82%) | 8.56 (5.71-13.32) | 0.83 (0.81-0.85) |
|  | High | 90 (83.33%) | 18 (16.67%) | 3.13 (2.35-4.38) |  |
|  | Moderate | 72 (64.29%) | 40 (35.71%) | 1.13 (0.91-1.46) |  |
|  | Low | 72 (47.06%) | 81 (52.94%) | 0.56 (0.47-0.65) |  |
|  | Very low | 10 (10.87%) | 82 (89.13%) | 0.08 (0.05-0.11) |  |

| b |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Clinically Adjudicated Viral Infection |  |  |  |  |  |  |  |
| Population | TriVerity Viral Band | Yes n (%) |  | No n (%) |  | Likelihood Ratio (80% CI) |  | AUROC (80% CI) |  |
| Immunosuppressed Cohort | Very high | 14 (87.50%) |  | 2 (12.50%) |  | 29.96 (14.53-76.65) |  | 0.89 (0.86-0.95) |  |
|  | High | 4 (40.00%) |  | 6 (60.00%) |  | 2.85 (1.11-5.65) |  |  |  |
|  | Moderate | 2 (10.53%) |  | 17 (89.47%) |  | 0.5 (0-0.97) |  |  |  |
|  | Low | 3 (9.38%) |  | 29 (90.63%) |  | 0.44 (0.20-0.76) |  |  |  |
|  | Very low | 2 (3.64%) |  | 53 (96.36%) |  | 0.16 (0-0.31) |  |  |  |
| Immunocompetent Cohort | Very high | 91 (93.81%) |  | 6 (6.19%) |  | 44.4 (26.68-101.10) |  | 0.91 (0.89-0.94) |  |
|  | High | 21 (43.75%) |  | 27 (56.25%) |  | 2.28 (1.69-3.07) |  |  |  |
|  | Moderate | 20 (24.39%) |  | 62 (75.61%) |  | 0.94 (0.71-1.27) |  |  |  |
|  | Low | 14 (9.27%) |  | 137 (90.73%) |  | 0.3 (0.19-0.38) |  |  |  |
|  | Very low | 6 (2.74%) |  | 213 (97.26%) |  | 0.08 (0.04-0.13) |  |  |  |

Supplementary Table 8 | Accuracy of Different Lactate Concentration Ranges for the Prediction of Need for Mechanical Ventilation, Vasopressors, and/or RRT Within 7-Days of Presentation in the Emergency Department. a, Accuracy for Different Lactate Concentration Ranges, b, Sensitivity Compared to TriVerity Illness Severity

a

|  | Need for Mechanical Ventilation, Vasopressors, and/or RRT Within 7 Days |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Lactate Concentration Band | Yes (N) | No (N) | Sensitivity (%) | Specificity (%) | Likelihood Ratio | Relative Frequency of Result (% in Band) |
| > 4 ng/ml | 32 | 39 | 26.7 | 95.8 | 6.41 (4.77 - 8.49) | 6.7 |
| 2-4 ng/ml | 48 | 165 | 40 | 82.4 | 2.27 (1.85 - 2.77) | 20.1 |
| < 2 ng/ml | 40 | 734 | 66.7 | 78.3 | 0.43 (0.34 - 0.49) | 73.2 |

b

|  |  | “ICU-Level-Care”1 |  | No “ICU-Level-Care”1 |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Lactate Concentration (ng/ml) 2 |  |  |  |
|  |  | >4 | <2 | >4 | <2 |
| TriVerity Severity Result3 | Very high | 9 | 3 | 4 | 5 |
|  | High | 10 | 13 | 14 | 81 |
|  | Low | 3 | 6 | 4 | 227 |
|  | Very low | 1 | 4 | 9 | 292 |

1 “ICU-level care”: Need for mechanical ventilation, vasopressors and/or renal-replacement therapy within 7 days of   
   presentation in the emergency department
2 Lactate results displayed without the middle range from 2-4 ng/ml
3 TriVerity result displayed without the moderate interpretation band

Supplementary Fig. 1 | Likelihood ratios by TriVerity interpretation band for
illness severity

Supplementary Fig. 2 | TriVerity System with TriVerity cartridge, Myrna Instrument and TriVerity Test result readouts

Note: TriVerity Test result for a patient sample showing a Very high Bacterial Score (43), Very low Viral Score (5), and Very high Illness Severity Score (41) suggesting the presence of a very severe bacterial infection but ruling out a viral infection.