Quick monitoring of routine samples of foods in the regulatory analysis of pesticide residues

José Manuel Veiga-del-Baño 1, José Oliva 1, Miguel Ángel Cámara 1, Pedro Andreo-Martínez 1,*, Miguel Motas 2

1 Department of Agricultural Chemistry, Faculty of Chemistry, Regional Campus of International Excellence “Campus Mare Nostrum”, University of Murcia, Campus of Espinardo, 30100 Murcia, Spain.

2 Department of Toxicology, Faculty of Veterinary, Regional Campus of International Excellence “Campus Mare Nostrum”, University of Murcia, Campus of Espinardo, 30100 Murcia, Spain

*Corresponding author: Pedro Andreo-Martínez. E-mail: pam11@um.es

Table S1. Pesticide validation summary detected in samples analyzed.

| Pesticide | Numb | Analysis | MRM | Rec % | RSD % | LoQ (mg/Kg) |
| --- | --- | --- | --- | --- | --- | --- |
| Chlorpropham | 5 | GC | 213>171 213>127 | 85 | 12 | 0.005 |
| Fenpropathrin | 5 | GC | 265<210 265>89 | 87 | 11 | 0.005 |
| Fluopyram | 5 | LC | 397>208 397>173 | 85 | 9 | 0.005 |
| Mandipropamid | 5 | LC | 412>328 412>125 | 90 | 13 | 0.005 |
| Spirotetramat | 5 | LC | 374>330 374>302 302>216 302>115 | 81 | 8 | 0.005 |
| Pendimethalin | 5 | GC | 252>162 252>191 | 88 | 14 | 0.005 |
| Acetamiprid | 5 | LC | 223>126 223>90 | 104 | 11 | 0.005 |
| Azoxystrobine | 5 | LC | 404>372 404>344 | 94 | 13 | 0.005 |
| Boscalid | 5 | LC | 343>307 343>271 | 95 | 7 | 0.005 |
| Chlorantraniliprole | 5 | LC | 484>194 484>185 | 85 | 13 | 0.005 |
| Cypermethrin | 5 | GC | 181>152 181>127 | 88 | 12 | 0.005 |
| Cyproconazole | 5 | GC | 222>125 222>82 | 97 | 7 | 0.005 |
| Cyprodinil | 5 | GC | 224>208 224>118 | 105 | 13 | 0.005 |
| Dimethomorph | 5 | GC | 301>165 301>139 | 103 | 13 | 0.005 |
| Fenhexamid | 5 | LC | 302>97 302>55 | 89 | 12 | 0.005 |
| Fludioxonil | 5 | GC | 248>154 248>127 | 83 | 12 | 0.005 |
| Iprodione | 5 | GC | 314>245 314>56 | 82 | 12 | 0.005 |
| Metaflumizone | 5 | LC | 505>285 505>328 | 93 | 7 | 0.005 |
| Pyraclostrobin | 5 | LC | 388>194 388>161 | 80 | 12 | 0.005 |
| Pyriproxyfen | 5 | GC | 136>96 136>78 | 98 | 14 | 0.005 |
| Spinosad | 5 | LC | 732>142 732>98 742>142 742>98 | 85 | 9 | 0.005 |
| Spirodiclofen | 5 | LC | 313>213 313>157 | 100 | 14 | 0.005 |
| Spiromesife | 5 | LC | 273>255 273>187 | 92 | 12 | 0.005 |
| Thiacloprid | 5 | LC | 253>126 253>90 | 87 | 9 | 0.005 |

Analysis: GC corresponding to GC-MS/MS analysis, LC corresponding to LC-MS/MS analysis; Numb: Number of repetitions for the pesticide validation in a representative matrix (pepper) for the commodity group G.HW; MRM: precursor ion > product ion (quantitative), precursor ion > product ion (qualitative). In the case of spirotetramat and spinosad, the table show the ions for spirotetramat and spirotetramat enol and spinosyn A and spinosyn D; %Rec: Average recovery percentage for each pesticide in the validation process.; %RSD: Relative standard deviation for each pesticide; LoQ: Limit of Quantification calculated with 5 blank spike samples of pepper with a recovery between 70-120% and RSD<20% according to SANTE 11312/2021.