Supplementary Table 1.   High-fidelity simulation scenarios

| Clinical scene | Trainee’s behavior | CALIFIA simulation system settings |
| --- | --- | --- |
| -V-V ECMO Higher recirculation in patient Arterial blood gas, SaO2 87% | - Patient’s SPO2decreasing, heart rate increasing - Color of drainage tube is similar to the perfusion tube - Request bedside blood gas test - Turn down flow speed - Request bedside ultrasound or chest X-ray, and adjust tubing position | - Set “recirculation rate” to 90% - If the trainee lowers the flow speed, the recirculation rate can be lowered to 70% - After the trainee adjusts the tubing and requests bedside chest X-ray or ultrasound exam, lower the “recirculation rate” to 20% - This scene ends |
| -V-V ECMO Hypovolemic shock occurs in patient ECMO parameter: BF, 2.5; rotation speed,4.0; FiO2, 50%. rattling of the lines Patient: HR,130 bpm; SPO2, 83%;IBP, 91/70mmHg | - Patient’s vital signs unstable - Rotation speed and flow speed do not match - Request bedside blood gas analysis - Turn down flow speed, aggressively infuse fluid, perform fluid resuscitation, or infuse blood product - If hemorrhagic shock, perform physical checkup of patient and find source of bleeding - Request bedside blood gas analysis or ultrasound. | - Set “venous lumen openness” to 40% - If trainee turns down flow speed and starts infusing fluid aggressively, the “venous lumen openness” can be increased to 60% - After fluid resuscitation is complete, increase the “venous lumen openness” to 100%. - This scene ends |
| -V-V ECMO Thrombosis in oxygenator, resulting in poor oxygenation of the membrane oxygenator Patient: SaO2 decreases progressively to 83%, HR 130 bpm | - Color of blood in leading tube is similar to that in perfusion tube (dark red) - SaO2 decreasing: check oxygen source, air oxygen device, and respirator equipment - SaO2 continues decreasing: check membrane oxygenator. Small thrombosis found in membrane oxygenator: request pre- and post-membrane blood gas analysis - Make sure poor oxygenation of membrane oxygenator is due to thrombosis: adjust heparin dose, adjust mechanical ventilator to full support mode, cross clamp properly and change oxygenator immediately - Re-adjust parameters for ECMO and the respirator. | - Set the “oxygenator exchange rate” to 40% - If trainee finds thrombosis in oxygenator, adjust respirator parameters, and set the “oxygenator exchange rate” to 50% - Change the membrane oxygenator, and set the “oxygenator exchange rate” to 60% - After membrane oxygenator is changed, reset the parameters for ECMO and the respirator, and set the “oxygenator exchange rate” to 10%; - This scene ends. |
| -V-A ECMO Air in the circuit Patient: HR, 40 bpm; SPO2, 70%; MAP, 50mmHg, gradual decreasing. | - When patient’s vital signs change, quickly identify gas in the circuit - Clamp the arteriovenous line immediately, turn down the flow rate, and stop the pump - Call other doctors, and prepare for resuscitation - Examine every connection in the ECMO extracorporeal circulation line | - Inject 50ml of air directly into the drainage tube - If the trainee does not discover gas in the circuit, set “right ventricle contractility” to 20% after 60 sec, and gradually lower to 0. - If the trainee discovers gas in the pipeline before the patient’s vital signs change, clamp the arteriovenous line, and set the “right ventricle contractility” to 50%. - This scene ends. |
| V-V ECMO Power failure and backup battery is exhausted. | - Trainee quickly realizes need to cross clamp properly and replace the emergency drive immediately. | No set up. |

ECMO: extracorporeal membrane oxygenation

Supplementary Table 2.  Evaluation of simulation scenarios’ authenticity by trainees

| Evaluation items | Poor | Medium | Good | Excellent |
| --- | --- | --- | --- | --- |
| 1. Evaluation of space |  |  |  |  |
| Spatial authenticity of the ward layout |  |  | 10 | 27 |
| Authenticity of the simulated scene |  |  | 5 | 22 |
| 2. Evaluation of equipment |  |  |  |  |
| Authenticity of the human model |  | 1 | 12 | 24 |
| Authenticity of the simulated medications |  | 3 | 14 | 20 |
| Authenticity of the monitor and acoustic simulation |  |  | 4 | 33 |
| 3. Evaluation of cases |  |  |  |  |
| Closeness of case design to clinical practice |  |  |  | 37 |
| Ability to master operation skills from simulated emergency scenarios |  |  | 2 | 35 |
| Ability to initially solve practical clinical problems during simulated cases |  |  | 2 | 35 |
| 4. Evaluation of teachers’ demonstration |  |  |  |  |
| Trainees can learn the principles and basic rules of priming from demonstrations |  |  | 2 | 35 |
| Trainees can learn the key points of basic ECMO monitoring through demonstrations using simulated scenes |  |  | 3 | 34 |
| Trainees can learn codes of conduct in emergencies through demonstrations of simulated emergency scenes |  | 1 | 2 | 34z |

Supplementary Table 3.  Simulation training feedback by trainees

|  | Score |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Trainees’ self-assessment items after training | 5 (n, %) | 6 (n, %) | 7 (n, %) | 8 (n, %) | 9 (n, %) | 10 (n, %) |
| Q1 I think I’m capable of applying ECMO after the course (yes) |  | 16(43.2) | 10(27) | 10(27) | 1(2.7) |  |
| Q2.1 Independent completion of PLS set system. (yes) |  | 1(2.7) | 2(5.4) | 17(45.9) | 8(21.6) | 9(24.3) |
| Q2.2 Independent completion of HLS set Advanced priming. (yes) |  | 2(5.4) | 4(10.8) | 15(40.5) | 10(27) | 6(16.2) |
| Q2.3 Competency of problem solving when problems arise during PLS set system priming. (yes) |  | 6(16.2) | 6(16.2) | 16(43.2) | 7(18.9) | 2(5.4) |
| Q2.4 Competency of problem solving when problems arise during the HLS set Advanced system priming. (yes) |  | 5(13.5) | 6(16.2) | 19(51.4) | 6(16.2) | 1(2.7) |
| Q3 After the course, I have a preliminary understanding of the content of ECMO monitoring and management, and can independently accomplish monitoring tasks in a clinical setting. (yes) | 1(2.7) | 15(40.5) | 5(13.5) | 15(40.5) | 1(13.5) |  |
| Q4 After the course, I can preliminarily predict and solve common problems during ECMO machine changing processes. (yes) |  | 13(35.1) | 9(24.3) | 13(35.1) | 2(5.4) |  |
| Q5 After the course, I can identify emergencies and respond quickly. (yes) |  | 11(29.7) | 7(18.9) | 14(37.8) | 5(13.5) |  |
| Q6 After the course, I can apply what I’ve learned to clinical practice. (yes) | 1(2.7) | 10(27) | 13(35.1) | 12(32.4) | 1(2.7) |  |