# Supplementary material

Appendix A Methods and Parameters for the Determination of Selenium Content

A1 The Working Conditions of AFS-922 Type Atomic Fluorescence Spectrometer

| Working parameters | Set values |
| --- | --- |
| Lamp Channel: | Selenium lamp in Channel B |
| Negative High Voltage for Photomultiplier Tube | 300 V |
| Atomizer Height | 10 mm |
| Lamp Current | 80 mA |
| Carrier Gas Flow Rate | Argon gas (Ar) at 400 mL/min |
| Shield Gas Flow Rate | 8000 mL/min |
| Analytical Signal | Peak Area |
| Reading Time | 12 s |
| Delay Time | 1.2 s |
| Injection Volume | 1.5 mL |
| Number of Determinations | 3 times |
| Carrier Solution | 5% HCl |
| Reducing Agent | 1% Potassium Borohydride |

A2: Detailed method for the determination of Se content

The determination of Se content was conducted according to the Chinese National Standard (GB 5009.93—2017).

1 Soil sample pretreatment

The dried soil samples, with moisture content determined by constant weight after drying, were placed in a mortar to remove stones and then ground. After thoroμgh grinding, the soil was sieved throμgh a 200-mesh screen and stored in high-quality PA-PE composite plastic self-sealing bags for later selenium determination.

2 Soil sample pretreatment protocol

After the sampling process was completed, each soil sample was assigned a unique identifier. Each sample was replicated three times, and a blank control sample was also prepared and replicated three times. These samples were then subjected to digestion and volume standardization. The digestion tubes were immersed in a 1:1 nitric acid solution for a 24-hour soak. On the following day, the soaked tubes were rinsed with deionized water and then washed three times with ultrapure water. The tubes were then dried and set aside for future use.

3 Preparation of reagents for Se measurement in soil samples

(1) 1% Potassium Borohydride Solution: Dissolve 10.0 g of potassium borohydride (superior grade) in 1000 mL of 0.5% potassium hydroxide (superior grade, 5 g potassium hydroxide dissolved in 1000 mL of ultrapure water). This solution is prone to denaturation, so it is best to prepare it fresh before use.

(2) 5% Hydrochloric Acid Solution: Add 100 mL of hydrochloric acid (superior grade) slowly to 1500 mL of ultrapure water, cool, and then dilute to 2000 mL.

(3) 6 mol/L Hydrochloric Acid: Add 100mL of hydrochloric acid (superior grade) slowly to 60 mL of ultrapure water, cool, and then dilute to 200 mL. When preparing the hydrochloric acid, add ultrapure water first, then the acid to prevent splashing and injury.

(4) Standard Selenium Solution: Transfer 5 mL of a 1000 μg/L selenium standard solution and dilute to 50 mL to prepare a 100 μg/L stock solution.

4 Digestion treatment of soil samples

(1) Acid Immersion: Weigh 0.05 g of soil sample into a digestion tube, add 8 mL of concentrated nitric acid (superior grade), 2 mL of perchloric acid (superior grade), and 2 mL of hydrogen peroxide (superior grade), cover, and immerse for 24 hours. Each soil sample has two technical replicates, each with its own designation.

(2) Digestion: The acid-immersed samples and a set of control samples are placed in a digestion furnace and digested at 120℃ for 1 hour, then raised to 150℃ for another hour, and finally to 180℃ until the solution becomes clear and transparent.

(3) Acid Evaporation: After digestion, continue heating (<150 ℃) to distill the liquid to about 2 mL. This step is to remove nitrogen oxides but caution should be exercised not to dry the digestion tube.

(4) Reduction: Remove the digestion tube, cool to room temperature, add 5 mL of 6 mol/L hydrochloric acid, and continue heating until the solution becomes clear. This step aims to reduce selenium (VI) to selenium (IV).

(5) Final Volume Adjustment: Transfer the reduced solution to a 10 mL volumetric flask with ultrapure water, dilute to the mark, and then transfer to a 15 mL capped round bottom centrifμge tube for storage. This step yielded samples of digested soil solutions ready for selenium analysis.

5 Measurement of Se in soil digestion samples

(1) Instrument Setup: The experiment uses an AFS-922 type hydride generation double channel atomic fluorescence spectrometer, with parameters set as shown in Appendix A1. This is followed by the determination of the standard curve for selenium analysis.

(2) Measurement of Selenium in Samples: Set the number of samples to be added, select the area to be measured (same as the standard curve setting), place the blank and the samples to be tested into the AFS-922 type hydride generation double channel atomic fluorescence spectrometer for selenium measurement, click clean, extinguish the flame, close the page, open the pressure block valve, and print the results, then turn off the machine. For soil samples that exceed the measurement range, the instrument can automatically dilute them to a certain extent. If the automatic dilution still results in samples exceeding the measurement range, manual dilution is necessary before measurement.

(3) Data Processing for Selenium Measurement: Weigh the soil sample as 0.05 g, and the digestion reagent as 10 mL. Convert this to the selenium content in the soil per gram (μg/g) for analysis.

Appendix B Analysis data of environmental factors at different sites

| Site | Se |  |  |  | pH |  |  |  | H2O |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Difa | P value | Sig.b |  | Dif | P value | Sig. |  | Dif | P value | Sig. |
| A - B | 27.33 | 0.000 | *** |  | -10.50 | 0.043 | * |  | -11.67 | 0.008 | ** |
| A - C | 7.83 | 0.051 | . |  | -14.50 | 0.007 | ** |  | -22.33 | 0.000 | *** |
| A - D | 14.17 | 0.001 | ** |  | -14.00 | 0.009 | ** |  | -15.33 | 0.001 | *** |
| A - E | 15.67 | 0.000 | *** |  | -17.50 | 0.002 | ** |  | -6.33 | 0.126 |  |
| A - F | 25.00 | 0.000 | *** |  | 1.00 | 0.840 |  |  | 3.00 | 0.460 |  |
| A - G | 21.33 | 0.000 | *** |  | 3.50 | 0.482 |  |  | 1.33 | 0.741 |  |
| A - H | 16.00 | 0.000 | *** |  | -12.50 | 0.018 | * |  | -19.33 | 0.000 | *** |
| A - I | 9.33 | 0.022 | * |  | -8.50 | 0.096 | . |  | -20.00 | 0.000 | *** |
| A - J | 2.67 | 0.489 |  |  | -18.83 | 0.001 | *** |  | -8.67 | 0.041 | * |
| A - K | 3.67 | 0.344 |  |  | 3.83 | 0.442 |  |  | -3.33 | 0.412 |  |
| B - C | -19.50 | 0.000 | *** |  | -4.00 | 0.422 |  |  | -10.67 | 0.014 | * |
| B - D | -13.17 | 0.002 | ** |  | -3.50 | 0.482 |  |  | -3.67 | 0.368 |  |
| B - E | -11.67 | 0.006 | ** |  | -7.00 | 0.167 |  |  | 5.33 | 0.194 |  |
| B - F | -2.33 | 0.544 |  |  | 11.50 | 0.028 | * |  | 14.67 | 0.001 | ** |
| B - G | -6.00 | 0.127 |  |  | 14.00 | 0.009 | ** |  | 13.00 | 0.004 | ** |
| B - H | -11.33 | 0.007 | ** |  | -2.00 | 0.687 |  |  | -7.67 | 0.067 | . |
| B - I | -18.00 | 0.000 | *** |  | 2.00 | 0.687 |  |  | -8.33 | 0.048 | * |
| B - J | -24.67 | 0.000 | *** |  | -8.33 | 0.103 |  |  | 3.00 | 0.460 |  |
| B - K | -23.67 | 0.000 | *** |  | 14.33 | 0.008 | ** |  | 8.33 | 0.048 | * |
| C - D | 6.33 | 0.109 |  |  | 0.50 | 0.920 |  |  | 7.00 | 0.093 | . |
| C - E | 7.83 | 0.051 | . |  | -3.00 | 0.546 |  |  | 16.00 | 0.001 | *** |
| C - F | 17.17 | 0.000 | *** |  | 15.50 | 0.005 | ** |  | 25.33 | 0.000 | *** |
| C - G | 13.50 | 0.002 | ** |  | 18.00 | 0.001 | ** |  | 23.67 | 0.000 | *** |
| C - H | 8.17 | 0.042 | * |  | 2.00 | 0.687 |  |  | 3.00 | 0.460 |  |
| C - I | 1.50 | 0.696 |  |  | 6.00 | 0.233 |  |  | 2.33 | 0.564 |  |
| C - J | -5.17 | 0.186 |  |  | -4.33 | 0.385 |  |  | 13.67 | 0.002 | ** |
| C - K | -4.17 | 0.283 |  |  | 18.33 | 0.001 | ** |  | 19.00 | 0.000 | *** |
| D - E | 1.50 | 0.696 |  |  | -3.50 | 0.482 |  |  | 9.00 | 0.034 | * |
| D - F | 10.83 | 0.009 | ** |  | 15.00 | 0.006 | ** |  | 18.33 | 0.000 | *** |
| D - G | 7.17 | 0.072 | . |  | 17.50 | 0.002 | ** |  | 16.67 | 0.000 | *** |
| D - H | 1.83 | 0.633 |  |  | 1.50 | 0.762 |  |  | -4.00 | 0.326 |  |
| D - I | -4.83 | 0.215 |  |  | 5.50 | 0.273 |  |  | -4.67 | 0.254 |  |
| D - J | -11.50 | 0.006 | ** |  | -4.83 | 0.334 |  |  | 6.67 | 0.109 |  |
| D - K | -10.50 | 0.011 | * |  | 17.83 | 0.001 | ** |  | 12.00 | 0.006 | ** |
| E - F | 9.33 | 0.022 | * |  | 18.50 | 0.001 | *** |  | 9.33 | 0.029 | * |
| E - G | 5.67 | 0.149 |  |  | 21.00 | 0.000 | *** |  | 7.67 | 0.067 | . |
| E - H | 0.33 | 0.931 |  |  | 5.00 | 0.318 |  |  | -13.00 | 0.004 | ** |
| E - I | -6.33 | 0.109 |  |  | 9.00 | 0.079 | . |  | -13.67 | 0.002 | ** |
| E - J | -13.00 | 0.002 | ** |  | -1.33 | 0.788 |  |  | -2.33 | 0.564 |  |
| E - K | -12.00 | 0.004 | ** |  | 21.33 | 0.000 | *** |  | 3.00 | 0.460 |  |
| F - G | -3.67 | 0.344 |  |  | 2.50 | 0.614 |  |  | -1.67 | 0.680 |  |
| F - H | -9.00 | 0.027 | * |  | -13.50 | 0.011 | * |  | -22.33 | 0.000 | *** |
| F - I | -15.67 | 0.000 | *** |  | -9.50 | 0.065 | . |  | -23.00 | 0.000 | *** |
| F - J | -22.33 | 0.000 | *** |  | -19.83 | 0.001 | *** |  | -11.67 | 0.008 | ** |
| F - K | -21.33 | 0.000 | *** |  | 2.83 | 0.568 |  |  | -6.33 | 0.126 |  |
| G - H | -5.33 | 0.173 |  |  | -16.00 | 0.004 | ** |  | -20.67 | 0.000 | *** |
| G - I | -12.00 | 0.004 | ** |  | -12.00 | 0.023 | * |  | -21.33 | 0.000 | *** |
| G - J | -18.67 | 0.000 | *** |  | -22.33 | 0.000 | *** |  | -10.00 | 0.020 | * |
| G - K | -17.67 | 0.000 | *** |  | 0.33 | 0.946 |  |  | -4.67 | 0.254 |  |
| H - I | -6.67 | 0.092 | . |  | 4.00 | 0.422 |  |  | -0.67 | 0.869 |  |
| H - J | -13.33 | 0.002 | ** |  | -6.33 | 0.209 |  |  | 10.67 | 0.014 | * |
| H - K | -12.33 | 0.004 | ** |  | 16.33 | 0.003 | ** |  | 16.00 | 0.001 | *** |
| I - J | -6.67 | 0.092 | . |  | -10.33 | 0.046 | * |  | 11.33 | 0.009 | ** |
| I - K | -5.67 | 0.149 |  |  | 12.33 | 0.020 | * |  | 16.67 | 0.000 | *** |
| J - K | 1.00 | 0.794 |  |  | 22.67 | 0.000 | *** |  | 5.33 | 0.194 |  |

a The differences between the first group and the second group were assessed using the Kruskal-Wallis test and followed by pairwise comparisons, which were performed using R scripts.

b Significance between two group, P < 0.1, * P < 0.05, ** P < 0.01, *** P < 0.001.

Appendix C

Length distribution of valid sequences

| Lengtha | Sequencesb | Percentc |
| --- | --- | --- |
| 1-200 | 1 | 0.00% |
| 201-250 | 3258 | 0.22% |
| 251-300 | 7038 | 0.48% |
| 301-350 | 1468280 | 99.30% |
| 351-400 | 49 | 0.00% |
| 401-450 | 9 | 0.00% |

a Length: The range of sequence lengths.

b Sequences: The number of sequences corresponding to each length range.

c Percent: The percentage of sequences in each length range.

Appendix D Correlation coefficients and significance tests obtained from the mantel test between different species and environmental factors

| Species | Environmental factors | rho | P value | Family | Order | Class |
| --- | --- | --- | --- | --- | --- | --- |
| Odontomachus troglodytes | Se | 0.69 | 0.029 | Formicidae | Hymenoptera | Insecta |
| Lasius emarginatus | Se | 0.69 | 0.031 | Formicidae | Hymenoptera | Insecta |
| Lasius niger | Se | 0.69 | 0.031 | Formicidae | Hymenoptera | Insecta |
| Panorpa helena | Se | 0.69 | 0.029 | Panorpidae | Mecoptera | Insecta |
| Perionyx excavatus | Se | 0.69 | 0.029 | Megascolecidae | Haplotaxida | Clitellata |
| Slavina appendiculata | Se | 0.69 | 0.029 | Naididae | Haplotaxida | Clitellata |
| Belvosia sp. Woodley08 | Se | 0.69 | 0.031 | Tachinidae | Diptera | Insecta |
| Carabus seishinensis | Se | 0.69 | 0.031 | Carabidae | Coleoptera | Insecta |
| Chalcosyrphus rufipes | Se | 0.69 | 0.031 | Syrphidae | Diptera | Insecta |
| Diarsia rosaria | Se | 0.69 | 0.031 | Noctuidae | Lepidoptera | Insecta |
| Fusarium delphinoides | Se | 0.69 | 0.031 | Nectriaceae | Hypocreales | Sordariomycetes |
| Lutzomyia longiflocosa | Se | 0.69 | 0.031 | Psychodidae | Diptera | Insecta |
| Malandena suturalis | Se | 0.69 | 0.031 | Helicarionidae | Stylommatophora | Gastropoda |
| Merodon erivanicus | Se | 0.69 | 0.031 | Syrphidae | Diptera | Insecta |
| Nepalomyia sp. 1 SNK-2009 | Se | 0.69 | 0.031 | Dolichopodidae | Diptera | Insecta |
| Pseudonapomyza lacteipennis | Se | 0.69 | 0.031 | Agromyzidae | Diptera | Insecta |
| Dolerus sp. Sus5 | Se | 0.69 | 0.021 | Tenthredinidae | Hymenoptera | Insecta |
| Grania trichaeta | Se | 0.66 | 0.018 | Enchytraeidae | Haplotaxida | Clitellata |
| Toxorhynchites sp. AM-2001 | Se | 0.65 | 0.021 | Culicidae | Diptera | Insecta |
| Coelotes terrestris | Se | 0.65 | 0.004 | Amaurobiidae | Araneae | Arachnida |
| Bradysia impatiens | Se | 0.64 | 0.004 | Sciaridae | Diptera | Insecta |
| Tellervo zoilus | Se | 0.64 | 0.019 | Nymphalidae | Lepidoptera | Insecta |
| Phytomyza plantaginis | Se | 0.63 | 0.020 | Agromyzidae | Diptera | Insecta |
| Phytomyza sp. escalante | Se | 0.62 | 0.005 | Agromyzidae | Diptera | Insecta |
| Synanthedon acerrubri | Se | 0.61 | 0.022 | Sesiidae | Lepidoptera | Insecta |
| Nesobasis leveri | Se | 0.60 | 0.004 | Coenagrionidae | Odonata | Insecta |
| Eurocoelotes inermis | Se | 0.53 | 0.033 | Amaurobiidae | Araneae | Arachnida |
| Cerodontha fasciata | Se | 0.52 | 0.006 | Agromyzidae | Diptera | Insecta |
| Wadotes dixiensis | Se | 0.52 | 0.029 | Amaurobiidae | Araneae | Arachnida |
| Microphotus angustus | Se | 0.48 | 0.035 | Lampyridae | Coleoptera | Insecta |
| Pristina leidyi | Se | 0.47 | 0.036 | Naididae | Haplotaxida | Clitellata |
| Anopheles messeae | Se | 0.46 | 0.018 | Culicidae | Diptera | Insecta |
| Spazigaster ambulans | Se | 0.46 | 0.017 | Syrphidae | Diptera | Insecta |
| Panorpodes paradoxus | Se | 0.46 | 0.032 | Panorpodidae | Mecoptera | Insecta |
| Squalidus japonicus | Se | 0.46 | 0.022 | Cyprinidae | Cypriniformes | Actinopteri |
| Acalymma vittatum | Se | 0.45 | 0.046 | Chrysomelidae | Coleoptera | Insecta |
| Tyrrhenoleuctra tangerina | Se | 0.45 | 0.035 | Leuctridae | Plecoptera | Insecta |
| Hemisturmia sp. tenuipalpisDHJ04 | Se | 0.43 | 0.032 | Tachinidae | Diptera | Insecta |
| Euthyatira pudens | Se | 0.41 | 0.035 | Drepanidae | Lepidoptera | Insecta |
| Chromatomyia tiarellae | Se | 0.40 | 0.019 | Agromyzidae | Diptera | Insecta |
| Lasius alienus | Se | 0.40 | 0.037 | Formicidae | Hymenoptera | Insecta |
| Aglaothamnion callophyllidicola | Se | 0.39 | 0.041 | Ceramiaceae | Ceramiales | Florideophyceae |
| Chrysomya chani | Se | 0.38 | 0.040 | Calliphoridae | Diptera | Insecta |
| Sarcophaga dux | pH | 0.39 | 0.001 | Sarcophagidae | Diptera | Insecta |
| Aleochara curtula | pH | 0.38 | 0.002 | Staphylinidae | Coleoptera | Insecta |
| Pristina leidyi | pH | 0.35 | 0.005 | Naididae | Haplotaxida | Clitellata |
| Strigamia maritima | pH | 0.35 | 0.004 | Linotaeniidae | Geophilomorpha | Chilopoda |
| Sus scrofa | pH | 0.33 | 0.007 | Suidae | norank | Mammalia |
| Aleochara inconspicua | pH | 0.33 | 0.028 | Staphylinidae | Coleoptera | Insecta |
| Sphaerophoria loewi | pH | 0.33 | 0.028 | Syrphidae | Diptera | Insecta |
| Sterictiphora furcata | pH | 0.33 | 0.028 | Argidae | Hymenoptera | Insecta |
| Aleochara clavicornis | pH | 0.33 | 0.031 | Staphylinidae | Coleoptera | Insecta |
| Anopheles bwambae | pH | 0.33 | 0.031 | Culicidae | Diptera | Insecta |
| Campylomma verbasci | pH | 0.33 | 0.031 | Miridae | Hemiptera | Insecta |
| Elatobium abietinum | pH | 0.33 | 0.031 | Aphididae | Hemiptera | Insecta |
| Meioneta rurestris | pH | 0.33 | 0.031 | Linyphiidae | Araneae | Arachnida |
| Simulium piperi | pH | 0.33 | 0.031 | Simuliidae | Diptera | Insecta |
| Sphaeromimus musicus | pH | 0.33 | 0.031 | Sphaerotheriidae | Sphaerotheriida | Diplopoda |
| Bradysia impatiens | pH | 0.32 | 0.006 | Sciaridae | Diptera | Insecta |
| Microphotus angustus | pH | 0.32 | 0.013 | Lampyridae | Coleoptera | Insecta |
| Cybister posticus | pH | 0.32 | 0.013 | Dytiscidae | Coleoptera | Insecta |
| Philaccolus elongatus | pH | 0.32 | 0.017 | Dytiscidae | Coleoptera | Insecta |
| Pseudococcus comstocki | pH | 0.31 | 0.021 | Pseudococcidae | Hemiptera | Insecta |
| Amphelasma sexlineatum | pH | 0.31 | 0.028 | Chrysomelidae | Coleoptera | Insecta |
| Euthyatira pudens | pH | 0.30 | 0.006 | Drepanidae | Lepidoptera | Insecta |
| Acalymma vittatum | pH | 0.30 | 0.027 | Chrysomelidae | Coleoptera | Insecta |
| Camponotus japonicus | pH | 0.28 | 0.043 | Formicidae | Hymenoptera | Insecta |
| Phytomyza marginalis | pH | 0.28 | 0.032 | Agromyzidae | Diptera | Insecta |
| Aleochara laticornis | pH | 0.28 | 0.022 | Staphylinidae | Coleoptera | Insecta |
| Loliolus japonicus | pH | 0.26 | 0.025 | Loliginidae | Teuthida | Cephalopoda |
| Culter alburnus | pH | 0.25 | 0.033 | Cyprinidae | Cypriniformes | Actinopteri |
| Ocyptamus sp. CR-9 | pH | 0.22 | 0.041 | Syrphidae | Diptera | Insecta |
| Drosophila littoralis | H2O | 0.76 | 0.030 | Drosophilidae | Diptera | Insecta |
| Lutzomyia quasitownsendi | H2O | 0.76 | 0.030 | Psychodidae | Diptera | Insecta |
| Pseudosphinx tetrio | H2O | 0.76 | 0.030 | Sphingidae | Lepidoptera | Insecta |
| Siphosturmia sp. rafaeliDHJ04 | H2O | 0.76 | 0.030 | Tachinidae | Diptera | Insecta |
| Eupolybothrus fasciatus | H2O | 0.75 | 0.028 | Lithobiidae | Lithobiomorpha | Chilopoda |
| Blastobasis catapealla | H2O | 0.52 | 0.021 | Blastobasidae | Lepidoptera | Insecta |
| Anopheles melas | H2O | 0.48 | 0.030 | Culicidae | Diptera | Insecta |
| Lamyctinus coeculus | H2O | 0.43 | 0.046 | Henicopidae | Lithobiomorpha | Chilopoda |
| Calliphora lata | H2O | 0.42 | 0.049 | Calliphoridae | Diptera | Insecta |
| Eucelatoria sp. armigeraDHJ04 | H2O | 0.40 | 0.038 | Tachinidae | Diptera | Insecta |
| Lespesia sp. posticaDHJ10 | H2O | 0.40 | 0.040 | Tachinidae | Diptera | Insecta |
| Eudonia spenceri | H2O | 0.40 | 0.038 | Crambidae | Lepidoptera | Insecta |
| Bothropolys sp. SP-2004 | H2O | 0.40 | 0.041 | Ethopolyidae | Lithobiomorpha | Chilopoda |
| Phyllophaga hirtiventris | H2O | 0.38 | 0.037 | Scarabaeidae | Coleoptera | Insecta |
| Stachanorema tolerans | H2O | 0.38 | 0.040 | Isotomidae | Entomobryomorpha | Collembola |
| Dermacentor rhinocerinus | H2O | 0.34 | 0.039 | Ixodidae | Ixodida | Arachnida |