# Supplementary material

Table S1. Demographics of all recruited individuals within the prospective repeatability, reproducibility, and inter/intra-analyst testing

| Age (years) | Sex (M/F) | Weight (kg) | Height (m) | BMI (kg/m2) |
| --- | --- | --- | --- | --- |
| 20 | M | 81 | 1.85 | 23.7 |
| 21 | M | 66 | 1.76 | 21.3 |
| 21 | F | 70 | 1.58 | 28 |
| 22 | F | 62 | 1.67 | 22.2 |
| 24 | F | 44 | 1.56 | 18.1 |
| 29 | M | 115 | 1.93 | 30.9 |
| 31 | M | 78 | 1.74 | 25.8 |
| 34 | F | 61 | 1.67 | 21.9 |
| 42 | M | 71 | 1.82 | 21.4 |
| 43 | F | 60 | 1.63 | 22.6 |
| 44 | M | 58 | 1.82 | 17.5 |
| 46 | M | 111 | 1.93 | 29.8 |

Table S2. Demographics of individuals included in the retrospective inter-device and inter-reader (analyst vs. radiologist) assessments

| Age (years) | Sex (M/F) | Weight (kg) | Height (m) | BMI (kg/m2) | Scanner | Field Strength (T) |
| --- | --- | --- | --- | --- | --- | --- |
| 28 | F | 55 | 1.6 | 21.5 | Siemens | 3 |
| 22 | F | 40 | 1.52 | 17.3 | GE | 1.5 |
| 42 | M | 71 | 1.82 | 21.4 | Philips | 3 |
| 41 | M | 78 | 1.82 | 23.5 | Siemens | 3 |
| 31 | F | 69 | 1.59 | 27.3 | GE | 1.5 |
| 32 | F | 55 | 1.5 | 24.4 | GE | 3 |
| 24 | M | 77 | 1.73 | 25.7 | Siemens | 1.5 |
| 34 | F | 61 | 1.65 | 22.4 | Siemens | 3 |
| 24 | F | 45 | 1.66 | 16.3 | Siemens | 1.5 |
| 54 | M | 83 | 1.81 | 25.3 | GE | 1.5 |
| 47 | M | 136 | 1.75 | 44.4 | Philips | 3 |
| 21 | F | 70 | 1.58 | 28 | Siemens | 3 |
| 27 | F | 70 | 1.73 | 23.4 | GE | 3 |
| 21 | M | 58 | 1.67 | 20.8 | GE | 1.5 |
| 21 | M | 66 | 1.76 | 21.3 | Philips | 1.5 |
| 31 | M | 78 | 1.74 | 25.8 | Philips | 1.5 |
| 29 | M | 115 | 1.93 | 30.9 | Philips | 1.5 |
| 24 | M | 68 | 1.76 | 22 | Siemens | 1.5 |
| 55 | M | 81 | 1.73 | 27.1 | GE | 3 |
| 24 | F | 61 | 1.77 | 19.5 | Siemens | 1.5 |
| 24 | M | 69 | 1.66 | 25 | Siemens | 1.5 |
| 24 | F | 44 | 1.56 | 18.1 | Philips | 1.5 |
| 42 | M | 81 | 1.8 | 25 | GE | 3 |
| 24 | F | 99 | 1.52 | 42.8 | Siemens | 1.5 |
| 27 | F | 80 | 1.64 | 29.7 | GE | 3 |
| 46 | M | 111 | 1.92 | 30.1 | Siemens | 3 |
| 44 | M | 59 | 1.8 | 18.2 | Siemens | 3 |
| 44 | M | 60 | 1.81 | 18.3 | GE | 3 |
| 22 | F | 62 | 1.67 | 22.2 | Philips | 3 |
| 64 | F | 79 | 1.62 | 30.1 | Philips | 3 |
| 43 | F | 60 | 1.63 | 22.6 | Philips | 1.5 |
| 31 | F | 62 | 1.58 | 24.8 | GE | 1.5 |
| 65 | M | 78 | 1.75 | 25.5 | Philips | 3 |
| 39 | M | 89 | 1.72 | 30.1 | GE | 1.5 |
| 21 | F | 70 | 1.58 | 28 | Philips | 1.5 |
| 63 | F | 78 | 1.62 | 29.7 | Philips | 3 |

A list of abbreviations applicable to Tables S3-S7:

CoV, coefficient of variation; ICC, intraclass coefficient; LoA, limits of agreement; Pearson, Pearson correlation coefficient; RC, repeatability coefficient; SAT, subcutaneous adipose tissue; SD, standard deviation; VAT, visceral adipose tissue

Table S3. Summary of scan-rescan repeatability results for body composition measurements for Philips 3T

| Measurement | Scanner | Bias | Lower LoA | Upper LoA | SD | ICC | RC | CoV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Psoas muscle CSA (cm2) | Philips 3T | -0.092 | -2.0 | 1.9 | 0.99 | 1.00 | 1.9 | 2.7 |
| Psoas muscle Index (cm2/m2) |  | -0.007 | -0.59 | 0.57 | 0.30 | 0.99 | 0.56 | 2.7 |
| Skeletal muscle CSA (cm2) |  | 1.2 | -9.4 | 12 | 5.4 | 0.99 | 10 | 2.3 |
| Skeletal muscle Index (cm2/m2) |  | 0.32 | -2.8 | 3.5 | 1.6 | 0.99 | 3.1 | 2.3 |
| SAT CSA (cm2) |  | -1.0 | -12 | 9.9 | 5.6 | 1.00 | 11 | 2.0 |
| SAT Index (cm2/m2) |  | -0.31 | -3.7 | 3.1 | 1.7 | 1.00 | 3.3 | 2.1 |
| VAT CSA (cm2) |  | -4.1 | -27 | 18 | 11 | 0.98 | 23 | 7.8 |
| VAT Index (cm2/m2) |  | -1.2 | -7.6 | 5.3 | 3.3 | 0.97 | 6.6 | 7.8 |
| VAT/SAT Ratio |  | -0.024 | -0.15 | 0.098 | 0.062 | 0.98 | 0.13 | 7.9 |

| Measurement | Scanner | Bias | Lower LoA | Upper LoA | SD | ICC | RC | CoV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Psoas muscle CSA (cm2) | Philips 1.5T | 0.17 | -2.3 | 2.6 | 1.3 | 0.99 | 2.4 | 3.3 |
| Psoas muscle Index (cm2/m2) |  | 0.062 | -0.79 | 0.92 | 0.44 | 0.99 | 0.83 | 3.4 |
| Skeletal muscle CSA (cm2) |  | -1.4 | -6.7 | 3.9 | 2.7 | 1.00 | 5.7 | 1.3 |
| Skeletal muscle Index (cm2/m2) |  | -0.42 | -2.1 | 1.2 | 0.83 | 1.00 | 1.8 | 1.3 |
| SAT CSA (cm2) |  | -3.2 | -6.1 | -0.33 | 1.5 | 1.00 | 6.9 | 1.7 |
| SAT Index (cm2/m2) |  | -1.1 | -2.1 | -0.052 | 0.52 | 1.00 | 2.3 | 1.7 |
| VAT CSA (cm2) |  | -0.84 | -3.1 | 1.4 | 1.1 | 1.00 | 2.7 | 1.2 |
| VAT Index (cm2/m2) |  | -0.27 | -0.87 | 0.34 | 0.31 | 1.00 | 0.78 | 1.2 |
| VAT/SAT Ratio |  | 0.0083 | -0.018 | 0.035 | 0.013 | 1.00 | 0.030 | 1.7 |
| Psoas muscle CSA (cm2) | Philips 3T | 1.1 | -0.61 | 2.8 | 0.87 | 0.99 | 2.7 | 5.0 |
| Psoas muscle Index (cm2/m2) |  | 0.39 | -0.24 | 1.0 | 0.32 | 0.98 | 0.97 | 5.0 |
| Skeletal muscle CSA (cm2) |  | 0.82 | -3.8 | 5.5 | 2.4 | 1.00 | 4.7 | 1.2 |
| Skeletal muscle Index (cm2/m2) |  | 0.21 | -1.3 | 1.8 | 0.79 | 1.00 | 1.5 | 1.2 |
| SAT CSA (cm2) |  | -3.0 | -8.3 | 2.3 | 2.7 | 1.00 | 7.8 | 1.7 |
| SAT Index (cm2/m2) |  | -1.1 | -2.5 | 0.36 | 0.74 | 1.00 | 2.5 | 1.8 |
| VAT CSA (cm2) |  | -1.4 | -4.7 | 2.0 | 1.7 | 1.00 | 4.1 | 1.5 |
| VAT Index (cm2/m2) |  | -0.46 | -1.5 | 0.54 | 0.51 | 1.00 | 1.3 | 1.6 |
| VAT/SAT Ratio |  | 0.0042 | -0.019 | 0.027 | 0.012 | 1.00 | 0.023 | 1.5 |

Table S4. Summary of inter-analyst variability for body composition measurements (Analyst 1 vs. Analyst 2).

Table S5. Summary of intra-analyst variability for body composition measurements for Philips 1.5T for all three analysts.

| Measurement | Bias | Lower LoA | Upper LoA | SD | ICC | RC | CoV |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Analyst 1 |  |  |  |  |  |  |  |
| Psoas muscle CSA (cm2) | 0.050 | -1.8 | 1.9 | 0.94 | 1.00 | 1.8 | 2.5 |  |
| Psoas muscle Index (cm2/m2) | 0.023 | -0.58 | 0.63 | 0.31 | 0.99 | 0.58 | 2.6 |  |
| Skeletal muscle CSA (cm2) | -0.15 | -2.2 | 1.9 | 1.1 | 1.00 | 2.0 | 0.6 |  |
| Skeletal muscle Index (cm2/m2) | -0.017 | -0.71 | 0.68 | 0.35 | 1.00 | 0.66 | 0.6 |  |
| SAT CSA (cm2) | 0.37 | -2.9 | 3.6 | 1.7 | 1.00 | 3.2 | 0.8 |  |
| SAT Index (cm2/m2) | 0.083 | -0.90 | 1.1 | 0.50 | 1.00 | 0.95 | 0.7 |  |
| VAT CSA (cm2) | -0.70 | -4.1 | 2.7 | 1.8 | 1.00 | 3.6 | 2.0 |  |
| VAT Index (cm2/m2) | -0.21 | -1.5 | 1.1 | 0.66 | 1.00 | 1.3 | 1.9 |  |
| VAT/SAT Ratio | -0.0017 | -0.027 | 0.023 | 0.013 | 1.00 | 0.024 | 2.6 |  |
|  | Analyst 2 |  |  |  |  |  |  |  |
| Psoas muscle CSA (cm2) | 0.27 | -2.1 | 2.6 | 1.2 | 0.99 | 2.3 | 3.0 |  |
| Psoas muscle Index (cm2/m2) | 0.057 | -0.74 | 0.85 | 0.40 | 0.99 | 0.77 | 3.0 |  |
| Skeletal muscle CSA (cm2) | 1.2 | -3.6 | 5.9 | 2.4 | 1.00 | 5.1 | 1.1 |  |
| Skeletal muscle Index (cm2/m2) | 0.36 | -1.1 | 1.8 | 0.75 | 1.00 | 1.6 | 1.1 |  |
| SAT CSA (cm2) | -0.35 | -2.3 | 1.6 | 0.98 | 1.00 | 2.0 | 0.5 |  |
| SAT Index (cm2/m2) | -0.067 | -0.91 | 0.77 | 0.43 | 1.00 | 0.82 | 0.5 |  |
| VAT CSA (cm2) | -0.033 | -1.7 | 1.6 | 0.85 | 1.00 | 1.6 | 0.7 |  |
| VAT Index (cm2/m2) | 0.025 | -0.50 | 0.55 | 0.27 | 1.00 | 0.50 | 0.7 |  |
| VAT/SAT Ratio | 0.0017 | -0.012 | 0.016 | 0.0072 | 1.00 | 0.014 | 1.1 |  |
|  | Analyst 3 |  |  |  |  |  |  |  |
| Psoas muscle CSA (cm2) | 0.23 | -1.6 | 2.1 | 0.94 | 1.00 | 1.8 | 2.3 |  |
| Psoas muscle Index (cm2/m2) | 0.089 | -0.53 | 0.71 | 0.32 | 0.99 | 0.62 | 2.4 |  |
| Skeletal muscle CSA (cm2) | -0.77 | -5.9 | 4.4 | 2.6 | 1.00 | 5.1 | 1.2 |  |
| Skeletal muscle Index (cm2/m2) | -0.22 | -2.0 | 1.5 | 0.89 | 1.00 | 1.7 | 1.2 |  |
| SAT CSA (cm2) | -0.21 | -3.4 | 3.0 | 1.6 | 1.00 | 3.1 | 0.8 |  |
| SAT Index (cm2/m2) | 0.058 | -1.1 | 1.2 | 0.59 | 1.00 | 1.1 | 0.7 |  |
| VAT CSA (cm2) | -0.50 | -2.9 | 1.9 | 1.2 | 1.00 | 2.5 | 1.6 |  |
| VAT Index (cm2/m2) | -0.13 | -0.88 | 0.62 | 0.38 | 1.00 | 0.76 | 1.6 |  |
| VAT/SAT Ratio | -0.0017 | -0.024 | 0.020 | 0.011 | 1.00 | 0.021 | 1.9 |  |

| Measurements | Scanner | Bias | Lower LoA | Upper LoA | Pearson | ICC | RC | CoV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Psoas muscle CSA (cm2) | Philips 1.5T | -0.83 | -3.5 | 1.8 | 0.99* | 0.99 | 3.1 | 5.8 |
| Psoas muscle Index (cm2/m2) |  | -0.31 | -1.3 | 0.68 | 0.99* | 0.98 | 1.1 | 5.8 |
| Skeletal muscle CSA (cm2) |  | 0.53 | -3.2 | 4.3 | 1.00* | 1.00 | 3.8 | 1.0 |
| Skeletal muscle Index (cm2/m2) |  | 0.16 | -1.1 | 1.4 | 1.00* | 1.00 | 1.2 | 0.9 |
| SAT CSA (cm2) |  | 3.0 | -3.1 | 9.2 | 1.00* | 1.00 | 8.4 | 1.2 |
| SAT Index (cm2/m2) |  | 0.91 | -0.77 | 2.6 | 1.00* | 1.00 | 2.4 | 1.1 |
| VAT CSA (cm2) |  | -10 | -26 | 5.9 | 0.97* | 1.00 | 25 | 26 |
| VAT Index (cm2/m2) |  | -3.4 | -8.8 | 2.0 | 0.94* | 1.00 | 8.5 | 26 |
| VAT/SAT Ratio |  | -0.092 | -0.30 | 0.11 | 0.61* | 0.97 | 0.27 | 27 |
| Psoas muscle CSA (cm2) | GE 1.5T | -0.11 | -1.8 | 1.5 | 0.99* | 0.99 | 1.6 | 4.6 |
| Psoas muscle Index (cm2/m2) |  | -0.024 | -0.69 | 0.64 | 0.99* | 0.98 | 0.65 | 4.7 |
| Skeletal muscle CSA (cm2) |  | -2.0 | -9.6 | 5.7 | 0.99* | 0.99 | 8.4 | 3.6 |
| Skeletal muscle Index (cm2/m2) |  | -1.1 | -3.8 | 1.7 | 0.99* | 0.98 | 3.4 | 3.6 |
| SAT CSA (cm2) |  | 0.94 | -6.1 | 8.0 | 0.99* | 1.00 | 7.1 | 1.5 |
| SAT Index (cm2/m2) |  | 0.21 | -2.5 | 2.9 | 1.00* | 1.00 | 2.7 | 1.5 |
| VAT CSA (cm2) |  | -8.2 | -27 | 11 | 1.00* | 0.99 | 25 | 6.1 |
| VAT Index (cm2/m2) |  | -2.3 | -6.9 | 2.3 | 1.00* | 0.99 | 6.4 | 5.4 |
| VAT/SAT Ratio |  | -0.047 | -0.13 | 0.036 | 0.99* | 0.98 | 0.12 | 6.7 |
| Psoas muscle CSA (cm2) | Siemens 1.5T | -0.11 | -1.8 | 1.6 | 0.97* | 0.97 | 1.7 | 3.8 |
| Psoas muscle Index (cm2/m2) |  | -0.046 | -0.63 | 0.54 | 0.97* | 0.97 | 0.58 | 3.8 |
| Skeletal muscle CSA (cm2) |  | -5.3 | -15 | 4.5 | 0.97* | 0.94 | 14 | 5.0 |
| Skeletal muscle Index (cm2/m2) |  | -1.8 | -5.0 | 1.3 | 0.98* | 0.95 | 4.8 | 5.0 |
| SAT CSA (cm2) |  | -2.4 | -11 | 6.4 | 1.00* | 1.00 | 9.8 | 1.7 |
| SAT Index (cm2/m2) |  | -0.76 | -3.8 | 2.3 | 1.00* | 1.00 | 3.3 | 1.7 |
| VAT CSA (cm2) |  | -10 | -30 | 9.6 | 1.00* | 0.99 | 28 | 6.2 |
| VAT Index (cm2/m2) |  | -4.0 | -12 | 4.5 | 1.00* | 0.99 | 11 | 6.2 |
| VAT/SAT Ratio |  | -0.042 | -0.100 | 0.016 | 1.00* | 0.99 | 0.099 | 7.2 |

| Measurement | Scanner | Bias | Lower LoA | Upper LoA | Pearson | ICC | RC | CoV |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Psoas muscle CSA (cm2) | Philips 3T | -0.38 | -2.4 | 1.7 | 0.99* | 0.99 | 2.1 |  | 4.0 |  |
| Psoas muscle Index (cm2/m2) |  | -0.12 | -0.83 | 0.58 | 0.98* | 0.98 | 0.73 |  | 3.9 |  |
| Skeletal muscle CSA (cm2) |  | -0.14 | -4.3 | 4.0 | 1.00* | 1.00 | 4.0 |  | 1.4 |  |
| Skeletal muscle Index (cm2/m2) |  | -0.11 | -1.6 | 1.3 | 1.00* | 1.00 | 1.4 |  | 1.5 |  |
| SAT CSA (cm2) |  | 0.28 | -12 | 12 | 1.00* | 1.00 | 12 |  | 1.5 |  |
| SAT Index (cm2/m2) |  | 0.061 | -4.3 | 4.4 | 1.00* | 1.00 | 4.2 |  | 1.5 |  |
| VAT CSA (cm2) |  | -13 | -27 | 0.68 | 1.00* | 1.00 | 29 |  | 8.2 |  |
| VAT Index (cm2/m2) |  | -4.5 | -10 | 1.1 | 1.00* | 1.00 | 10 |  | 8.3 |  |
| VAT/SAT Ratio |  | -0.081 | -0.17 | 0.0073 | 1.00* | 0.97 | 0.18 |  | 8.5 |  |
| Psoas muscle CSA (cm2) | GE 3T | -0.36 | -1.9 | 1.2 | 0.99* | 0.98 | 1.6 |  | 3.0 |  |
| Psoas muscle Index (cm2/m2) |  | -0.11 | -0.63 | 0.40 | 0.98* | 0.98 | 0.55 |  | 3.0 |  |
| Skeletal muscle CSA (cm2) |  | -4.3 | -12 | 3.2 | 0.99* | 0.97 | 11 |  | 3.3 |  |
| Skeletal muscle Index (cm2/m2) |  | -1.5 | -4.2 | 1.1 | 0.98* | 0.96 | 4.0 |  | 3.5 |  |
| SAT CSA (cm2) |  | 1.6 | -3.8 | 7.0 | 1.00* | 1.00 | 6.1 |  | 1.5 |  |
| SAT Index (cm2/m2) |  | 0.58 | -1.3 | 2.4 | 1.00* | 1.00 | 2.1 |  | 1.4 |  |
| VAT CSA (cm2) |  | -4.1 | -15 | 7.0 | 1.00* | 0.99 | 13 |  | 4.1 |  |
| VAT Index (cm2/m2) |  | -1.3 | -5.0 | 2.3 | 1.00* | 0.99 | 4.4 |  | 4.1 |  |
| VAT/SAT Ratio |  | -0.044 | -0.13 | 0.039 | 1.00* | 0.99 | 0.12 |  | 4.7 |  |
| Psoas muscle CSA (cm2) | Siemens 3T | 0.34 | -2.0 | 2.7 | 0.99* | 0.99 | 2.4 |  | 5.0 |  |
| Psoas muscle Index (cm2/m2) |  | 0.14 | -0.71 | 0.99 | 0.97* | 0.97 | 0.87 |  | 4.9 |  |
| Skeletal muscle CSA (cm2) |  | -1.5 | -7.4 | 4.5 | 0.99* | 0.99 | 6.4 |  | 2.0 |  |
| Skeletal muscle Index (cm2/m2) |  | -0.41 | -2.5 | 1.7 | 0.97* | 0.96 | 2.2 |  | 1.9 |  |
| SAT CSA (cm2) |  | 1.8 | -2.1 | 5.7 | 1.00* | 1.00 | 5.2 |  | 1.3 |  |
| SAT Index (cm2/m2) |  | 0.64 | -0.68 | 2.0 | 1.00* | 1.00 | 1.8 |  | 1.3 |  |
| VAT CSA (cm2) |  | -7.8 | -16 | 0.72 | 1.00* | 0.99 | 17 |  | 16 |  |
| VAT Index (cm2/m2) |  | -2.6 | -5.6 | 0.36 | 1.00* | 0.98 | 5.9 |  | 16 |  |
| VAT/SAT Ratio |  | -0.063 | -0.15 | 0.018 | 0.99* | 0.97 | 0.15 |  | 17 |  |

Table S6. Summary of retrospective inter-reader (analyst vs. radiologist) variability assessment for body composition measurements obtained from a range of scanner manufacturers (Philips, GE, Siemens) and field strengths (1.5T, 3T). * p<0.001

Table S7. Summary of retrospective inter-device (study software vs. reference software) variability assessment for body composition measurements obtained from a range of scanner manufacturers (Philips, GE, Siemens) and field strengths (1.5T, 3T).

| Measurement | Scanner | Bias | Lower LoA | Upper LoA | SD | ICC | RC | CoV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Psoas muscle CSA (cm2) | Philips 1.5T | 2.4 | 0.88 | 4.0 | 0.80 | 0.98 | 5 | 1.0 |
| Skeletal muscle CSA (cm2) |  | -5.9 | -18 | 6.1 | 6.1 | 0.99 | 16 | 5.3 |
| SAT CSA (cm2) |  | -1.1 | -9.7 | 7.5 | 4.4 | 1.00 | 8.1 | 3.8 |
| VAT CSA (cm2) |  | 0.96 | -20 | 22 | 11 | 0.96 | 19 | 2.6 |
| Psoas muscle CSA (cm2) | GE 1.5T | 2.2 | -0.95 | 5.3 | 1.6 | 0.90 | 5.1 | 1.7 |
| Skeletal muscle CSA (cm2) |  | -3.2 | -32 | 26 | 15 | 0.95 | 27 | 1.2 |
| SAT CSA (cm2) |  | 4.5 | -6.7 | 16 | 5.7 | 1.00 | 14 | 3.3 |
| VAT CSA (cm2) |  | 0.97 | -14 | 16 | 7.7 | 1.00 | 14 | 9.1 |
| Psoas muscle CSA (cm2) | Siemens 1.5T | 2.5 | -0.19 | 5.2 | 1.4 | 0.84 | 5.5 | 1.7 |
| Skeletal muscle CSA (cm2) |  | -12 | -73 | 49 | 31 | 0.60 | 60 | 1.4 |
| SAT CSA (cm2) |  | 4.2 | -35 | 44 | 20 | 0.99 | 37 | 8.1 |
| VAT CSA (cm2) |  | 6.8 | -31 | 44 | 19 | 0.99 | 37 | 2.1 |
| Psoas muscle CSA (cm2) | Philips 3T | 1.2 | -4.3 | 6.7 | 2.8 | 0.92 | 5.6 | 1.3 |
| Skeletal muscle CSA (cm2) |  | -17 | -59 | 25 | 21 | 0.67 | 50 | 1.7 |
| SAT CSA (cm2) |  | 3.9 | -18 | 25 | 11 | 1.00 | 21 | 3.3 |
| VAT CSA (cm2) |  | 21 | -13 | 54 | 17 | 0.99 | 51 | 1.6 |
| Psoas muscle CSA (cm2) | GE 3T | 3.5 | -0.77 | 7.8 | 2.2 | 0.65 | 7.9 | 1.7 |
| Skeletal muscle CSA (cm2) |  | -6.6 | -31 | 18 | 12 | 0.90 | 26 | 6.7 |
| SAT CSA (cm2) |  | 7.1 | -14 | 28 | 11 | 0.99 | 24 | 5.4 |
| VAT CSA (cm2) |  | 8.6 | -19 | 36 | 14 | 0.97 | 30 | 2.9 |
| Psoas muscle CSA (cm2) | Siemens 3T | 3.5 | -1.0 | 8.0 | 2.3 | 0.88 | 8 | 1.6 |
| Skeletal muscle CSA (cm2) |  | 0.63 | -13 | 15 | 7.2 | 0.98 | 13 | 4.3 |
| SAT CSA (cm2) |  | -2.1 | -11 | 6.4 | 4.3 | 1.00 | 8.7 | 2.0 |
| VAT CSA (cm2) |  | 1.7 | -2.4 | 27 | 13 | 0.99 | 24 | 2.0 |