Supplementary Table 1	Recovery of Arsenic concentration in DM water matrix

| True Concentration | Replicate Analysis |  |  |  |  | Average Recovery (µg/L) | ±SD (µg/L) | %RSD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R-1 | R-2 | R-3 | R-4 | R-5 |  |  |  |
| 5 µg/L | 5.17 | 4.99 | 4.92 | 5.22 | 4.65 | 4.99 | 0.23 | 4.55 |
| 10 µg/L | 10.07 | 9.52 | 9.57 | 10.43 | 9.44 | 9.81 | 0.43 | 4.36 |
| 20 µg/L | 19.72 | 20.32 | 21.05 | 19.76 | 19.22 | 20.01 | 0.70 | 3.49 |
| 25 µg/L | 25.20 | 23.80 | 26.70 | 26.10 | 24.10 | 25.18 | 1.25 | 4.96 |
| 30 µg/L | 30.57 | 31.50 | 29.30 | 30.80 | 32.00 | 30.83 | 1.03 | 3.33 |
| 40 µg/L | 41.52 | 41.25 | 40.15 | 38.89 | 39.52 | 40.27 | 1.12 | 2.78 |
| 50 µg/L | 48.95 | 51.25 | 50.82 | 52.30 | 52.70 | 51.20 | 1.47 | 2.88 |
| 60 µg/L | 63.1 | 62.25 | 58.95 | 59.05 | 63.2 | 61.31 | 2.14 | 3.49 |
| 70 µg/L | 72.5 | 68.2 | 71.2 | 71.6 | 69.8 | 70.66 | 1.68 | 2.38 |
| 80 µg/L | 82.3 | 83.1 | 80.9 | 78.6 | 79 | 80.78 | 1.98 | 2.45 |
| 90 µg/L | 92.3 | 91.6 | 87.9 | 88.2 | 89 | 89.80 | 2.02 | 2.25 |
| 100 µg/L | 103 | 104 | 98.5 | 97 | 98.5 | 100.2 | 3.09 | 3.09 |

Supplementary Table 2	Recovery of Arsenic concentration in natural water M1

(Natural water TDS 550 mg/L)

| True Concentration | Replicate Analysis |  |  |  |  | Average Recovery (µg/L) | ±SD (µg/L) | %RSD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R-1 | R-2 | R-3 | R-4 | R-5 |  |  |  |
| 5 µg/L | 5.19 | 5.12 | 4.88 | 5.18 | 4.78 | 5.03 | 0.19 | 3.74 |
| 10 µg/L | 10.15 | 10.12 | 9.80 | 10.19 | 9.38 | 9.93 | 0.34 | 3.46 |
| 20 µg/L | 19.66 | 19.88 | 21.22 | 19.52 | 19.20 | 19.90 | 0.78 | 3.92 |
| 25 µg/L | 25.30 | 22.92 | 24.36 | 26.50 | 25.21 | 24.86 | 1.32 | 5.33 |
| 30 µg/L | 30.88 | 31.90 | 29.02 | 31.20 | 31.50 | 30.90 | 1.12 | 3.61 |
| 40 µg/L | 40.92 | 41.66 | 40.25 | 38.92 | 39.12 | 40.17 | 1.17 | 2.91 |
| 50 µg/L | 48.25 | 49.75 | 51.23 | 51.92 | 53.20 | 50.87 | 1.92 | 3.78 |
| 60 µg/L | 64.12 | 62.35 | 57.92 | 58.24 | 62.12 | 60.95 | 2.73 | 4.49 |
| 70 µg/L | 73.52 | 68.35 | 72.11 | 70.28 | 68.26 | 70.50 | 2.31 | 3.28 |
| 80 µg/L | 84.35 | 82.15 | 78.26 | 79.25 | 79.15 | 80.63 | 2.54 | 3.15 |
| 90 µg/L | 92.11 | 88.25 | 89.52 | 88.15 | 89.52 | 89.51 | 1.60 | 1.78 |
| 100 µg/L | 101 | 105 | 97.3 | 96.5 | 101 | 100.2 | 3.41 | 3.40 |

Supplementary Table 3		Recovery of Arsenic concentration in natural water matrix2						(natural water TDS 1208 mg/L)

| True Concentration | Replicate Analysis |  |  |  |  | Average Recovery (µg/L) | ±SD (µg/L) | %RSD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R-1 | R-2 | R-3 | R-4 | R-5 |  |  |  |
| 5 µg/L | 5.22 | 4.88 | 4.95 | 5.14 | 4.50 | 4.94 | 0.28 | 5.69 |
| 10 µg/L | 10.95 | 9.32 | 10.12 | 9.72 | 9.34 | 9.89 | 0.68 | 6.84 |
| 20 µg/L | 18.92 | 20.21 | 19.68 | 21.52 | 19.01 | 19.87 | 1.06 | 5.35 |
| 25 µg/L | 24.32 | 25.88 | 23.52 | 27.21 | 23.91 | 24.97 | 1.54 | 6.17 |
| 30 µg/L | 29.82 | 32.05 | 28.52 | 30.11 | 32.56 | 30.61 | 1.67 | 5.45 |
| 40 µg/L | 42.23 | 40.15 | 39.42 | 39.62 | 38.25 | 39.93 | 1.46 | 3.65 |
| 50 µg/L | 49.65 | 52.45 | 51.00 | 52.96 | 51.63 | 51.54 | 1.30 | 2.51 |
| 60 µg/L | 62.15 | 58.92 | 59.32 | 61.54 | 62.85 | 60.96 | 1.74 | 2.86 |
| 70 µg/L | 72.85 | 69.22 | 71.58 | 72.5 | 68.9 | 71.01 | 1.84 | 2.60 |
| 80 µg/L | 83.5 | 84.2 | 78.9 | 77.5 | 78.6 | 80.54 | 3.08 | 3.82 |
| 90 µg/L | 93.5 | 92.6 | 88.1 | 87.9 | 90.3 | 90.48 | 2.55 | 2.82 |
| 100 µg/L | 105 | 101 | 98.3 | 102 | 98.2 | 100.9 | 2.83 | 2.81 |

Supplementary Table 4 (a)		Statistical analysis of data: true concentration and average recovery

| Attributes | True Concentration (T) | Average Recovery (µg/L) |  |  |
| --- | --- | --- | --- | --- |
|  |  | DM Water | M1 Water | M2 Water |
| Concentration points/ Recovery | 5.0 | 4.99 | 5.03 | 4.94 |
|  | 10.0 | 9.81 | 9.93 | 9.89 |
|  | 20.0 | 20.01 | 19.9 | 19.87 |
|  | 25.0 | 25.18 | 24.86 | 24.97 |
|  | 30.0 | 30.83 | 30.9 | 30.61 |
|  | 40.0 | 40.27 | 40.17 | 39.93 |
|  | 50.0 | 51.2 | 50.87 | 51.54 |
|  | 60.0 | 61.31 | 60.95 | 60.96 |
|  | 70.0 | 70.66 | 70.5 | 71.01 |
|  | 80.0 | 80.78 | 80.63 | 80.54 |
|  | 90.0 | 89.8 | 89.51 | 90.48 |
|  | 100.0 | 100.2 | 100.2 | 100.9 |
| Mean | 48.33 | 48.75 | 48.62 | 48.80 |
| ±SD | 31.79 | 31.92 | 31.86 | 32.14 |
| Skewness | 0.250897 | 0.216647 | 0.225082 | 0.232471 |
| Excess kurtosis | -1.23637 | -1.267888 | -1.260224 | -1.256087 |
| Normality | 0.6736 | 0.6791 | 0.6818 | 0.6752 |

Supplementary Table 4 (b)		Correlation matrix (Pearson): true concentration and average recovery

| Attributes | T | DM | M1 | M2 |
| --- | --- | --- | --- | --- |
| T | 1 | 0.999874 | 0.999892 | 0.999907 |
| DM | 0.999874 | 1 | 0.999988 | 0.999953 |
| M1 | 0.999892 | 0.999988 | 1 | 0.999953 |
| M2 | 0.999907 | 0.999953 | 0.999953 | 1 |

Supplementary Table 4 (c)		F Statistics: true concentration and average recovery

| Source | Degrees of Freedom |  | Sum of Squares | Mean Square | F Statistics |  | p-value |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Groups | k – 1 (3) |  | 1.6 | 0.5333 | 0.0005232 |  | 0.999983 |
| Error | n – k (44) |  | 44848.9337 | 1019.2939 |  |  |  |
| Total | n – 1 (47) |  | 44850.5337 | 954.2667 |  |  |  |
|  |  | SSG=i=1kni(xi- x)2 |  | MSG=SSG(k-1) |  | F=MSGMSE | P(x > F) |
|  |  | SSE=i=1k(ni-1)Si2 |  | MSE=SSE(n-k) |  |  |  |
|  |  | SS total=SSG+SSE |  | Sample variance=SS (total)(n-1) |  |  |  |
| k : Number of group |  |  |  |  |  |  |  |
| ni : Sample side of group i |  |  |  |  |  |  |  |
| n : Overall sample side, includes all the groups |  |  |  |  |  |  |  |
| xi: Average of group i |  |  |  |  |  |  |  |
| x : Overall average |  |  |  |  |  |  |  |
| Si : Standard deviation of group i |  |  |  |  |  |  |  |

Supplementary Table 5		AAS-HG results range ±5% and ±10%

| Sample ID | Results (in µg/L) |  | AAS-HG Results (in µg/L) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | By FTK (AsKit-1) at Field | By AAS-HG | ±5% |  | ±10% |  |
|  |  |  | Plus 5% | Minus 5% | Plus 10% | Minus 10% |
| S-1 | 10 | 10.7 | 11.2 | 10 | 11.8 | 9.6 |
| S-2 | <10 | <5 | ND | ND | ND | ND |
| S-3 | 10 | 11.1 | 11.7 | 10.5 | 12.2 | 10.0 |
| S-4 | <10 | <5 | ND | ND | ND | ND |
| S-5 | 90 | 82 | 86.1 | 77.9 | 90.2 | 73.8 |
| S-6 | <10 | <5 | ND | ND | ND | ND |
| S-7 | 10 | 11.1 | 11.7 | 10.5 | 12.2 | 10.0 |
| S-8 | 90 | 87 | 91.4 | 82.7 | 95.7 | 78.3 |
| S-9 | <10 | <5 | ND | ND | ND | ND |
| S-10 | 10 | 10.9 | 11.4 | 10.4 | 12.0 | 9.8 |
| S-11 | <10 | <5 | ND | ND | ND | ND |
| S-12 | 60 | 55 | 57.8 | 52.3 | 60.5 | 49.5 |
| S-13 | 20 | 22 | 23.1 | 20.9 | 24.2 | 19.8 |
| S-14 | 10 | 11.0 | 11.6 | 10.5 | 12.1 | 9.9 |
| S-15 | 20 | 22.1 | 23.2 | 21.0 | 24.3 | 19.9 |
| S-16 | 10 | 10.9 | 11.4 | 10 | 12.0 | 9.8 |
| S-17 | <10 | <5 | ND | ND | ND | ND |
| S-18 | 15 | 13.9 | 14.6 | 13.2 | 15.3 | 12.5 |
| S-19 | 20 | 18.2 | 19.1 | 17.3 | 20.0 | 16.4 |
| S-20 | 10 | 11.0 | 11.6 | 10 | 12.1 | 9.9 |
| S-21 | <10 | <5 | ND | ND | ND | ND |
| S-22 | 20 | 18.6 | 19.5 | 17.7 | 20.5 | 16.7 |
| S-23 | 80 | 85 | 89.3 | 80.8 | 93.5 | 76.5 |
| S-24 | 20 | 18.3 | 19.2 | 17.4 | 20.1 | 16.5 |
| S-25 | 10 | 11.1 | 11.7 | 10.5 | 12.2 | 10.0 |
| S-26 | 10 | 11.0 | 11.6 | 10.5 | 12.1 | 9.9 |
| S-27 | 20 | 16.0 | 16.8 | 15.2 | 17.6 | 14.4 |
| S-28 | 10 | 9.3 | 9.8 | 8.8 | 10.2 | 8.4 |
| S-29 | 10 | 9.2 | 9.7 | 8.7 | 10.1 | 8.3 |
| S-30 | 10 | 13.0 | 13.7 | 12.4 | 14.3 | 11.7 |
| S-31 | <10 | <5 | ND | ND | ND | ND |
| S-32 | 10 | 11.0 | 11.6 | 10 | 12.1 | 9.9 |
| S-33 | <10 | <5 | ND | ND | ND | ND |
| S-34 | 90 | 82 | 86.1 | 77.9 | 90.2 | 73.8 |
| S-35 | <10 | <5 | ND | ND | ND | ND |
| S-36 | 10 | 10.9 | 11.4 | 10 | 12.0 | 9.8 |
| S-37 | <10 | <5 | ND | ND | ND | ND |
| S-38 | <10 | <5 | ND | ND | ND | ND |
| S-39 | 10 | 10.8 | 11.3 | 10.3 | 11.9 | 9.7 |
| S-40 | <10 | <5 | ND | ND | ND | ND |
| S-41 | <10 | 5.3 | 5.6 | 5.0 | 5.8 | 4.8 |
| S-42 | 10 | 11.0 | 11.6 | 10 | 12.1 | 9.9 |
| S-43 | <10 | <5 | ND | ND | ND | ND |
| S-44 | 10 | 10.9 | 11.4 | 10 | 12.0 | 9.8 |
| S-45 | 40 | 44 | 46.2 | 41.8 | 48.4 | 39.6 |
| S-46 | <10 | <5 | ND | ND | ND | ND |
| S-47 | 50 | 50 | 52.5 | 47.5 | 55.0 | 45.0 |
| S-48 | <10 | <5 | ND | ND | ND | ND |
| S-49 | 40 | 36.8 | 38.6 | 35.0 | 40.5 | 33.1 |
| S-50 | 50 | 49 | 51.5 | 46.6 | 53.9 | 44.1 |
| S-51 | <10 | <5 | ND | ND | ND | ND |
| S-52 | 50 | 50 | 52.5 | 47.5 | 55.0 | 45.0 |
| S-53 | 50 | 40 | 42.0 | 38.0 | 44.0 | 36.0 |
| S-54 | <10 | <5 | ND | ND | ND | ND |
| S-55 | 50 | 62 | 65.1 | 58.9 | 68.2 | 55.8 |
| S-56 | <10 | <5 | ND | ND | ND | ND |
| S-57 | 55 | 52 | 54.6 | 49.4 | 57.2 | 46.8 |
| S-58 | <10 | <5 | ND | ND | ND | ND |
| S-59 | <10 | <5 | ND | ND | ND | ND |
| S-60 | 90 | 82 | 86.1 | 77.9 | 90.2 | 73.8 |
| S-61 | <10 | <5 | ND | ND | ND | ND |
| S-62 | 60 | 55 | 57.8 | 52.3 | 60.5 | 49.5 |
| S-63 | 60 | 66.5 | 69.8 | 63.2 | 73.2 | 59.9 |
| S-64 | 75 | 88 | 92.4 | 83.6 | 96.8 | 79.2 |
| S-65 | <10 | <5 | ND | ND | ND | ND |
| S-66 | 80 | 86 | 90.3 | 81.7 | 94.6 | 77.4 |
| S-67 | 75 | 87 | 91.4 | 82.7 | 95.7 | 78.3 |
| S-68 | 85 | 81 | 85.1 | 77.0 | 89.1 | 72.9 |
| S-69 | <10 | <5 | ND | ND | ND | ND |
| S-70 | 10 | 10.8 | 11.3 | 10 | 11.9 | 9.7 |
| S-71 | 90 | 95 | 100 | 90 | 105 | 85.5 |
| S-72 | <10 | <5 | ND | ND | ND | ND |
| S-73 | 70 | 61 | 64.1 | 58.0 | 67.1 | 54.9 |
| S-74 | <10 | <5 | ND | ND | ND | ND |
| S-75 | 80 | 97 | 101.9 | 92.2 | 107 | 87.3 |
| S-76 | <10 | <5 | ND | ND | ND | ND |
| S-77 | 60 | 55 | 57.8 | 52.3 | 60.5 | 49.5 |
| S-78 | 40 | 44 | 46.2 | 41.8 | 48.4 | 39.6 |
| S-79 | 45 | 50 | 52.5 | 47.5 | 55.0 | 45.0 |
| S-80 | 100 | 91 | 95.6 | 86.5 | 100 | 81.9 |

ND: Not detected

Supplementary Table 6		AsKit-1 results as compared to AAS-HG results in ±5 % and ±10% ranges

| Sample ID | Results (in µg/L) |  | AsKit-1 results as compared to ±5% of AAS-HG Results |  |  |  | AsKit-1 results as compared to ±10% of AAS-HG Results |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | By FTK (AsKit-1) at Field | By AAS-HG | Positive |  | Negative |  | Positive |  | Negative |  |
|  |  |  | True | False | False | True | True | False | False | True |
| S-1 | 10 | 10.7 | (a) |  |  |  | (a) |  |  |  |
| S-2 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-3 | 10 | 11.1 |  |  | (c) |  | (a) |  |  |  |
| S-4 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-5 | 90 | 82 |  | (b) |  |  | (a) |  |  |  |
| S-6 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-7 | 10 | 11.1 |  |  | (c) |  | (a) |  |  |  |
| S-8 | 90 | 87 | (a) |  |  |  | (a) |  |  |  |
| S-9 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-10 | 10 | 10.9 | (a) |  |  |  | (a) |  |  |  |
| S-11 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-12 | 60 | 55 |  | (b) |  |  | (a) |  |  |  |
| S-13 | 20 | 22 |  |  | (c) |  | (a) |  |  |  |
| S-14 | 10 | 11.0 | (a) |  |  |  | (a) |  |  |  |
| S-15 | 20 | 22.1 |  |  | (c) |  | (a) |  |  |  |
| S-16 | 10 | 10.9 | (a) |  |  |  | (a) |  |  |  |
| S-17 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-18 | 15 | 13.9 |  | (b) |  |  | (a) |  |  |  |
| S-19 | 20 | 18.2 |  | (b) |  |  | (a) |  |  |  |
| S-20 | 10 | 11.0 | (a) |  |  |  | (a) |  |  |  |
| S-21 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-22 | 20 | 18.6 |  | (b) |  |  | (a) |  |  |  |
| S-23 | 80 | 85 |  |  | (c) |  | (a) |  |  |  |
| S-24 | 20 | 18.3 |  | (b) |  |  | (a) |  |  |  |
| S-25 | 10 | 11.1 |  |  | (c) |  | (a) |  |  |  |
| S-26 | 10 | 11.0 |  |  | (c) |  | (a) |  |  |  |
| S-27 | 20 | 16.0 |  | (b) |  |  |  | (b) |  |  |
| S-28 | 10 | 9.3 |  | (b) |  |  | (a) |  |  |  |
| S-29 | 10 | 9.2 |  | (b) |  |  | (a) |  |  |  |
| S-30 | 10 | 13.0 |  |  | (c) |  |  |  | (c) |  |
| S-31 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-32 | 10 | 11.0 | (a) |  |  |  | (a) |  |  |  |
| S-33 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-34 | 90 | 82 |  | (b) |  |  | (a) |  |  |  |
| S-35 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-36 | 10 | 10.9 | (a) |  |  |  | (a) |  |  |  |
| S-37 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-38 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-39 | 10 | 10.8 | (a) |  |  |  | (a) |  |  |  |
| S-40 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-41 | <10 | 5.3 |  |  |  | (d) |  |  |  | (d) |
| S-42 | 10 | 11.0 | (a) |  |  |  | (a) |  |  |  |
| S-43 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-44 | 10 | 10.9 | (a) |  |  |  | (a) |  |  |  |
| S-45 | 40 | 44 |  |  | (c) |  | (a) |  |  |  |
| S-46 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-47 | 50 | 50 | (a) |  |  |  | (a) |  |  |  |
| S-48 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-49 | 40 | 36.8 |  | (b) |  |  | (a) |  |  |  |
| S-50 | 50 | 49 | (a) |  |  |  | (a) |  |  |  |
| S-51 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-52 | 50 | 50 | (a) |  |  |  | (a) |  |  |  |
| S-53 | 50 | 40 |  | (b) |  |  |  | (b) |  |  |
| S-54 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-55 | 50 | 62 |  |  | (c) |  |  |  | (c) |  |
| S-56 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-57 | 55 | 52 |  | (b) |  |  | (a) |  |  |  |
| S-58 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-59 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-60 | 90 | 82 |  | (b) |  |  | (a) |  |  |  |
| S-61 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-62 | 60 | 55 |  | (b) |  |  | (a) |  |  |  |
| S-63 | 60 | 66.5 |  |  | (c) |  | (a) |  |  |  |
| S-64 | 75 | 88 |  |  | (c) |  |  |  | (c) |  |
| S-65 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-66 | 80 | 86 |  |  | (c) |  | (a) |  |  |  |
| S-67 | 75 | 87 |  |  | (c) |  |  |  | (c) |  |
| S-68 | 85 | 81 |  | (b) |  |  | (a) |  |  |  |
| S-69 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-70 | 10 | 10.8 | (a) |  |  |  | (a) |  |  |  |
| S-71 | 90 | 95 | (a) |  |  |  | (a) |  |  |  |
| S-72 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-73 | 70 | 61 |  | (b) |  |  |  | (b) |  |  |
| S-74 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-75 | 80 | 97 |  |  | (c) |  |  |  | (c) |  |
| S-76 | <10 | <5 |  |  |  | (d) |  |  |  | (d) |
| S-77 | 60 | 55 |  | (b) |  |  | (a) |  |  |  |
| S-78 | 40 | 44 |  |  | (c) |  | (a) |  |  |  |
| S-79 | 45 | 50 |  |  | (c) |  | (a) |  |  |  |
| S-80 | 100 | 91 |  | (b) |  |  | (a) |  |  |  |
| Total |  |  | 16 | 19 | 17 | 28 | 44 | 3 | 5 | 28 |
| SEArsenic |  |  | 48.5% |  |  |  | 89.8% |  |  |  |
| SPArsenic |  |  | 59.6% |  |  |  | 90.3% |  |  |  |
| OTEArsenic |  |  | 55.0% |  |  |  | 90.0% |  |  |  |