# Ransy et al. Additional file 1

##### 1a: The mitochondrial proton-circuit

a) In metabolism (blue), carbon atoms in carbohydrates or aliphatic chains of saturated fatty acids are oxidized to form carbon dioxide (CO2) with concomitant reduction of electron shuttles (es/esH2; for example, NAD or FAD/FMN) and release of some ATP (a small amount under normal conditions, which is not shown here for the sake of simplicity).

The mitochondrial respiratory chain (black), comprising complexes I–IV, re-oxidizes esH2 with concomitant reduction of molecular oxygen (O2) to water (H2O). This is accompanied by proton pumping from the matrix of the mitochondrion (H+in) to the inter-membrane space (H+out). The parameter measured in the Seahorse Analyzer is the oxygen consumption rate (OCR; red). The OCR is considered to be proportional to the proton pumping rate but dependent on the electron shuttle: when the electron shuttle is NADH, H+, re-oxidized by complex I, ten protons are pumped per oxygen atom; re-oxidation of FADH2/FMNH2 results in pumping of six protons per oxygen atom. Protons return to the interior through leaks in the inner mitochondrial membrane or through complex V. Return of protons through complex V causes rotation of a subunit and release of ATP release (green; hence the term proton mill rather than proton pump). A fundamental principle of bioenergetics is that the proton pumping and proton return rates are equal. Also, ATP generation and consumption must be balanced to keep the cell alive. Consequently, any increase in the ATP demand of the cell is immediately accompanied by an increase in OCR.

The OXPHOS circuit is by far the most efficient pathway to regenerate es from esH2. If the OXPHOS circuit is impaired, the redox state of the cell is altered (the esH2/es ratio would increase greatly). Extensive reduction of the electron shuttles would be expected to stimulate alternate pathways for their reoxidation, such as reduction of oxygen to form reactive oxygen species including superoxide radical (O2°-) or hydrogen peroxide (H2O2). Production of superoxide engages one electron, that of H2O2 two electrons and two protons.

b) The basal rate of mitochondrial respiration in cells is analogous to an electrical circuit in which there is a generator (the equivalent of metabolism and the respiratory chain) that generates a potential (the mitochondrial membrane potential) and provides current (the proton flux), which is connected to a circuit containing two resistors, or conductors, in parallel : resistor R1 (the proton leak) and R2 (the ATP synthase). The resistance of R2 varies (green arrow) with the energy expenditure of the cell (ATP consumption). The current (IH) and voltage (V) are limited by the maximum activity of metabolism or of the respiratory chain.

The mitochondrial membrane potential influences both the proton leak and ATP synthesis. As the membrane potential, V, increases, the flux through the proton leak, I1, might be expected to increase according to Ohm’s Law : V=R1×I1 or I1=V/R1). Studies with isolated mitochondria, however, show that the value of R1 changes with V. The proton leak is, therefore, non-ohmic because a single value of R1 does not apply over the full range of values of V.

Complex V converts the electrical membrane potential into the phosphate potential [i.e. the ATP/ADP ratio and/or the adenine energy charge (AEC) ratio between high energy phosphate bonds and the total amount of adenine nucleotides=(ATP+ADP/2)/(ATP+ADP+AMP)]. A steady state is then expected between membrane potential value and phosphate potential. Different steady states might match ATP production and ATP consumption rates (fluxes) with dependence to influence of phosphate potential on ATP consuming steps. Increasing the AEC or ATP/ADP ratio has consequences for the various ATPases of the cell, notably, those that establish ion gradients (Na+, K+, Ca2+, etc.), which in their resting state are all sensitive to AEC and hence to the mitochondrial membrane potential. Upon stimulation, by contrast, when intense ion pumping is required, the increased rate of ATP hydrolysis and, consequently, the increase in OCR determines how fast the resting state is restored. This example indicates that flux (OCR) and potential should be considered when predicting the diverse consequences of modifications in the bioenergetic circuit1.

The successive steps of the Cell Mito Stress Test and of the Cell Stimulation Test are examined hereafter in light of the analogy with the electrical circuit presented above starting from the basal rate (b).

##### 1b: The Cell Mito Stress Test

The effects of oligomycin and uncoupler used in the Cell Mito Stress Test on the electrical circuit of mitochondrial respiration are shown. Oligomycin results in suppression of the resistor R2 (c). The resistor/conductance due to uncoupler varies according to its concentration (d). The curve below indicates the bell-shaped dependence of OCR on uncoupler concentration, indicating the narrow optimal concentration range. Respiratory chain poisons (rotenone, antimycin) remove the generator (e).

The potential difference across the inner mitochondrial membrane is shown with a fixed value but is expected to increase when oligomycin is present, decrease when uncoupler is added and become null after addition of the poisons. When the electrical resistance of the circuit is too low (short circuit) the generator breaks down with a concomitant loss of current (OCR) and potential. This explains why a concentration of uncoupler greater than the optimal value depresses the OCR (see main text), although other factors, such as direct toxicity of uncoupler for respiratory chain, might also explain this effect.

##### 1c: The Cell Stimulation Test

In the Cell Stimulation Test, starting from the basal state (b), addition of uncoupler increases the conductance through the proton leak (f, g). At suboptimal concentrations of uncoupler, the flux through OXPHOS is preserved (f), whereas at optimal concentrations the maximal rate of OCR is obtained (g) and OXPHOS is likely to be suppressed, although this remains uncertain (see main text).

1 E. Couplan et al., “High level of uncoupling protein 1 expression in muscle of transgenic mice selectively affects muscles at rest and decreases their IIb fiber content,” J Biol Chem, vol. 277, no. 45, pp. 43079–43088, Nov. 2002, doi: 10.1074/jbc.M206726200.

# Ransy et al. Additional file 2

##### Oxygen consumption rates (OCRs) measured in the Cell Mito Stress Test and the Cell Stimulation Test,

a	b

a) Cell Mito Stress Test. Left column, Seahorse measurement sequence. Each OCR results from four successive measurements (1-1 to 1-4 for OCR1) followed by the first injection (2-1 to 2-4 for OCR2), the second injection, etc. The nature of the product injected is indicated. Right column, indicates the status of mitochondrial respiration, notably OXPHOS. Blue, basal rate with OXPHOS; Green, rate in the presence of oligomycin; Yellow, action of uncoupler; Red, inhibition of respiratory chain. Black arrows indicate the change in OCR expected after each injection (down, up or no change). When data are normalized to basal OCR, measurement 1-4 is used as the reference. Uncoupler additions result in OCR3 and OCR4; the greater of the two values, OCRu, is then used as an estimate of the maximum OCR (OCRmax). The color code in the mitochondrial state column refers to the components of the mitochondrial state that contribute to the OCR observed in the presence of a suboptimal concentration of uncoupler from the first injection (OCR3) with a small contribution of the endogenous proton leak. The second injection of uncoupler at a concentration slightly above the optimal value (OCR4) results in respiratory chain inhibition and a decrease in the measured OCRs (from 4-1 to 4-4), both of which may result in underestimation of OCRmax (see main text).

b) Cell Stimulation Test. As in (a) except there are four injections of uncoupler. Each injection doubles the final concentration of uncoupler (hence from 1x to 8x) where 1x = 0.25 µM final concentration. These successive two-fold increases are compatible with our observations of the variation of uncoupler concentration and optimal range. The four injections of uncoupler increases the number of candidates for OCRu from one to four. In the absence of oligomycin, suboptimal concentrations of uncoupler do not suppress OXPHOS but decrease it gradually. It remains unclear if the highest OCR observed corresponds to full suppression of OXPHOS (OCR4) or not (OCR3).

# Ransy et al. Additional file 3

##### Scheme of Seahorse plate and injection schedule

Figure on next page

Top: Cell plating, a 96-well plate for use in the Seahorse Analyzer is represented as eight rows (A–H) and 12 columns (1–12).

Middle: Injections, the experiment shown compares three cell types, Cell A (green), Cell B (orange) and Cell C (blue) plated at three different densities, indicated by the density of the color fill. Middle, the injection schedule (Injections A–D); areas with same color indicate injection of the same volume and agent indicated over columns 5–8.

Bottom: Groups, the various groups are defined according to cell type, density and injection schedule. Nine conditions with two injection schedules (eighteen) to which the group for background (black) is to be added hence nineteen groups in the present scheme.

# Ransy et al. Additional file 4

##### Publications scrutinized

List on next page

The PubMed identifier number (PMID) of each article is shown (column 1) as well as the figure analyzed (column 2). Values of OCR1–OCR5 measured by the Cell Mito Stress Test are indicated (columns 3–7). Only OCR1 (basal OCR: OCRb), OCR3 and OCR4 (those observed in the presence of uncoupler) were analyzed. OCR2 (in the presence of oligomycin) and OCR5 (after full inhibition of the mitochondrial respiratory chain) are not considered here (empty columns).

The ratio between the highest value in presence of uncoupler (OCR3 or OCR4; hence the proxy for OCRmax) and basal, maxOCRu/OCRb is shown (column 8). This ratio was used to rank experiments: ratio <1 (red fill) indicates invalid measurements of OCRmax because the maximal OCR would be lower than the basal OCR; ratio = 1 (no background) indicates that the basal OCR is the maximal possible OCR, when cells would be at their maximal metabolic rate with no respiratory reserve, or with their metabolism already limited; ratio < 1 (green fill) indicates cells with a respiratory reserve. The next column “count” is used to sum the number of experiments for each of these three different situations (red, white, green) with values: 5, 18 and 86 that are those shown in the top part of table 1.

The ratio between the two rates measured in the presence of uncoupler, OCR4/OCR3, is shown (column 10). A ratio = 1 indicates that the two uncoupler concentrations produced the same OCR3 and OCR4 values and, thus, are probably in the optimal concentration range (no fill). Ratios <1 (red fill) indicate OCR4<OCR3. Ratios >1 (blue fill) indicate OCR4>OCR3. In both cases it remains uncertain if one of the concentrations used was in the optimal range or if both were below or above the optimum. Therefore, there is no evidence from these experiments that OCRmax was determined accurately; it is then likely to be underestimated to an unknown extent. The column ‘Count’ is used as above except that OCR3 and OCR4 were considered to be the same within a tolerance range of 10% (i.e. ratios 0.9 to 1.1). Consequently, counting starts from ratio 0.90 in one case. As above, these numbers can be found in Table 1 (bottom part), for example when OCRu>OCRb green area 20 article figures showed OCR4<OCR3, 59 OCR3 and OCR4 equal within a 10% range, and 6 OCR3<OCR4. The last article used only one concentration of uncoupler.

# Ransy et al. Additional file 5

##### Comparison of the optimal concentrations of three uncouplers

###### a

FCCP	CCCP	DNP

###### b

a) Chemical structures of the three uncouplers used in this study. FCCP, carbonyl cyanide-p-trifluoromethoxyphenylhydrazone; CCCP, carbonyl cyanide m-chlorophenyl hydrazone; DNP, dinitrophenol.

b) Dose–response curves showing the effect of these uncouplers on the oxygen consumption rate (OCR) of HEK293 cells. Cells were suspended at a density of 106 cells/ml in their growth medium and OCR was measured with a Clark electrode (Hansatech). Basal OCR was measured and considered as 100%, then oligomycin was added (not shown). The graph shows the effects of increasing concentrations of uncouplers; it starts with the value obtained after the first uncoupler addition (1 µM for FCCP and CCCP, or 50 µM for DNP). Top panel, linear scale showing the effect of full range of concentrations for FCCP and CCCP but only the initial point for DNP. Bottom panel, logarithmic scale showing the effect of full range of concentrations of the three uncouplers. The optimal concentration ranges for maximal uncoupling were 3–5 µM for FCCP, 8–15 µM for CCCP, and 400–600 µM for DNP.