## Compiled_RefLab_Confirmatory_NG
Sample ID | Reference Laboratory Result | (m) PCR Testing | (mcs) Microscopy, Culture, Sensitivity | Other | Compiled Result | Confirmatory GI-PCR Giardia | Confirmatory GI-PCR Salmonella | Confirmatory GI-PCR Campylobacter | Confirmatory GI-PCR Aeromonas | Confirmatory additional PCR | MDL species detected | TN/FN/FP/FN | Additional genes detected
BBF0286 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0287 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0288 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | neg | neg | neg | 22.91, 25.81 |  | Aeromonas veronii | TP | negative
BBF0289 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0290 | OCP negative |  |  | OCP Negative | Negative | [5 empty] | Negative | TN | negative
BBF0291 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0292 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0293 | (mcs) negative, Calprotectin Positive 117ug/g, Human Astrovirus Positive | Negative | Negative | Astrovirus | Astrovirus | [5 empty] | Negative | TN | negative
BBF0294 | (m) negative, (mcs) negative | Negative | Negative |  | Negative |  | neg |  |  |  | Negative | TN | negative
BBF0295 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0296 | Sapovirus |  |  | Sapovirus | Sapovirus | [5 empty] | Negative | TN | negative
BBF0297 | (M) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0298 | (mcs) negative, C-Diff negative, calprotectin >2200 ug/g |  | Negative | Calprotectin | Negative | [5 empty] | Negative | TN | negative
BBF0299 | (m) negative, OCP - negative | Negative |  | OCP Negative | Negative | [5 empty] | Negative | TN | negative
BBF0300 | C-Diff positive |  |  | C.diff | C.diff |  |  |  |  | c.diff neg | Negative | TN | negative
BBF0301 | (m)Rotavirus A | Rotavirus A |  |  | Rotavirus A | [5 empty] | Negative | TN | negative
BBF0302 | (m) negative, C-Diff positive | Negative |  | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF0303 | (m) negative | Negative |  |  | Negative | [5 empty] | Negative | TN | negative
BBF0304 | (m) negative, calprotectin positive 109 ug/g | Negative |  | Calprotectin | Negative |  | neg |  |  |  | Negative | TN | negative
BBF0305 | (mcs) negative,(m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0306 | (mcs) negative, (m) negative, C-diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0307 | (mcs) negative, C-Diff positive |  | Negative | C.diff | C.diff |  | neg |  |  |  | Negative | TN | negative
BBF0308 | (mcs) negative, (m) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0309 | (mcs)negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0310 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0311 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0312 | (mcs) negative, (m) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative |  | neg |  |  |  | Negative | TN | negative
BBF0313 | (mcs) negatiive, (m) sapovirus, C-Diff negative | Sapovirus | Negative | C.diff Negative | Sapovirus | [5 empty] | Negative | TN | negative
BBF0314 | (m) Salmonella species | Salmonella |  |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | fliC,aatA
BBF0316 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0317 | C-Diff positive |  |  | C.diff | C.diff |  | neg |  |  |  | Negative | TN | tcdB
BBF0318 | (mcs) negative, C-Diff negative | Negative |  | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0319 | (msc) negative, (m) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0320 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0322 | (m) negative | Negative |  |  | Negative | [5 empty] | Negative | TN | negative
BBF0323 | (msc) Campylobacter Jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 28.86 |  |  | Campylobacter_D jejuni | TP | negative
BBF0324 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF0325 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0327 | (m) negative , (mcs) negative, (OCP) negative | Negative | Negative | OCP Negative | Negative | [5 empty] | Negative | TN | not tested
BBF0328 | (m) negative, (mcs) negative | Negative | Negative |  | Negative |  |  |  |  | blast 21.8 | Negative | TN | not tested
BBF0329 | (mcs) negative, (m) negative | Negative | Negative |  | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF0330 | (mcs) negative, (m) negative | Negative | Negative |  | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF0331 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 18.5, 18.55 |  |  | Campylobacter_D jejuni | TP | negative
BBF0332 | (m) negative, C-Diff positive | Negative |  | C.diff | C.diff |  |  |  | neg |  | Negative | TN | tcdB,cdtR_Cdiff
BBF0333 | (m) negative | Negative |  |  | Negative | [5 empty] | Negative | TN | not tested
BBF0334 | (mcs) negative, (m) negative | Negative | Negative |  | Negative |  |  |  |  | blast 18.17 | Negative | TN | not tested
BBF0335 | (mcs)candida albicans/ candida glabrata complex |  | Candida albicans |  | Candida albicans | [5 empty] | Negative | TN | not tested
BBF0336 | (m)inhibitory for PCR, (mcs) negative | Inbitory | Negative |  | Negative | [5 empty] | Negative | TN | fliC
BBF0337 | (m) negative | Negative |  |  | Negative |  |  |  | neg |  | Negative | TN | not tested
BBF0338 | (m)Salmonella | Salmonella |  |  | Salmonella sp |  |  |  | neg |  | Salmonella enterica | TP | fliC
BBF0339 | (mcs) negative, (m) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative |  |  |  |  | c.diff 36.54 | Negative | TN | negative
BBF0340 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBF0341 | (mcs) negative/ C-Diff negative |  | Negative | C.diff Negative | Negative | [5 empty] | Campylobacter_D jejuni | TN | negative
BBF0342 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | fliC,aatA
BBF0343 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0344 | (mcs) negative, C-Diff negative (m) negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | fliC
BBF0345 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0346 | (mcs)negative, C-Diff negative |  | Negative | C.diff Negative | Negative |  | neg |  |  |  | Negative | TN | aggR
BBF0347 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0348 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0349 | (m) negative, (mcs) negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBF0350 | (m)Adenovirus | Adenovirus |  |  | Adenovirus | [5 empty] | Negative | TN | not tested
BBF0351 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0352 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | fliC
BBF0353 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0354 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | fliC
BBF0355 | (m)Salmonella species | Salmonella |  |  | Salmonella sp |  | 34.7 |  |  | Sal- 33.95 | Negative | FN | estA,aaiC,eltB,aggR,aatA
BBF0356 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | aatA
BBF0358 | (m)Adenovirus | Adenovirus |  |  | Adenovirus |  | neg |  |  |  | Negative | TN | fliC
BBF0359 | (mcs) negative, (m) negative, calprotecttin 27 ug/g | Negative | Negative | Calprotectin | Negative | [5 empty] | Negative | TN | not tested
BBF0360 | (mcs) negative, (m) negative | Negative | Negative |  | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF0361 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0362 | (m)Rotavirus A | Rotavirus A |  |  | Negative | [5 empty] | Negative | TN | not tested
BBF0363 | c-diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,aatA,cdtR_Cdiff,tcdA
BBF0364 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0365 | (mcs)candida albicans/Picha kudriavzevii |  | Candida albicans, Picha kudriavzevii |  | Negative | [5 empty] | Negative | TN | not tested
BBF0366 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0367 | (mcs) negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0368 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0369 | Yersinia virus |  |  | Yersinia Virus | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF0370 | (mcs) negative, C-Diff negative |  | Negative | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBF0371 | (mcs)negative, (m) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0372 | (m)norovirus genotype1 | Norovirus |  |  | Negative |  | 36.53, 34.9 | neg | neg |  | Salmonella enterica | TP | fliC
BBF0373 | (mcs)Candida albicans |  |  | C.diff Negative | Negative | [5 empty] | Negative | TN | stx2B,stx2A
BBF0374 | c-diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBF0375 | (mcs) negative |  | Negative |  | Negative | [5 empty] | Negative | TN | not tested
BBF0376 | (mcs) negative, (m) negative, OCP negative | Negative | Negative | OCP Negative | Negative |  | neg | neg | 35.61 | 35.51 aero | Aeromonas caviae | TP | negative
BBF0377 | (mcs)unidentified yeast/ giardia lamblia |  | Unidentified yeast, Giardia lamblia |  | Giardia lamblia | [5 empty] | Giardia intestinalis_A | TP | negative
BBF0378 | (m) negative, (mcs) negative | Negative | Negative |  | Negative | [5 empty] | Negative | TN | negative
BBF0442 | (m)Campylobacter species | Campylobacter |  |  | Campylobacter sp |  | neg | neg, neg | neg | neg-campy | Negative | TN | negative
BBF0443 | (m)Adenovirus, sapovirus | Adenovirus, Sapovirus |  |  | Adenovirus | [5 empty] | Negative | TN | negative
BBF0445 | (m)sapovirus, giardia Lamblia | Giardia lamblia, Sapovirus |  |  | Giardia lamblia | 34.3, 36.59 |  |  |  | Giardia- 34.99 | Negative | FN | negative
BBF0446 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | neg,35.3 | neg |  |  | Giardia- 37.26 | Negative | FN | negative
BBF0447 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | cdtB_Cdiff,tcdB,cdtR_Cdiff,tcdA
BBF0448 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBF0449 | (m)Adenovirus | Adenovirus |  |  | Adenovirus | [5 empty] | Negative | TN | bfpA,aatA
BBF0450 | (m)Rotavirus A, Giardia lamblia | Giardia lamblia, Rotavirus A |  |  | Giardia lamblia | [5 empty] | Giardia intestinalis_A | TP | negative
BBF0451 | (m) campylobacter species, Rotavirus A | Campylobacter, Rotavirus A |  |  | Campylobacter sp |  |  | 24.74 |  |  | Campylobacter_D jejuni | TP | negative
BBF0452 | (m)Salmonella species | Salmonella |  |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF0525 | (m)Adenovirus | Adenovirus |  |  | Adenovirus | [5 empty] | Negative | TN | not tested
BBF0526 | (mcs)Blastocyctis Hominis |  | Blastocyctis Hominis |  | Blastocyctis Hominis | [5 empty] | Negative | TN | negative
BBF0527 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia |  |  |  |  | Giardia- 30.39 | Giardia intestinalis_A | TP | not tested
BBF0528 | (m)Shigella species | Shigella |  |  | Shigella |  | 33.02, 35.17 | neg | neg | 33.02 | Salmonella bongori | TP | not tested
BBF0529 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  | neg | 22.12 |  | 32.79 campy | Campylobacter_D jejuni | TP | negative
BBF0530 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  |  | 27.35 |  | 30.31 campy | Campylobacter_D jejuni | TP | ipa,fliC,aggR,eae,cdtB_Ecoli
BBF0594 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans |  |  | neg |  |  | Negative | TN | negative
BBF0595 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans | [5 empty] | Negative | TN | not tested
BBF0596 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans | [5 empty] | Negative | TN | negative
BBF0597 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans |  | neg |  |  |  | Negative | TN | not tested
BBF0598 | (mcs)Salmonella species Typhiuvium |  | Salmonella typhiuvium |  | Salmonella typhiuvium | [5 empty] | Salmonella enterica | TP | negative
BBF0599 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | [5 empty] | Giardia intestinalis | TP | negative
BBF0600 | C-Diff positive |  |  | C.diff Negative | C.diff | [5 empty] | Negative | TN | negative
BBF0601 | C-Diff positive | [10 empty] | z- removed due to high human content | negative
BBF0602 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  | neg | 28.87 |  |  | Campylobacter_D jejuni | TP | not tested
BBF0603 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans | [5 empty] | Negative | TN | negative
BBF0604 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | 20.61 |  |  | Campylobacter_D jejuni | TP | cdtB_Cdiff,tcdB,cdtR_Cdiff,tcdA
BBF0605 | (m)rotavirus A,blastocystis hominis, dientamoeba | Rotavirus A, Blastocystis hominis, Dientamoeba |  |  | Rotavirus A, Blastocystis hominis, Dientamoeba | [5 empty] | Negative | TN | negative
BBF0606 | (mcs) candida albicans |  | Candida albicans |  | Negative | [5 empty] | Negative | TN | negative
BBF0607 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia |  |  |  |  | Giardia-24.32 | Giardia intestinalis_A | TP | negative
BBF0608 | (m)campylobacter species | Campylobacter |  |  | Campylobacter sp | 33.56, 34.45 |  | neg,neg |  |  | Giardia intestinalis_A | TP | negative
BBF0659 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 17.29 |  |  | Campylobacter_D jejuni | TP | negative
BBF0660 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  |  | 31.89 |  |  | Campylobacter_D jejuni | TP | negative
BBF0661 | (m) campylobacter species, Norovirus genotype 1 | Campylobacter, Norovirus |  |  | Campylobacter sp |  |  | 22.24 |  | 31.89 Campy | Campylobacter_D jejuni | TP | negative
BBF0662 | (mcs)Candida albicans |  | Candida albicans |  | Candida albicans | [5 empty] | Negative | TN | negative
BBF0663 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 22.75 |  |  | Campylobacter_D jejuni | TP | negative
BBF0664 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | 25.28 |  |  | Campylobacter_D jejuni | TP | negative
BBF0665 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  | neg | 22.45 |  |  | Campylobacter_D jejuni | TP | negative
BBF0666 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF0667 | (m)Yersinia species | Yersinia |  |  | Yersinia sp |  |  |  |  | neg-yersinia | Negative | TN | not tested
BBF0668 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF0669 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBF0670 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBF0671 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | 32.82 | neg |  | Campylobacter_D jejuni | TP | negative
BBF0672 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp | neg |  | 37.73 |  | 34.86 Campy | Negative | FN | negative
BBF0673 | (m)salmonella species | Salmonella |  |  | Salmonella sp | neg | neg, 35.2 | neg |  |  | Negative | Unresolved | not tested
BBF0674 | (m)salmonella species | Salmonella |  |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF0675 | (m) campylobacter species | Campylobacter |  |  | Campylobacter sp |  |  | 30.93 |  |  | Campylobacter_D jejuni | TP | negative
BBF0676 | (m)cryptosporidium species | Cryptosporidium |  |  | Cryptosporidium sp | neg |  |  |  |  | Negative | TN | stx2B,stx1B,fliC,aatA
BBF0677 | (m)yersinia enterocolitica, rotavirus A, sapovirus | Yersinia enterocolitica, Rotavirus A, Sapovirus |  |  | Yersinia enterocolitica |  | neg | neg | neg |  | Negative | TN | not tested
BBF0678 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 20.95 |  |  | Campylobacter_D jejuni | TP | negative
BBF0679 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 33.01 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF0680 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 33.56 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF0681 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 34.15 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF0682 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 33.66 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF0683 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 34.42 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF0684 | (m)Giardia Lamblia | Giardia lamblia |  |  | Giardia lamblia | 33.65 | neg |  |  |  | Giardia intestinalis_A | TP | negative
BBF1733 | (m)Rotavirus A | Rotavirus |  |  | Negative | [5 empty] | Negative | TN | fliC
BBF1734 | (m)Norovirus genotype 2 | Norovirus |  |  | Negative |  | neg |  |  |  | Negative | TN | eltB,eltA,aatA
BBF1911 | (mcs)Caniia Albicans, (m) campylobacter species, C-Diff negative | Campylobacter | Candida albicans | C.diff Negative | Campylobacter sp |  |  | 36.89 |  |  | Campylobacter_D jejuni | TP | negative
BBF1912 | (m) campylobacter species, C-Diff negative | Campylobacter |  | C.diff Negative | Campylobacter sp |  |  | 19.64 |  |  | Campylobacter_D jejuni | TP | negative
BBF1913 | (mcs)negative,(m)negative, C-Diff positive | Negative | Negative | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF1914 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF1915 | (mcs)camplylobacter jejuni (m) campylobacter species, C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  |  | 18.24 |  |  | Campylobacter_D jejuni | TP | negative
BBF1916 | (mcs)salmonella species, (m) salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | aggR
BBF1917 | (mcs)negative (m)negative, C-Diff negative | Negative | Negative | C.diff Negative | Negative |  |  |  | neg |  | Negative | TN | not tested
BBF1918 | (mcs) campylobacter species, (m) campylobacter species | Campylobacter | Campylobacter |  | Campylobacter sp |  |  | 24.37 |  |  | Campylobacter_D jejuni | TP | negative
BBF1919 | (mcs) blastocystis Hominis, (m) noovirus genotype 2, C-Diff negative | Norovirus | Blastocystis hominis | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF1920 | (m) negative, C-Diff positive | Negative |  | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF1921 | (mcs) blastrocystis Hominis, (m) negative | Negative | Blastocystis hominis |  | Negative | [5 empty] | Negative | TN | not tested
BBF1922 | (mcs) blastcystis hominis, (m) negative, C-Diff negative | Negative | Blastocystis hominis | C.diff Negative | Negative | [5 empty] | Negative | TN | negative
BBF1923 | (mcs) salmonella species, (m) salmonelaa species, C-Diff negative | Salmonella | Salmonella | C.diff Negative | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF1924 | C-Diff positive | [10 empty] | z- removed due to high human content
BBF1925 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,tcdA
BBF1926 | (mcs) negative, (m) campylobacter species | Campylobacter | Negative |  | Campylobacter sp |  |  | 21.77 |  |  | Campylobacter_D jejuni | TP | negative
BBF1928 | (mcs)negative,C-Diff positive |  | Negative | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF1929 | C-Diff positive |  |  | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF2131 | (mcs) Candida species,(m)negative, C-Diff negative | Negative | Candida sp | C.diff Negative | Negative |  | neg |  |  |  | Negative | TN | negative
BBF2132 | (mcs)campylobacter jejuni, (m)campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 20.09 |  |  | Campylobacter_D jejuni | TP | negative
BBF2133 | (mcs)negative, (m)Giardia Lamblia | Giardia lamblia | Negative |  | Giardia lamblia | [5 empty] | Giardia intestinalis | TP | negative
BBF2134 | (mcs)negative, (m)salmonella species | Salmonella | Negative |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF2135 | (mcs)negative, (m)shigella species, C-Diff negative | Shigella | Negative | C.diff Negative | Shigella | [5 empty] | Negative | TN | ipa,aatA
BBF2136 | (mcs) salmonella species, (m) salmonella species, C-Diff positive | Salmonella | Salmonella | C.diff | Salmonella sp | [5 empty] | Salmonella enterica | TP | fliC
BBF2137 | (mcs) salmonella species, (m) salmonella species, C-Diff negative | Salmonella | Salmonella | C.diff Negative | Salmonella sp | [5 empty] | Salmonella enterica | TP | fliC
BBF2139 | (mcs)negative,(m)negative,C-Diff positive | Negative | Negative | C.diff | C.diff |  | neg |  |  |  | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBF7390 | (m)campylobacter species | Campylobacter |  |  | Campylobacter sp | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF7391 | (mcs)negative, (m)Giardia Lamblia | Giardia lamblia | Negative |  | Giardia lamblia | 31.19 | neg |  |  |  | Giardia intestinalis_A | TP | negative
BBF7392 | (mcs)negative, (m)yersinia species, sapovirus | Yersinia, sapovirus | Negative |  | Yersinia, Sapovirus |  | neg | neg | 31.83,36.89 |  | Aeromonas caviae | TP | negative
BBF7393 | (mcs)campylobacter jejuni, (m)camplyobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  | neg |  |  |  | Campylobacter_D jejuni | TP | negative
BBF7394 | (mcs)negative, (m)yersinia species, adenovirus, C-Diff negative | Yersinia sp, Adenovirus | Negative | C.diff Negative | Yersinia sp, Adenovirus |  | neg | neg | neg |  | Negative | TN | negative
BBF7394 | (mcs)negative, (m)yersinia species, adenovirus, C-Diff negative | Yersinia sp, Adenovirus | Negative | C.diff Negative | Yersinia sp, Adenovirus |  | neg | neg | neg |  | Negative | TN
BBF7395 | (mcs)salmonella species, (m)salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF7396 | helicobacter positive |  |  | Helicobacter + | Helicobacter | [5 empty] | Negative | TN | negative
BBF7397 | (mcs)negative, (m)Giardia Lamblia | Giardia lamblia | Negative |  | Giardia lamblia |  | neg |  |  |  | Giardia intestinalis | TP | negative
BBF7398 | (mcs)negative, (m)salmonella species, C-Diff negative | Salmonella | Negative | C.diff Negative | Salmonella sp |  | neg, neg | neg, neg | 31.13, 30.64 |  | Aeromonas caviae | TP | not tested
BBF7399 | (mcs)campylobacter coli, (m)campylobactr species, C-Diff negative | Campylobacter | Campylobacter coli | C.diff Negative | Campylobacter coli |  | neg |  |  |  | Campylobacter_D coli | TP | negative
BBF7400 | (mcs)campylobacte jejuni, (m)campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF7401 | (mcs)campylobacte jejuni, (m)campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF7402 | (mcs)campylobacte jejuni, (m)campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF7403 | (mcs)negative, C-Diff positive |  | Negative | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBF7404 | (mcs)negative, (m)negative, helicobacter postive | Negative | Negative | Helicobacter + | Negative | [5 empty] | Negative | TN | negative
BBF8855 | (mcs)aeromonas sp., (m)negative | Negative | Aeromonas sp |  | Aeromonas sp | [5 empty] | Aeromonas hydrophila | TP | negative
BBF8856 | candida albicans, C-Diff negative |  | Candida albicans | C.diff Negative | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF8857 | candida sp., C-Diff negative |  | Candida sp. | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBF8858 | (mcs) campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  | neg |  |  |  | Campylobacter_D jejuni | TP | negative
BBF8859 | (mcs)campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8860 | (mcs) campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  | neg |  | neg |  | Campylobacter_D jejuni | TP | negative
BBF8861 | (mcs) Campylobacter jejuni, (m) campylobacter species, C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  | neg | 34.62,neg | neg |  | Negative | FN | negative
BBF8862 | (mcs) campylobacter jejuni, (m) campylobacter species, Calprotectin 1356 Ug/g | Campylobacter | Campylobacter jejuni | Calprotectin | Campylobacter jejuni |  |  | neg, 35.69 |  |  | Negative | FN | negative
BBF8863 | (mcs) campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8864 | (mcs) salmonella Typhi, (m) salmonella species, C-Diff negative | Salmonella | Salmonella typhi | C.diff Negative | Salmonella typhi | [5 empty] | Salmonella enterica | TP | eae,aatA
BBF8865 | (mcs) salmonella species, (m) salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF8866 | (mcs) campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | neg,neg | neg |  | negative | TN | not tested
BBF8867 | (mcs) shigella sonnei, (m) shigella species, C-Diff negative | Shigella | Shigella sonnei | C.diff Negative | Shigella |  | neg | 23.44 | neg |  | Campylobacter_D upsaliensis | TP | negative
BBF8868 | candida albicans, Candida glabrata complex |  | Candida albicans |  | Negative |  | neg |  |  |  | Negative | TN | not tested
BBF8869 | candida albicans, candida glabrata complex, negative |  | Candida albicans, candida glabrata complex |  | Negative | [5 empty] | Negative | TN | not tested
BBF8870 | candida albicans, C-Diff negative |  | Candida albicans |  | Negative |  |  |  | neg |  | Negative | TN | not tested
BBF8871 | (mcs) candida species (m) campylobacter species | Campylobacter | Candida |  | Campylobacter sp |  |  |  | neg |  | Campylobacter_D jejuni | TP | negative
BBF8872 | (mcs)campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8872 | (mcs)campylobacter jejuni, (m) campylobacter species | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | neg | 13.08 |  | Aeromonas veronii | TP
BBF8873 | (m)campylobacter species, (mcs)negative (heavy enteric flora growth) | Campylobacter | Negative |  | Campylobacter sp | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8874 | (m) campylobacter species, Rotavirus A (mcs) negative (heavy enteric flora growth) | Campylobacter, Rotavirus A | Negative |  | Campylobacter sp |  |  | 31.07 |  |  | Campylobacter_D jejuni | TP | negative
BBF8875 | (mcs) salmonella mbandaka (m)campylobacter species | Campylobacter | Salmonella mbandaka |  | Campylobacter sp, Salmonella |  | neg, neg | neg, neg |  |  | Negative | TN | negative
BBF8875 | (mcs) salmonella mbandaka (m)campylobacter species | Campylobacter | Salmonella mbandaka |  | Campylobacter sp, Salmonella |  | neg, neg |  |  |  | Campylobacter_D jejuni | TP
BBF8876 | (m) salmonella species (mcs) salmonella species (heavy enteric flora growth) | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | negative
BBF8877 | (mcs) Campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg |  | neg |  | Campylobacter_D jejuni | TP | negative
BBF8878 | (m) Campylobacter species, (mcs)Campylobacter coli (heavy enteric flora growth) | Campylobacter | Campylobacter coli |  | Campylobacter coli | [5 empty] | Campylobacter_D coli | TP | not tested
BBF8879 | (m) salmonella species (mcs) salmonella species | Salmonella | Salmonella |  | Salmonella sp |  |  |  | neg |  | Salmonella enterica | TP | negative
BBF8880 | (mcs) Campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8881 | (m) Campylobacter species, adenovirus | Campylobacter, Adenovirus | (m) Campylobacter species |  | Campylobacter sp | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8882 | (m) negative (mcs) salmonella species | Negative | Salmonella |  | Salmonella sp |  | neg, neg |  |  |  | Negative | TN | not tested
BBF8883 | (m) Campylobacter species (mcs) Campylobacter coli C-Diff negative | Campylobacter | Campylobacter coli | C.diff Negative | Campylobacter coli | [5 empty] | Campylobacter_D coli | TP | negative
BBF8884 | (m)Campylobacter species, (mcs) Campylobacter jejuni(heavy enteric flora growth) | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8885 | (m) Campylobacter species, Adenovirus (mcs) Campylobacter jejuni C-Diff negative | Campylobacter, Adenonvirus | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni, Adenovirus |  |  |  | neg |  | Campylobacter_D jejuni | TP | negative
BBF8886 | (mcs) negative (heavy enteric flora growth) (m) Salmonella species C-Diff negative | Salmonella | Negative | C.diff Negative | Salmonella sp |  | neg, neg |  |  |  | Negative | TN | negative
BBF8887 | (mcs) Aeromonas sp. (heavy enteric flora growth) |  | Aeromonas sp |  | Aeromonas sp |  | neg |  |  |  | Aeromonas dhakensis | TP | negative
BBF8888 | (m) Giardia lamblia (mcs) negative | Giardia lamblia | Negative |  | Giardia lamblia |  | neg | neg | 30.36, 30.54 |  | Aeromonas dhakensis | TP | negative
BBF8888 | (m) Giardia lamblia (mcs) negative | Giardia lamblia | Negative |  | Giardia lamblia | [5 empty] | Giardia intestinalis_A | TP
BBF8889 | (mcs) salmonella Lansing, (m) salmonella species | Salmonella | Salmonella lansing |  | Salmonella lansing | [5 empty] | Salmonella enterica | TP | negative
BBF8889 | (mcs) salmonella Lansing, (m) salmonella species | Salmonella | Salmonella lansing |  | Salmonella lansing |  |  | neg | 29.97, 33.76 |  | Aeromonas caviae | TP
BBF8890 | (m) Campylobacter species (mcs) Campylobacter coli C-Diff negative | Campylobacter | Campylobacter coli | C.diff Negative | Campylobacter coli | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8891 | (m) Campylobacter species (mcs) Campylobacter coli | Campylobacter | Campylobacter coli |  | Campylobacter coli | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8892 | Candida albicans C-Diff negative |  | Candida albicans C-Diff negative |  | Negative |  |  |  | neg |  | Negative | TN | not tested
BBF8893 | (m) negative (mcs) Candida albicans (normal eteric flora absent) | Negative | Candida albicans |  | Negative |  |  |  | neg |  | Negative | TN | negative
BBF8894 | (m) Campylobacter species (mcs) Campylobacter jejuni C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  |  |  | neg |  | Campylobacter_D jejuni | TP | negative
BBF8895 | (mcs) Aeromonas sp C-Diff negative |  | Aeromonas sp | C.diff Negative | Aeromonas sp | [5 empty] | Aeromonas veronii | TP | negative
BBF8896 | (mcs) Campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8897 | (mcs) Campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8898 | (mcs) Campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBF8899 | (mcs) Aeromonas sp. (heavy enteric flora growth) |  | Aeromonas sp |  | Aeromonas sp |  | neg |  |  |  | Aeromonas dhakensis | TP | negative
BBF8900 | (mcs) Aeromonas sp. (heavy enteric flora growth) |  | Aeromonas sp |  | Aeromonas sp |  | neg |  |  |  | Aeromonas dhakensis | TP | not tested
BBF8901 | (m) Adenovirus, Giardia lamblia (mcs) negative C-Diff negative | Adenovirus Giardia lamblia | Negative | C.diff Negative | Giardia lamblia | 27.86 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBF8902 | (mcs) Salmonella species (heavy enteric flora) |  | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBF8903 | Candida albicans C-Diff negative |  | Candida albicans | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBF8904 | (mcs) Aeromonas sp. (heavy enteric flora growth) |  | Aeromonas sp |  | Aeromonas sp |  | neg |  |  |  | Aeromonas dhakensis | TP | negative
BBF8905 | Candida albicans |  | Candida albicans |  | Negative | [5 empty] | Negative | TN | not tested
BBF8906 | (m) Giardia lamblia (mcs) negative (heavy enteric flora growth) | Giardia lamblia | Negative |  | Giardia lamblia | 28.86 | neg |  |  |  | Giardia intestinalis_A | TP | negative
BBF8907 | (mcs) salmonella typhimurium, (m)salmonella species | Salmonella | Salmonella typhimurium |  | Salmonella typhimurium |  | 26.36 | neg | neg |  | Negative | FN | fliC
BBF8908 | (mcs)negative,(m) campylobacter species, C-Diff negative | Campylobacter | Negative | C.diff Negative | Campylobacter sp |  | neg | neg,neg | neg | neg | Negative | TN | not tested
BBF8909 | candida albicans, C-Diff negative |  | Candida albicans |  | Negative |  |  |  | neg |  | Negative | TN | negative
BBF8910 | (mcs)negative, (m)negative, C-Diff positive | Negative | Negative | C.diff | C.diff |  |  |  |  | neg | Negative | TN | not tested
BBF8911 | (mcs) salmonella species, (m) salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | fliC,aggR,aatA
BBF8912 | (m) Salmonella species (mcs) Salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBG0779 | (m) negative (mcs) negative (heavy enteric flora growth) C-Diff positive | Negative | Negative | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBG0780 | (m) negative (mcs) negative (heavy enteric flora growth) C-Diff positive | Negative | Negative | C.diff | C.diff | [5 empty] | Negative | TN | negative
BBG0782 | (m) Salmonella species (mcs) Salmonella species (heavy enteric flora growth) | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBG0784 | (mcs) Salmonella Typhimurium |  | Salmonella typhimurium |  | Salmonella typhimurium | [5 empty] | Salmonella enterica | TP | not tested
BBG0786 | (m) Salmonella species (mcs) Salmonella Wangata | Salmonella | Salmonella wangata |  | Salmonella wangata | [5 empty] | Salmonella enterica | TP | not tested
BBG0787 | (m) Campylobacter species (mcs) Campylobacter jejuni C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG0789 | (m) negative (mcs) negative (heavy enteric dlora growth) C-Diff positive | Negative | Negative | C.diff | C.diff |  | neg |  |  |  | Negative | TN | not tested
BBG0790 | (m) Campylobacter species, Yersinia species (mcs) Campylobacter jejuni C-Diff negative | Campylobacter Yersinia | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni, yersinia sp | [5 empty] | Campylobacter_D jejuni | TP | not tested
BBG0792 | (m) Salmonella species (mcs) Salmonella Typhimurium | Salmonella | Salmonella typhimurium |  | Salmonella typhimurium | [5 empty] | Salmonella enterica | TP | negative
BBG0794 | (m) Campylobacter species (mcs) Campylobacter jejuni (heavy flora growth) C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  | neg | neg, 33.61 | 16.48,15.92 |  | Negative | FN | negative
BBG0794 | (m) Campylobacter species (mcs) Campylobacter jejuni (heavy flora growth) C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  | neg | neg, 33.61 | 16.48,15.92 |  | Aeromonas veronii | TP
BBG0795 | (m) Campylobacter species (mcs) Campylobacter jejuni C-Diff negative | Campylobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | not tested
BBG0796 | (m) Yersinia species (mcs) negative (heavy enteric growth) | Yersinia | Negative |  | Yersinia sp |  | neg | neg | neg |  | Negative | TN | not tested
BBG0798 | (m) Yersinia species (mcs) negative (heavy enteric growth) | Yersinia | Negative |  | Yersinia sp |  | neg |  |  |  | Negative | TN | aaiC,aatA
BBG0799 | (mcs) Candida albicans |  | Candida albicans |  | Negative | neg,neg |  |  |  |  | Giardia intestinalis | FP | negative
BBG0801 | (mcs) Salmonella species (heavy enteric flora) tbc |  | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBG0802 | (m) Norovirus genotype 2 (mcs) Candida albicans | Norovirus | Candida albicans |  | Negative |  |  |  | neg |  | Negative | TN | not tested
BBG0803 | (mcs) Candida albicans (heavu enteric growth) C-Diff negative |  | Candida albicans | C.diff Negative | Negative | neg |  |  |  |  | Negative | TN | not tested
BBG0804 | (m) Giardia lamblia (mcs) negative (heavy enteric flora growth) | Giardia lamblia | Negative |  | Giardia lamblia | 29.65 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBG0805 | (m) Salmonella species, Giardia lamblia (mcs) tbc | Giardia lamblia Salmonella |  |  | Giardia lamblia | 32.41, 27.79 | 29.55 |  | neg |  | Negative | FN | negative
BBG0805 | (m) Salmonella species, Giardia lamblia (mcs) tbc | Giardia lamblia Salmonella |  |  | Giardia lamblia Salmonella | [5 empty] | Salmonella enterica | TP
BBG0806 | (m) Yersinia species (mcs) negative (heavy enteric growth) C-Diff negative | Yesinina | Negative | Negative | Yersinia sp |  | neg | neg | neg |  | Negative | TN | not tested
BBG0807 | (m) Cryptosporidium species (mcs) negative (heavy entertic growth) | Cryptosporidium | Negative |  | Cryptosporidium sp | [5 empty] | Negative | TN | not tested
BBG0808 | (m) Salmonella species (mcs) Salmonella Typhimurium | Salmonella | Salmonella typhimurium |  | Salmonella typhimurium | [5 empty] | Salmonella enterica | TP | aatA
BBG0936 | (m)Salmonella species (mcs) Salmonella Chester | Salmonella | Salmonella chester |  | Salmonella chester | neg |  |  |  |  | Salmonella enterica | TP | fliC
BBG0937 | (m) Salmonella species (mcs) Salmonella Typhimurium Calpro = 304ug/g | Salmonella | Salmonella typhimurium |  | Salmonella typhimurium | neg | neg, neg |  |  |  | Negative | TN | not tested
BBG0938 | (m) Yersinia species (mcs) Candida albicans | Yersinia | Candida albicans |  | Yersinia sp |  | neg | neg | neg |  | Negative | TN | fliC
BBG0939 | (m) Campylobacter species (mcs) Campylobacter jejuni | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 28.61 |  |  | Campylobacter_D jejuni | TP | negative
BBG0940 | (m) Salmonella species (mcs) Salmonella species C-Diff negative | Salmonella | Salmonella | C.diff Negative | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBG0941 | (m) Salmonella species (mcs) Salmonella species C-Diff negative | Salmonella | Salmonella | C.diff Negative | Salmonella sp | 36.85 |  |  |  |  | Salmonella enterica | TP | not tested
BBG0942 | (m) negative (mcs) candida albicans C-Diff negative | Negative | Candida albicans | C.diff Negative | Negative | neg, 37.41 |  |  |  |  | Giardia intestinalis_A | TP | negative
BBG5046 | (m) negative (mcs) Candida sp | Negative | Candida sp |  | Negative | neg |  |  |  |  | Negative | TN | negative
BBG5047 | Candida albicans |  | Candida albicans |  | Negative | [5 empty] | Negative | TN | not tested
BBG5048 | (m) Campylobacter species (mcs) Campylobacter jejuni | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | neg | neg | neg,neg,neg |  |  | Negative | TN | not tested
BBG5049 | (m) Cryptosporidium species (mcs) negative C-Diff negative | Cryptosporidium | Negative | C.diff Negative | Cryptosporidium sp | [5 empty] | Negative | TN | not tested
BBG5050 | (m) negative (mcs) Candida krusei C-Diff negative | Negative | Candida krusei | C.diff Negative | Negative | neg | neg | neg |  |  | Negative | TN | negative
BBG5051 | (m) Campylobacter species (mcs) Campylobacter jejuni (heavy enteric flora) | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG5052 | (m) Campylobacter species (mcs) Campylobacter jejuni (heavy enteric flora) | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG5053 | (m) Campylobacter species (mcs) Campylobacter jejuni (heavy enteric flora) | Campylobacter | Campylobacter jejuni |  | Campylobacter jejuni | neg |  |  |  |  | Campylobacter_D jejuni | TP | negative
BBG5054 | Candida albicans |  | Candida albicans |  | Negative | [5 empty] | Negative | TN | not tested
BBG5055 | (m) Salmonella species (mcs) Salmonella species (heavy enteric flora) | Salmonella | Salmonella |  | Salmonella sp |  | 36.8, 36.89 | 29.64 | neg |  | Negative | FN | negative
BBG5055 | (m) Salmonella species (mcs) Salmonella species (heavy enteric flora) | Salmonella | Salmonella |  | Salmonella sp |  | 36.8, 36.89 | 29.64 | neg |  | Campylobacter_D jejuni | TP
BBG5056 | (m) Giardia lamblia (mcs) Giardia intestinalis (lamblia) Cysts (heavy enteric growth) | Giardia lamblia | Giardia intestinalis (lamblia) Cysts |  | Giardia lamblia |  | neg, neg |  |  |  | Giardia intestinalis_A | TP | negative
BBG5057 | Candida albicans |  | Candida albicans |  | Negative | [5 empty] | Negative | TN | not tested
BBG5058 | (mcs) negative C-Diff positive |  | Negative | C.diff | C.diff | [5 empty] | Negative | TN | tcdB,cdtR_Cdiff,tcdA
BBG5059 | (m) Salmonella species (mcs) Salmonella species | Salmonella | Salmonella |  | Salmonella sp | [5 empty] | Salmonella enterica | TP | not tested
BBG5060 | (m) Salmonella species, Campylobacter species (mcs) Campylobacter coli C-Diff negative | Salmonella Campylobacter | Campylobacter coli | C.diff Negative | Campylobacter coli, Salmonella |  | neg, neg | 19.57 |  |  | Campylobacter_D coli | TP | negative
BBG5061 | (mcs) campylobacter jejuni |  | Campylobacter jejuni |  | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG5062 | (mcs) negative, C-Diff positive, (m) unable to be performed |  | Negative | C.diff | Negative | [5 empty] | Negative | TN | tcdB,tcdA
BBG5063 | (mcs) Aeromonas species, C-Diff negative, (m) unable to be performed |  | Aeromonas sp | C.diff Negative | Aeromonas sp | [5 empty] | Aeromonas veronii | TP | negative
BBG5064 | (mcs) negative, C-Diff PCR unable to be performed, (m) unable to be performed, C-Diff A/B toxin detected |  | Negative | C.diff Tox a/b | Negative | [5 empty] | Negative | TN | negative
BBG5065 | (mcs) salmonella Aberdeen, (m) not performed |  | Salmonella aberdeen |  | Salmonella aberdeen | 29.05, 28.58 | 36.75, 35.08 |  |  |  | Negative | FN | fliC,eae
BBG5065 | (mcs) salmonella Aberdeen, (m) not performed |  | Salmonella aberdeen |  | Salmonella aberdeen | 29.05, 28.58 | 36.75, 35.08 |  |  |  | Giardia intestinalis_A | TP
BBG5066 | (mcs) negative, occult blood negative, (m) not performed, concentration of ova, cysts and paracites- giardia intestinalis Lamblia positive |  | Negative | Giardia intestinalis positive | Giardia lamblia | [5 empty] | Giardia intestinalis_A | TP | negative
BBG5067 | (mcs) candida species, C-diff pcr not performed A/B toxin negative |  | Candida species |  | Negative | [5 empty] | Negative | TN | negative
BBG5068 | (mcs) candida species, c-diff pcr not performed A/B toxin negative |  | Candida species |  | Negative | [5 empty] | Negative | TN | fliC
BBG5069 | (mcs) candida glabrata complex, candida albicans, C-diff negative |  | Candid glabrata complex, candida albicans | C.diff Negative | Negative | neg, neg |  |  |  |  | Giardia intestinalis | FP | negative
BBG5070 | (mcs) campylobacter jejuni, (m) not performed |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg |  |  |  | Campylobacter_D jejuni | TP | negative
BBG5071 | (mcs) candida albicans, (m) negative, C-diff negative | Negative | Candida albicans |  | Negative | [5 empty] | Negative | TN | not tested
BBG5072 | (mcs) campylobacter jejuni, (m) not performed |  | Campylobacter jejuni |  | Campylobacter jejuni |  | neg | 28.49 |  |  | Campylobacter_D jejuni | TP | negative
BBG5073 | (mcs) campylobacter jejuni, (m) not performed,C-diff pcr not performed A/B toxin negative |  | Campylobacter jejuni | C.diff Tox a/b Negative | Campylobacter jejuni | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG5116 | (mcs) negative, (m) yersinia species | Yersinia | Negative |  | Yersinia sp | [5 empty] | Negative | TN | not tested
BBG5117 | (mcs)negative, (m) yersinia species, C-diff negative | Yersinia | Negative | C.diff Negative | Yersinia sp |  | neg | neg | neg | yersin neg | Negative | TN | not tested
BBG5118 | (mcs) salmonella species |  | Salmonella |  | Salmonella |  | neg |  |  | sal neg | Negative | TN | fliC
BBG5119 | (mcs) candida albicans, candida krusei, (m) negative, C-diff negative | Negative | Candida albicans, Candida krusei | C.diff Negative | Negative | [5 empty] | Negative | TN | not tested
BBG6879 | (mcs) negative, (m) campylobacter species, C-Diff negative | Camplyobacter | Negative | C.diff Negative | Campylobacter sp | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG6882 | (m) campylobacter species, C-Diff negative, occult blood negative | Camplyobacter |  | C.diff Negative, OCP Negative | Campylobacter sp | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG6888 | (mcs) campylobacter jejuni, (m) campylobacter species | Camplyobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 28 |  |  | Negative | FN | negative
BBG6890 | (mcs) campylobacter jejuni, (m) campylobacter species | Camplyobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 36.61, neg |  |  | Negative | FN | negative
BBG6891 | (mcs) Yersinia enterocolitica (m) yersinia sp | Yersinia | Yersininia |  | Yersinia sp | [5 empty] | Negative | TN | not tested
BBG6892 | (mcs) campylobacter jejuni, (m) campylobacter species, ova cysts and parasites negative | Camplyobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | neg |  |  | Negative | TN | negative
BBG6894 | (mcs) campylobacter coli, (m) campylobacter species, calprotectin 630ug/g | Camplyobacter | Campylobacter coli | Calprotectin | Campylobacter coli | [5 empty] | Campylobacter_D jejuni | TP | negative
BBG6895 | (mcs) campylobacter coli, C-Diff negative |  | Campylobacter coli | C.diff Negative | Campylobacter coli |  |  | neg |  |  | Negative | TN | negative
BBG6897 | (mcs) negative, (m) campylobacter species | Camplyobacter | Negative |  | Campylobacter sp |  |  | neg |  |  | Negative | TN | negative
BBG6898 | (mcs) campylobacter jejuni, (m) campylobacter species | Camplyobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 31.54 |  |  | Negative | FN | negative
BBG6900 | (m)salmonella spp | Salmonella |  |  | Salmonella sp |  | neg, neg |  |  |  | Negative | TN | not tested
BBG6903 | (mcs) negative, (m) cryptosporidium species | Cryptosporidium | Negative |  | Cryptosporidium sp | neg |  |  |  |  | Negative | TN | negative
BBG6904 | (m) detected Yersinia, c-diff negative (mcs) negative | Yersinia | Negative | C.diff Negative | Yersinia sp | [5 empty] | Negative | TN | not tested
BBG6906 | (mcs) negative (m) yersinia species c-diff negative | Yersinia | Negative | C.diff Negative | Yersinia sp | [5 empty] | Negative | TN | not tested
BBG6912 | (m) salmonella sp detected (mcs) negative, occult blood negative | Salmonella | Negative | Occult blood negative | Salmonella sp |  | neg, neg |  |  |  | Negative | TN | not tested
BBG6913 | (mcs) salmonella; Salmonella typhiuvium, (m) negative | Negative | Salmonella typhiuvium |  | Salmonella typhiuvium |  | neg, neg |  |  |  | Negative | TN | not tested
BBG6914 | (mcs) leucocytes, erthrocytes - MODERATE, CAMPYLOBACTER JEJUNI - PRESENT, (m) CAMPYLOBACTER - PRESENT, C-Diff negative | Camplyobacter | Campylobacter jejuni | C.diff Negative | Campylobacter jejuni |  |  | neg, neg |  |  | Negative | TN | negative
BBG6915 | (mcs)negative, (m) campylobacter species | Camplyobacter | Negative |  | Campylobacter sp |  |  | neg, 33.19 |  |  | Negative | Unresolved | negative
BBG6919 | (m) salmonella, c-diff negative | Salmonella |  | C.diff Negative | Salmonella sp |  | neg, neg |  |  |  | Negative | TN | negative
BBG6922 | (m) salmonella spp (mcs) leucocytes moderate c-diff negative | Salmonella | leucocytes | c-diff negative | Salmonella sp | [5 empty] | Salmonella enterica | TP | negative
BBG6924 | (mcs) leucocytes -NUMEROUS, erythrocytes - FEW CAMPLOBACTER JEJUNI, (m) campylobacter | Camplyobacter | Campylobacter jejuni |  | Campylobacter jejuni |  |  | 24.3 |  |  | Negative | FN | negative