## Supple Table 2
Supplemental Table 2. Conditions employed in the metabolome analysis
Cation mode
Equipment
Agilent CE-TOFMS system（Agilent Technologies) Ver.6
Capillary: Fused silica capillary i.d. 50 μm × 80 cm
Conditions for measurement
Run buffer: Cation Buffer Solution (p/n : H3301-1001)
Rinse buffer: Cation Buffer Solution (p/n : H3301-1001)
Sample injection: Pressure injection 50 mbar, 10 sec
CE voltage: Positive, 30 kV
MS ionization: ESI Positive
MS capillary voltage: 4,000 V
MS scan range: m/z 50-1,000
Sheath liquid: HMT Sheath Liquid (p/n : H3301-1020)
Anion mode
Equipment
Agilent CE-TOFMS system（Agilent Technologies) Ver.1
Capillary: Fused silica capillary i.d. 50 μm × 80 cm
Conditions for measurement
Run buffer: Anion Buffer Solution (p/n : I3302-1023)
Rinse buffer: Anion Buffer Solution (p/n : I3302-1023)
Sample injection: Pressure injection 50 mbar, 22 sec
CE voltage: Positive, 30 kV
MS ionization: ESI Negative
MS capillary voltage: 3,500 V
MS scan range: m/z 50-1,000
Sheath liquid: HMT Sheath Liquid (p/n : H3301-1020)