Environmental Sciences Europe

Supplementary information

Ecotoxicological data of selected antiviral drugs acting against SARS-CoV-2: Aliivibrio fischeri bioluminescence inhibition, Daphnia magna immobilization, and comparison with in silico predictions

Indra Bartels a,b,f, Nazmun Nahar c,d,g, Esther Smollich c,h, Sonja Zimmermann c,d,i, Torsten C. Schmidt b,d,j, Martin Jaeger a,k,*, Bernd Sures c,d,e,l

a Department of Chemistry and ILOC, Niederrhein University of Applied Sciences, Frankenring 20, D-47798 Krefeld, Germany; b Faculty of Chemistry, University Duisburg-Essen, Universitätsstraße 5, D-45141 Essen, Germany; c Aquatic Ecology, Faculty of Biology, University Duisburg-Essen, Universitätsstraße 5, D-45141 Essen, Germany; d Centre for Water and Environmental Research, University of Duisburg-Essen, Universitätsstr. 5, 45141 Essen, Germany; e Research Center One Health Ruhr, Research Alliance Ruhr, University Duisburg-Essen, Universitätsstraße 5, D-45141 Essen, Germany; ORCID ID: f 0000-0001-7245-443X; g 0000-0001-6377-3906; h 0000-0003-2679-5860, i 0000-0001-6929-7541; j 0000-0003-1107-4403; k 0000-0002-7709-2869; l 0000-0001-6865-6186;

* corresponding author: martin.jaeger@hs-niederrhein.de

Table A. 1: Abbreviations and structural formulas for favipiravir, remdesivir, GS-441524, molnupiravir and EIDD-1931 as used in the main paper

| analyte | abbreviation | structural formula |
| --- | --- | --- |
| favipiravir | FAV |  |
| remdesivir | REM |  |
| GS-441524 (active metabolite of remdesivir) | GS |  |
| molnupiravir | MOL |  |
| EIDD-1931 (active metabolite of molnupiravir) | EIDD |  |

Table A. 2: Chemicals required for the bioluminescence inhibition test on A. fischeri, stating their concentration, temperature and time of the respective incubation and dilution on the microplate regarding DIN EN ISO 11348

| Chemicals and steps | Parameters/ properties and description |
| --- | --- |
| positive control: potassium dichromate (K2Cr2O7) | c= 22.6 mg∙L-1 |
| positive control: zinc sulfate heptahydrate (ZnSO4 × 7 H2O). | c= 219.8 mg∙L-1 |
| test solutions | T= 15°C |
| 100 µL A. fischeri suspension | 2500 ± 500 formazine absorbing units (FAU); diluted in 0.5 mL of 20 g∙L-1 sodium chloride |
| Incubation of A. fischeri solution | T= 15°C for 15 minutes |
| After incubation of A. fischeri | 11.5 mL of 20 g∙L-1 sodium chloride solution was added and homogenized with the aid of a vortex homogenizer |
| microplate | 0.5 mL of the test substance solution or control was added to 0.5 mL bacteria suspension per well |
| negative control: sodium chloride solution | pH= 6.4. |

Table A.3: Measured pH values of stock solutions of FAV, REM and GS and their resulting test solutions prior to the investigation of bioluminescence inhibition using Aliivibrio fischeri

| FAV |  | REM |  | GS |  |
| --- | --- | --- | --- | --- | --- |
| c / mg∙L-1 | pH value | c / mg∙L-1 | pH value | c / mg∙L-1 | pH value |
| 1000 | 6.4 | 19.3 | 6.4 | 7.7 | 6.4 |
| 500 | 6.3 | 6.5 | 6.4 | 3.8 | 6.4 |
| 100 | 6.4 | 1.7 | 6.4 | 0.7 | 6.4 |
| 50 | 6.4 | 0.6 | 6.4 | 0.4 | 6.4 |
| 10 | 6.3 | 0.1 | 6.4 | 0.1 | 6.4 |
| 5.0 | 6.3 | 0.0 | 6.4 | 0.0 | 6.4 |
| 1.0 | 6.4 | - | - | - | - |
| 0.5 | 6.3 | - | - | - | - |

Table A.4: Measured pH values of stock solutions of MOL and EIDD and their resulting test solutions prior to the investigation of bioluminescence inhibition using Aliivibrio fischeri

| MOL |  | EIDD |  |
| --- | --- | --- | --- |
| c / mg∙L-1 | pH value | c / mg∙L-1 | pH value |
| 1500 | 6.4 | 1500 | 7.0 |
| 1000 | 6.4 | 1000 | 6.7 |
| 500 | 6.4 | 500 | 6.7 |
| 100 | 6.7 | 100 | 6.7 |
| 50 | 6.4 | 50 | 6.7 |
| 10 | 6.4 | 10 | 6.7 |
| 5 | 6.4 | 5 | 6.7 |

Table A. 5: Chemicals required for the acute immobilization test on D. magna, stating their concentration, temperature and time of the respective incubation and dilution regarding OECD guideline

| Chemicals and steps | Parameters/ properties and description |
| --- | --- |
| synthetic sea salt | c= 19.9 g∙60 L-1 |
| CaCl2 x 2H2O | 138 mL∙60 L-1 of 117.6 g∙L-1 |
| NaHCO3 | 132 mL∙60 L-1 of 25.2 g∙L-1 |
| SeO2 | 6 mL∙60 L-1 of 0.07 g∙L-1 |
| aeration of the artificial medium | t= 16 to 18 h |
| pH values of the artificial medium | adjusted between pH= 6 to 8 |

Table A.6: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of K2Cr2O7 directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| 3.2 | 6.6 | 7.2 | 5.0 | 4.5 |
| 1.8 | 6.6 | 7.2 | 5 | 4.1 |
| 1.0 | 6.6 | 7.2 | 5.1 | 4.1 |
| 0.6 | 6.7 | 7.5 | 5.1 | 3.9 |
| 0.3 | 6.7 | 7.1 | 5.1 | 4.2 |
| Control | 6.7 | 7.3 | 5.1 | 4.5 |

Table A.7: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of FAV directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| 850 | 6.8 | 6.3 | 5.5 | 5.0 |
| 500 | 6.6 | 6.1 | 4.8 | 4.2 |
| 300 | 6.7 | 6.4 | 5.1 | 4.7 |
| 175 | 6.8 | 6.6 | 5.3 | 4.8 |
| 100 | 7.2 | 6.9 | 5.3 | 4.7 |
| Control | 6.7 | 6.9 | 5.1 | 4.5 |

Table A.8: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of REM directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| 79.9 | 7.3 | 6.1 | 5.1 | 4.6 |
| 42.3 | 6.4 | 6.5 | 4.7 | 4.2 |
| 39.4 | 6.6 | 6.4 | 5.0 | 4.4 |
| 34.8 | 6.7 | 6.7 | 5.2 | 4.7 |
| 32.0 | 6.7 | 6.7 | 5.4 | 4.9 |
| Control | 6.8 | 6.3 | 5.1 | 4.5 |

Table A.9: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of GS directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| >850-10 | 6.3-7.4 | 6.0-6.9 | 5.0-5.4 | 5.2-5.3 |
| Control | 7.0 | 6.9 | 5.5 | 4.7 |

Table A.10: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of MOL directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| 1400 | 6.7 | 7.3 | 5.6 | 5.5 |
| 1200 | 6.7 | 7.2 | 5.6 | 5.2 |
| 1000 | 6.7 | 7.3 | 5.0 | 4.9 |
| 800 | 6.7 | 7.4 | 4.9 | 4.8 |
| 600 | 6.7 | 7.3 | 4.9 | 4.6 |
| Control | 6.7 | 7.4 | 5.0 | 4.9 |

Table A.11: pH values and dissolved oxygen (mg∙L-1) in the exposure media with different concentrations of EIDD directly before (t=0 h) and after (t=48 h) the exposure to Daphnia magna

| c / mg∙L-1 | pH values |  | dissolved oxygen / mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | t=0 h | t=48 h | t=0 h | t=48 h |
| 1400 | 6.4 | 7.1 | 5.4 | 4.4 |
| 1000 | 6.4 | 7.0 | 4.9 | 4.1 |
| 600 | 6.5 | 7.3 | 4.9 | 4.2 |
| 300 | 6.6 | 7.3 | 4.9 | 2.2 |
| 150 | 6.6 | 7.2 | 5.2 | 4.4 |
| Control | 6.8 | 7.0 | 5.5 | 4.9 |

Figure A.1: Calibration of REM (a) in MeOH and samples of the ecotoxicological investigation using Daphnia magna and calibration of GS (b) in MeOH and samples of the ecotoxicological investigation using Aliivibrio fischeri.

Table A. 12: Determination of the actual concentration (cactual / mg∙L-1) using HPLS-HRMS with deviation (%) to the nominal concentration (cnominal / mg∙L-1), indicating the solubility (%) of FAV, REM, GS, MOL and EIDD during the bioluminescence inhibition test on Aliivibrio fischeri.

| Test substance | cnominal / mg∙L-1 | cactual / mg∙L-1 | deviation / % | solubility / % |
| --- | --- | --- | --- | --- |
| FAV | 0.5 | 0.5 | 1.4 | 98.6 |
|  | 1.0 | 1.0 | 2.1 | 97.9 |
|  | 5.0 | 5.0 | 0.9 | 99.1 |
|  | 10.0 | 9.8 | 2.2 | 97.8 |
|  | 50.0 | 48.8 | 2.4 | 97.6 |
|  | 100.0 | 97.4 | 2.6 | 97.4 |
|  | 500.0 | 494.2 | 1.2 | 98.8 |
|  | 1000.0 | 988.1 | 1.2 | 98.8 |
| REM | 0.5 | 0.0 | 94.9 | 5.1 |
|  | 1.0 | 0.1 | 94.5 | 5.5 |
|  | 5.0 | 0.6 | 88.4 | 11.6 |
|  | 10.0 | 1.6 | 83.5 | 16.5 |
|  | 50.0 | 6.5 | 87.0 | 13.0 |
|  | 100.0 | 19.3 | 80.7 | 19.3 |
| GS | 0.05 | 0.03 | 35.8 | 64.2 |
|  | 0.10 | 0.06 | 41.8 | 58.2 |
|  | 0.50 | 0.37 | 26.6 | 73.4 |
|  | 1.00 | 0.73 | 27.3 | 72.7 |
|  | 5.00 | 3.83 | 23.5 | 76.5 |
|  | 10.00 | 7.71 | 22.9 | 77.1 |

Table A. 12 continued

| Test substance | cnominal / mg∙L-1 | cactual / mg∙L-1 | deviation / % | stability / % |
| --- | --- | --- | --- | --- |
| MOL | 5.0 | 4.9 | 1.4 | 98.6 |
|  | 10.0 | 10.0 | 0.03 | 100.0 |
|  | 50.0 | 49.9 | 0.3 | 99.7 |
|  | 100.0 | 99.4 | 0.6 | 99.4 |
|  | 500.0 | 495.8 | 0.8 | 99.2 |
|  | 1000.0 | 986.2 | 1.4 | 98.6 |
|  | 1500.0 | 1479.3 | 1.4 | 98.6 |
| EIDD | 5.0 | 4.9 | 1.1 | 98.9 |
|  | 10.0 | 9.8 | 2.2 | 97.8 |
|  | 50.0 | 49.4 | 1.1 | 98.9 |
|  | 100.0 | 96.9 | 3.1 | 96.9 |
|  | 500.0 | 488.0 | 2.4 | 97.6 |
|  | 1000.0 | 993.9 | 0.6 | 99.4 |
|  | 1500.0 | 1492.3 | 0.5 | 99.5 |

Table A. 13: Determination of the actual concentration (cactual / mg∙L-1) using HPLS-HRMS with deviation (%) to the nominal concentration (cnominal / mg∙L-1) depending on the exposure time of FAV, REM, MOL and EIDD on Daphnia magna

|  | exposure time / h |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test substance |  | 0 |  | 24 |  |  | 48 |  |  |  |
|  | cnominal / mg∙L-1 | cactual / mg∙L-1 | deviation / % | cactual / mg∙L-1 | deviation / % | stability / % | cactual / mg∙L-1 | deviation / % | stability / % |  |
| FAV | 100.0 | 98.6 | 1.4 | 97.8 | 2.2 | 99.2 | 96.9 | 3.1 |  | 98.2 |
|  | 175.0 | 172.4 | 1.5 | 172.2 | 1.6 | 99.9 | 170.8 | 2.4 |  | 99.1 |
|  | 300.0 | 297.5 | 0.8 | 289.0 | 3.7 | 97.1 | 293.4 | 2.2 |  | 98.6 |
|  | 500.0 | 496.6 | 0.7 | 491.3 | 1.7 | 98.9 | 479.1 | 4.2 |  | 96.5 |
|  | 850.0 | 843.5 | 0.8 | 826.3 | 2.8 | 98.0 | 834.2 | 1.9 |  | 98.9 |
| REM | 65.0 | 32.0 | 50.8 | 29.1 | 55.2 | 90.9 | 30.7 | 52.8 |  | 95.9 |
|  | 100.0 | 34.8 | 65.2 | 34.7 | 65.3 | 99.6 | 34.3 | 65.7 |  | 98.6 |
|  | 150.0 | 39.4 | 73.7 | 38.5 | 74.3 | 97.7 | 38.7 | 74.2 |  | 98.2 |
|  | 200.0 | 42.3 | 78.9 | 41.5 | 79.2 | 98.2 | 40.9 | 79.5 |  | 96.8 |
|  | 250.0 | 79.9 | 68.0 | 78.6 | 68.6 | 98.4 | 79.3 | 68.3 |  | 99.2 |

Table A. 13 continued

|  | exposure time / h |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test substance |  | 0 |  | 24 |  |  | 48 |  |  |
|  | cnominal / mg∙L-1 | cactual / mg∙L-1 | deviation / % | cactual / mg∙L-1 | deviation / % | stability / % | cactual / mg∙L-1 | deviation / % | stability / % |
| MOL | 600.0 | 597.8 | 0.4 | 592.8 | 1.2 | 99.2 | 594.3 | 1.0 | 99.4 |
|  | 800.0 | 797.2 | 0.4 | 786.2 | 1.7 | 98.6 | 797.0 | 0.4 | 100.0 |
|  | 1000.0 | 998.4 | 0.2 | 998.1 | 0.2 | 100.0 | 991.9 | 0.8 | 99.3 |
|  | 1200.0 | 1196.7 | 0.3 | 1193.7 | 0.5 | 99.7 | 1186.5 | 1.1 | 99.2 |
|  | 1400.0 | 1392.6 | 0.5 | 1383.6 | 1.2 | 99.4 | 1387.9 | 0.9 | 99.7 |
| EIDD | 150.0 | 147.0 | 2.0 | 143.1 | 4.6 | 97.3 | 146.9 | 2.1 | 99.9 |
|  | 300.0 | 297.0 | 1.0 | 294.6 | 1.8 | 99.2 | 296.5 | 1.2 | 99.8 |
|  | 600.0 | 586.0 | 2.3 | 585.3 | 2.5 | 99.9 | 585.2 | 2.5 | 99.9 |
|  | 1000.0 | 966.0 | 3.4 | 965.2 | 3.5 | 99.9 | 965.4 | 3.5 | 99.9 |
|  | 1400.0 | 1376.0 | 1.7 | 1372.3 | 2.0 | 99.7 | 1371.5 | 2.0 | 99.7 |

Table A.14: Mean adjustment factor (MAF) and standard deviations of the adjustment factor (sdAF) of three replicates for MOL and EIDD on the corresponding microtiter plate after different inhibition periods (tbioluminescence inhibition) during the bioluminescence inhibition test using Aliivibrio fischeri

| tbioluminescence inhibition / min | MOL, calculated for the concentrations 10-1000 mg∙L-1 |  | MOL and EIDD, calculated for the concentrations 5, 1500 mg∙L-1 |  | EIDD, calculated for the concentrations 10-1000 mg∙L-1 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MAF | sdAF | MAF | sdAF | MAF | sdAF |
| 0 | 1.00 | 0.00 | 1.00 | 0.00 | 1.00 | 0.00 |
| 5 | 1.12 | 0.03 | 1.16 | 0.01 | 1.16 | 0.02 |
| 15 | 1.11 | 0.04 | 1.15 | 0.01 | 1.14 | 0.02 |
| 30 | 1.15 | 0.05 | 1.10 | 0.03 | 1.12 | 0.04 |

Table A.15: Mean adjustment factor (MAF) and standard deviations of the adjustment factor (sdAF) of three replicates for REM and GS on the corresponding microtiter plate after different inhibition periods (tbioluminescence inhibition) during the bioluminescence inhibition test using Aliivibrio fischeri

| tbioluminescence inhibition / min | REM calculated for the concentrations 0.06-6.52 mg∙L-1 |  | REM calculated for the concentrations 0.03, 19.32; GS 0.03, 7.71 mg∙L-1 |  | GS calculated for the concentrations 0.06 -3.83 mg∙L-1 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MAF | sdAF | MAF | sdAF | MAF | sdAF |
| 0 | 1.00 | 0.00 | 1.00 | 0.00 | 1.00 | 0.00 |
| 5 | 1.17 | 0.01 | 1.20 | 0.02 | 1.13 | 0.04 |
| 15 | 1.14 | 0.02 | 1.23 | 0.02 | 1.10 | 0.04 |
| 30 | 1.09 | 0.04 | 1.26 | 0.04 | 1.07 | 0.06 |

Table A.16: Mean adjustment factor (MAF) and standard deviations of the adjustment factor (sdAF) of three replicates for FAV on the corresponding microtiter plate after different inhibition periods (tbioluminescence inhibition) during the bioluminescence inhibition test using Aliivibrio fischeri

| tbioluminescence inhibition / min | FAV calculated for the concentrations 1-100 mg∙L-1 |  | FAV calculated for the concentrations 0.5, 500, 1000 mg∙L-1 |  |
| --- | --- | --- | --- | --- |
|  | MAF | sdAF | MAF | sdAF |
| 0 | 1.00 | 0.00 | 1.00 | 0.00 |
| 5 | 1.18 | 0.02 | 1.14 | 0.03 |
| 15 | 1.18 | 0.02 | 1.11 | 0.03 |
| 30 | 1.19 | 0.03 | 1.07 | 0.05 |

Table A.17: Deviation (as absolute, %) of the adjustment factor of each individual replicate from the mean value of the control of the corresponding microtiter plate during the bioluminescence inhibition test using Aliivibrio fischeri.

| tbioluminescence inhibition / min for each analyte | deviation of the individual adjustment factors from mean of the control in % |  |  |
| --- | --- | --- | --- |
| MOL 10-1000 mg∙L-1 | A | B | C |
| 0 | 0.00 | 0.00 | 0.00 |
| 5 | 3.23 | 0.42 | 2.81 |
| 15 | 3.18 | 0.03 | 3.15 |
| 30 | 3.90 | 0.12 | 4.03 |
| MOL and EIDD: 5 and 1500 mg∙L-1 |  |  |  |
| 0 | 0.00 | 0.00 | 0.00 |
| 5 | 0.64 | 0.01 | 0.65 |
| 15 | 0.64 | 0.10 | 0.54 |
| 30 | 2.54 | 0.54 | 3.08 |

Table A.17 continued

| tbioluminescence inhibition / min for each analyte | deviation of the individual adjustment factors from mean of the control in % |  |  |  |
| --- | --- | --- | --- | --- |
| EIDD 10 - 1000 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 1.14 | 0.55 | 1.69 |
| 15 |  | 1.55 | 0.43 | 1.99 |
| 30 |  | 2.70 | 1.25 | 3.95 |
| REM 0.06 - 6.5 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 0.46 | 0.44 | 0.91 |
| 15 |  | 1.41 | 0.84 | 2.25 |
| 30 |  | 1.86 | 2.13 | 3.99 |
| REM 0.03, 19.3; GS 0.03, 7.7 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 0.95 | 1.34 | 2.28 |
| 15 |  | 0.76 | 1.29 | 2.05 |
| 30 |  | 1.79 | 1.72 | 3.51 |
| GS 0.06 -3.8 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 2.42 | 1.42 | 3.84 |
| 15 |  | 3.28 | 1.29 | 4.57 |
| 30 |  | 4.02 | 2.14 | 6.16 |

Table A.17 continued

| tbioluminescence inhibition / min for each analyte | deviation of the individual adjustment factors from mean of the control in % |  |  |  |
| --- | --- | --- | --- | --- |
| FAV 1-100 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 1.31 | 0.54 | 1.86 |
| 15 |  | 1.76 | 0.16 | 1.92 |
| 30 |  | 2.06 | 1.18 | 3.24 |
| FAV 0.5, 500, 1000 mg∙L-1 |  |  |  |  |
| 0 |  | 0.00 | 0.00 | 0.00 |
| 5 |  | 1.99 | 1.01 | 2.99 |
| 15 |  | 2.70 | 0.71 | 3.41 |
| 30 |  | 4.42 | 0.89 | 5.31 |

Figure A.2: Logarithmic plot of the actual concentration (cactual) of each substance versus the mean bioluminescence inhibition (%) of favipiravir (FAV a), remdesivir (REM b), GS-441524 (GS c), molnupiravir (MOL d) and EIDD-1931 (EIDD e) in A. fischeri (n= 4). The non-linear model was used to calculate EC10 with 95% confidence intervals (CIs) indicated as dashed lines. CIs are not illustrated if they corresponded to too wide a range. Figure keys for all partial illustrations are shown at the top right.

Figure A.3: Logarithmic plot of the actual concentration (cactual) of each substance versus the mean bioluminescence inhibition (%) of favipiravir (FAV a), remdesivir (REM b), GS-441524 (GS c), molnupiravir (MOL d) and EIDD-1931 (EIDD e) in A. fischeri (n= 4). The non-linear model was used to calculate EC20 with 95% confidence intervals (CIs) indicated as dashed lines. CIs are not illustrated if they corresponded to too wide a range. Figure keys for all partial illustrations are shown at the top right.

Figure A. 4: Logarithmic plot of the actual concentration (cactual) of each substance versus the respective effect (%) of favipiravir (FAV a), remdesivir (REM b), molnupiravir (MOL c) and EIDD-1931 (EIDD d) in D. magna (n= 20). The non-linear model was used to calculate EC20/LC20 with 95 % confidence intervals (CIs) indicated as dashed lines. CIs are not illustrated if they corresponded to too wide a range. Figure keys for all partial illustrations are shown at the top right.

Figure A.5: Logarithmic plot of the actual concentration (cactual) versus the mean effect (%) of K2Cr2O7 on D. magna (n= 20). The different colors denote immobilization (EC10) after 24h (black circles) and 48h (red squares) as well as lethality (LC10) after 24h (blue triangle up) and 48h (green triangle down), with confidence intervals (CIs, 95%, dashed lines in corresponding color). CIs are not illustrated if they corresponded to too wide a range.

Figure A.6: Logarithmic plot of the actual concentration (cactual) versus the mean effect (%) of K2Cr2O7 on D. magna (n= 20). The different colors denote immobilization (EC20) after 24h (black circles) and 48h (red squares) as well as lethality (LC20) after 24h (blue triangle up) and 48h (green triangle down), with confidence intervals (CIs, 95%, dashed lines in corresponding color). CIs are not illustrated if they corresponded to too wide a range.

Figure A.7: Logarithmic plot of the actual concentration (cactual) versus the mean effect (%) of K2Cr2O7 on D. magna (n= 20). The different colors denote immobilization (EC50) after 24h (black circles) and 48h (red squares) as well as lethality (LC50) after 24h (blue triangle up) and 48h (green triangle down), with confidence intervals (CIs, 95%, dashed lines in corresponding color). CIs are not illustrated if they corresponded to too wide a range.

Table A.18: Observations of alive, immobile and dead individuals in each replicate of the control for each tested substance after 48 hours of exposure to Daphnia magna

| Test substance | Replicate No. | observation in control after 48 h |  |  |
| --- | --- | --- | --- | --- |
|  |  | alive | immobile | dead |
| K2Cr2O7 | 1 | 5 | - | - |
|  | 2 | 5 | - | - |
|  | 3 | 5 | - | - |
|  | 4 | 5 | - | - |
| FAV | 1 | 5 | - | - |
|  | 2 | 5 | - | - |
|  | 3 | 5 | - | - |
|  | 4 | 5 | 1 | - |
| REM | 1 | 5 | - | - |
|  | 2 | 4 | 1 | 1 |
|  | 3 | 5 | - | - |
|  | 4 | 5 | 1 | - |
| K2Cr2O7 | 1 | 5 | - | - |
|  | 2 | 5 | - | - |
|  | 3 | 5 | - | - |
|  | 4 | 5 | - | - |

Table A.18 continued

| Test substance | Replicate No. | observation in control after 48 h |  |  |
| --- | --- | --- | --- | --- |
|  |  | alive | immobile | dead |
| MOL | 1 | 5 | - | - |
|  | 2 | 5 | - | - |
|  | 3 | 5 | - | - |
|  | 4 | 5 | - | - |
| EIDD | 1 | 5 | - | - |
|  | 2 | 5 | - | - |
|  | 3 | 5 | - | - |
|  | 4 | 5 | - | - |

Table A.19: Effective (EC) and lethal concentration (LC) values regarding 10, 20 and 50% effect (mg∙L-1) and their confidence intervals (CI, 95%) for K2Cr2O7 from the acute immobilization test using Daphnia magna

| effect | immobility |  | lethality 24 h / % |  |
| --- | --- | --- | --- | --- |
|  | 24 h | 48 h | 24 h | 48 h |
| EC10 & LC10 / mg∙L-1 (95% CI) | 0.84 (0.64 - 1.03) | 0.65 (0.54 - n.a.) | 9.14 (n.a) | 0.81 (0.70 - n.a.) |
| EC20 & LC20 / mg∙L-1 (95% CI) | 0.97 (0.80 - 1.16) | 0,76 (0.66 - n.a.) | 0.98 (n.a.) | 0.92 (0.84 - 0.98) |
| EC50 & LC50 / mg∙L-1 (95% CI) | 2.08 (1.77 - 2.50) | 0.99 (0.95 - 1.03) | 4.29 (2.85 - 14.11) | 1.14 (n.a. - 1.21) |