Supplementary Table 1. | The nominal particle diameter compared to the calculated diameter according to the linear regression curve of the 3D nanofluidic device. The associated coefficient of variation for both mean particle diameters is given between brackets. N.A. signifies missing supplier information.

| Nominal diameter | 3,16 (3%) | 2,12 (1%) | 1,74 (1%) | 1,03 (1%) | 0,9 (N.A.) |
| --- | --- | --- | --- | --- | --- |
| Calculated diameter | 3,16 (1,8%) | 2,15 (2,7%) | 1,67 (4,6%) | 1,06 (4,4%) | 0,9 (3,9%) |