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Fig. S1. MIC values of imipenem-relebactam (mg/L) for the quality control strain P. aeruginosa ATCC 27853 (n= 14 experiments) (A) and K. pneumoniae ATCC BAA-2814 (n= 4 experiments) (B) as determined by broth microdilution (black bars), EUMDROXF Sensititre microplates (light gray bars), and MTS Liofilchem strips (dark gray bars). Target values are indicated by arrows, and acceptable values are boxes according to EUCAST (http://www.eucast.org).
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Fig. S2. Inhibition zone diameters (mm) of quality control strains P. aeruginosa ATCC 27853 (A) and for K. pneumoniae ATCC BAA-2814 (B) with MAST (10/25 g) discs determined from Becton Dickinson MH agar. Target value is indicated by an arrow and values included in the range are boxed according to EUCAST (http://www.eucast.org).
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