Supplemental Tables

Supplemental Table 1. ddPCR conditions

| Steps | KRAS G12 C/D/R/V | KRAS G13 D | KRAS G12 A | KRAS G12 S | drop-off Assay |
| --- | --- | --- | --- | --- | --- |
| Partitation droplet generator | 40°C “Saphire V1“ | 40°C “Saphire V1“ | 40°C “Saphire V1“ | 40°C “Saphire V1“ | 40°C “Saphire V1“ |
| Denaturation Temp /activation of polymerase | 95.0°C for 10 min | 95.0°C for 10 min | 95.0°C for 10 min | 95.0°C for 10 min | 95.0°C for 10 min |
| Number of Cycles | 45x | 45x | 45x | 45x | 45x |
| Denaturation of DNA | Temp. 95.0°C for 30 sec | Temp. 95.0°C for 30 sec | Temp. 95.0°C for 30 sec | Temp. 95.0°C for 30 sec | Temp. 95.0°C for 30 sec |
| Annealing time | Temp. 58°C (+-0.5°C) for 30 sec | Temp. 59°C (+-0.5°C) for 30 sec | Temp. 59°C (+-0.5°C) for 30 sec | Temp. 59°C (+-0.5°C) for 60 sec | Temp. 59°C (+-0.5°C) for 30 sec |
| Close cycle | Close Cycle | Close Cycle | Close Cycle | Close Cycle | Close Cycle |
| Droplet preservation | Release P „Saphire V1“ | Release P „Saphire V1“ | Release P „Saphire V1“ | Release P „Saphire V1“ | Release P „Saphire V1“ |
| Cristal Reader Exposure time (ms) | FAM: 75 HEX: 150 | FAM: 85 HEX: 250 | FAM: 85 HEX: 150 | FAM: 85 HEX: 250 | FAM: 75 HEX: 150 |

Supplemental Table 2. Primer and Probe sequences for the KRAS Single-Target Assays

| Primer |  |  |
| --- | --- | --- |
| Gene | Direction |  |
| KRAS | Forward | 5‘ – GCT GTA TCG TCA AGG CAC – 3‘ |
|  | Reverse | 5‘ – GTG TGA CAT GTT CTA ATA TAG TC – 3‘ |
| Probes |  |  |
| Gene | Target |  |
| KRAS | WT | 5‘ – /5HEX/TAC G+CC A+CC A+GC TCC /3IABkFQ/ – 3‘ |
|  | G12V | 5‘ – /56-FAM/TAC G+CC A+AC A+GC TCC /3IABkFQ/ – 3‘ |
|  | G12D | 5‘ – /56-FAM/TAC G+CC A+TC A+GC TCC /3IABkFQ/ – 3‘ |
|  | G12R | 5‘ – /56-FAM/TAC GC+C AC+G AG+C TCC /3IABkFQ/ – 3‘ |
|  | G12C | 5‘ – /56-FAM/TAC GC+C AC+A AG+C TCC /3IABkFQ/ – 3‘ |

Specific primers and probes were designed and used for each single target assay for optimal amplifying and detection of wild-type or mutant droplets in a digital droplet PCR approach as listed. WT, wild-type; HEX, Hexachloro-Flouresceine; FAM, 6-Carboxyflourescein; 3IABkFQ, 3’ Iowa Black® FQ, Qeuncher from IDT