CORE TIPS:

- TKA in MHE affected patients carries specific but manageable challenges

- Due to bone deformities and frequent severe valgus knee alignment, TKA should be considered even in younger patients

- Revision implants provide the flexibility and the necessary fixation, not always achievable with primary implants

- Bigger size components may be necessary in MHE patients compared with patients of the same height

- Lateral ligament releases may often be necessary due to long standing valgus deformity. If stability cannot be achieved, the use of a hinged implant should be considered

- Cementation of the metaphysis or the use of sleeves can provide additional rotational stability to the implant