Table 1: Quality metrics used to assess wet-lab workflows and pre-processing for RP (orange columns) and RNA-Seq (green columns) in the PS (complete data set in Supplemental Table 1). For comparison purposes, we also include a summary of the same metrics obtained during the MS (dark green row, complete data set in Supplemental Table 1). Cells are color-coded using a heat-map, where desirable counts are shown in blue, and less desirable counts are shown in red. Samples that failed quantification or sequencing are shaded grey.

| Batch | Sample ID | CHX? | Total PBMCs (M) | Viability (%) | RP PBMCs (M) | Total RNA (ng) | Total monosome RNA (ng) | Chip Loading (%) | Raw Reads (M) | Total Usable Reads (M) | RNAseq PBMCs (M) | Total RNA (ng) | Chip Loading (%) | Raw Reads (M) | Total Usable Reads (M) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | PS1 | no | 9 | 99 | 7.2 | 2,710 | 216 | 93 | 138 | 103 | 1.8 | 542 | 85 | 126 | 60 |
|  | PS2 | no | 10 | 99 | 8.0 | 1,850 | 61 | 94 | 139 | 126 | 2.0 | 370 | 86 | 127 | 55 |
|  | PS3 | no | 10 | 99 | 8.0 | 2,050 | 84 | 95 | 141 | 114 | 2.0 | 410 | 92 | 137 | 71 |
|  | PS4 | no | 11 | 99 | 8.8 | 5,035 | 253 | 94 | 139 | 126 | 2.2 | 1,007 | 84 | 125 | 61 |
| 2 | PS5 | no | 11 | 99 | 8.8 | 300 | 48 |  |  |  | 2.2 | 60 |  |  |  |
|  | PS6 | no | 8 | 99 | 6.4 | 1,300 | 111 |  |  |  | 1.6 | 260 | 89 | 132 | 88 |
|  | PS7 | no | 11 | 99 | 8.8 | 175 | 34 |  |  |  | 2.2 | 35 |  |  |  |
|  | PS8 | no | 10 | 99 | 8.0 | 250 | 74 |  |  |  | 2.0 | 50 |  |  |  |
| 3 | PS9 | no | 9 | 99 | 7.2 | 475 | 126 | 96 | 141 | 117 | 1.8 | 95 | 86 | 128 | 68 |
|  | PS10 | no | 8 | 99 | 6.4 | 350 | 198 | 94 | 139 | 115 | 1.6 | 70 | 92 | 136 | 79 |
|  | PS11 | no | 11 | 99 | 8.8 | 2,925 | 151 | 94 | 140 | 126 | 2.2 | 585 | 91 | 135 | 87 |
|  | PS12 | no | 8 | 99 | 6.4 | 885 | 135 | 95 | 141 | 108 | 1.6 | 177 | 93 | 138 | 91 |
| 4 | PS13 | no | 10 | 99 | 8.0 | 685 | 340 | 89 | 131 | 115 | 2.0 | 137 | 89 | 132 | 69 |
|  | PS14 | no | 6 | 99 | 4.8 | 220 | 63 | 95 | 141 | 118 | 1.2 | 44 | 92 | 136 | 74 |
|  | PS15 | no | 11 | 99 | 8.8 | 3,005 | 713 | 90 | 133 | 126 | 2.2 | 601 | 92 | 137 | 100 |
|  | PS16 | no | 10 | 99 | 8.0 | 800 | 97 | 95 | 141 | 125 | 2.0 | 160 | 89 | 133 | 93 |
| 5 | PS17 | no | 6 | 99 | 4.8 |  |  |  |  |  | 1.2 |  |  |  |  |
|  | PS18 | no | 4 | 99 | 3.2 |  |  |  |  |  | 0.8 |  | 70 | 104 | 30 |
|  | PS19 | no | 9 | 99 | 7.2 | 2,495 | 180 |  |  |  | 1.8 | 499 | 81 | 120 | 55 |
|  | PS20 | no | 5 | 99 | 4.0 | 150 |  |  |  |  | 1.0 | 30 | 83 | 123 | 62 |
| PS Averages |  | no | 8.9 | 99 | 7.1 | 1,426 | 161 | 94 | 138 | 118 | 1.8 | 285 | 87 | 129 | 71 |
| MS Averages |  | yes | 8.9 | 99 | 7.1 | 3,998 | 669 | 93 | 141 | 128 | 1.8 | 800 | 91 | 137 | 94 |