## Sheet1
Internal Standard Name | Vendor | Cat # | Monisotopic Mass | Stock Conc (ug/ml) | Extraction concentration(ug/ml) | Stock Conc in (uM) | Extraction concentration (nM)
3-Hydroxyanthranilic Acid-d3 | Toronto Research Chemicals | H801792 | 156.0426 | 7.8075 | 0.078075 | 50.0344 | 500.3442
3-Hydroxy Kynurenine-13C2,15N Hydrochloride Salt | Toronto Research Chemicals | H943697 | 227.0797 | 1.14 | 0.01136 | 5.0203 | 50.0251
Anthranilic Acid-15N | Cambridge Isotope Laboratories | NLM-3294-PK | 138.0477 | 1.3813 | 0.013813 | 10.006 | 100.0596
Kynurenic-3,5,6,7,8-d5 Acid | CDN Isotopes | D-4391 - 50mg | 194.0426 | 0.7768 | 0.007768 | 4.0032 | 40.0324
L-Kynurenine-d4 | Toronto Research Chemicals | K661007 - 0.5mg | 212.0848 | 4.2448 | 0.042448 | 20.0147 | 200.1474
Nicotinamide-13C6 solution in methanol | Millipore Sigma (Supelco) | V-034-1ML | 128.048 | 0.06404 | 0.0006404 | 0.50012 | 5.0012
Nicotinic acid-13C6 solution in methanol | Millipore Sigma (Supelco) | V-035-1ML | 129.032 | 3.8721 | 0.038721 | 30.0088 | 300.0883
2-Picolinic Acid - d4 | CDN isotopes | D5289 | 127.032 | 0.50856 | 0.0050856 | 4.0034 | 40.034
2,3-Pyridinedicarboxylic Acid-d3 | Toronto Research Chemicals | P991633 | 170.0219 | 5.9549 | 0.059549 | 35.0243 | 350.2432
Serotonin-d4 creatinine sulfate monohydrate | Millipore Sigma | 673455-10.00mg | 180.095 | 7.2 | 0.072 | 39.9789 | 399.7891
D,L-Tryptophan-d3 | Toronto Research Chemicals | T947202 | 207.0899 | 9.3258 | 0.093258 | 45.0326 | 450.3262
concentration (nM)
Compound Name | Vendor | Cat # | Monoisotopic Mass | Stock (µM) | 10x Dilution to Top Pt (µM) | Curve point (C1) | C2 | C3 | C4 | C5 | C6 | C7 | C8
3-hydroxyanthranillic acid | Sigma | 148776-250mg | 153.0426 | 20 | 2 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625
3-Hyroxykynurenine | Sigma | 78047-50mg | 224.0797 | 6 | 0.6 | 600 | 300 | 150 | 75 | 37.5 | 18.75 | 9.375 | 4.6875
Anthranillic acid | Cayman Chemical Company | 18708 | 137.0477 | 5 | 0.5 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062
Kynurenic Acid | Sigma | K3375-1g | 189.0426 | 3.25 | 0.325 | 325 | 162.5 | 81.25 | 40.625 | 20.3125 | 10.1563 | 5.0781 | 2.5391
Kynurenine | Sigma | K8625-100mg | 208.0848 | 90 | 9 | 9000 | 4500 | 2250 | 1125 | 562.5 | 281.25 | 140.625 | 70.3125
Nicotinamide | Sigma | 72340-100G | 122.048 | 20 | 2 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625
Nicotinic Acid | Sigma | 72309-100g | 123.032 | 0.4 | 0.04 | 40 | 20 | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125
Picolinic Acid | Sigma | P42800-5g | 123.032 | 3.25 | 0.325 | 325 | 162.5 | 81.25 | 40.625 | 20.3125 | 10.1562 | 5.0781 | 2.5391
Quinolinic Acid | Sigma | P63204-25g | 167.0219 | 42.5 | 4.25 | 4250 | 2125 | 1062.5 | 531.25 | 265.625 | 132.8125 | 66.4062 | 33.2031
Serotonin | Sigma | 14927-25MG | 176.095 | 30 | 3 | 3000 | 1500 | 750 | 375 | 187.5 | 93.75 | 46.875 | 23.4375
Tryptophan | Sigma | T0254-5g | 204.0899 | 1500 | 150 | 150000 | 75000 | 37500 | 18750 | 9375 | 4687.5 | 2343.75 | 1171.875
*Calibration mix stock is diluted 10x to reach the top curve point (C1), 8 additional curve points are prepared via a 2x dilution