Supplementary Table 1:

Abbreviations, units of measurements and methods of analysis of different hematological and biochemical parameters.

| Parameters | Abbreviations | Units | Method of analysis |
| --- | --- | --- | --- |
| Hematological parameters |  |  |  |  |
| Total Leukocyte Count | WBC | 103/µL | Laser Light Scatter |
| Erythrocyte Count | RBC | 106/µL | Light Scattering - Optical Cytometer |
| Hemoglobin Concentration | HGB | g/dL | Cyanide-Free Hemoglobin Methods |
| Hematocrit | HCT | % | Calculated |
| Mean Corpuscular Volume | MCV | fL | Cumulative Pulse Height Detection |
| Mean Corpuscular Hemoglobin | MCH | pg | Calculated |
| Mean Corpuscular Hemoglobin Concentration | MCHC | g/dL | Calculated |
| Platelet | PLT | 103/µL | Light Scattering - Optical Cytometer |
| Neutrophil | NEU | 103/µL | Flow Cytometry |
| Lymphocyte | LYMP | 103/µL |  |
| Monocyte | MONO | 103/µL |  |
| Eosinophil | EOS | 103/µL |  |
| Basophil | BASO | 103/µL |  |
| Absolute Reticulocyte Count | #RETIC | 109/ L | Flow Cytometry |
| Prothrombin Time | PT | sec | Turbidometry |
| Activated Partial Thromboplastin Time | APTT | sec | Turbidometry |
| Erythrocyte Sedimentation Rate | ESR | mm/hr | Westergren Method |
| Red Cell Distribution Width | RDW | fL | Calculated |
| Biochemical parameters |  |  |  |  |
| Glucose | GLU | mg/dL | Hexokinase Method |
| Triglycerides | TG | mg/dL | Enzymatic Colorimetric Method |
| Total Cholesterol | TCHO | mg/dL | Enzymatic Colorimetric Method |
| Aspartate aminotransferase | AST | U/L | IFCC Method |
| Alanine aminotransferase | ALT | U/L |  |
| Alkaline Phosphatase | ALP | U/L |  |
| Gamma Glutamyl Transferase | GGT | U/L | Enzymatic Colorimetric Method |
| Total Bilirubin | TBIL | mg/dL | Colorimetric Diazo Method |
| Total Protein | TP | g/dL | Colorimetric Biuret Method |
| Albumin | ALB | g/dL | Bromocresol Green Method |
| Globulin | GLB | g/dL | Calculated |
| Creatinine | CREA | mg/dL | Jaffe Method |
| Creatine Kinase | CK | U/L | UV Test |
| Sodium | Na+ | mmol/L | ISE Indirect |
| Potassium | K+ | mmol/L |  |
| Chloride | Cl- | mmol/L |  |
| Calcium | Ca | mg/dL | NM-BAPTA Method |
| Inorganic Phosphorus | Phos | mg/dL | Phosphomolybdate UV Method |
| High Density Lipoprotein | HDL | mg/dL | Enzymatic Method |
| Low Density Lipoprotein | LDL | mg/dL | Enzymatic Method |
| Urea | Urea | mg/dL | Urease GLDH Enzymatic Kinetic |

µL: microliter, dL: deciliter, fL: femtoliters, g: grams, GLDH: L-glutamate dehydrogenase, hr: hour, IFCC: International Federation of Clinical Chemistry, ISE: ion selective electrodes, L: liter, mg: milligrams, mm: millimeters, mmol: millimoles, NM-BAPTA: 5-nitro-5′-methyl-(1,2-bis(o-aminophenoxy)ethan-N,N,N′,N′-tetraacetic acid chromophore, pg: picograms, sec: seconds, U/L: Units Per Liter, UV: ultraviolet