# Supplementary material

Supplementary Table 1. Mean Relative Errors (MRE, %) for each software at different rotation movements, distances (m), and true length (mm). Notations: 0 (no rotation), Z1 and Z2 (rotation around Z-axis 45° and 315°, respectively) and Y1 and Y2 (rotation around Y-axis 45° and 315°, respectively).

|  | EventMeasure | StereoMorph |
| --- | --- | --- |
| Rotation movement | MRE | MRE |
| 0 | 0.36 | 1.67 |
| Z1 | 0.33 | 2.28 |
| Z2 | 0.41 | 2.08 |
| Y1 | 0.53 | 5.21 |
| Y2 | 1.01 | 12.08 |
| Distance |  |  |
| 2 | 0.3 | 3.87 |
| 3 | 0.63 | 3.42 |
| 4 | 0.44 | 5.09 |
| 5 | 0.73 | 6.28 |
| True length |  |  |
| 100 | 1.27 | 5.56 |
| 200 | 1.03 | 4.88 |
| 300 | 0.47 | 5.13 |
| 345 | 0.3 | 4.72 |
| 400 | 0.29 | 5.07 |
| 500 | 0.28 | 4.87 |
| 575 | 0.45 | 3.8 |
| 600 | 0.27 | 4.6 |
| 915 | 0.38 | 3.36 |

Supplementary Table 2. Mean Relative Errors (MRE, %) for each software in the different true lengths (mm), and rotation movements. Notations: 0 (no rotation), Z1 and Z2 (rotation around Z-axis 45° and 315°, respectively) and Y1 and Y2 (rotation around Y-axis 45° and 315°, respectively).

|  | EventMeasure | StereoMorph |
| --- | --- | --- |
| Rotation movement | MRE | MRE |
| 0 | 0.68 | 0.99 |
| Z1 | 0.69 | 0.66 |
| Z2 | 0.59 | 1.08 |
| Y1 | 0.86 | 7.39 |
| Y2 | 1.45 | 17.70 |
| True length |  |  |
| 100 | 1.68 | 5.86 |
| 200 | 1.43 | 4.88 |
| 300 | 0.67 | 5.62 |
| 400 | 0.44 | 5.73 |
| 500 | 0.45 | 5.65 |
| 600 | 0.46 | 5.66 |

Supplementary Table 3. Mean standard length (SL, mm) of each fish individual obtained with EventMeasure and StereoMorph, including the coefficient of variation (CV, %) for each measurement

|  | StereoMorph |  | EventMeasure |  |
| --- | --- | --- | --- | --- |
| N° | Mean SL | CV | Mean SL | CV |
| 1 | 165.48 | 4.37 | 174.26 | 4.81 |
| 2 | 154.35 | 6.28 | 161.84 | 9.26 |
| 3 | 151.49 | 1.22 | 150.81 | 1.81 |
| 4 | 163.64 | 0.27 | 171.01 | 1.01 |
| 5 | 164.00 | 1.97 | 165.80 | 1.52 |
| 6 | 162.54 | 1.24 | 162.90 | 0.38 |
| 7 | 144.21 | 0.70 | 144.02 | 1.92 |
| 8 | 279.39 | 0.62 | 296.31 | 0.75 |
| 9 | 237.60 | 1.14 | 246.20 | 0.88 |
| 10 | 230.83 | 2.66 | 226.16 | 2.86 |
| 11 | 246.77 | 2.32 | 251.99 | 1.53 |
| 12 | 253.52 | 1.23 | 261.19 | 1.21 |
| 13 | 225.77 | 0.67 | 226.09 | 0.53 |
| 14 | 241.64 | 1.46 | 252.74 | 0.45 |
| 15 | 263.40 | 1.98 | 264.93 | 2.23 |
| 16 | 223.15 | 0.19 | 232.69 | 0.74 |
| 17 | 247.99 | 2.26 | 247.77 | 0.81 |
| 18 | 225.73 | 1.29 | 234.29 | 0.20 |
| 19 | 245.83 | 0.58 | 247.31 | 1.71 |
| 20 | 212.62 | 1.63 | 214.37 | 1.02 |
| 21 | 226.01 | 1.74 | 229.75 | 1.89 |
| 22 | 232.24 | 0.93 | 228.86 | 2.05 |
| 23 | 269.93 | 2.36 | 271.43 | 3.46 |
| 24 | 246.76 | 0.48 | 255.46 | 1.08 |
| 25 | 213.11 | 2.22 | 215.62 | 1.76 |
| 26 | 262.80 | 1.39 | 299.49 | 1.67 |
| 27 | 204.59 | 1.61 | 213.87 | 2.28 |
| 28 | 206.76 | 2.91 | 213.36 | 2.06 |
| 29 | 211.91 | 0.40 | 222.04 | 1.65 |
| 30 | 253.27 | 0.75 | 265.45 | 1.89 |
| 31 | 210.06 | 1.51 | 215.72 | 0.42 |
| 32 | 269.81 | 1.97 | 272.78 | 1.47 |
| 33 | 215.90 | 2.29 | 219.16 | 1.81 |
| 34 | 214.42 | 2.28 | 229.77 | 1.50 |
| 35 | 210.51 | 2.97 | 233.20 | 2.29 |
| 36 | 215.58 | 0.21 | 228.74 | 0.61 |
| 37 | 218.42 | 5.79 | 182.16 | 5.97 |
| 38 | 216.78 | 5.54 | 198.13 | 5.59 |
| 39 | 249.19 | 6.42 | 242.94 | 1.49 |
| 40 | 230.71 | 5.97 | 215.98 | 2.77 |
| 41 | 225.92 | 2.79 | 225.16 | 2.99 |
| 42 | 272.72 | 1.86 | 264.56 | 0.45 |
| 43 | 234.67 | 2.66 | 240.79 | 2.72 |
| 44 | 227.04 | 3.72 | 243.91 | 3.80 |
| 45 | 219.60 | 2.80 | 221.05 | 4.55 |
| 46 | 250.97 | 0.50 | 260.04 | 1.44 |
| 47 | 241.23 | 1.17 | 236.69 | 2.13 |