Supporting Information for:

Critical Behavior through Local Amplification
in the Mammalian Cochlea

Rodrigo G. Alonso1, Francesco Gianoli1, Brian Fabella1, & A. J. Hudspeth1,*

1 Howard Hughes Medical Institute and Laboratory of Sensory Neuroscience, The Rockefeller University, 1230 York Avenue, New York, New York 10065, U.S.A.

* Corresponding author:	Dr. A. J. Hudspeth
The Rockefeller University
New York, NY 10065, USA
Telephone: 212-327-7351
E-mail: hudspaj@rockefeller.edu

Materials and methods

Requirements of an in vitro system for the study of the cochlear active process

To compare our in vitro results with those from the cochleae of living animals, we strove to provide an experimental environment that effectively mimicked the physiological environment of the intact cochlea. Moreover, we wished to conduct experiments on hair cells whose characteristic frequencies lay in the low kilohertz range that is critical for human verbal communication.

We earlier developed a simple version of the experiment chamber and successfully recorded cochlear microphonic potentials with a modest degree of compressive nonlinearity1,2. The system was subsequently analyzed and its characteristics were validated through finite-element analysis3. The preparation has also proven useful in physiological studies of various aspects of the mechanoelectrical-transduction process4.

To accomplish the necessary objectives, an experimental system must meet an extensive set of requirements:

•	The experimental animal must be readily obtainable at any time, at a reasonable price, and without an impact on natural populations. We have previously identified the Mongolian gerbil as suitable on these grounds1,2.

•	To facilitate acoustical stimulation, electrical recording, and microscopic observation, the isolated segment of the cochlea needs to bear hair cells with characteristic frequencies in the range of 1-10 kHz. The tonotopic map of the gerbil has been characterized exceptionally well5,6, so it is possible to target hair cells of particular characteristic frequencies through anatomical landmarks during dissection.

•	The cochlea must be sufficiently accessible that a functional segment can be dissected, mounted, and prepared for experimentation while the active process remains intact. In practice, this mandates a procedure that can be accomplished in about half an hour1. Productive experiments can ordinarily be conducted for at least an hour thereafter.

•	The isolated cochlear segment must be rigidly secured so that its bony components do not vibrate at modest levels of stimulation and only the distensible cochlear partition moves significantly. Fixing the bony margins of a cochlear segment to a rigid plastic disk with cyanoacrylate adhesive meets this standard1.

•	The cochlear segment must separate two liquid-filled compartments and restrict ionic fluxes and electrical currents. A well-mounted segment of the gerbil's middle cochlear turn permits negligible leakage of liquids and displays a transepithelial resistance1 of about 5 k.

•	One compartment of the experimental chamber must be filled with an artificial endolymph solution, the other with synthetic perilymph.

•	The temperature is required to be maintained near 38 ˚C, the physiological level7.

•	A steady-state voltage has to be applied between the two compartments to simulate the normal endocochlear potential of 80-100 mV characteristic of young animals8,9.

•	The system must permit controlled stimulation with acoustic pressure. This requirement is critical for characterizing the active process, which can manifest itself only by generating mechanical forces of a magnitude comparable to those applied by the stimulation system. In other words, a mechanically active cochlear segment must be able to "push back" against the force applied by acoustic pressure. In engineering terms, the impedances of the stimulus system and cochlear segment must be approximately matched. The same consideration applies precisely in studies of the active motility of individual hair bundles, which can react mechanically against a flexible glass fiber10, jet of liquid11, or flux of photons12, but not against a rigid stimulus probe.

•	The electrical responses of hair cells must be readily accessible, for example, through recordings of cochlear microphonic potentials.

•	The preparation needs to be optically accessible for light microscopy, especially with high-speed video cameras2, for conventional interferometry, and for optical coherence tomography (OCT), which provides superior resolution of tiny, rapid movements in the cochlear partition.

General considerations

With the approval of Rockefeller University's Institutional Animal Care and Use Committee, we conducted experiments on three- or four-week-old Mongolian gerbils or jirds (Meriones unguiculatus, Charles River Laboratories) of both sexes. At three weeks of age, the cranial bone surrounding the cochlea was relatively soft and had not synostosed with that of the cochlear spiral. During the subsequent week, however, the bone grew harder and more brittle, so it became progressively more likely that dissection would lead to a fracture of the middle cochlear turn that ended the experiment. The age and sex of the animals were significant: males were somewhat larger than females at those ages, and their bones hardened sooner.

Tonotopic map of the gerbil's cochlea

The gerbil's cochlea represents frequencies5 from about 0.3 kHz to 45 kHz, a range broadly comparable to that of humans and significantly below those of mice and rats. As assessed by the injection of individual cochlear nerve fibers, the tonotopic map displays a nearly exponential relationship of characteristic frequency to position along the three turns of the cochlear spiral5. A three-dimensional reconstruction of the cochlea by micro-computerized tomography6 disclosed that the lateral surface of the middle turn encompasses characteristic frequencies from about 1 kHz to 4 kHz, an attractive range for mechanical and electrophysiological recording.

Dissection of a cochlear segment

Isolating a functional cochlear segment from a structure as complex and delicate as the cochlea is not easy. Nevertheless, the dissection procedure delineated below (Supplementary Fig. 1) usually results in preparation with satisfactory cochlear-microphonic responses and a reasonable appearance upon imaging by optical coherence tomography.

Initial preparations

•	Euthanize an animal, remove the skin of its head, dislocate the mandible by horizontal cuts through the temporomandibular joints, reflect the posterior cranial musculature, sever the external auditory meatus, and bisect the skull and brain sagittally with scissor cuts both dorsally and ventrally. Transect the skull immediately posterior to the eyes.

•	Remove the brain, noting the internal auditory meatus—the entry point of cranial nerve VIII—adjacent to the ridge along which the tentorium inserts. The cochlear base lies immediately lateral to the internal auditory meatus; the helicotrema lies behind the ventral tip of the tentorial ridge.

•	Periodically moisten each temporal bone with oxygenated dissection solution comprising 155 mM Na+, 3 mM K+, 250 M Ca2+, 1 mM Mg2+, 154 mM Cl–, 1 mM phosphate, 3 mM pyruvate, 10 mM D-glucose, and 5 mM HEPES at pH 7.35 and an osmolarity of 310 mOsmol·kg-1.

Isolating the two upper cochlear turns

•	 Although the procedures can be performed with a #11 scalpel blade, the best results are obtained with a sharply pointed fragment of a thin razor blade secured in a holder (14134-G, World Precision Instruments).

•	Transect the modiolus basal to the middle turn by carefully inserting the blade into the internal auditory meatus orthogonal to the cochlear axis and carefully moving its tip back-and-forth. It is important not to insert the blade too far, for it can fracture the cochlear bone near the oval window.

•	Using coarse dissection forceps, open the bulla by chipping away its bony wall until the cochlea is exposed.

•	Use the scalpel blade's tip, or preferably a thin razor-blade fragment in a holder, to open a small hole in the bone overlying the helicotrema at the cochlear apex. This step may reduce pressure transients during the subsequent steps.

•	Remove the flange of parietal bone forming the bulla's anterior wall at its junction with the bony outer wall of the cochlea.

•	If desired, use a marking pen to draw an axial vertical line on the cochlea between the round window and oval window. This mark roughly demarcates the 2.5 kHz place in the middle turn and thus guides the opening of that turn's bony boundaries.

•	Hold the cochlea with the apex uppermost by grasping the hard spicule of bone that protrudes axially below the round window. Use the scalpel blade or razor-blade fragment to shave bone from the medial surface of the cochlea, the flattened surface originally attached to the inner wall of the bulla. Likewise shave away the thicker bone adjacent to the oval window.

•	Beginning at the oval window, use the tip of the blade to score the lateral bony wall of the cochlea basal to the junction between the middle and basal turns. Progressively deepen the incision with repeated application of the blade. The pigmentation of the stria vascularis provides a landmark for the approximate position of the cut.

•	Notch the prominent bony flange in line with the score marks.

•	Use the blade to score—and finally cut—the remainder of the thick ridge of temporal bone flanking the internal auditory meatus, freeing the top two turns of the cochlea from the rest of the specimen. This is the critical step in the entire dissection procedure: if it is successful, the remaining operations are relatively easy to accomplish. If the fracture of the bone extends apically into the middle turn or involves the bony roof of the basal turn, however, the preparation is unlikely to be useful (Supplementary Fig. 1a).

•	Immerse the cochlear fragment with the two upper turns in dissection medium (Supplementary Fig. 1b).

•	Trim any bony protrusions to leave the basal surface of the middle turn relatively flat and to facilitate placement into an experimental disk.

Securing the specimen to a plastic disk

•	Insert the specimen, apex downward, into a 1.5-2.0 mm-diameter hole centered in a 12.5 mm-diameter, circular plastic disk cut from a plastic coverslip (12-547, Fisher Scientific). Orient the specimen so that the cochlear segment to be exposed lies at a suitable angle for microscopic imaging.

•	After wicking away the excess solution surrounding the specimen with an absorbent wipe, use a mouth pipette (A5177, Sigma-Aldrich) to apply cyanoacrylate adhesive from a broken microelectrode around the junction between the bone and the disk. Control the amount of adhesive carefully to prevent excessive spread, especially onto the exposed upper surface of the basal cochlear turn. Polymerize the adhesive by reapplying dissecting solution, then clear away any excess adhesive with forceps.

Exposing the basal aspect of the middle-turn cochlear partition

•	Secure the disk in a petri dish filled with dissection solution and, if possible, transilluminate it with a darkfield condenser.

•	Using moderately fine forceps, chip away the bony ceiling of the basal turn to expose the cochlear partition over one-tenth to one-quarter of the middle turn. For recordings near the 2.5 kHz place, which represents the approximate midpoint along the length of the organ of Corti, the appropriate window lies opposite the flattened bony wall of the cochlea and midway between the oval and round windows, about one-third turn apical to the severed orifice of the basal turn. Centered roughly at the vertical pen mark, the site is usually marked by a tiny radial artery on the bony apical surface of the bottom cochlear turn.

•	Expel cyanoacrylate adhesive from a broken micropipette to seal the openings of the scala tympani at both ends of the exposed segment. In addition, seal both the scala vestibuli and the scala tympani at the position where the basal cochlear turn was amputated. Cover the exposed nerve fibers and the remainder of the exposed basal modiolar surface with adhesive, leaving a window for only the cochlear segment of interest (Supplementary Fig. 1d).

Exposing the apical aspect of the middle-turn cochlear partition

•	Invert the disk and preparation in the petri dish to expose the cochlear apex.

•	Expose the helicotrema by chipping away the delicate bone with fine forceps. Continue removing the lateral body wall of the apical turn, leaving the cochlear duct and prominent stria vascularis intact.

•	Sever the duct and stria at the most basal exposed position, approximately opposite the vertical pen mark, and remove the soft tissue.

•	Carefully chip away the lateral bony wall of the apical cochlear turn apical to the junction with the bony floor of that turn.

•	Using fine forceps, perforate the thin bony floor of the apical turn and remove the delicate bone coextensive with the cochlear segment defined by the earlier dissection from the basal surface of the middle turn (Supplementary Fig. 1c).

•	Tear open Reissner's membrane with a sharp micropipette to allow electrical access and a diffusional pathway for artificial endolymph.

Restriction of leakage across the cochlear segment

In order to prevent mixing of the solutions in the two compartments of the experimental chamber and to maintain the standing potential between them, it is important to seal the bone of the dissected cochlear segment tightly to the plastic mounting disk and to minimize leakage across the dissected specimen. This may be accomplished by careful application of a cyanoacrylate adhesive such as n-butyl 2-cyanoacrylate (Vetbond, 3M, St. Paul, MN; Histoacryl, B. Braun, Melsungen, Germany), 2-octyl cyanoacrylate (Dermabond, Ethicon Inc., Raritan, NJ), or a mixture of the two (PeriAcryl 90HV, GluStitch Inc., Delta, BA, Canada). Because we earlier found superior results with Iso-Dent1, which is no longer commercially available, we prefer to use custom-synthesized isobutyl cyanoacrylate (BOC Sciences, Shirley, NY) colored with 5 mg/mL Sudan II dye and immediately centrifuged to remove hardened contaminants. This formulation also lacks the hydroquinone and other components found in some commercial products.

A pair of pipettes effective for the application of adhesive may be made by heating a glass capillary made for microelectrode fabrication (1B120F-3, World Precision Instruments, Sarasota, FL) in a small flame, then rapidly hand-pulling it to a total length of about 400 mm. Breaking the pipettes to a taper length of roughly 100 mm apiece results in internal tip diameters of 100-150 m, which is appropriate for injecting adhesive into the scalae exposed during dissection.

To slow the hardening of the cyanoacrylate, it is convenient to break a few millimeters from the end of each adhesive-filled micropipette immediately before use and to briefly dip the tip into 150 mM sodium acetate buffer solution at pH 5.2. The modest acidity inhibits polymerization until the adhesive is expelled, and the weakly acidic solution at a physiological osmotic strength apparently does not damage the hair cells. Repeated breakage allows a single pipette to be used for the application of adhesive at several sites.

Mounting the isolated cochlear segment

A key component of the experimental system is an experimental chamber consisting of a stack of three plastic segments. Each segment measures 48 mm in width and 40 mm in height. The second and third segments are identical, each with a thickness of 7 mm, whereas the first segment is distinct and has a thickness of 10 mm. Each of the three has a centered, cylindrical through hole 21 mm in diameter. The segments are produced by three-dimensional printing of high-temperature-resistant stereolithographic material (Accura® SL 5530, 3D Systems Corporation, Rock Hill, SC) (see Supplementary Fig. 2b). Computer-assisted-design plans for the chamber are available on request.

The first segment of the chamber is mounted to a metal block by four 30 mm-long M3 bolts that also serve to clamp the chamber's segments together. The second and third segments  bear four through holes at their corners that align them upon bolts protruding from the first segment. Two 2 mm-diameter stainless-steel tubes (89935K224, McMaster-Carr, Robbinsville, NJ), each 18 mm in length, are glued vertically into the upper surface of that segment to afford connections to speakers for acoustic stimulation. A 7 mm-diameter hole, 14 mm in length, on one side allows the insertion of a microphone to monitor the sound-pressure level at the cochlear partition.

To minimize the volume of liquid through which acoustic stimuli must travel and which must oscillate in response to stimulation, we capture a few hundred nanoliters of physiological solution in the central bore of each of a pair of quartz frits (QPD20-4, Technical Glass Products), one apiece in the second and third segments of the chamber. Made by sintering finely crushed glass, a frit 20 mm in diameter and 3-5 mm in thickness readily imbibes ~ 300 L of liquid, or ~30 % of its total volume. We grind a 3-4 mm-diameter hole through each frit's center, then secure the frit around its circumference with epoxy adhesive so that one surface is flush with that of the relevant segment of the experimental chamber and can fit snugly against the plastic disk clamped between the two frits. The opposite surface is thinned around the central hole so that its thickness is only 1 mm or so at the orifice where the cochlear segment is secured. The reservoirs of the second and third segments each hold about 1 mL of the appropriate solution and thus maintain appropriate concentrations of ions and other constituents through diffusion while thinning the layer of liquid overlying the specimen and allowing only a few hundred nanoliters to move freely.

Prior to mounting the preparation in the experimental chamber, we saturate the glass frit in the second segment of the recording chamber with the oxygenated physiological solution appropriate for the planned experiment, usually artificial endolymph. We center atop the frit a gasket of silicone elastomer (86435K123, McMaster-Carr, Robbinsville, NJ)) roughly 30 mm in diameter and with a central hole about 4 mm in diameter, then position the specimen so that its apical surface protrudes through the hole and into the liquid-filled central bore of the frit. After positioning another gasket atop the specimen, we add the third segment of the chamber, ordinarily filled with perilymph, so that the basal surface of the specimen extends into the bore of that frit. Tightening nuts on the chamber's screws then clamps the plastic disk firmly between the two gaskets, which prevents electrical and ionic leakage between the two compartments of the experimental chamber. After the assembled chamber has been secured to a micromanipulator with the frits oriented vertically, we fill reservoirs in the second and third segments with the appropriate oxygenated physiological solutions. The micromanipulator is placed on a metal rail, electrodes are attached to impose the endocochlear potential and to monitor the microphonic potential, and tubes are connected to couple the stimulation speakers to the chamber's ports.

Provision of physiologically appropriate ionic solutions

Our artificial perilymph contains 155 mM Na+, 3 mM K+, 2 mM Ca2+, 1 mM Mg2+, 154 mM Cl–, 1 mM phosphate, 3 mM pyruvate, 10 mM D-glucose, and 5 mM HEPES at pH 7.35 and with an osmolarity of 310 mOsmol·kg-1. This solution is identical to the dissection solution save for the elevated Ca2+ concentration.

The artificial endolymph solution contains 3 mM Na+, 155 mM K+, 26 M Ca2+, 1 mM Mg2+, 153 mM Cl–, 1 mM phosphate, 3 mM pyruvate, 10 mM D-glucose, and 5 mM HEPES at pH 7.35 and with an osmolarity of 306 mOsmol·kg-1. As a result of Ca2+ chelation by several forms of phosphate ion13, the concentration of free Ca2+ is calculated to be near the physiologically appropriate value14,15 of 20 M.

Provision of an endocochlear potential

An endocochlear potential of 100 mV can be reconstituted by passing a current of approximately 20 mA between a pair of 1 mm-diameter silver-silver chloride pellet electrodes (EP1, World Precision Instruments). An electrode is placed at the inner edge of the moistened frit in each of the second and third segments of the experimental chamber. Because the electrode is less than 1 mm from a surface of the mounted cochlear partition, the voltage drop between the two is negligible.

Because the recording electrodes are directly exposed to the endocochlear potential, it is necessary to assert that potential with a low-noise system isolated from ground. We used a battery-operated circuit with two operational amplifiers. One is a unity-gain, non-inverting follower driven from the circuit's ground. The other, similar amplifier receives its input from the sweeper of a 10 kW variable resistor at the center of a voltage divider in which it is flanked by two 100 kW resistors. When the voltage divider is polarized by ±9 V, the system's output encompasses about ±430 mV.

Acoustic stimulation

Stimulus waveforms generated in a custom-written program (LabVIEW) are passed through two digital-to-analog converters (NI-PCIe-6353 and NI-BNC2090A, National Instruments Corporation, Austin, TX), a pair of eight-pole Bessel filters (BM8.07, Kemo, Dartford, Kent, UK) with a low-pass cutoff of 10 kHz to remove extraneous frequency components, and calibrated active attenuators (SA1, Tucker-Davis Technologies, Alachua, FL) to two independent miniature speakers (ER·3, Etymotic Research, Lucid Audio, Ft. Worth, TX). The sound stimuli are then relayed through the tubing provided with the speakers to the inner compartment of the experimental chamber.

The system is calibrated by inserting into the same compartment a 1/4" microphone (4939-A-011, Brüel & Kjær). After amplifying the response (Nexus 2690-051, Brüel & Kjær) and recording the result as a function of frequency, we implement an inverse filter at the level of the computer to achieve a flat stimulus amplitude over the range 1-4 kHz.

Recording of microphonic responses

The cochlear microphonic response, which predominantly reflects the activity of outer hair cells16, is recorded with a second pair of pellet electrodes similar to that for asserting the endocochlear potential. These electrodes at the inner edges of the frits are only a fraction of a millimeter from the exposed cochlear segment. Signals are measured with a high-input-impedance amplifier (model 3000, A-M Systems, Sequim, WA) with a gain of 100X and a passband from DC to 5 kHz. For antialiasing purposes, an eight-pole sharp elliptic filter (BM8.13, Kemo) with a low-pass cutoff of 5 kHz and gain of 500X is imposed before analog-to-digital conversion at intervals of 10 s.

The amplifier's direct coupling is required to simultaneously measure the constant endocochlear potential, which may be adjusted with the variable resistor. In addition, the signal provides an index of the condition of the experimental preparation. Outer hair cells ordinarily operate near a transduction-channel open probability of one-half17,18,19, so a significant deviation from a symmetrical microphonic response waveform implies a problem such as an inappropriate Ca2+ concentration in the endolymph or a steady-state pressure difference across the cochlear segment.

Optical coherence tomography

To assess the health of each preparation and to measure the mechanical responses to acoustic stimulation, we perform optical coherence tomography (OCT) with a conventional imaging system (GAN621, Thorlabs, Lübeck, Germany) that is adapted for use with our optical system (Supplementary Fig. 2a). We ordinarily mount the experimental preparation with its basal surface and the surrounding perilymph in the outer compartment of the experimental chamber so that the basolateral aspect of the cochlear segment is directed toward the imaging optics. The apical surface is directed into the inner compartment of the experimental chamber, where it encounters endolymph. A second doublet lens 25.4 mm in diameter and of focal length 45 mm (AC245-045-B, Thorlabs) is held in an adjustable mount such that the nearest surface of the lens is 97 mm beyond that of the first lens. The manufacturer's 18 mm-focal-length scan lens (LSM04-BB, Thorlabs), which is affixed to the scan head, is then situated with its front element 72 mm beyond that of the second lens. With this arrangement the microscope produces a real image on the camera of the OCT system. The magnification of the system is calibrated with the manufacturer's software and a specimen bearing three perforations separated by 800 m (Thorlabs).

The reference arm of the OCT system stands vertically, perpendicularly to the imaging path, and terminates in a retroreflector about 280 mm above the scan head. To compensate for the optical dispersion produced by the three imaging lenses, we place in the reference pathway of the OCT system three 3 mm-thick plates of Schott N-SF75 glass (UL-WS-062, United Lens Company) as well as the compensator meant for the system's scan lens. This arrangement compensates for most of the dispersion, leaving the software of the OCT system with a typical adjustment value of 150-175 of the manufacturer's arbitrary units.

Verifying the absence of a traveling wave in the cochlear segment

The principal simplification afforded by our experimental system was the suppression of traveling waves. Of the 11.5 mm-long spiral of the gerbil's organ of Corti6, we ordinarily exposed only 500 m or so, or 4 % of the total. For a typical recording centered at the characteristic place for 1.5 kHz stimulation, the tonotopic map5 implies that the mechanically and electrically accessible hair cells in the segment should have represented frequencies of approximately 1—3 kHz. Two physiological observations confirmed this inference.

First, when the preparation was stimulated with a multitone zwuis stimuli of constant amplitude, the microphonic potential characteristically displayed a well-defined peak of enhanced responsiveness in the expected frequency range (Fig. 2a). And second, when a microphone was tightly sealed to the outer segment of the experimental chamber adjacent to a formaldehyde-fixed experimental preparation during acoustic stimulation, the measured sound pressure displayed a similar plateau of heightened magnitude (Supplementary Fig. 3). The latter finding implies that, over a restricted passband, the isolated segment exhibited an enhanced acoustic transmittance by comparison to the remainder of the cochlea.

When activated by a traveling wave in an intact cochlea, a segment of the size that we exposed should encompass only a few cycles of oscillation. Both high-speed video micrography2 and theoretical analysis3 suggest that an isolated cochlear segment displays only a modest phase difference from one end to the other. When we captured the motion of the organ of Corti by OCT observation at a series of transects spanning a cochlear segment, we indeed observed a phase range of roughly  ± 1 rad or ± 57˚ (Supplementary Fig. 4). We, therefore, consider that the cochlear segment essentially oscillated as a single unit, with little traveling-wave behavior; as a consequence, the microphonic potential likely emerged from the summation of the nearly synchronous electrical responses of all of the active hair cells in the isolated segment. Because the gerbil's cochlea encompasses approximately 1100 inner hair cells and 4600 outer cells6, the linear densities of the two are respectively 96 mm-1 and 400 mm-1; a 500 m-long segment therefore contains about 50 inner and 200 outer hair cells.

References

1.	Chan, D. K. & Hudspeth, A. J. Ca2+ current-driven nonlinear amplification by the mammalian cochlea in vitro. Nat. Neurosci. 8, 149–155 (2005).

2.	Chan, D. K. & Hudspeth, A. J. Mechanical responses of the organ of corti to acoustic and electrical stimulation in vitro. Biophys. J. 89, 4382–4395 (2005).

3.	Nankali, A. & Grosh, K. Simulating the Chan-Hudspeth experiment on an active excised cochlear segment. J Acoust Soc Am 142, 215 (2017).

4.	Lin, W.-C., Macić, A., Becker, J. & Nam, J.-H. Asymmetric vibrations in the organ of Corti by outer hair cells measured from excised gerbil cochlea. Commun Biol 7, 600 (2024).

5.	Müller, M. The cochlear place-frequency map of the adult and developing Mongolian gerbil. Hear Res 94, 148–156 (1996).

6.	Hutson, K. A., Pulver, S. H., Ariel, P., Naso, C. & Fitzpatrick, D. C. Light sheet microscopy of the gerbil cochlea. J Comp Neurol 529, 757–785 (2021).

7.	Corey, D. P. & Hudspeth, A. J. Kinetics of the receptor current in bullfrog saccular hair cells. J. Neurosci. 3, 962–976 (1983).

8.	Schmiedt, R. A. Effects of aging on potassium homeostasis and the endocochlear potential in the gerbil cochlea. Hear Res 102, 125–132 (1996).

9.	Suryadevara, A. C., Schulte, B. A., Schmiedt, R. A. & Slepecky, N. B. Auditory nerve fibers in young and quiet-aged gerbils: morphometric correlations with endocochlear potential. Hear Res 161, 45–53 (2001).

10.	Martin, P. & Hudspeth, A. J. Active hair-bundle movements can amplify a hair cell’s response to oscillatory mechanical stimuli. Proc. Natl. Acad. Sci. U.S.A. 96, 14306–14311 (1999).

11.	Tobin, M., Chaiyasitdhi, A., Michel, V., Michalski, N. & Martin, P. Stiffness and tension gradients of the hair cell’s tip-link complex in the mammalian cochlea. Elife 8, (2019).

12.	Abeytunge, S., Gianoli, F., Hudspeth, A. J. & Kozlov, A. S. Rapid mechanical stimulation of inner-ear hair cells by photonic pressure. Elife 10, e65930 (2021).

13.	Recillas, S., Rodriguez-Lugo, V., Montero, M., Viquez-Cano, S. Hernandez, L., Castaño, V. M. Studies on the precipitation behavior of calcium phosphate solutions. J. Ceramic Proc. Res. 13, 5–10 (2021).

14.	Bosher, S. K. & Warren, R. L. Very low calcium content of cochlear endolymph, an extracellular fluid. Nature 273, 377–378 (1978).

15.	Ikeda, K., Kusakari, J., Takasaka, T. & Saito, Y. The Ca2+ activity of cochlear endolymph of the guinea pig and the effect of inhibitors. Hear. Res. 26, 117–125 (1987).

16.	Dallos, P. Response characteristics of mammalian cochlear hair cells. J Neurosci 5, 1591–1608 (1985).

17.	Kirk, D. L., Moleirinho, A. & Patuzzi, R. B. Microphonic and DPOAE measurements suggest a micromechanical mechanism for the ‘bounce’ phenomenon following low-frequency tones. Hear. Res. 112, 69–86 (1997).

18.	Patuzzi, R. & Rajan, R. Does electrical stimulation of the crossed olivo-cochlear bundle produce movement of the organ of Corti? Hear. Res. 45, 15–32 (1990).

19.	Bobbin, R. P. & Salt, A. N. ATP-gamma-S shifts the operating point of outer hair cell transduction towards scala tympani. Hear. Res. 205, 35–43 (2005).

Supplementary figures and figure legends

Supplementary Fig. 1: The cochlear dissection and mounting protocol. a, Opening the bulla affords a view of the cochlea with the tympanum, malleus, incus, and stapes still attached. A dashed line marks the site of the first incision, which transects the cochlea to separate the basal and middle turns. b, After disconnection of the apical two turns of the cochlea, the auditory nerve is visible. c, In an apical view of the dissected cochlear partition, a "window" where the bony ceiling has been removed (dashed line) exposes the cochlear partition. The cyanoacrylate adhesive securing the specimen is visible in orange. d, A basal view shows the dissected cochlear segment mounted on a plastic disk and secured with cyanoacrylate adhesive. A conventional electron microscopy grid 3 mm in diameter and with 500 µm windows calibrates the image.

Supplementary Fig. 2. Schematic diagram of the modified OCT imaging system and experimental chamber. a, The cochlear segment at the far right is mounted such that its basolateral surface, bathed in perilymph, faces the imaging optics in the outer compartment, whereas the apical surface faces the endolymph-filled inner compartment. The optical path achieves extensive magnification with two lenses in addition to the system's standard scanning lens. The reference arm of the OCT system, which is oriented vertically, compensates most of the optical dispersion from the lenses with three glass plates and a glass disk. b, Computer-assisted design (CAD) schematics provide front, top, side, and isometric views of the two-compartment experimental chamber. Key components are labeled with purple arrows. The chamber’s segments are stacked and clamped together with M3 bolts attached to an aluminum mount. Silicone rubber gaskets ensure that the compartments are tightly sealed. The second and third segments are identical, whereas the first includes ports for speaker and microphone connections. The fritted glass disks, positioned in the second and third segments, minimize the volume of free liquid in contact with the specimen and electrodes while maintaining ionic conditions through diffusion with larger reservoirs. The chamber was 3three-dimensionally printed with high-temperature-resistant stereolithographic material. The design supports precise and stable mounting of the cochlear segment for electrophysiological and vibrational measurements.

Supplementary Fig. 3. Calibration of sound-pressure level in the experimental chamber. The plot shows the sound-pressure level as a function of stimulus frequency measured in the experimental chamber during acoustic stimulation. The calibration was performed with white-noise stimuli and a cochlear segment fixed in formaldehyde. The five curves correspond to speaker excitations ranging from 0.3 V to 1.9 V. A plateau of heightened magnitude over a restricted passband (2-3 kHz) demonstrates enhanced acoustic transmittance of the fixed cochlear segment.

Supplementary Fig. 4: Absence of a traveling wave. Seven transects (B scans) across a cochlear segment are displayed in columns, each comprising three images. The top row, the reflectance profile of the optical section through the organ of Corti, highlights key subcellular structures. The middle row displays the vibration amplitude at a stimulus frequency of 1520 Hz and intensity of 72 dB SPL. A prominent "hotspot" of large vibration is visible at the juncture between the outer hair cells and Deiters' cells. The bottom row, which depicts the phase profile in radians, documents consistent phase behavior across the organ of Corti. The data suggest that the cochlear segment oscillates as a unit with minimal evidence of a traveling wave.

Supplementary Fig. 5. Compressive behavior of cochlear microphonic responses. a, For a cochlear segment tuned to 1040 Hz, a doubly logarithmic plot (left) displays the magnitude of the microphonic response as a function of sound pressure. The blue points represent responses at the characteristic frequency with an endocochlear potential of 100 mV, whereas the cyan points depict responses with the endocochlear potential turned off. The right plot shows the preparation's sensitivity as a function of sound pressure with a corresponding color coding. At the best frequency, the microphonic response exhibits compressive growth that transitions to linear behavior when the endocochlear potential is disabled. b, Similar data show the microphonic response (left) from a preparation stimulated at its characteristic frequency of 955 Hz (blue) or at a frequency of 2055 Hz (bright red). The corresponding sensitivity curves (right) reveal compressive nonlinearity at the characteristic frequency but linear behavior consistent with diminished amplification at the other frequency. c, Data from another preparation demonstrate a similar trend. At the characteristic frequency of 1580 Hz (blue), the response exhibits nonlinear behavior, whereas at a frequency of 1820 Hz (bright red), the response transitions to linear behavior.

.

Supplementary Fig. 6: Compressive behavior of cochlear preparations at their characteristic frequencies. The left column depicts the magnitudes of cochlear microphonic responses as a function of sound pressure for three different preparations, each stimulated at its characteristic frequency. The curves demonstrate compressive nonlinearity near the characteristic frequencies, with logarithmic slopes approaching one third. The corresponding sensitivity relations (right) exhibit slopes of negative two thirds for low levels of stimulation; their slopes of zero for larger stimuli indicate a shift to linear behavior.

Supplementary Fig. 7: Extended data from the preparation of Fig. 4. a, B-scans from the middle of an exposed cochlear segment display the vibratory amplitude at 20 equally spaced positions extensing radially outward from the modiolus. Stimulation with pure tones at 2410 Hz increased exponentially from 0.08 Pa (level 1) to 4 Pa (level 10). Levels 1-5 are shown in the left column and levels 6-10 in the right column. b,  Corresponding maps highlight the phase response of the organ of Corti at the characteristic frequency. These data provide a detailed view of the nonlinear vibratory behavior of the cochlear segment. This extended analysis offers greater details concerning the micromechanical complexity and level-dependent responses of the organ of Corti.

Supplementary Fig. 8. Examples of healthy cochlear preparations. Reflectance B-scans from successful dissections display well-defined cellular and extracellular components with no signs of cellular damage. The tectorial membrane remains properly apposed to the reticular lamina and the architecture of the organ of Corti appears intact. Such healthy preparations usually display the various manifestation of the active process.

Supplementary Fig. 9: Intraorgan vibration with and without the endocochlear potential. This illustration shows the vibratory response of a cochlear segment to a 97 dB SPL stimulus at 1207 Hz. For the three images at the left, there was no endocochlear potential; the images to the right involved a potential of 100 mV. The top row shows reflectance B-scans for the sake of orientation. The middle row, which displays vibration amplitudes, demonstrates that the normal endocochlear potential significantly enhances the motion of the cochlear partition. A prominent hotspot of heightened vibratory amplitude signals mechanical activity. The bottom row, which represents the vibration phase, shows little sensitivity to the potential.

Supplementary Fig. 10. Examples of unhealthy cochlear preparations. None of these preparations exhibited signs of active mechanics. a and b, Reflectance B-scans illustrate instances in which the cells of Claudius were accidentally torn away during dissection. c, In a preparation whose tectorial membrane was inadvertently displaced from the reticular lamina, the hair bundles were doubtlessly damaged. d, A B-scan shows dark "holes" that represent damage to Deiters' and Hensen's cells. e, A reflectance B-scan (left) shows a healthy preparation at the outset of an experiment. After prolonged stimulation, however, the same preparation (right) displays a displaced tectorial membrane and cellular deterioration within the organ of Corti.