| Climatic properties |  | Arak | Shar-e Kord | Yazd |
| --- | --- | --- | --- | --- |
| Height above mean sea level (m) |  | 1742 | 2045 | 1212 |
| Summer conditions at 15:00 | DBo C | 35 | 33 | 40 |
|  | WBo C | 16 | 18 | 18 |
|  | RH % | 17 | 23 | 12 |
| Summer conditions at 6:00 | DBo C | -12 | -14 | -5 |
|  | RH % | 79 | 81 | 71 |

Table 2: The most important climate parameters of the three cities of Arak, Shahr-e Kord and Yazd in different seasons.