Supplemental Section

Supplementary Table 1. Environmental Microbiology Minimum Information (EMMI) for qPCR.

| Environmental Sampling | qPCR |
| --- | --- |
| Up to 50 grams | Target genes (supplemental table 2) |
| Peru Tingo María Andabamba/Marabamba Huánuco | Hold stage 95°C, 20 sec; Amplification Denaturation 95°C, 1 sec; Annealing 60°C, 20 sec. |
| August, 2023 | 2x TaqMan® Fast Advanced Master Mix (Applied Biosystems, Foster City, CA) 3.5 µl |
| Stored at 4°C and DNA extracted within 1 month | 2 µl of template |
| Exogenous DNA was used as an internal control to validate the extraction method. All samples had the internal control detect via qPCR | Primers were used at 900 nM (Thermofisher) Probe was used at 100 nM (Thermofisher) |
| Sample Treatment | QS7 Pro Fast Real-time PCR System (Applied Biosystems, Waltham, Massachusetts, USA) |
| Soil washed with PBS and 0.05% Tween 20 | 2 µl of PCR-water was used as a negative control |
| Flotation with 35.6% Sodium Nitrate solution | Plasmids containing target parasite gene sequences was used as positive control |
| Sample Reduction | An exogenous DNA internal control was tested and all samples tested positive for the internal control Ct median 33.80 (31.94 - 37.08). |
| Samples are concentrated by a factor of 500 | Analysis - qPCR |
| Nucleic Acid Extraction | Positive control standard curves were performed in duplicate |
| MP fastDNA Spin kits for soil | Samples were tested in single |
| DNA eluent is 100 µl and stored at -20°C | All positive controls were compared to a set of known Ct values and were all within 5% range |
|  | Lowest standard measured was approximately 10 fg |
|  | Automatic baseline and a threshold of 0.40 was used for all parasites |

Supplemental Table 2. Target regions, primer sequences, and probe sequences by parasites for DNA amplification.*

| Parasite | Target region | Forward primer sequence (5’ to 3’) Reverse primer sequence (5’ to 3’) Probe sequence (5’FAM to 3’) |
| --- | --- | --- |
| Acanthamoeba spp | 18S rRNA | CCCAGATCGTTTACCGTGAA TAAATATTAATGCCCCCAACTATCC CTGCCACCGAATACATTAGCATGG |
| Ancylostoma duodenale | ITS-2 | GAATGACAGCAAACTCGTTGTTG ATACTAGCCACTGCCGAAACGT ATCGTTTACCGACTTTAG |
| Ascaris lumbricoides | ITS-1 | TGCACATAAGTACTATTTGCGCGTAT CCGCCGACTGCTATTACATCA GAGCCACATAGTAAATT |
| Cryptosporidium spp. | DNA-J like protein | AACTTCACGTGTGTTTGCCAAT CCAATCACAGAATCATCAGAATCG CATATGAAGTTATAGGGATACCAG |
| Blastocystis spp. | 16s rRNA | AGTAGTCATACGCTCGTCTCAAA TCTTCGTTACCCGTTACTGC CGTGTAAATCTTACCATTTAGAGGA |
| Entamoeba histolytica | 18S rRNA | GTTTGTATTAGTACAAAATGGCCAATTC TCGTGGCATCCTAACTCACTTAGA CAATGAATTGAGAAATGACA |
| Giardia intestinalis | 16S rRNA | CATGCATGCCCGCTCA AGCGGTGTCCGGCTAGC AGGACAACGGTTGCAC |
| Necator americanus | ITS-2 | CTGTTTGTCGAACGGTACTTGC ATAACAGCGTGCACATGTTGC CTGTACTACGCATTGTATAC |
| Strongyloides stercoralis | 18s rRNA | GAATTCCAAGTAAACGTAAGTCATTAGC TGCCTCTGGATATTGCTCAGTTC ACACACCGGCCGTCGCTGC |
| Toxocara canis | ITS-2 | GCGCCAATTTATGGAATGTGAT GAGCAAACGACAGCSATTTCTT CCATTACCACACCAGCATAGCTCACCGA |
| Toxocara cati | ITS-2 | ACGCGTACGTATGGAATGTGCT GAGCAAACGACAGCSATTTCTT TCTTTCGCAACGTGCATTCGGTGA |
| Trichuris trichiura | ITS-1 | TCCGAACGGCGGATCA CTCGAGTGTCACGTCGTCCTT TTGGCTCGTAGGTCGTT |
| Taenia solium | HSR | AGTCAGTCAGTCAGTCAGTCA CTGTCAAGCTGTCAGGCTGT TGTCAGTGAGGCGTGTGACAAGAC |
| Internal Amplification Control (IAC) | Synthetic sequence | CTAACCTTCGTGATGAGCAATCG GATCAGCTACGTGAGGTCCTAC TCGATGCACTCCAGTCCTCCT |
| *ITS = internal transcribed spacer; rRNA = ribosomal RNA *HSR = High Sequence Repeats |  |  |

Supplemental Figure 1. Contaminated houses and parks by distinct parasites.

Supplemental Figure 2. Parasite DNA burden of all locations.