Additional File 1 – Surveying Genetic Markers of Antibiotic Resistance and Genomic Background in Chlamydia trachomatis: Insights from a Multiplex NGS-Based Approach in Clinical Strains from Portugal

This document contains detailed information supporting the experimental design and methodology described in “Surveying Genetic Markers of Antibiotic Resistance and Genomic Background in Chlamydia trachomatis: Insights from a Multiplex NGS-Based Approach in Clinical Strains from Portugal” article. Here, we provide description of the primers used, specifying sequences and sources, as well as the PCR reaction mixtures, detailing concentrations and components for each reaction. Additionally, amplification profiles are provided, outlining the thermal cycling conditions and any adjustments made for specific reactions. This supplementary information ensures transparency and reproducibility for researchers looking to replicate or further explore the findings presented.

- List of primers

For this present study, we used oligonucleotides designed for 23S rRNA, gyrA, parC, pmpH, the upstream region of CT105 and CT442 amplification and sequencing. Primers name and their respective sequence are listed below:

Table 1 – List of primers designed for 23S rRNA, gyrA, parC, pmpH, upstream region of CT105 and CT442 amplification and sequencing.

| Primer | Sequence |
| --- | --- |
| 23S-RR-ZL-F | 5' CAG AGA AAT GGC CCA GGC GAC T 3' |
| 23S-RR-ZL-R | 5' TGA TTG CCA ACC ACG ATG AAA 3' |
| 23S-RR-F | 5' AAG TTC CGA CCT GCA CGA ATG G 3' |
| Ct-gyrA-F | 5' AAG GAC TCT CGT TAG AGT CTC 3' |
| Ct-gyrA-R | 5' CGA TRC CTG AGG AGC CAT TAC 3' |
| Ct-gyrA-ZL-F | 5' GAG AGC TAC CTT CGT TAT TCC AT 3' |
| Ct-parC-ZL-F | 5' ATC CCT ACT GCA ATG CCA TCC AC 3' |
| Ct-parC-ZL-R | 5' CAA ATC TTT TAT CGG CGC AGA CAT 3' |
| CT872-2-F | 5' GAG CTA CCT TAA CTA CTG GGA CCA 3' |
| CT872-2-R | 5' GCA TGC AGA GAT GCT ACA AAT CCA 3' |
| CT105-2-F | 5' CCA TTG GAG AGT TCA CGA GAT GC 3' |
| CT105-2-R | 5' AAC CTG AGG CGG CGT CTG A 3' |
| CT442-2 | 5’ ATG TAT CGG AAG AAA GAA TCG CTT 3’ |
| CT442-1 | 5’ CTC CTC CCT TTC CAT ACA TCA TCT 3’ |

All primers were designed by the National Reference Laboratory for Sexually Transmitted Infections (NRL) at the National Institute of Health Doutor Ricardo Jorge (INSA) team, with exception of primer 23S-RR-F that was described in Misyurina et al., 2004 [62] and primers Ct-gyrA-F and Ct-gyrA-R that were described in Deguchi et al., 2018 [22].

- Amplification and Sanger sequencing of 23S rRNA and gyrA loci

A nested PCR method was used to amplify the C. trachomatis 23S rRNA locus and gyrA locus, following this reaction mixture, for a final volume of 25 µL.

Table 2 – 23S rRNA and gyrA nested-PCR reaction mixture.

| Reagent | Volume per sample |
| --- | --- |
| Forward Primer (10 µM)a | 0.75 µL |
| Reverse Primer (10 µM)a | 0.75 µL |
| Kapa HiFi HotStart ReadyMixb | 12.5 µL |
| Water (Dnase, Rnase, Protease-free) | 8.5 µL |
| a Invitrogen; b Roche |  |

Table 3 describes the thermal profile for each nested PCR performed. Primers 23S-RR-ZL-F and 23S-RR-ZL-R were used for the first amplification, and primers 23S-RR-F and 23S-RR-ZL-R were used for the second amplification regarding 23S rRNA locus. For gyrA locus, primers Ct-gyrA-F and Ct-gyrA-R were used for the first amplification, and primers Ct-gyrA-ZL-F and Ct-gyrA-R were used for the second amplification. These primers yielded a final amplicon of ~364 bp and ~469 bp for 23S rRNA and gyrA loci, respectively.

Table 3 – C. trachomatis 23S rRNA and gyrA nested-PCR amplification reaction thermal profile.

| 1st PCR (Temperature) | 2nd PCR (Temperature) | Time | Cycles |
| --- | --- | --- | --- |
| 95ºC | 95ºC | 5 min | 1x |
| 55ºC | 55ºC | 1 min |  |
| 72ºC | 72ºC | 1 min | 35x |
| 95ºC | 95ºC | 30 s |  |
| 55ºC | 55ºC | 30 s |  |
| 72ºC | 72ºC | 10 min | 1x |

To assess amplification success, amplicons were placed into the QIAxcel capillary electrophoresis system (QCES), an automated DNA sizing system widely applied. This automated capillary electrophoresis system constitutes an alternative to agarose gel electrophoresis. An alignment marker of 15 – 1000 bp was used for all samples. All PCR products were purified using ExoSap® (Affymetrix) in a 30 min two-step reaction, 37ºC for 15 min plus 80ºC for 15 min. The first temperature cycle activates the enzymes, whereas the second inactivates them. Purified amplicons were then sequenced with BigDye terminator V.1.1 and capillary sequencing (3500 Genetic Analyzer; Applied Biosystems), as described in Tables 4 and 5, with a sequencing reaction mixture for a final volume of 8.25 µL, to which were added 1.5 µL of purified PCR product. For 23S rRNA locus and gyrA amplicon sequencing, primers 23S-RR-F and Ct-gyrA-ZL were used, respectively (Table 1).

Table 4 – Sanger sequencing reaction mixture.

| Reagent |  | Volume per sample |
| --- | --- | --- |
| Big-Dyea |  | 2 µL |
| Sequencing Buffer (5x)a |  | 0.75 µL |
| Forward Primer (5 µM)b |  | 1 µL |
| Water (Dnase, Rnase, Protease-free) |  | 4.5 µL |
| aApplied Biosystems; bInvitrogen |  |  |

Table 5 – Sequencing reaction thermal profile.

| Temperature | Time | Cycles |
| --- | --- | --- |
| 96ºC | 30 s | 1x |
| 96ºC | 10 s | 25x |
| 50ºC | 5 s |  |
| 60ºC | 1 min |  |

Sanger sequences were viewed, analysed and curated using SnapGene® Viewer version 5.3.2 and were further aligned using MEGA11: Molecular Evolutionary Genetics Analysis version 11 [52]. Sequences were aligned against two chlamydial prototype strains, C. trachomatis L2/434/Bu (GenBank accession number AM884176.1) and C. trachomatis L2b/UCH-1/proctitis (GenBank accession number AM884177.2), using the ClustalW algorithm implemented in MEGA11. All alignments were manually inspected and corrected for artefacts.

- Multiplex PCR amplification of 23S rRNA, gyrA, parC, pmpH, CT442 and a region upstream CT105 loci

For this assay, 23S rRNA locus was amplified using the aforementioned PCR protocol, while the remaining loci (gyrA, parC, CT442, pmpH and the upstream region of CT105) were amplified in a through a Multiplex PCR approach with primers pooled together for each reaction, consisting of 0.75 µL of both forward and reverse primers for each locus. Amplification of the target loci was performed in a final reaction mixture of 28.5 µL, to which 1.5 µL of DNA were added (Table 6), following the amplification profile described in Table 7.

Table 6 – Multiplex PCR reaction mixture.

| Reagent | Volume per sample |
| --- | --- |
| Primer Pool (10 µM)a | 7.5 µL |
| Kapa HiFi HotStart ReadyMixb | 12.5 µL |
| Water (Dnase, Rnase, Protease-free) | 8.5 µL |
| a Invitrogen; b Roche |  |

Table 7 – Multiplex PCR amplification reaction thermal profile.

| Temperature | Time | Cycles |
| --- | --- | --- |
| 95ºC | 5 min | 1x |
| 55ºC | 1 min |  |
| 72ºC | 1 min | 35x |
| 95ºC | 30 s |  |
| 55ºC | 30 s |  |
| 72ºC | 10 min | 1x |

- Amplicon-based NGS and bioinformatics

For each clinical sample, the respective 23S rRNA locus amplicons, generated through the aforementioned PCR, were pooled into the Multiplex PCR tube, containing all amplicons for the remaining targets, in a volume of 6 µL. Amplicons were then cleaned up and fragments in the DNA library were ligated to the Illumina indexes (DNA sequences of 8 – 12 bp), for downstream sorting and identification. Cluster generation (clonal groupings of DNA bound to the surface of a flow cell, with each cluster producing a single sequence read) was then performed, seeding the clusters by a single DNA strand, followed by clonal amplification, in order to achieve a cluster of approximately 1000 copies. DNA was paired-end sequenced (2x150 bp) in an Illumina NextSeq 550 equipment (Illumina Inc., San Diego, CA, USA), according to manufacturer’s instructions.

Sequence read data were first subjected to quality control (QC) using the bioinformatic pipeline implemented in INSaFLU, version 1.5.2 (https://insaflu.insa.pt/), a web-based platform for amplicon-based NGS sequence data analysis [53] developed at INSA. The QC-processed reads were then taxonomically classified using Kraken 2 v2.0.7-beta (Wood et al., 2019) with the Standard-16 16 GB database (14th March 2023, available at: https://benlangmead.github.io/aws-indexes/k2), in order to filter out reads from other bacteria mapping in the targeted loci, namely in the ribosomal 23S locus. Post-QC C.trachomatis-classified reads were then extracted and uploaded to INSaFLU, version 1.5.2 (https://insaflu.insa.pt/) for reference-based mapping. Sequences of the studied loci of the C. trachomatis L2/434/Bu (GenBank accession number AM884176.1) and C. trachomatis L2b/UCH-1/proctitis (GenBank accession number AM884177.2) were used as reference for mapping. Mutation detection and consensus generation and annotation was performed with cut-off values of 20 as the minimum mapping quality required for variant calling and 10 for the minimum number of reads covering a site to be considered. A minimum horizontal coverage (i.e., percentage of the reference sequence covered per locus) of 50% was applied to generate consensus sequences. The use of less stringent criteria for horizontal coverage (instead of the commonly used 70 – 90% cut-off values) was due to both the exploratory purpose of the study (in order to maximise the number of samples screened at the multi-locus level – relevant for recombination screening) and the fact that most sequence analyses relied on specific mutation screening, rather than whole consensus comparison. When needed, nucleotide substitutions and insertions/deletions (indels) were visually inspected and confirmed using the Integrative Genomics Viewer (IGV), integrated in INSaFLU.

For each locus, references and consensus sequences were aligned using MAFFT version 7.505, with the obtained alignment being further inspected and curated using MEGA11. This evaluation was complemented through the analysis of the mutation’s lists provided by INSaFLU as well as SNP matrices extracted from the curated alignments using ReporTree version 1.0.0 (https://github.com/insapathogenomics/ReporTree) [54]. Both read mapping profiles and alignments of consensus sequences were then analysed in order to: i) survey sequences for the presence of mutations in positions A2057, A2058 and A2059 of the 23S rRNA locus (according to E. coli numbering); ii) survey sequences for the presence of amino acid substitutions within QRDR of both gyrA and parC; iii) assess the occurrence of a potentially LGV-specific 74bp insertion in a region upstream of CT105 [45]; iv) analyse the presence of a potential L2b-specific 9bp insertion at position 1835 in the pmpH locus (according to C. trachomatis L2/434/Bu gene annotation) [40]; v) assess CT442 phylogenetic LGV/non-LGV segregation. For CT442, whose phylogenetic segregation is expected to be congruent with the genome-based phylogeny (which in turn correlates with the main C. trachomatis disease groups), a short MAFFT alignment (exclusively using the CT442 coding region, instead of the whole amplicon) was built, also including representative sequences of the 15 main ompA-genotypes. Draft phylogenetic inferences for CT442 were then conducted to place the studied strains within the expected main clades (and identify incongruent placements) through MEGA11, using the neighbour-joining method [55], where the Kimura two-parameter method was employed to estimate evolutionary distances [56].