|  | - Turn on the analyzer and enter the testing interface. |
| --- | --- |
|  | - Open the cuvette and empty buffer solution into it. |
|  | - Collect specimen. |
|  | - Add blood specimen to the cuvette. |
|  | - Invert 10-20 times to mix thoroughly. |
|  | - Insert cuvette into the sample well. |
|  | - Start the test. |