Wondfo G6PD/Hb Test Procedure
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	1. Turn on the analyzer and enter the testing interface.
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	2. Open the cuvette and empty buffer solution into it.
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	3. Collect specimen.
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	4. Add blood specimen to the cuvette.
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	5. Invert 10-20 times to mix thoroughly.

	[image: ]
	6. Insert cuvette into the sample well.
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	7. Start the test.
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