## Scanning information
Genus | Species | Specimen | Scanner | Pixel size x (mm) | Pixel size y (mm) | Pixel size z (mm) | Voltage (kV) | Amperage (µA) | Notes | Public URL | MorphoSource Media Number | Type of data
Caecilia | tentaculata | Kuh 175441 | UF Nanoscale Research Facility | 0.07733 | 0.07733 | 0.07733 | 110 | 200 | - | - | - | Micro-CT scan
Pelodytes | caucasicus | CAS-H-94059 | UF Nanoscale Research Facility | 0.046037 | 0.046037 | 0.046037 | 90 | 190 | The files were downloaded from www.MorphoSource.org, Duke University. | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/13930 | M13930-24582 | Micro-CT scan
Rana | pipiens | - | NA | NA | NA | 0.004 | NA | NA | Specimen from Mason, M.J., Segenhout, J.M., Cobo-Cuan, A. et al. The Frog Inner Ear: Picture Perfect?. JARO 16, 171–188 (2015). Models were reconstructed from histological sections | - | - | Surface mesh of bony and membranous labyrinth
Eleutherodactylus | limbatus | - | NA | NA | NA | 0.004 | NA | NA | Specimen from Mason, M.J., Segenhout, J.M., Cobo-Cuan, A. et al. The Frog Inner Ear: Picture Perfect?. JARO 16, 171–188 (2015). Models were reconstructed from histological sections | - | - | Surface mesh of bony and membranous labyrinth
Xenopus | laevis | - | NA | NA | NA | 0.004 | NA | NA | Specimen from Mason, M.J., Segenhout, J.M., Cobo-Cuan, A. et al. The Frog Inner Ear: Picture Perfect?. JARO 16, 171–188 (2015). Models were reconstructed from histological sections | - | - | Surface mesh of bony and membranous labyrinth
Lissotriton | vulgaris | UF38991 | UF Nanoscale Research Facility | 0.012113 | 0.012113 | 0.012113 | 80 | 150 | The files were downloaded from www.MorphoSource.org, Duke University. | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/19260 | M19260-36432 | Micro-CT scan
Proteus | anguinus | MVZ-Herps-244076 | GE V¦tome¦xm240 CT Scanner | 0.018017 | 0.018017 | 0.018017 | 90 | 180 | The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/25296 | M25296-49510 | Micro-CT scan
Diadectes | sideropelicus | FMNH UR 27 | GE v¦tome¦x s 240 | 0.07107 | 0.07107 | 0.07107 | 220 | 200 | - | - | - | Micro-CT scan
Captorhinus | aguti | TMM 40882-41 | GE v¦tome¦x s 240 | 0.02117 | 0.02117 | 0.02117 | 110 | 190 | - | - | - | Micro-CT scan
Labidosaurus | hamatus | FMNH UR 161 | GE v¦tome¦x s 240 | 0.05115 | 0.05115 | 0.05115 | 190 | 500 | - | - | - | Micro-CT scan
Youngina | capensis | BPI/1/375 | Xtek XT H 225 | 0.0238 | 0.0238 | 0.0238 | 110 | 90 | - | - | - | Micro-CT scan
Chelydra | serpentina | UF22159 | University of Texas High-Resolution X-ray CT Facility | 0.246 | 0.246 | 0.246 | - | - | - | - | - | Micro-CT scan
Kinosternon | hirpites | Uf Herp 45035 | UF Nanoscale Research Facility | 0.074589 | 0.074589 | 0.074589 | 14 | 250 | The files were downloaded from www.MorphoSource.org, Duke University. | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/8693 | M8693-11063 | Micro-CT scan
Chelonia | mydas | YPM HERR 004058 | UF Nanoscale Research Facility | 0.039194 | 0.039194 | 0.039194 | 100 | 200 | - | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/40231 | M40231 | Micro-CT scan
Sacalia | quadriocellata | NCSM 76496 | UF Nanoscale Research Facility | 0.090922 | 0.090922 | 0.090922 | 100 | 200 | - | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/20983 | M20983-39874 | Micro-CT scan
Graptemys | sp. | Uf Herp 61899 | GE v¦tome¦x s 240 | 0.074818 | 0.074818 | 0.074818 | 120 | 250 | - | https://www.morphosource.org/Detail/MediaDetail/Show/media_id/22349 | M22349-43521 | Micro-CT scan
Trachemys | scripta | - | Micro-MRI 11.7 T Bruker Avance DRX500 | 0.039 | 0.039 | 0.039 | NA | NA | Specimen from Serjoscha W Evers, James M Neenan, Gabriel S Ferreira, Ingmar Werneburg, Paul M Barrett, Roger B J Benson, Neurovascular anatomy of the protostegid turtle Rhinochelys pulchriceps and comparisons of membranous and endosseous labyrinth shape in an extant turtle, Zoological Journal of the Linnean Society, Volume 187, Issue 3, November 2019, Pages 800–828 | - | - | Surface mesh of bony and membranous labyrinth
Prolacerta | broomi | BP/1/3575 | Xtek XT H 225 | 0.0362 | 0.0362 | 0.0362 | 110 | 90 | - | - | - | Micro-CT scan
Alligator | mississipiensis | TMM M-983 | SMS 101 | 0.48 | 0.48 | 0.48 | - | - | - | - | - | Micro-CT scan
Caiman | crocodylus | FMNH 73711 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.142 | 0.142 | 0.142 | - | - | - | - | - | Micro-CT scan
Tomistoma | schlegelii | CEB 140070 | BIR ACTIS5 | 0.012774 | 0.012774 | 0.012774 | 160 | 80 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Gavialis | gangeticus | MNHN A-5312 | X8060 NDT | 0.146 | 0.146 | 0.146 | 120 | 350 | - | - | - | Micro-CT scan
Crocodylus | johnstoni | OUVC 10425 | University of Texas High-Resolution X-ray CT Facility | 0.223 | 0.223 | 0.223 | - | - | - | - | - | Micro-CT scan
Crocodylus | niloticus | UCL X183 | University of Texas High-Resolution X-ray CT Facility | 0.246 | 0.246 | 0.246 | - | - | - | - | - | Micro-CT scan
Crocodylus | moreletii | TMM M-4980 | University of Texas High-Resolution X-ray CT Facility | 0.5 | 0.5 | 0.5 | - | - | - | - | - | Micro-CT scan
Crocodylus | intermedius | FMNH 75662 | GE LightSpeed Ultra Multislice | 0.625 | 0.625 | 0.625 | 120 | 200 | - | - | - | Micro-CT scan
Crocodylus | acutus | FMNH59071 | GE LightSpeed Ultra Multislice | 0.625 | 0.625 | 0.625 | 120 | 200 | - | - | - | Micro-CT scan
Struthio | camelus | CEB 130023 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Strauss farm Sachsen | - | - | Micro-CT scan
Apteryx | haastii | NMS Z.1913.13.748 | Nikon XT H 225ST | 0.088054 | 0.088054 | 0.088054 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17247 | M17247-32206 | Surface mesh of bony labyrinth
Dromaius | novaehollandiae | NHMUK S/2001.50.1 | Metris X-Tek HMX ST CT | 0.0931 | 0.0931 | 0.0931 | - | - | - | - | - | Micro-CT scan
Casuarius | casuarius | NHMUK 1939.12.9.964 | Metris X-Tek HMX ST CT | 0.1487 | 0.1487 | 0.1487 | - | - | - | - | - | Micro-CT scan
Rhynchotus | rufescens | NMS Z.1890.28.9 | Nikon XT H 225ST | 0.056419 | 0.056419 | 0.056419 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17408 | M17408-32673 | Surface mesh of bony labyrinth
Meleagris | gallopavo | CEB 130069 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained by Alexander Stoessel from a turkey farm in Altengönna, Germany. | - | - | Micro-CT scan
Gallus | gallus | NMS Z.1931.43_Gallus | Nikon XT H 225ST | 0.055441 | 0.055441 | 0.055441 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17724 | M17724-33494 | Surface mesh of bony labyrinth
Lophura | diardi | MNHN unvouchered | X8060 NDT | 0.08 | 0.08 | 0.08 | 100 | 150 | - | - | - | Micro-CT scan
Phasianus | colchicus | NMS Z.1931.43_Phasanius | Nikon XT H 225ST | 0.057996 | 0.057996 | 0.057996 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17725 | M17725-33499 | Surface mesh of bony labyrinth
Coturnix | coturnix | NMS Z.1931.43_Coturnix | Nikon XT H 225ST | 0.031616 | 0.031616 | 0.031616 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17723 | M17723-33489 | Surface mesh of bony labyrinth
Cygnus | olor | NHMUK S/1995.11.1 | Metris X-Tek HMX ST CT | 0.0501 | 0.0501 | 0.0501 | - | - | - | - | - | Micro-CT scan
Anas | undulata | CEB 130140 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Tachyeres | brachypterus | NHMUK S/2004.7.1 | Nikon XT H 225ST | 0.0594 | 0.0594 | 0.0594 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17404 | M17404-32653 | Surface mesh of bony labyrinth
Aythya | fuligula | NHMUK S/1987.27.1 | Metris X-Tek HMX ST CT | 0.0361 | 0.0361 | 0.0361 | - | - | - | - | - | Micro-CT scan
Apus | apus | CEB 140032 | Skyscan1173 | 0.007167 | 0.007167 | 0.007167 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Veterinary clinic for birds and reptiles | - | - | Micro-CT scan
Selasphorus | rufus | NMS Z.2002.108.2 | Nikon XT H 225ST | 0.0119 | 0.0119 | 0.0119 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17424 | M17424-32753 | Surface mesh of bony labyrinth
Thalurania | furcata | MNHN 2000-463 | X8060 NDT | 0.042 | 0.042 | 0.042 | 40 | 999 | - | - | - | Micro-CT scan
Steatornis | caripensis | NHMUK S/1869.6.20.1 | Nikon XT H 225ST | 0.0353 | 0.0353 | 0.0353 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17403 | M17403-32648 | Surface mesh of bony labyrinth
Podargus | strigoides | NHMUK S/1969.4.41 | Nikon XT H 225ST | 0.0332 | 0.0332 | 0.0332 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17402 | M17402-32643 | Surface mesh of bony labyrinth
Caprimulgus | europaeus | NMS Z. unvouchered, cat. num. 27 | Nikon XT H 225ST | 0.037871 | 0.037871 | 0.037871 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17406 | M17406-32663 | Surface mesh of bony labyrinth
Columba | palumbus | CEB 130137 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Cadaver sampled in the wild. | - | - | Micro-CT scan
Cuculus | canorus | NMS unvouchered | Nikon XT H 225ST | 0.056419 | 0.056419 | 0.056419 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy),, the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1.. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17715 | M17715-33449 | Surface mesh of bony labyrinth
Grus | grus | MNHN unvouchered | X8060 NDT | 0.143 | 0.143 | 0.143 | 50 | 1500 | - | - | - | Micro-CT scan
Spheniscus | demersus | UF 21341 | Metris X-Tek HMX ST CT | 0.119 | 0.119 | 0.119 | - | - | - | - | - | Micro-CT scan
Pelagodroma | marina | NMS Z.1898.30 | Nikon XT H 225ST | 0.036203 | 0.036203 | 0.036203 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17409 | M17409-32678 | Surface mesh of bony labyrinth
Diomedea | exulans | NMS Z.1921.143.1630 | Nikon XT H 225ST | 0.072776 | 0.072776 | 0.072776 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17411 | M17411-32688 | Surface mesh of bony labyrinth
Fulmarus | glacialis | NMS Z.2003.181.2 | Nikon XT H 225ST | 0.074565 | 0.074565 | 0.074565 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17426 | M17426-32763 | Surface mesh of bony labyrinth
Gavia | immer | NMS unvouchered | Nikon XT H 225ST | 0.080114 | 0.080114 | 0.080114 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17717 | M17717-33459 | Surface mesh of bony labyrinth
Ardea | cinerea | NMS Z.2002.64 | Nikon XT H 225ST | 0.088054 | 0.088054 | 0.088054 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17425 | M17425-32758 | Surface mesh of bony labyrinth
Phalacrocorax | harrisi | NHMUK S/1973.1.10 | Nikon XT H 225ST | 0.0501 | 0.0501 | 0.0501 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17401 | M17401-32638 | Surface mesh of bony labyrinth
Fregata | magnificens | NMS Z.2000.111.2 | Nikon XT H 225ST | 0.040624 | 0.040624 | 0.040624 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17421 | M17421-32738 | Surface mesh of bony labyrinth
Phaethon | lepturus | NHMUK S/1884.2.29.10 | Nikon XT H 225ST | 0.0371 | 0.0371 | 0.0371 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17400 | M17400-32633 | Surface mesh of bony labyrinth
Balaeniceps | rex | NMS unvouchered | Nikon XT H 225ST | 0.0674 | 0.0674 | 0.0674 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17712 | M17712-33434 | Surface mesh of bony labyrinth
Ciconia | ciconia | NHMUK 1859.9.6.393 | Metris X-Tek HMX ST CT | 0.043 | 0.043 | 0.043 | - | - | - | - | - | Micro-CT scan
Ciconia | nigra | NHMUK S/1952.1.103 | Metris X-Tek HMX ST CT | 0.04 | 0.04 | 0.04 | - | - | - | - | - | Micro-CT scan
Phoenicopterus | ruber | NMS Z.2000.193.1 | Nikon XT H 225ST | 0.040624 | 0.040624 | 0.040624 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17422 | M17422-32743 | Surface mesh of bony labyrinth
Podiceps | cristatus | NMS Z.1990.74 | Nikon XT H 225ST | 0.074565 | 0.074565 | 0.074565 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17415 | M17415-32708 | Surface mesh of bony labyrinth
Haematopus | ostralegus | NMS Z.1998.7.3 | Nikon XT H 225ST | 0.063075 | 0.063075 | 0.063075 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17420 | M17420-32733 | Surface mesh of bony labyrinth
Scolopax | rusticola | NMS Z.1939.30.6 | Nikon XT H 225ST | 0.074565 | 0.074565 | 0.074565 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17414 | M17414-32703 | Surface mesh of bony labyrinth
Actitis | hypoleucos | NMS Z.1931.43 | Nikon XT H 225ST | 0.037871 | 0.037871 | 0.037871 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17320 | M17320-32453 | Surface mesh of bony labyrinth
Alca | torda | NMS Z.2000.08.105 | Nikon XT H 225ST | 0.068834 | 0.068834 | 0.068834 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17321 | M17321-32458 | Surface mesh of bony labyrinth
Gelochelidon | nilotica | NMS unvouchered | Nikon XT H 225ST | 0.063075 | 0.063075 | 0.063075 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17718 | M17718-33464 | Surface mesh of bony labyrinth
Creagrus | furcatus | NHMUK S/1967.19.6 | Nikon XT H 225ST | 0.0431 | 0.0431 | 0.0431 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17397 | M17397-32618 | Surface mesh of bony labyrinth
Larus | argentatus | NMS unvouchered | Nikon XT H 225ST | 0.084651 | 0.084651 | 0.084651 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17719 | M17719-33469 | Surface mesh of bony labyrinth
Opisthocomus | hoazin | NHMUK S/1892.7.11.1 | Nikon XT H 225ST | 0.0318 | 0.0318 | 0.0318 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17399 | M17399-32628 | Surface mesh of bony labyrinth
Athene | cunicularia | NHMUK S/1986.75.13 | Metris X-Tek HMX ST CT | 0.0361 | 0.0361 | 0.0361 | - | - | - | - | - | Micro-CT scan
Tyto | alba | NHMUK S/1981.39.1 | Metris X-Tek HMX ST CT | 0.0392 | 0.0392 | 0.0392 | - | - | - | - | - | Micro-CT scan
Alcedo | atthis | NMS unvouchered | Nikon XT H 225ST | 0.031618 | 0.031618 | 0.031618 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17711 | M17711-33429 | Surface mesh of bony labyrinth
Coracias | garrulus | NMS Z.1994.44 | Nikon XT H 225ST | 0.043994 | 0.043994 | 0.043994 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17416 | M17416-32713 | Surface mesh of bony labyrinth
Ramphastos | dicolorus | NMS Z.1931.43_Rhamphastos | Nikon XT H 225ST | 0.084651 | 0.084651 | 0.084651 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17726 | M17726-33504 | Surface mesh of bony labyrinth
Pteroglossus | bailloni | MNHN unvouchered | X8060 NDT | 0.1 | 0.1 | 0.1 | 100 | 100 | - | - | - | Micro-CT scan
Dendrocopos | medius | CEB 140034 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Cadaver sampled in the wild. | - | - | Micro-CT scan
Sagittarius | serpentarius | NMS Z.1931.120.7 | Nikon XT H 225ST | 0.057996 | 0.057996 | 0.057996 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17412 | M17412-32693 | Surface mesh of bony labyrinth
Pandion | haliaetus | NMS Z.1995.35 | Nikon XT H 225ST | 0.068834 | 0.068834 | 0.068834 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17418 | M17418-32723 | Surface mesh of bony labyrinth
Circus | cyaneus | NMS Z.1995.188 | Nikon XT H 225ST | 0.055441 | 0.055441 | 0.055441 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17417 | M17417-32718 | Surface mesh of bony labyrinth
Aquila | chrysaetos | NMS Z.1997.29 | Nikon XT H 225ST | 0.054843 | 0.054843 | 0.054843 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17419 | M17419-32728 | Surface mesh of bony labyrinth
Buteo | buteo | NHMUK S/2007.139.12 | Metris X-Tek HMX ST CT | 0.04 | 0.04 | 0.04 | - | - | - | - | - | Micro-CT scan
Vultur | gryphus | NMS Z.1879.8.38 | Nikon XT H 225ST | 0.07563 | 0.07563 | 0.07563 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17407 | M17407-32668 | Surface mesh of bony labyrinth
Falco | subbuteo | CEB 140011 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Veterinary clinic for birds and reptiles | - | - | Micro-CT scan
Melopsittacus | undulatus | CEB 140012 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Veterinary clinic for birds and reptiles | - | - | Micro-CT scan
Ara | macao | NMS Z.1931.43_Ara | Nikon XT H 225ST | 0.065142 | 0.065142 | 0.065142 | - | - | National Museums of Scotland, Edinburgh provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17722 | M17722-33484 | Surface mesh of bony labyrinth
Psittacus | erithacus | NHMUK S/1973.66.109 | Metris X-Tek HMX ST CT | 0.0361 | 0.0361 | 0.0361 | - | - | - | - | - | Micro-CT scan
Dicrurus | paradiseus | NHMUK S/1969.1.163 | Nikon XT H 225ST | 0.0373 | 0.0373 | 0.0373 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17390 | M17390-32583 | Surface mesh of bony labyrinth
Corvus | corax | NHMUK S/1979.66.160 | Metris X-Tek HMX ST CT | 0.043 | 0.043 | 0.043 | - | - | - | - | - | Micro-CT scan
Taeniopygia | guttata | NHMUK S/2002.46.1 | Metris X-Tek HMX ST CT | 0.0373 | 0.0373 | 0.0373 | - | - | - | - | - | Micro-CT scan
Passer | domesticus | CEB 130050 | Skyscan1173 | 0.011111 | 0.011111 | 0.011111 | 100 | 62 | Specimen was prepared as described in David et al. 2016 before scanning. Cadaver sampled in the wild. | - | - | Micro-CT scan
Carduelis | chloris | CEB 130130 | Skyscan1173 | 0.0086014 | 0.0086014 | 0.0086014 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Cadaver sampled in the wild. | - | - | Micro-CT scan
Bangsia | arcaei | MNHN unvouchered | X8060 NDT | 0.033 | 0.033 | 0.033 | 60 | 500 | - | - | - | Micro-CT scan
Hirundo | rustica | CEB 140010 | Skyscan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Cadaver sampled in the wild. | - | - | Micro-CT scan
Regulus | regulus | NHM Unregistered Palaeontology Comparative Collection (6)9 | Metris X-Tek HMX ST CT | 0.014 | 0.014 | 0.014 | - | - | - | - | - | Micro-CT scan
Luscinia | megarhynchos | NHMUK S/1968.4.14 | Nikon XT H 225ST | 0.0373 | 0.0373 | 0.0373 | - | - | Natural History Museum, London provided access to these data originally appearing in Benson et al (2017: Comparative analysis of vestibular ecomorphology in birds, Journal of Anatomy), the collection of which was funded by Natural Environment Research Council (NERC) grants NE/H012176/1 and NE/E008380/1. The files were downloaded from www.MorphoSource.org, Duke University. | http://www.morphosource.org/Detail/MediaDetail/Show/media_id/17391 | M17391-32588 | Surface mesh of bony labyrinth
Turdus | merula | CEB 130075 | Skyscan1173 | 0.010929 | 0.010929 | 0.010929 | 100 | 80 | Specimen was prepared as described in David et al. 2016 before scanning. Cadaver sampled in the wild. | - | - | Micro-CT scan
Sphenodon | punctatus | YPM 9194 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.225 | 0.225 | 0.225 | 120 | 267 | - | - | - | Micro-CT scan
Sphenodon | punctatus | LDUCZ x036 | University of Texas High-Resolution X-ray CT Facility | 0.058 | 0.058 | 0.058 | 120 | 267 | - | - | - | Micro-CT scan
Delma | borea | USNM 128679 | University of Texas High-Resolution X-ray CT Facility | 0.01364 | 0.01364 | 0.01364 | 180 | 133 | - | - | - | Micro-CT scan
Nephrurus | levis | YPM 12868 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0417 | 0.0417 | 0.0417 | - | - | - | - | - | Micro-CT scan
Hemitheconyx | caudicinctus | YPM 14381 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0599 | 0.0599 | 0.0599 | - | - | - | - | - | Micro-CT scan
Eublepharis | macularius | CMNH 67524 | University of Texas High-Resolution X-ray CT Facility | 0.04426 | 0.04426 | 0.04426 | 180 | 133 | - | - | - | Micro-CT scan
Teratoscincus | przewalskii | CAS 171013 | University of Texas High-Resolution X-ray CT Facility | 0.04825 | 0.04825 | 0.04825 | 225 | 100 | - | - | - | Micro-CT scan
Ptyodactylus | hasselquistii | NHMUK 1900.9.22.15 | Metris X-Tek HMX ST CT | 0.0267 | 0.0267 | 0.0267 | - | - | - | - | - | Micro-CT scan
Gekko | gecko | FMNH 186818 | University of Texas High-Resolution X-ray CT Facility | 0.114 | 0.114 | 0.114 | 180 | 133 | - | - | - | Micro-CT scan
Gymnodactylus | geckoides | NHMUK 1978.346 | Metris X-Tek HMX ST CT | 0.0203 | 0.0203 | 0.0203 | - | - | - | - | - | Micro-CT scan
Smaug | warreni mossambicus | YPM 12670 | University of Texas High-Resolution X-ray CT Facility | 0.057 | 0.057 | 0.057 | 180 | 133 | - | - | - | Micro-CT scan
Lepidophyma | smithii | LACM 136359 | University of Texas High-Resolution X-ray CT Facility | 0.0352 | 0.0352 | 0.0418 | 180 | 133 | - | - | - | Micro-CT scan
Cricosaura | typica | USNM 547842 | University of Texas High-Resolution X-ray CT Facility | 0.0152 | 0.0152 | 0.0152 | 120 | 200 | - | - | - | Micro-CT scan
Tribolonotus | gracilis | NHMUK 1938.5.7.59 | Metris X-Tek HMX ST CT | 0.0288 | 0.0288 | 0.0288 | - | - | - | - | - | Micro-CT scan
Tiliqua | rugosa | NHMUK 29a | Metris X-Tek HMX ST CT | 0.0461 | 0.0461 | 0.0461 | - | - | - | - | - | Micro-CT scan
Eumeces | schneideri | YPM 12668 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0532 | 0.0532 | 0.0532 | - | - | - | - | - | Micro-CT scan
Feylinia | polylepis | FMNH 120968 | University of Texas High-Resolution X-ray CT Facility | 0.01877 | 0.01877 | 0.01877 | 180 | 133 | - | - | - | Micro-CT scan
Chalcides | ocellatus | YPM 12690 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0409 | 0.0409 | 0.0409 | - | - | - | - | - | Micro-CT scan
Tupinambis | teguixin | FMNH 22416 | University of Texas High-Resolution X-ray CT Facility | 0.1485 | 0.1485 | 0.1485 | 120 | 200 | - | - | - | Micro-CT scan
Salvator | merianae | FMNH 10694 | GE v¦tome¦x s 240 | 0.035 | 0.035 | 0.035 | 120 | 250 | - | - | - | Micro-CT scan
Diplometopon | zarudnyi | FMNH 64429 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0192 | 0.0192 | 0.0192 | 180 | 133 | - | - | - | Micro-CT scan
Bipes | biporus | CAS 126478 | University of Texas High-Resolution X-ray CT Facility | 0.073 | 0.073 | 0.073 | 180 | 133 | - | - | - | Micro-CT scan
Lacerta | viridis | YPM 12858 | University of Texas High-Resolution X-ray CT Facility | 0.0434 | 0.0434 | 0.0434 | 120 | 200 | - | - | - | Micro-CT scan
Podarcis | wagleriana | CEB 130040 | Skyscan1172 | 0.0044632 | 0.0044632 | 0.0044632 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Cadaver sampled in the wild. | - | - | Micro-CT scan
Podarcis | siculus | NHMUK 1978.1441 | Metris X-Tek HMX ST CT | 0.0229 | 0.0229 | 0.0229 | - | - | - | - | - | Micro-CT scan
Typhlops | jamaicensis | USNM 12378 | University of Texas High-Resolution X-ray CT Facility | 0.0157 | 0.0157 | 0.0157 | 180 | 133 | - | - | - | Micro-CT scan
Tropidophis | haetianus | TNHC 64040 | University of Texas High-Resolution X-ray CT Facility | 0.03021 | 0.03021 | 0.03021 | 180 | 133 | - | - | - | Micro-CT scan
Boa | constrictor | CEB 130166 | SkyScan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Veterinary clinic for birds and reptiles | - | - | Micro-CT scan
Uropeltis | melanogaster | FMNH 167048 | University of Texas High-Resolution X-ray CT Facility | 0.0152 | 0.0152 | 0.0152 | 180 | 133 | - | - | - | Micro-CT scan
Anomochilus | leonardi | FRIM0026 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0144 | 0.0144 | 0.0144 | 180 | 88 | - | - | - | Micro-CT scan
Cylindrophis | ruffus | FMNH 60958 | University of Texas High-Resolution X-ray CT Facility | 0.05118 | 0.05118 | 0.05118 | 180 | 133 | - | - | - | Micro-CT scan
Casarea | dussumieri | UMMZ 190285 | University of Texas High-Resolution X-ray CT Facility | 0.0179 | 0.0179 | 0.0179 | 180 | 133 | - | - | - | Micro-CT scan
Xenopeltis | unicolor | FMNH 148900 | University of Texas High-Resolution X-ray CT Facility | 0.05234 | 0.05234 | 0.05234 | 180 | 133 | - | - | - | Micro-CT scan
Morelia | spilota | FMNH 218598 | GE v¦tome¦x s 240 | 0.022 | 0.022 | 0.022 | 120 | 160 | - | - | - | Micro-CT scan
Python | molurus | TNHC 62769 | University of Texas High-Resolution X-ray CT Facility | 0.1055 | 0.1055 | 0.1055 | 120 | 200 | - | - | - | Micro-CT scan
Acrochordus | granulatus | FMNH 201350 | University of Texas High-Resolution X-ray CT Facility | 0.0482 | 0.0482 | 0.0482 | 180 | 133 | - | - | - | Micro-CT scan
Xenodermus | javanicus | FMNH 158613 | University of Texas High-Resolution X-ray CT Facility | 0.02529 | 0.02529 | 0.02529 | 180 | 133 | - | - | - | Micro-CT scan
Cerastes | cornutus | NHMUK 1930.5.8.952 | Metris X-Tek HMX ST CT | 0.0267 | 0.0267 | 0.0267 | - | - | - | - | - | Micro-CT scan
Ahaetulla | nasuta | NHMUK 1930.5.8.725 | Metris X-Tek HMX ST CT | 0.0271 | 0.0271 | 0.0271 | - | - | - | - | - | Micro-CT scan
Chrysopelea | paradisi | FMNH 71626 | University of Texas High-Resolution X-ray CT Facility | 0.03822 | 0.03822 | 0.03822 | 210 | 110 | - | - | - | Micro-CT scan
Aparallactus | werneri | FMNH 250439 | University of Texas High-Resolution X-ray CT Facility | 0.016816 | 0.016816 | 0.016816 | 180 | 133 | - | - | - | Micro-CT scan
Naja | naja | NHMUK 59.9.21.2 | Metris X-Tek HMX ST CT | 0.0343 | 0.0343 | 0.0343 | - | - | - | - | - | Micro-CT scan
Laticauda | colubrina | FMNH 202810 | University of Texas High-Resolution X-ray CT Facility | 0.063 | 0.063 | 0.063 | 180 | 133 | - | - | - | Micro-CT scan
Heloderma | horridum | TNHC 64380 | University of Texas High-Resolution X-ray CT Facility | 0.1147 | 0.1147 | 0.1147 | 180 | 133 | - | - | - | Micro-CT scan
Heloderma | suspectum | TNHC 62766 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.133 | 0.133 | 0.133 | - | - | - | - | - | Micro-CT scan
Ophisaurus | apodus | YPM 12870 | University of Texas High-Resolution X-ray CT Facility | 0.0633 | 0.0633 | 0.0633 | 120 | 190 | - | - | - | Micro-CT scan
Gerrhonotus | infernalis | YPM 14379 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.043 | 0.043 | 0.043 | 120 | 200 | - | - | - | Micro-CT scan
Elgaria | coerulea | NHMUK 1964.1829 | Metris X-Tek HMX ST CT | 0.0184 | 0.0184 | 0.0184 | - | - | - | - | - | Micro-CT scan
Lanthanotus | borneensis | YPM 6057 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.09 | 0.09 | 0.09 | - | - | - | - | - | Micro-CT scan
Lanthanotus | borneensis | FMNH 148589 | University of Texas High-Resolution X-ray CT Facility | 0.04637 | 0.04637 | 0.04637 | 180 | 133 | - | - | - | Micro-CT scan
Varanus | niloticus | UCMZ R.9586 | Metris X-Tek HMX ST CT | 0.0851 | 0.0851 | 0.0851 | - | - | - | - | - | Micro-CT scan
Varanus | exanthematicus | NHMUK 1932.6.1.12 | Metris X-Tek HMX ST CT | 0.042 | 0.042 | 0.042 | - | - | - | - | - | Micro-CT scan
Varanus | salvator | FMNH 35144 | University of Texas High-Resolution X-ray CT Facility | 0.201 | 0.201 | 0.201 | 180 | 133 | - | - | - | Micro-CT scan
Varanus | jobiensis | CEB 130032 | SkyScan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Varanus | giganteus | NHMUK 97.5.31.1 | Metris X-Tek HMX ST CT | 0.062 | 0.062 | 0.062 | - | - | - | - | - | Micro-CT scan
Chamaeleo | senegalensis laevigatus | FMNH 47572 | University of Texas High-Resolution X-ray CT Facility | 0.036 | 0.036 | 0.036 | 180 | 133 | - | - | - | Micro-CT scan
Brookesia | brygooi | FMNH 260015 | University of Texas High-Resolution X-ray CT Facility | 0.042845 | 0.042845 | 0.042845 | 180 | 110 | - | - | - | Micro-CT scan
Draco | quinquefasciatus | FMNH 221322 | University of Texas High-Resolution X-ray CT Facility | 0.03755 | 0.03755 | 0.03755 | 210 | 110 | - | - | - | Micro-CT scan
Uromastyx | hardwickii | UCA.5 | custom-built Bio-Imaging Research, Inc. (BIR) scanner that used a conventional medical image-intensifier detector | 0.0588 | 0.0588 | 0.0588 | 120 | 200 | - | - | - | Micro-CT scan
Saara | aegyptia | FMNH 78661 | University of Texas High-Resolution X-ray CT Facility | 0.1227 | 0.1227 | 0.1227 | 180 | 133 | - | - | - | Micro-CT scan
Sceloporus | variabilis | FMNH 122866 | University of Texas High-Resolution X-ray CT Facility | 0.0391 | 0.0391 | 0.0391 | 180 | 133 | - | - | - | Micro-CT scan
Leiocephalus | barahonensis | USNM 260564 | University of Texas High-Resolution X-ray CT Facility | 0.03786 | 0.03786 | 0.03786 | 180 | 133 | - | - | - | Micro-CT scan
Morunasaurus | annularis | USNM 200767 | University of Texas High-Resolution X-ray CT Facility | 0.07572 | 0.07572 | 0.07572 | 180 | 133 | - | - | - | Micro-CT scan
Gambelia | wislizenii | NHMUK 1792.568 | Metris X-Tek HMX ST CT | 0.0272 | 0.0272 | 0.0272 | - | - | - | - | - | Micro-CT scan
Basiliscus | basiliscus barbouri | FMNH 165622 | University of Texas High-Resolution X-ray CT Facility | 0.073 | 0.073 | 0.073 | 180 | 133 | - | - | - | Micro-CT scan
Liolaemus | chilensis | NHMUK 1970.1.20.135 | Metris X-Tek HMX ST CT | 0.0233 | 0.0233 | 0.0233 | - | - | - | - | - | Micro-CT scan
Liolaemus | bellii | MVZ 125659 | University of Texas High-Resolution X-ray CT Facility | 0.02837 | 0.02837 | 0.02837 | 180 | 133 | - | - | - | Micro-CT scan
Anolis | sagrei | NHMUK 1964.179 | Metris X-Tek HMX ST CT | 0.0267 | 0.0267 | 0.0267 | - | - | - | - | - | Micro-CT scan
Anolis | grahami | NHMUK 1964.1782 | Metris X-Tek HMX ST CT | 0.0267 | 0.0267 | 0.0267 | - | - | - | - | - | Micro-CT scan
Eothyris | parkeri | MCZ 1161 | ACTIS scanner | 0.054 | 0.054 | 0.054 | 200 | 170 | - | - | - | Micro-CT scan
Dimetrodon | sp. | FMNH PR 4976 (probably MCZ9560) | N/A | NA | NA | NA | NA | NA | - | - | - | Photogrammetric reconstuction | This specimen is a wax model made from a serially-sectioned specimen. The digital model was made using photogrammetry.
Hipposaurus | boonstrai | CG WB123 | ESRF | 0.108 | 0.108 | 0.108 | 130 | NA | - | - | - | Micro-CT scan
Lemurosaurus | pricei | BP/1/816 | Nikon Metrology XTH 225/320 LC | 0.05 | 0.05 | 0.05 | 110 | 150 | - | - | - | Micro-CT scan
Lemurosaurus | pricei | NMQR 1702 | ESRF | 0.0538 | 0.0538 | 0.0538 | 130 | NA | - | - | - | Micro-CT scan
Leucocephalus | wewersi | SAM-PK-K11112 | ESRF | 0.0538 | 0.0538 | 0.0538 | 130 | - | - | - | - | Micro-CT scan
Herpetoskylax | hopsoni | BP/1/3924 | Nikon Metrology XTH 225/320 LC | 0.0689 | 0.0689 | 0.0689 | 130 | 150 | - | - | - | Micro-CT scan
Moschops | capensis | AM 6556 | ESRF | 0.234 | 0.234 | 0.234 | 150 | NA | - | - | - | Micro-CT scan
Patranomodon | nyaphulii | NMQR 3000 | Nikon Metrology XTH 225/320 LC | 0.0356 | 0.0356 | 0.0356 | 70 | 80 | - | - | - | Micro-CT scan
Eodicynodon | oosthuizeni | NMQR 2978 | Nikon Metrology XTH 225/320 LC | 0.0739 | 0.0739 | 0.0739 | 125 | 135 | - | - | - | Micro-CT scan
Diictodon | feliceps | GPIT/RE/9275 | ESRF | 0.04657 | 0.04657 | 0.04657 | 100 | - | - | - | - | Micro-CT scan
Pristerodon | mackayi | NHCC LB355 | Nikon Metrology XTH 225/320 LC | 0.061 | 0.061 | 0.061 | - | - | - | - | - | Micro-CT scan
Niassodon | mfumukasi | ML1620 | ESRF | 0.02785 | 0.02785 | 0.02785 | 97.8 | - | - | - | - | Micro-CT scan
Endothiodon | bathystoma | MTA/ACL001 | ESRF | 0.04598 | 0.04598 | 0.04598 | 130 | - | - | - | - | Micro-CT scan
Endothiodon | bathystoma | MTA/ACL002 | ESRF | 0.04598 | 0.04598 | 0.04598 | 130 | - | - | - | - | Micro-CT scan
Endothiodon | bathystoma | MTA/ACL003 | ESRF | 0.04598 | 0.04598 | 0.04598 | 130 | - | - | - | - | Micro-CT scan
Endothiodon | tolani | NMT RB162 | GE v¦tome¦x s 240 | 0.06043 | 0.06043 | 0.06043 | 190 | 200 | - | - | - | Micro-CT scan
Abajudon | kaayai | NHCC LB314 | GE v¦tome¦x s 240 | 0.08 | 0.08 | 0.08 | 120 | 660 | - | - | - | Micro-CT scan
Dicynodontoides | cf. recurvidens | NHCC LB117 | GE v¦tome¦x s 240 | 0.06887 | 0.06887 | 0.06887 | 210 | 210 | - | - | - | Micro-CT scan
Kembawacela | kitchingi | NHCC LB18 | GE v¦tome¦x s 240 | 0.047 | 0.047 | 0.047 | 120 | 380 | - | - | - | Micro-CT scan
Kawingasaurus | fossilis | GPIT/RE/9272 | ESRF | 0.02652 | 0.02652 | 0.02652 | NA | NA | - | - | - | Micro-CT scan
Oudenodon | bainii | NHCC LB631 | GE v¦tome¦x s 240 | 0.08704 | 0.08704 | 0.08704 | 220 | 260 | - | - | - | Micro-CT scan
Aulacephalodon | sp. | NHCC LB335 | GE v¦tome¦x s 240 | 0.10368 | 0.10368 | 0.10368 | 190 | 190 | - | - | - | Micro-CT scan
Lystrosaurus | declivis | NMQR 815 | Nikon Metrology XTH 225/320 LC | 0.086 | 0.086 | 0.086 | 70 | 120 | - | - | - | Micro-CT scan
Lystrosaurus | murrayi | NMQR 3595 | Nikon Metrology XTH 225/320 LC | 0.125 | 0.125 | 0.125 | 70 | 120 | - | - | - | Micro-CT scan
Sangusaurus | parringtonii | NMT RB42 | GE v¦tome¦x s 240 | 0.12244 | 0.12244 | 0.12244 | 220 | 340 | - | - | - | Micro-CT scan
Scylacocephalus | sp. | BP/1/216 | Nikon Metrology XTH 225/320 LC | 0.0589 | 0.0589 | 0.0589 | 110 | 110 | - | - | - | Micro-CT scan
Lycaenops | sp. | NHCC LB178 | North Star Imaging X5000 Industrial #D X-ray Inspection System | 0.118 | 0.118 | 0.118 | 440 | 630 | - | - | - | Micro-CT scan
Dixeya | nasuta | GPIT/RE/7119 | ESRF | 0.04571 | 0.04571 | 0.04571 | 150 | - | - | - | - | Micro-CT scan
Gorgonsopsia indet | indet. | BP/1/155 | Nikon Metrology XTH 225/320 LC | 0.0799 | 0.0799 | 0.0799 | 115 | 200 | - | - | - | Micro-CT scan
"Aloposaurus" | gracilis | GPIT/RE/7124 | ESRF | 0.04657 | 0.04657 | 0.04657 | 100 | - | - | - | - | Micro-CT scan
Oliveirosuchus | parringtoni | BP/1/3849 | Nikon Metrology XTH 225/320 LC | 0.0655 | 0.0655 | 0.0655 | 135 | 200 | - | - | - | Micro-CT scan
Euchambersia | mirabilis | NHMUK 5696 | Metris X-Tek HMX ST 225 | 0.066 | 0.066 | 0.066 | 215 | 170 | - | - | - | Micro-CT scan
Euchambersia | mirabilis | BP/1/4009 | Nikon Metrology XTH 225/320 LC | 0.05 | 0.05 | 0.05 | 110 | 150 | - | - | - | Micro-CT scan
Ictidosuchoides | sp. | NHCC LB387 | GE v¦tome¦x s 240 | 0.08 | 0.08 | 0.08 | 200 | 220 | - | - | - | Micro-CT scan
Mupashi | migrator | NHCC LB44 | GE v¦tome¦x s 240 | 0.052 | 0.052 | 0.052 | 200 | 230 | - | - | - | Micro-CT scan
Microgomphodon | oligocynus | SAM-PK-10160 | ESRF | 0.0288 | 0.0288 | 0.0288 | 120 | NA | - | - | - | Micro-CT scan
Choerosaurus | dejageri | SAM-PK-K8797 | General Electric Phoenix VTomeX L240 | 0.05 | 0.05 | 0.05 | - | - | - | - | - | Micro-CT scan
Procynosuchus | delaharpeae | NHMUK R37054 | GE v¦tome¦x s 240 | 0.05644 | 0.05644 | 0.05644 | 160 | 180 | - | - | - | Micro-CT scan
Cynosaurus | suppostus | BP/1/1563 | Nikon Metrology XTH 225/320 LC | 0.0291 | 0.0291 | 0.0291 | 80 | 70 | - | - | - | Micro-CT scan
Cynosaurus | suppostus | BP/1/3926 | Nikon Metrology XTH 225/320 LC | 0.0708 | 0.0708 | 0.0708 | 130 | 150 | - | - | - | Micro-CT scan
Galesaurus | planiceps | NMQR 860 | Nikon Metrology XTH 225/320 LC | 0.0588 | 0.0588 | 0.0588 | 170 | 200 | - | - | - | Micro-CT scan
Thrinaxodon | liorhinus | BP/1/4263 | Nikon Metrology XTH 225/320 LC | 0.05 | 0.05 | 0.05 | - | - | - | - | - | Micro-CT scan
Thrinaxodon | liorhinus | BP/1/7199 | ESRF | 0.091 | 0.091 | 0.091 | 96 | NA | - | - | - | Micro-CT scan
Trirachodon | berryi | BP/1/4658 | Nikon Metrology XTH 225/320 LC | 0.0667 | 0.0667 | 0.0667 | - | - | - | - | - | Micro-CT scan
Cricodon | kannemeyeri | AM 461 | Nikon Metrology XTH 225/320 LC | 0.0667 | 0.0667 | 0.0667 | 165 | 230 | - | - | - | Micro-CT scan
Scalenodon | angustifrons | NMT RB581 | GE v¦tome¦x s 240 | 0.04333 | 0.04333 | 0.04333 | 200 | 200 | - | - | - | Micro-CT scan
Massethognathus | pascuali | BP/1/4245 | Nikon Metrology XTH 225/320 LC | 0.0645 | 0.0645 | 0.0645 | 140 | 140 | - | - | - | Micro-CT scan
Luangwa | drysdalli | NHMUK R36995 | Microtomograph RX EasyTom 150 | 0.034682 | 0.034682 | 0.034682 | 120 | 248 | - | - | - | Micro-CT scan
Lumkuia | fuzzi | BP/1/2669 | Nikon Metrology XTH 225/320 LC | 0.0443 | 0.0443 | 0.0443 | 140 | 155 | - | - | - | Micro-CT scan
Chiniquodon | theotenicus | MCZ 3778 | Microtomograph RX EasyTom 150 | 0.048 | 0.048 | 0.048 | 160 | 102 | - | - | - | Micro-CT scan
Riograndia | guaibensis | UFRGS PV833T | NIKON XTH225ST | 0.012 | 0.012 | 0.012 | 180 | 38 | - | - | - | Micro-CT scan
Tritylodon | longaevus | BP/1/5088 | Nikon Metrology XTH 225/320 LC | 0.047 | 0.047 | 0.047 | 140 | 185 | - | - | - | Micro-CT scan
Tritylodon | longaevus | BP/1/4778 | Nikon Metrology XTH 225/320 LC | 0.047 | 0.047 | 0.047 | 140 | 185 | - | - | - | Micro-CT scan
Oligokyphus | major | NHMUK 7090 | Microtomograph RX EasyTom 150 | 0.023796 | 0.023796 | 0.023796 | 130 | 168 | - | - | - | Micro-CT scan
Pseudotherium | argentinus | PVSJ 882 | Xradia microXCT 400 Scanner | 0.04421 | 0.04421 | 0.04421 | 110 | - | - | - | - | Micro-CT scan
Brasilodon | quadrangularis | UFRGS PV1043 | NIKON XTH225ST | 0.012 | 0.012 | 0.012 | 150 | 47 | - | - | - | Micro-CT scan
Megazostrodon | rudnerae | BP/1/4983 | Nikon Metrology XTH 225/320 LC | 0.0306 | 0.0306 | 0.0306 | 140 | 155 | - | - | - | Micro-CT scan
Morganucodon | oehleri | IVPP V8685 | GE Phoenix Scanner v¦tome¦x | 0.016264 | 0.016264 | 0.016264 | 90 | 180 | - | - | - | Micro-CT scan
Morganucodon | oehleri | BMNH 2858 | GE Phoenix Scanner v¦tome¦x | 0.013205 | 0.013205 | 0.013205 | 240 | 170 | - | - | - | Micro-CT scan
Morganucodon | watsoni | UMZC Eo.CR.22 | Nikon Metrology XT H 225 ST High CT Scanner | 0.002915 | 0.002915 | 0.002915 | 150 | 170 | - | - | - | Micro-CT scan
Haldanadon | exspectatus | MG 6721 | OMNI-X Universal HD600 Scanner | 0.024 | 0.024 | 0.029 | - | - | - | - | - | Micro-CT scan
Hadrocodium | wui | IVPP V8275 | University of Texas High-resolution X-ray CT facility | 0.0879 | 0.0879 | 0.0191 | 150 | 380 | - | - | - | Micro-CT scan
Zaglossus | bartoni smeenki | AMNH 157072 | University of Texas High-Resolution X-ray CT | 0.0537 | 0.0537 | 0.175 | 180 | 133 | - | - |  | Micro-CT scan
Tachyglossus | aculeatus | MS86 | Nikon Metrology XTH 225/320 LC | 0.0667 | 0.0667 | 0.0667 | 80 | 90 | - | - | - | Micro-CT scan
Ornithorhynchus | anatinus | CEB 130091 | SkyScan1173 | 0.0078857 | 0.0078857 | 0.0078857 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Dryolestes | leiriensis | MG 6807 (Gui Mam 2/81) | Nikon v¦tome¦x s | 0.01 | 0.01 | 0.01 | - | - | - | - | - | Micro-CT scan
Dasyurus | viverrinus | CEB 130081 | SkyScan1173 | 0.00716 | 0.00716 | 0.00716 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Isoodon | obesulus | CEB 130085 | SkyScan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Phascolarctos | cinereus | CEB 130095 | SkyScan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Monodelphis | domestica | TMM-M-7599 | University of Texas High-resolution X-ray CT facility | 0.084 | 0.084 | 0.084 | - | - | - | - | - | Micro-CT scan
Didelphis | virginiana | TMM-M-2517 | University of Texas High-resolution X-ray CT facility | 0.111 | 0.111 | 0.132 | - | - | - | - | - | Micro-CT scan
Dasypus | novemcinctus | TMM-M-1885 | University of Texas High-resolution X-ray CT facility | 0.494 | 0.494 | 0.291 | - | - | - | - | - | Micro-CT scan
Procavia | capensis | CEB-150012 | SkyScan1173 | 0.008 | 0.008 | 0.008 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Elephas | maximus | CEB 150009 | SkyScan1173 | 0.00894 | 0.00894 | 0.00894 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leibniz Institute for Zoo and Wildlife Research | - | - | Micro-CT scan
Dugong | dugon | UM N-170 | Skyscan/1076/invivo | 0.036 | 0.036 | 0.036 | 100 | - | - | - | - | Micro-CT scan
Trichechus | manatus | MSW03156 | Washington University in Saint Louis, MO | 0.537 | 0.537 | 0.038 | - | - | - | - | - | Micro-CT scan
Orycteropus | afer | AMNH51909 | University of Texas High-resolution X-ray CT facility | 0.093 | 0.093 | 0.093 | - | - | - | - | - | Micro-CT scan
Chrysochloris | sp. | AMNH82372 | University of Texas High-resolution X-ray CT facility | 0.085 | 0.085 | 0.05 | - | - | - | - | - | Micro-CT scan
Hemicentetes | semispinosus | AMNH161535 | University of Texas High-resolution X-ray CT facility | 0.056 | 0.056 | 0.067 | - | - | - | - | - | Micro-CT scan
Elephantulus | sp. | MNHN.AC.ZM.1930-92 | SkyScan1173 | 0.007856 | 0.007856 | 0.007856 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. | - | - | Micro-CT scan
Macroscelides | proboscideus | AMNH161535 | University of Texas High-resolution X-ray CT facility | 0.151 | 151 | 0.055 | - | - | - | - | - | Micro-CT scan
Cavia | porcellus | TMM-M-7283 | University of Texas High-resolution X-ray CT facility | 0.728 | 0.728 | 0.038 | - | - | - | - | - | Micro-CT scan
Sciurus | vulgaris | CEB 130021 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Cadaver sampled in the wild. | - | - | Micro-CT scan
Mus | musculus | TMM-M-3196 | University of Texas High-resolution X-ray CT facility | 0.136 | 0.136 | 0.202 | - | - | - | - | - | Micro-CT scan
Lepus | californicus | TMM-M-7500 | University of Texas High-resolution X-ray CT facility | 0.114 | 0.114 | 0.144 | - | - | - | - | - | Micro-CT scan
Sylvilagus | floridanus | TMM-M-2689 | University of Texas High-resolution X-ray CT facility | 0.38 | 0.38 | 0.01 | - | - | - | - | - | Micro-CT scan
Oryctolagus | cuniculus | CEB 130035 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Tupaia | javanica | CEB 130099 | SkyScan1173 | 0.007528 | 0.007528 | 0.007528 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from University of Groningen, Departement of Anatomy | - | - | Micro-CT scan
Tupaia | glis | TMM-M-2256 | University of Texas High-resolution X-ray CT facility | 0.346 | 0.346 | 0.128 | - | - | - | - | - | Micro-CT scan
Cynocephalus | volans | AMNH187859 | University of Texas High-resolution X-ray CT facility | 0.35 | 0.35 | 0.028 | - | - | - | - | - | Micro-CT scan
Nycticebus | coucang | CEB 130090 | SkyScan1173 | 0.007167 | 0.007167 | 0.007167 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from University of Groningen, Departement of Anatomy | - | - | Micro-CT scan
Euoticus | elegantulus | CEB 140055 | SkyScan1173 | 0.007856 | 0.007856 | 0.007856 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Microcebus | sp. | CEB 140043 | SkyScan1173 | 0.00788 | 0.00788 | 0.00788 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Lemur | catta | CEB 130135 | SkyScan1173 | 0.00857 | 0.00857 | 0.00857 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leibniz Institute for Zoo and Wildlife Research | - | - | Micro-CT scan
Saimiri | sciureus | CEB 130037 | SkyScan1173 | 0.0129 | 0.0129 | 0.0129 | 100 | 62 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Callithrix | jacchus | CEB 130123 | SkyScan1173 | 0.0075281 | 0.0075281 | 0.0075281 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Papio | hamadryas | CEB 140064 | BIR ACTIS5 | 0.01277 | 0.01277 | 0.01277 | 130 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Macaca | mulatta | CEB 130105 | SkyScan1173 | 0.00788 | 0.00788 | 0.00788 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from German Primate Center, Göttingen | - | - | Micro-CT scan
Macaca | fascicularis | CEB 130104 | SkyScan1173 | 0.00788 | 0.00788 | 0.00788 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from German Primate Center, Göttingen | - | - | Micro-CT scan
Hylobates | lar | CEB 130066 | SkyScan1173 | 0.0086014 | 0.0086014 | 0.0086014 | 130 | 61 | Obtained from Utrecht University, Departement of Veterinary Pathology | - | - | Micro-CT scan
Pongo | abelii | CEB 140065 | SkyScan1173 | 0.0078565 | 0.0078565 | 0.0078565 | 130 | 61 | Obtained from German Primate Center, Göttingen | - | - | Micro-CT scan
Homo | sapiens | CEB 130017 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Anatomy | - | - | Micro-CT scan
Pan | paniscus | CEB 150021 | SkyScan1173 | 0.01 | 0.01 | 0.01 | 130 | 61 | Obtained from Wuppertal Zoo. | - | - | Micro-CT scan
Sorex | monticolus | unvouchered | University of Texas High-resolution X-ray CT facility | 0.601 | 0.601 | 0.033 | - | - | - | - | - | Micro-CT scan
Atelerix | albiventris | unvouchered | University of Texas High-resolution X-ray CT facility | 0.068 | 0.068 | 0.082 | - | - | - | - | - | Micro-CT scan
Nycteris | grandis | AMNH 268369 | University of Texas High-resolution X-ray CT facility | 0.07 | 0.07 | 0.072 | - | - | - | - | - | Micro-CT scan
Tadarida | brasiliensis | TMM-M-3030 | University of Texas High-resolution X-ray CT facility | 0.229 | 0.229 | 0.3 | - | - | - | - | - | Micro-CT scan
Carollia | perspicillata | CEB 130059 | Skyscan1172 | 0.00678 | 0.00678 | 0.00678 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Captive sample (Dpt Neurobiology, NEOUCOM, USA) | - | - | Micro-CT scan
Rhinolophus | ferrumequinum | AMNH245591 | University of Texas High-resolution X-ray CT facility | 0.13 | 0.13 | 0.265 | - | - | - | - | - | Micro-CT scan
Pteropus | lylei | AMNH237593 | University of Texas High-resolution X-ray CT facility | 0.045 | 0.045 | 0.097 | - | - | - | - | - | Micro-CT scan
Pteropus | rodricensis | CEB 130097 | SkyScan1173 | 0.007167 | 0.007167 | 0.007167 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from UCL, Departement of Cell and Developmental Biology | - | - | Micro-CT scan
Manis | tricuspis | AMNH53896 | University of Texas High-resolution X-ray CT facility | 0.101 | 0.101 | 0.116 | - | - | - | - | - | Micro-CT scan
Cynictis | penicillata | CEB 130049 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Felis | catus | CEB 130151 | SkyScan1173 | 0.007885 | 0.007885 | 0.007885 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Canis | lupus familiaris | CEB 130128 | SkyScan1173 | 0.008959 | 0.008959 | 0.008959 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Nasua | nasua | CEB 130033 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Eumetopias | jubatus | TMM M-171 | University of Texas High-resolution X-ray CT facility | 0.645 | 0.645 | 0.115 | - | - | - | - | - | Micro-CT scan
Phoca | sp. | UM PV 251212 | Skyscan/1076/invivo | 0.0752 | 0.0752 | 0.0752 | 100 | - | - | - | - | Micro-CT scan
Equus | ferus caballus | CEB 130056 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Rhinoceros | sondaicus | UM N 785V | Skyscan/1076/invivo | 0.07178 | 0.07178 | 0.07178 | - | - | - | - | - | Micro-CT scan
Tapirus | terrestris | UM N-671 | Skyscan/1076/invivo | 0.1875 | 0.1875 | 0.25 | - | - | - | - | - | Micro-CT scan
Lama | guanicoe | UM N- 228 | Skyscan/1076/invivo | 0.05 | 0.05 | 0.05 | 100 | - | - | - | - | Micro-CT scan
Vicugna | pacos | CEB 130038 | SkyScan1173 | 0.0078858 | 0.0078858 | 0.0078858 | 130 | 61 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Doliochoerus | quercyi | MNHN Qu1 | Viscom X8050-16 | 0.055226 | 0.055226 | 0.055226 | - | - | - | - | - | Micro-CT scan
Tayassu | pecari | UM N 03 | Skyscan/1076/invivo | 0.035812 | 0.035812 | 0.035812 | 100 | - | - | - | - | Micro-CT scan
Babyrousa | babyrussa | AMNH M 2238 | GE Phoenix Vtome x S | 0.063943 | 0.063943 | 0.063943 | 210 | - | - | - | - | Micro-CT scan
Sus | scrofa domesticus | CEB 130005 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 100 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Pathology | - | - | Micro-CT scan
Hylochoerus | meinertzhageni | AMNH M 53672 | GE Phoenix Vtome x S | 0.063943 | 0.063943 | 0.063943 | 200 | - | - | - | - | Micro-CT scan
Potamochoerus | porcus | AMNH MO-294 | GE Phoenix Vtome x S | 0.063943 | 0.063943 | 0.063943 | 210 | - | - | - | - | Micro-CT scan
Phacochoerus | aethiopicus | AMNH MO-159 | GE Phoenix Vtome x S | 0.063943 | 0.063943 | 0.063943 | 210 | - | - | - | - | Micro-CT scan
Tursiops | truncatus | SDNHM21212 | University of Texas High-resolution X-ray CT facility | 0.346 | 0.346 | 0.128 | - | - | - | - | - | Micro-CT scan
Hippopotamus | amphibius | AMNH M 24289 | GE Phoenix Vtome x S | 0.060114 | 0.060114 | 0.060114 | 200 | - | - | - | - | Micro-CT scan
Choeropsis | liberiensis | UCR 3116 | EasyTom XL | 0.10914 | 0.10914 | 0.10914 | - | - | - | - | - | Micro-CT scan
Diplobune | minor | UM ITD 1080 | Skyscan/1076/invivo | 0.03616 | 0.03616 | 0.03616 | 100 | - | - | - | - | Micro-CT scan
Bachitherium | sp. | UM PDS 3360 | Skyscan/1076/invivo | 0.03616 | 0.03616 | 0.03616 | 100 | - | - | - | - | Micro-CT scan
Moschiola | meminna | UM 58V | Skyscan/1076/invivo | 0.03584 | 0.03584 | 0.03584 | 100 | - | - | - | - | Micro-CT scan
Rangifer | tarandus | UPPal ART-12-020 | Viscom X8050-16 | 0.05 | 0.05 | 0.05 | - | - | - | - | - | Micro-CT scan
Giraffa | camelopardalis antiquorum | RMCA 83,001-M-0014 | Viscom X8050-16 | 0.0752 | 0.0752 | 0.0752 | - | - | - | - | - | Micro-CT scan
Bos | primigenius taurus | CEB 130029 | Skyscan1172 | 0.013568 | 0.013568 | 0.013568 | 100 | 10 | Specimen was prepared as described in David et al. 2016 before scanning. Obtained from Leipzig University, Institut of Veterinary Pathology | - | - | Micro-CT scan
Etroplus | maculatus | - | MicroXCT high-resolution microCT system from Xradia Inc., Pleasanton, CA, USA | 0.01 | 0.01 | 0.01 | 80 | - | Specimen from Schulz-Mirbach, T., Heß, M., Metscher, B. D., & Ladich, F. (2013). A unique swim bladder-inner ear connection in a teleost fish revealed by a combined high-resolution microtomographic and three-dimensional histological study. BMC biology, 11(1), 1-13. | - | - | Surface mesh of membranous labyrinth
Poecilia | sphenops | - | MicroXCT high-resolution microCT system from Xradia Inc., Pleasanton, CA, USA | 0.002 | 0.002 | 0.002 | 40 | - | Specimen from Schulz-Mirbach et al.: Sensory epithelia of the fish inner ear in 3D: studied with high-resolution contrast enhanced microCT. Frontiers in Zoology 2013 10:63. | - | - | Surface mesh of membranous labyrinth
Steatocranus | tinanti | - | MicroXCT high-resolution microCT system from Xradia Inc., Pleasanton, CA, USA | 0.004 | 0.004 | 0.004 | 40 | - | Specimen from Schulz-Mirbach et al.: Sensory epithelia of the fish inner ear in 3D: studied with high-resolution contrast enhanced microCT. Frontiers in Zoology 2013 10:63. | - | - | Surface mesh of membranous labyrinth

## Unsuccesfull specimens
Genus | Species | Specimen
Varanops | brevirostris | MCZ 1926
Varanosaurus | acutirostris | FMNH PR 1760
Dimetrodon | loomsi | FMNH UC 423
Edaphosaurus | novomexicanus | FMNH UC 674
Casea | broilli | FMNH UC 698
Nshimbodon | muchingaensis | NHCC LB277
Titanogomphodon | sp. | CGP R567
Cotylorhynchus | hancocki | FMNH UR 622
Oedalops | campi | UCMP 35758
Diademodon | sp. | UCMP 42446
Dimetrodon | sp. | BEG 31226-33
Ecteninion | lunensis | PVSJ 422
Exaeretodon | frenguelli | Museo de Ciencias Naturales, Universidad Nacional de San Juan, Argentina
Riograndia | guaibensis | UFRGS PV 596 T
Brasilodon | quadrangularis | UFRGS-PV-1030-T
Brasilodon | quadrangularis | UFRGS-PV-628
Gorgonopsia | indet. | UMZC T889
Silphoictidoides | ruhuhuensis | GPIT/RE/7139
Probainognathus | sp. | PVSJ 410
Probelesodon | sanjuanensis | PVSJ 411
Traversodontidae | indet. | NHCC LB29