Supplementary Figure 2. Schematic diagram of automatic positioning principle (A) AI Positioning uses a fixed, ceiling mounted, off the shelf, 2D/3D video camera that can determine distances to points in its field of view. When the user selects their desired protocol, the Auto Positioning function uses the anatomical references and the scout range information to determine the landmark and the scan start and stop locations. (B) In the AI-based patient positioning and centering technique, the 3D camera detects a depth information of patients and calculates the required table elevation through reading the dot pattern, capturing the infrared image to set the centering in the selected protocol and achieve accurate positioning.