Supplementary Table 1. The patterns of the identified fatty acids, their retention time and the coefficient of determination of the calibration curves (R2).

| No. | Formula | Retention Time [min] | Calibration curve formula | Coefficient of determination (R2) |
| --- | --- | --- | --- | --- |
| 1 | C6:0 | 6.48 | y = 9.7444x - 8.5533 | R² = 0.9998 |
| 2 | C8:0 | 8.74 | y = 10.434x + 4.1655 | R² = 0.9999 |
| 3 | C10:0 | 11.32 | y = 10.62x + 3.8981 | R² = 0.9999 |
| 4 | C11:0 | 12.928 | y = 10.505x + 0.1805 | R² = 0.9999 |
| 5 | C12:0 | 14.903 | y = 10.42x + 0.4809 | R² = 1 |
| 6 | C13:0 | 17.282 | y = 10.238x - 1.6283 | R² = 1 |
| 7 | C14:0 | 20.149 | y = 10.092x + 0.0755 | R² = 1 |
| 8 | C14:1 | 21.292 | y = 9.876x - 2.6029 | R² = 1 |
| 9 | C15:0 | 23.391 | y = 9.7125x - 2.2469 | R² = 1 |
| 10 | C15:1 | 24.689 | y = 9.5485x - 3.0598 | R² = 1 |
| 11 | C16:0 | 27.051 | y = 9.3492x + 5.8239 | R² = 0.9999 |
| 12 | C16:1 | 27.953 | y = 8.8027x - 3.0373 | R² = 1 |
| 13 | C17:0 | 30.818 | y = 8.6078x - 3.2507 | R² = 0.9999 |
| 14 | C17:1 | 31.808 | y = 8.722x - 3.6191 | R² = 1 |
| 15 | C18:0 | 34.821 | y = 7.8616x - 1.32 | R² = 0.9999 |
| 16 | C18:1 n9t + C18:1 n9c | 35.601 | y = 8.0749x - 6.1324 | R² = 0.9999 |
| 17 | C18:2 n6t | 37.357 | y = 8.6307x - 6.8064 | R² = 0.9997 |
| 18 | C18:3 n6 | 37.521 | y = 3.754x - 2.952 | R² = 1 |
| 19 | C18:3 n3 | 38.568 | y = 8.0376x - 5.8707 | R² = 0.9999 |
| 20 | C20:0 | 39.923 | y = 9.9712x - 14.67 | R² = 0.9989 |
| 21 | C20:1 n9 | 42.799 | y = 11.262x - 5.7077 | R² = 0.9999 |
| 22 | C20:2 | 43.523 | y = 6.013x - 4.496 | R² = 0.9998 |
| 23 | C21:0 + C20:3 n6 | 45.383 | y = 3.035x - 4.8079 | R² = 0.9998 |
| 24 | C20:4 n6 | 46.437 | y = 6.1509x - 5.065 | R² = 0.9998 |
| 25 | C20:5 n3 | 46.707 | y = 4.6498x - 3.0195 | R² = 0.9999 |
| 26 | C22:0 | 47.321 | y = 6.3753x - 7.4541 | R² = 0.9995 |
| 27 | C22:1 n9 | 47.934 | y = 5.8464x - 5.0917 | R² = 0.9998 |
| 28 | C22:2 | 49.918 | y = 6.078x - 7.2377 | R² = 0.9995 |
| 29 | C23:0 | 50.659 | y = 7.5759x - 5.7313 | R² = 0.9998 |
| 30 | C24:0 | 51.501 | y = 3.9661x - 2.3677 | R² = 0.9997 |
| 31 | C24:1 n9 + C22:6 n3 | 53.699 | y = 2.015x - 3.3836 | R² = 0.9997 |

Supplementary Table 2. Results of the two-way analysis of variance (ANOVA) conducted for two factors: Factor 1 (pasteurization phases). Factor 2 (type of derivatization). and the interaction effect between these factors. Statistically significant results (p < 0.05) are highlighted in orange in the table.

| Trait | Factor 1 (pasterization phases) |  | Factor 2 (type of derivatization) |  | Interaction effect |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | F | p | F | p | F | p |
| FA | 4.897 | 0.027 | 410.947 | p<0.001 | 0.132 | 0.716 |
| SFA | 3.825 | 0.050 | 411.867 | p<0.001 | 0.382 | 0.536 |
| MUFA | 0.186 | 0.666 | 74.214 | p<0.001 | 0.269 | 0.604 |
| PUFA | 0.564 | 0.452 | 214.22 | p<0.001 | 0.353 | 0.055 |
| MIX | 5.137 | 0.024 | 36.251 | p<0.001 | 4.389 | 0.036 |
| C6:0 | 0.533 | 0.465 | 196.237 | p<0.001 | 0.235 | 0.628 |
| C8:0 | 25.726 | p<0.001 | 702.569 | p<0.001 | 14.957 | p<0.001 |
| C10:0 | 16.866 | p<0.001 | 1073.580 | p<0.001 | 5.082 | 0.024 |
| C11:0 | 0.454 | 0.500 | 17.560 | p<0.001 | 0.733 | 0.392 |
| C12:0 | 13.624 | p<0.001 | 1055.162 | p<0.001 | 1.156 | 0.283 |
| C13:0 | 0.325 | 0.568 | 27.889 | p<0.001 | 0.804 | 0.371 |
| C14:0 | 10.593 | 0.001 | 970.446 | p<0.001 | 1.106 | 0.293 |
| C15:0 | 9.324 | 0.002 | 978.688 | p<0.001 | 0.284 | 0.593 |
| C16:0 | 8.874 | 0.003 | 937.913 | p<0.001 | 0.503 | 0.478 |
| C17:0 | 0.649 | 0.421 | 10.145 | 0.002 | 0.826 | 0.364 |
| C18:0 | 8.272 | 0.004 | 910.38 | p<0.001 | 2.335 | 0.128 |
| C20:0 | 15.654 | p<0.001 | 954.908 | p<0.001 | 2.261 | 0.133 |
| C22:0 | 0.846 | 0.358 | 1118.00 | p<0.001 | 2.175 | 0.141 |
| C23:0 | 1.968 | 0.161 | 584.009 | p<0.001 | 3.518 | 0.995 |
| C24:0 | 0.006 | 0.937 | 212.453 | p<0.001 | 1.754 | 0.186 |
| C14:1 | 0.119 | 0.730 | 206.832 | p<0.001 | 0.340 | 0.560 |
| C15:1 | 2.000 | 0.158 | 7.110 | 0.008 | 2.215 | 0.137 |
| C16:1 | 0.106 | 0.744 | 30.373 | p<0.001 | 0.060 | 0.807 |
| C17:1 | 8.342 | 0.004 | 1258.533 | p<0.001 | 0.804 | 0.371 |
| C20:1 n9 | 5.715 | 0.017 | 470.139 | p<0.001 | 0.438 | 0.509 |
| C22:1 n9 | 3.294 | 0.071 | 851.795 | p<0.001 | 1.596 | 0.208 |
| C18:2 n6t | 1.367 | 0.243 | 15.035 | p<0.001 | 0.023 | 0.879 |
| C18:3 n3 | 6.864 | 0.009 | 1517.156 | p<0.001 | 2.626 | 0.106 |
| C18:3 n6 | 4.335 | 0.038 | 2635.954 | p<0.001 | 5.386 | 0.021 |
| C20:2 | 2.552 | 0.111 | 915.134 | p<0.001 | 4.231 | 0.995 |
| C20:4 n6 | 4.971 | 0.026 | 1392.105 | p<0.001 | 0.318 | 0.573 |
| C20:5 n3 | 4.770 | 0.029 | 676.08 | p<0.001 | 0.505 | 0.478 |
| C22:2 | 1.300 | 0.255 | 1329.27 | p<0.001 | 2.946 | 0.087 |