Supplemental Materials

Survey instrument:

Mitral Valve

- Can you adequately visualize the mitral valve (MV)? 
a. Yes

b. No

MV Doppler section

- Do you see any MV regurgitation?

- Yes

- No

- Can't identify

- Is the MV regurgitation Pan-systolic?

- Yes

- No

- Can't identify

- What is the length of regurgitation jet?

- < 1 cm

b. 1-1.5 cm

c. 1.5-2 cm

d. >2 cm

e. Can’t identify

- Is the regurgitation jet eccentric?

- Yes

- No

- Can't Identify

- Is the mitral jet multi-colored?

- Yes

- No

- Can't Identify

MV Soft tissue section

- Do you see MV anterior leaflet thickening (>3mm)?

- Yes

- No

- Can't Identify

- Do you see MV chordal thickening?

- Yes

- No

- Can't Identify

- Do you see any restriction of the mitral valve during diasotole?

- Yes

- No

- Can't identify

- Is there any overlap/override of the anterior leaflet of the mitral valve on the posterior leaflet during systole (ie improper coaptation)?

- Yes

- No

- Can't Identify

Aortic Valve

- Can you adequately visualize the aortic valve (AV)?

- Yes

- No

AV Doppler section

- Do you see any AV regurgitation?

- Yes

- No

- Can't Identify

AV Soft tissue section

- Do you see any irregular or focal thickening of the aortic valve?

- Yes

- No

- Can't Identify

- Is there any restriction in aortic valve motion?

- Yes

- No

- Can't Identify

- Does the aortic valve have normal coaptation?

- Yes

- No

- Can't Identify

- Is the coaptation of the AV asymmetric?

- Yes

- No

Screen Status

- Is this study screen positive?

- Yes

- No

Supplemental Table 1: Comparison of mitral valve and aortic valve abnormalities by ultrasound device for screen negative ultrasounds by expert review.

| Variable | Lumify device (N=11) | M-Turbo device (N=11) | P-value |
| --- | --- | --- | --- |
| Adequately visualize the MV, n (%) |  |  | N.E. |
| Yes | 11 (100.0%) | 11 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any MV regurgitation, n (%) |  |  | 0.025 |
| Yes | 4 (36.4%) | 9 (81.8%) |  |
| No | 7 (63.6%) | 2 (18.2%) |  |
| Pan-systolic MV regurgitation, n (%) |  |  | N.E. |
| Number missing | 7 | 3 |  |
| Yes | 0 (0.0%) | 1 (12.5%) |  |
| No | 4 (100.0%) | 7 (87.5%) |  |
| Length of MV regurgitation jet, n (%) |  |  | 0.564 |
| Number missing | 7 | 2 |  |
| < 1 cm | 3 (75.0%) | 5 (55.6%) |  |
| 1-1.5 cm | 1 (25.0%) | 4 (44.4%) |  |
| Eccentric regurgitation jet, n (%) |  |  | >0.999 |
| Number missing | 7 | 2 |  |
| Yes | 1 (25.0%) | 3 (33.3%) |  |
| No | 3 (75.0%) | 6 (66.7%) |  |
| Multi-colored mitral jet, n (%) |  |  | 0.317 |
| Number missing | 7 | 2 |  |
| Yes | 1 (25.0%) | 5 (55.6%) |  |
| No | 3 (75.0%) | 4 (44.4%) |  |
| MV anterior leaflet thickening (>3mm), n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 11 (100.0%) |  |
| MV chordal thickening, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 11 (100.0%) |  |
| Any restriction of the MV during diastole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 11 (100.0%) |  |
| Any overlap/override of the anterior leaflet of the MV on the posterior leaflet during systole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 11 (100.0%) |  |
| Adequate visualization of the AV, n (%) |  |  | N.E. |
| Yes | 11 (100.0%) | 10 (90.9%) |  |
| No | 0 (0.0%) | 1 (9.1%) |  |
| Any AV regurgitation, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 10 (100.0%) |  |
| Any irregular or focal thickening of the AV, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 10 (100.0%) |  |
| Any restriction in AV motion, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 11 (100.0%) | 10 (100.0%) |  |
| Normal coaptation of the AV, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 11 (100.0%) | 10 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |

1P-value is for McNemar’s test for paired samples.

2N.E. means not estimable.

Supplemental Table 2: Comparison of mitral valve and aortic valve abnormalities by ultrasound device for negative agreements for non-expert review.

| Variable | Lumify device (N=14) | M-Turbo device (N=14) | P-Value |
| --- | --- | --- | --- |
| Adequately visualize the MV, n (%) |  |  | N.E. |
| Yes | 14 (100.0%) | 14 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any MV regurgitation, n (%) |  |  | 0.180 |
| Yes | 4 (28.6%) | 7 (50.0%) |  |
| No | 10 (71.4%) | 7 (50.0%) |  |
| Pan-systolic MV regurgitation, n (%) |  |  | N.E. |
| Number missing | 10 | 7 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 4 (100.0%) | 7 (100.0%) |  |
| Length of MV regurgitation jet, n (%) |  |  | 0.317 |
| Number missing | 10 | 7 |  |
| <1 cm | 3 (75.0%) | 5 (71.4%) |  |
| 1-1.5 cm | 1 (25.0%) | 2 (28.6%) |  |
| Eccentric regurgitation jet, n (%) |  |  | N.E. |
| Number missing | 10 | 7 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 4 (100.0%) | 7 (100.0%) |  |
| Multi-colored mitral jet, n (%) |  |  | N.E. |
| Number missing | 10 | 7 |  |
| Yes | 1 (25.0%) | 2 (28.6%) |  |
| No | 3 (75.0%) | 5 (71.4%) |  |
| MV anterior leaflet thickening (>3mm), n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 14 (100.0%) |  |
| MV chordal thickening, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 13 (100.0%) |  |
| Any restriction of the MV during diastole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 14 (100.0%) |  |
| Any overlap/override of the anterior leaflet of the MV on the posterior leaflet during systole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 14 (100.0%) |  |
| Adequate visualization of the AV, n (%) |  |  | N.E. |
| Yes | 14 (100.0%) | 14 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any AV regurgitation, n (%) |  |  | N.E. |
| Number missing | 0 | 5 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 9 (100.0%) |  |
| Any irregular or focal thickening of the AV, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 14 (100.0%) |  |
| Any restriction in AV motion, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 14 (100.0%) | 14 (100.0%) |  |
| Normal coaptation of the AV, n (%) |  |  | N.E. |
| Yes | 14 (100.0%) | 14 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |

1P-value is for McNemar’s test for paired samples.

2N.E. means not estimable.

Supplemental Table 3: Disagreements between devices for expert review

| Variable | Lumify device (N=3) | M-Turbo device (N=3) | P-value |
| --- | --- | --- | --- |
| Adequately visualize the MV, n (%) |  |  | N.E. |
| Yes | 3 (100.0%) | 3 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any MV regurgitation, n (%) |  |  | N.E. |
| Yes | 1 (33.3%) | 3 (100.0%) |  |
| No | 2 (66.7%) | 0 (0.0%) |  |
| Pan-systolic MV regurgitation, n (%) |  |  | N.E. |
| Number missing | 2 | 0 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 1 (100.0%) | 3 (100.0%) |  |
| Length of MV regurgitation jet, n (%) |  |  | N.E. |
| Number missing | 2 | 0 |  |
| < 1 cm | 1 (100.0%) | 3 (100.0%) |  |
| Eccentric regurgitation jet, n (%) |  |  | N.E. |
| Number missing | 2 | 0 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 1 (100.0%) | 3 (100.0%) |  |
| Multi-colored mitral jet, n (%) |  |  | N.E. |
| Number missing | 2 | 0 |  |
| Yes | 1 (100.0%) | 0 (0.0%) |  |
| No | 0 (0.0%) | 3 (100.0%) |  |
| MV anterior leaflet thickening (>3mm), n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 3 (100.0%) |  |
| MV chordal thickening, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 1 (33.3%) |  |
| No | 3 (100.0%) | 2 (66.7%) |  |
| Any restriction of the MV during diastole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Any overlap/override of the anterior leaflet of the MV on the posterior leaflet during systole, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Adequate visualization of the AV, n (%) |  |  | N.E. |
| Yes | 3 (100.0%) | 3 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any AV regurgitation, n (%) |  |  | N.E. |
| Number missing | 0 | 1 |  |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 2 (100.0%) |  |
| Any irregular or focal thickening of the AV, n (%) |  |  | 0.564 |
| Yes | 2 (66.7%) | 1 (33.3%) |  |
| No | 1 (33.3%) | 2 (66.7%) |  |
| Any restriction in AV motion, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Normal coaptation of the AV, n (%) |  |  | N.E. |
| Yes | 3 (100.0%) | 3 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |

1P-value is for McNemar’s test for paired samples.

2N.E. means not estimable.

Supplemental Table 4: Disagreements between devices for non-expert review

| Variable | Lumify device (N=3) | M-Turbo device (N=3) | P-value |
| --- | --- | --- | --- |
| Adequately visualize the MV, n (%) |  |  | N.E. |
| Yes | 3 (100.0%) | 3 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any MV regurgitation, n (%) |  |  | N.E. |
| Yes | 3 (100.0%) | 3 (100.0%) |  |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Pan-systolic MV regurgitation, n (%) |  |  | N.E. |
| Yes | 0 (0.0%) | 3 (100.0%) |  |
| No | 3 (100.0%) | 0 (0.0%) |  |
| Length of MV regurgitation jet, n (%) |  |  |  |
| <1 cm | 1 (33.3%) | 0 (0.0%) | N.E. |
| 1-1.5 cm | 1 (33.3%) | 0 (0.0%) |  |
| 1.5-2 cm | 1 (33.3%) | 2 (66.7%) |  |
| >2 cm | 0 (0.0%) | 1 (33.3%) | N.E. |
| Eccentric regurgitation jet, n (%) |  |  |  |
| Yes | 0 (0.0%) | 3 (100.0%) |  |
| No | 3 (100.0%) | 0 (0.0%) |  |
| Multi-colored mitral jet, n (%) |  |  | N.E. |
| Yes | 1 (33.3%) | 3 (100.0%) |  |
| No | 2 (66.7%) | 0 (0.0%) |  |
| MV anterior leaflet thickening (>3mm), n (%) |  |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) | N.E. |
| No | 3 (100.0%) | 3 (100.0%) |  |
| MV chordal thickening, n (%) |  |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) | N.E. |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Any restriction of the MV during diastole, n (%) |  |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) | N.E. |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Any overlap/override of the anterior leaflet of the MV on the posterior leaflet during systole, n (%) |  |  |  |
| Yes | 0 (0.0%) | 1 (33.3%) | N.E. |
| No | 3 (100.0%) | 2 (66.7%) |  |
| Adequate visualization of the AV, n (%) |  |  |  |
| Yes | 3 (100.0%) | 3 (100.0%) | N.E. |
| No | 0 (0.0%) | 0 (0.0%) |  |
| Any AV regurgitation, n (%) |  |  |  |
| Number missing | 0 | 1 | N.E. |
| Yes | 0 (0.0%) | 0 (0.0%) |  |
| No | 3 (100.0%) | 2 (100.0%) |  |
| Any irregular or focal thickening of the AV, n (%) |  |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) | 0.564 |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Any restriction in AV motion, n (%) |  |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) | N.E. |
| No | 3 (100.0%) | 3 (100.0%) |  |
| Normal coaptation of the AV, n (%) |  |  |  |
| Yes | 3 (100.0%) | 3 (100.0%) | N.E. |
| No | 0 (0.0%) | 0 (0.0%) |  |

1P-value is for McNemar’s test for paired samples.

2N.E. means not estimable.

Supplemental Table 5*: Comparison of mitral valve and aortic valve abnormalities by ultrasound device for positive agreements for non-expert review

| Variable | Lumify device (N=2) | M-Turbo device (N=2) |
| --- | --- | --- |
| Adequately visualize the MV, n (%) |  |  |
| Yes | 2 (100.0%) | 2 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |
| Any MV regurgitation, n (%) |  |  |
| Yes | 1 (50.0%) | 1 (50.0%) |
| No | 1 (50.0%) | 1 (50.0%) |
| Pan-systolic MV regurgitation, n (%) |  |  |
| Number missing | 1 | 1 |
| Yes | 1 (100.0%) | 1 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |
| Length of MV regurgitation jet, n (%) |  |  |
| Number missing | 1 | 1 |
| >2 cm | 1 (100.0%) | 1 (100.0%) |
| Eccentric regurgitation jet, n (%) |  |  |
| Number missing | 1 | 1 |
| Yes | 1 (100.0%) | 1 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |
| Multi-colored mitral jet, n (%) |  |  |
| Number missing | 1 | 1 |
| Yes | 1 (100.0%) | 1 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |
| MV anterior leaflet thickening (>3mm), n (%) |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) |
| No | 2 (100.0%) | 2 (100.0%) |
| MV chordal thickening, n (%) |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) |
| No | 2 (100.0%) | 2 (100.0%) |
| Any restriction of the MV during diastole, n (%) |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) |
| No | 2 (100.0%) | 2 (100.0%) |
| Any overlap/override of the anterior leaflet of the MV on the posterior leaflet during systole, n (%) |  |  |
| Yes | 0 (0.0%) | 1 (50.0%) |
| No | 2 (100.0%) | 1 (50.0%) |
| Adequate visualization of the AV, n (%) |  |  |
| Yes | 2 (100.0%) | 2 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |
| Any AV regurgitation, n (%) |  |  |
| Yes | 1 (50.0%) | 1 (50.0%) |
| No | 1 (50.0%) | 1 (50.0%) |
| Any irregular or focal thickening of the AV, n (%) |  |  |
| Yes | 1 (50.0%) | 1 (50.0%) |
| No | 1 (50.0%) | 1 (50.0%) |
| Any restriction in AV motion, n (%) |  |  |
| Yes | 0 (0.0%) | 0 (0.0%) |
| No | 2 (100.0%) | 2 (100.0%) |
| Normal coaptation of the AV, n (%) |  |  |
| Yes | 2 (100.0%) | 2 (100.0%) |
| No | 0 (0.0%) | 0 (0.0%) |

*P-value estimates not done due to small sample size