Supplementary data

Table S1.

Instruments and reagents and sources for determination of phthalate metabolites.

| Instruments and reagents | Company |
| --- | --- |
| Standards |  |
| MEHP | Dr. Ehrenstorfer, Germany. |
| MEOHP, MEHHP, MECPP, MCMHP | Toronto Research Chemicals, Canada. |
| 13C2-MEHP, 13C4-MEHHP, 13C4-MEOHP | Cambridge Isotope Laboratories, USA. |
| Reagents |  |
| Methanol (HPLC grade) | Duksan, Korea |
| Acetonitrile (HPLC grade) | TEDIA, USA |
| Ethyl acetate | Fisher Scientific, USA |
| Chloroform | J.T.Baker, USA |
| β-glucuronidase | Sigma, USA |
| Formic acid, acetic acid, ammonium acetate (analytical pure grade) | Sinopharm Chemical Reagent, China |
| Instruments |  |
| API4000 triple quadrupole mass spectrometer | Applied Biosystems, USA |
| 1200 series HPLC system and SB-C18 chromatographic column | Agilent, USA |
| HLB SPE cartridges (3cc,6mg) | Waters, USA |
| Rotary evaporator | BUCHI, Switzerland |
| Ultra-high speed cryogenic centrifuge | Beckman, USA |
| Milli-Q ultra-pure Water System | Millipor, Germany |
| Pipettors with different measuring ranges (10μl, 20 μl, 200 μl, 1 ml) | Eppendorf, Germany |

Chromatographic condition and Mass spectrometric condition for determination of phthalate metabolites

Chromatographic condition: the 0.1% acetic acid in water (mobile A) and 0.1% acetic acid in acetonitrile (mobile B) were used for liquid chromatographic separation. Solvent programming involved 0-2min, 60% A, 2-7 min, 60% A-10% A, 7-11 min, 10% A, 11-11.1 min, 10 % A-60% A, 11.1-15 min, 60% A. The total programming time was 15 min and the injection volume is 20 μl. The temperature of SB-C18 chromatographic column was 30°C.

Mass spectrometric condition: Electrospray ionization (ESI), negative ion mode, multiple reaction monitoring (MRM) scan were used. Spray voltage: 5.5 kV, Ion source temperature: 600 °C, Air curtain gas (CUR): 40 psi, Atomizing gas (GS1): 45 psi, Auxiliary heating gas (GS2): 40 psi, Collision gas (CAD): 9 psi. Parent ion, daughter ion, collision voltage and dropping voltage of target compounds optimized are displayed at Table S2.

Table S2.

MRM parameters of seven phthalate metabolites and their isotopically labeled internal standards.

| Analyte | Parent ion (m/z) | Daughter ion (m/z) | Collision voltage(V) | Dropping voltage(V) |
| --- | --- | --- | --- | --- |
| MEHP | 277 | 77 | -22.0 | -30.0 |
| MEOHP | 291 | 121 | -24.0 | -30.0 |
| MEHHP | 293 | 121 | -27.0 | -30.0 |
| MCMHP | 307 | 113 | -40.0 | -30.0 |
| MECPP | 307 | 113 | -38.0 | -30.0 |
| C13-MEHP | 281 | 137 | -21.0 | -30.0 |
| C13-MEOHP | 295 | 124 | -24.0 | -30.0 |
| C13-MEHHP | 297 | 145 | -19.0 | -30.0 |

Table S3 Primer sequences of candidate genes

| Gene Name | Primer | Sequence |
| --- | --- | --- |
| β-actin | Forward | 5′-CTGGAACGGTGAAGGTGACA-3′ |
|  | Reverse | 5′-CGGCCACATTGTGAACTTTG-3′ |
| NIS | Forward | 5′- CTGTCCACCGGAATTATCTGCAC -3′ |
|  | Reverse | 5′- AGCATCACCACGACCTGGAAC -3′ |
| TTF-1 | Forward | 5′- CGCGTTTAGACCAAGGAAC -3′ |
|  | Reverse | 5′- GAGTGTGCCCAGAGTGAAG -3′ |
| PAX-8 | Forward | 5′- AGGTGGTGGAGAAGATTGG -3′ |
|  | Reverse | 5′- ATAGGGAGGTTGAATGGTTG -3′ |
| TG | Forward | 5′- AGGCTGGCCAAGAACTGGAA -3′ |
|  | Reverse | 5′-CTCTGATGTGTTTGTGGATTTCTTG -3′ |
| TPO | Forward | 5′- AAACACTTGCCTGGCGAACA -3′ |
|  | Reverse | 5′- ACCGAGAACTGTTGGAAGCTGAA -3′ |

Table S4. Spearman correlation coefficients among urinary DEHP metabolites

|  | MEHP | MEOHP | MEHHP | MECPP | MCMHP | ∑DEHP | Age | Gender | Domicile |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MEOHP | 0.388** |  |  |  |  |  |  |  |  |
| MEHHP | 0.491** | 0.644** |  |  |  |  |  |  |  |
| MECPP | 0.334** | 0.438** | 0.470** |  |  |  |  |  |  |
| MCMHP | 0.418** | 0.501** | 0.553** | 0.736** |  |  |  |  |  |
| ∑DEHP | 0.575** | 0.714** | 0.760** | 0.810** | 0.872** |  |  |  |  |
| Age | 0.026 | -0.019 | -0.036 | -0.023 | 0.006 | -0.032 |  |  |  |
| Gender | 0.067 | 0.149** | 0.068 | 0.026 | 0.095* | 0.119** | -0.054 |  |  |
| Domicile | 0.080 | 0.171** | 0.169** | 0.092* | 0.152** | 0.171** | -0.077 | 0.090* |  |
| Per capita income | -0.050 | -0.127** | -0.042 | -0.120** | -0.081 | -0.109* | -0.034 | -0.013 | -0.403** |

*p<0.05, **p<0.01