Table 1. Lab blank, reagent blank, QC reference standards test

| QC Test |  |  |  |  |  |  |  |  | QC Reference Standard Certified Value |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Average Isotope | DI Water Blank, μg/L | Reagent Blank, μg/L |  | QC Reference Standard ( 50:1 Dilution) |  | QC Reference Standard ( 100:1 Dilution) |  |  | Consensus Value (mg/l) | Confidence Interval (mg/l) | Tolerance Interval (mg/l) |
|  | 1 | B1 | B2 | QC1 | QC2 | QC3 | QC4 |  |  |  |  |
| Al | 30.7 | 12.5 | 26.2 | 0.456 | 0.448 | 0.221 | 0.229 |  | 0.435 | 0.427 - 0.442 | 0.369 - 0.500 |
| Cr | 0.6 | 1.2 | 1.0 | 0.394 | 0.387 | 0.190 | 0.197 |  | 0.400 | 0.392 - 0.407 | 0.330 - 0.469 |
| Mn | 0.7 | 1.7 | 1.4 | 0.440 | 0.430 | 0.216 | 0.218 |  | 0.448 | 0.440 - 0.456 | 0.374 - 0.522 |
| Fe | 31.6 | 57.8 | 70.9 | 0.866 | 0.990 | 0.424 | 0.522 |  | 0.584 | 0.574 - 0.594 | 0.494 - 0.674 |
| Ni | 0.3 | 0.9 | 0.9 | 0.767 | 0.752 | 0.374 | 0.386 |  | 0.728 | 0.716 - 0.741 | 0.614 - 0.842 |
| Cu | <0.5 | 0.6 | 0.5 | 0.755 | 0.747 | 0.369 | 0.384 |  | 0.722 | 0.711 - 0.734 | 0.617 - 0.827 |
| Zn | 99.8 | 106.1 | 114.5 | 1.022 | 0.972 | 0.515 | 0.540 |  | 0.866 | 0.846 - 0.885 | 0.690 - 1.042 |
| Mo | <0.5 | 13.5 | 3.0 | 0.665 | 0.679 | 0.326 | 0.337 |  | 0.701 | 0.694 - 0.709 | 0.633 - 0.769 |
| Cd | 0.1 | 0.1 | <0.1 | 0.277 | 0.273 | 0.135 | 0.138 |  | 0.265 | 0.263 - 0.268 | 0.241 - 0.290 |
| Pb | 0.3 | 1.1 | 0.5 | 0.561 | 0.570 | 0.256 | 0.290 |  | 0.592 | 0.582 - 0.602 | 0.501 - 0.683 |

Accuracy Calculation:

A=100−[(Tv−Ov)/Tv∗100]

Where A is the percentage accuracy (%)

Tv is the true value or theoretical value

Ov is the observed or measured value

Table 2. Recovery Test by Dogfish Liver Certified Reference Material

|  | DOLT-5 Concentration (mg/Kg) | DOLT-5 Concentration (mg/Kg) | DOLT-5 Certified Value | Extraction Recovery % |
| --- | --- | --- | --- | --- |
|  | D1 | D2 | mg/kg |  |
| Al | 14.96 | 12.20 | 31.7 | 47.18 |
| Cr | 2.44 | 2.33 | 2.35 | 103.86 |
| Cr | 2.20 | 2.16 | 2.35 | 92.12 |
| Mn | 8.41 | 8.20 | 8.91 | 94.39 |
| Fe | 1405.63 | 1395.60 | 1070 | 131.37 |
| Ni | 7.45 | 7.35 | 1.71 | 435.91 |
| Ni | 1.37 | 1.50 | 1.71 | 79.19 |
| Cu | 33.97 | 33.49 | 35 | 97.05 |
| Zn | 139.34 | 118.56 | 105.3 | 132.33 |
| Cu | 33.85 | 33.36 | 35 | 96.72 |
| Zn | 137.79 | 116.76 | 105.3 | 130.86 |
| Zn | 101.80 | 87.47 | 105.3 | 96.68 |
| Zn | 129.09 | 109.27 | 105.3 | 122.59 |
| Mo | 1.48 | 1.22 | 1.41 | 105.21 |
| Mo | 1.46 | 1.22 | 1.41 | 103.82 |
| Cd | 13.15 | 13.07 | 14.5 | 90.70 |
| Pb-206 | 0.25 | 0.21 | 0.162 | 152.30 |
| Pb-207 | 0.24 | 0.21 | 0.162 | 150.51 |