Supplementary File. Brain-MR methodology: 3D-T1 and DTI features.

MR images were acquired with a 1.5T Philips Achieva scanner with the following parameters for 3D-T1 weighted and DTI sequences.

| Protocol Name | 3D-T1 | DTI |
| --- | --- | --- |
| Plane | Axial | Axial |
| TE (ms) | 3.25 | 84 |
| TR (ms) | 7.25 | 10726 |
| FA | 8° | 90° |
| FOV (mm x mm) | 256 | 240 |
| Acquisition Matrix | 560x560x220 | 192x192 |
| In plane pixel size (mm2) | 0.46x0.46 | 1.25x1.25 |
| Slices | 220 | 70 |
| Slice thickness (mm) | 0.90 | 2.5 |
| b-value (s/mm2) |  | 1000 |
| Number of gradient directions |  | 64 |
| Acquisition time | 7 min | 12min |