Additional File 2: Parameters for Optimum qPCR Primer Design

qPCR primers were designed using Primer3Web version 4.1.0 (https://primer3.ut.ee/), following these steps:

- Access Primer3Web via https://primer3.ut.ee/.

- Choose "generic" in task for primer selection.

- Keep "Template masking" default and set "Primer failure rate cutoff" below 0.1.

- Paste the FASTA sequence into the "Sequence Input" box.

- Select "Pick left primer" and "Pick right primer"; deselect "Pick hybridization probe."

- Name the output (e.g., qPCR primer).

- Use the general conditions below, leaving other parameters at default.

- Set "Maximum library mispriming" to 12 and "Pair max library mispriming" to 24.

- Click "Pick Primer."

General Primer Picking Conditions:

- Primer Size: Designed to be 18–24 bases for optimal PCR performance, considering assay specificity and Tm (Wu et al. 1991).

- Primer Tm: Set between 56°C and 63°C (target 60°C), with a maximum 5°C difference between forward and reverse primers.

- Thermodynamic Model: The SantaLucia model (1998) was used for precise Tm predictions, incorporating mismatches and terminal base pairs.

- Primer GC Content: Maintained at 50% (range 45%–60%) for efficient annealing and amplification (Dieffenbach et al. 1993).

- Product Size Ranges: Amplicons were set between 80 and 150 bp for optimal efficiency and accurate quantification (Livak and Schmittgen 2001).

- Number to Return: Designed at least 10 primer sets to increase the likelihood of finding suitable primers.

- Maximum 3' Stability: Set ΔG value of 9 for the last 5 bases to enhance primer-template interaction.

- GC Clamp: Incorporated 1–2 G/C residues at the 3' end to ensure stability and prevent non-specific binding (Sheffield et al. 1989; Kwok et al. 1990).

- Divalent Cation Concentration:

KCl: Default set to 50 mM for optimal PCR unless experimental needs required adjustments.

Mg²⁺: Adjusted to 3-6 mM in line with GoTaq® qPCR system (Promega) from the default 1.5 mM. (adjust according to the preferred product).

- Objective Function Penalty Weights: For primers: Size (Lt = 1, Gt = 1), Tm (Lt = 1, Gt = 1), Self Complementarity = 3, 3' Self Complementarity = 3, #N's = 2.
For primer pairs: Product Tm (Lt = 1, Gt = 1), Any Complementarity = 3, 3' Complementarity = 3, Tm Difference = 2.

Other Parameters:

- Primer Ta: Optimal Ta was identified using gradient PCR (54°C–65°C).

- Repeats: Limited dinucleotide repeats to four and avoided G/C repeats over three to prevent mispriming.

- Runs: Excluded runs (e.g., TAAAAAGC) to ensure specificity and accuracy.

- Minimizing Primer Dimer Formation: Used OligoAnalyzer and mfold software to assess secondary structures and minimize dimer formation, enhancing PCR efficiency.