S8. Different solvent gradients used for ATIs detection

| Sr. No. | Time (min) | Command | Value (%) |
| --- | --- | --- | --- |
| 1 | 0.1 | Pump B concentration | 0 |
| 2 | 3 | Pump B concentration | 5 |
| 3 | 10 | Pump B concentration | 10 |
| 4 | 20 | Pump B concentration | 50 |
| 5 | 23 | Pump B concentration | 100 |
| 6 | 26 | Pump B concentration | 0 |
| 7 | 28 | Pump B concentration | 0 |
| 8 | 33 | Pump B concentration |  |
| 9 | 33 | Stop controller |  |