Table 1S Summary of measured water quality parameters of Mlolongo open-pit lake as compared with WHO (2021) and EPA recommended thresholds limits

| Parameters (mg/l) | Averaged level of measured parameters | WHO (2021) thresholds limits |  |
| --- | --- | --- | --- |
|  |  | Drinking water | Natural Water |
| Manganese | 0.3 | 0.08 | 0.08 |
| Iron | 1.14 | 0.3 | 0.3 |
| Calcium | 20.32 | 150.00 | 150.00 |
| Magnesium | 4.08 | 100.00 | 100.00 |
| Sodium | 485.400 | 200.00 | 200.00 |
| Potassium | 20.70 | 50.00 | 50.00 |
| Phosphate | 0.15 | 0.02 | 0.02 |
| Nitrite | 0.01 | 1 | 1 |
| Nitrate | 5.98 | 10 | 10 |
| Ammonium | 2.30 | 0.5 | 0.5 |
| Nitrogen | 26.55 | 50 | 50 |
| Sulphates | 285.37 | 400.00 | 400.00 |
| Chlorides | 179.39 | 250.00 | 250.00 |
| Fluoride | 2.39 | 1.50 | 1.50 |
| Carbonates | 382.80 | 300.00 | 300.00 |