Supplementary Methods

HER-2 and HER-3 IHC methods

For HER-3 IHC, antigen retrieval was conducted by heating slides in high pH buffer using a microwave, staining was subsequently performed using BioGenex i6000 autostainer (Launch Diagnostics; Kent; UK). HER-3 immunoreactivity was detected using Dako EnVision Flex high pH kit (#K800021-2, Agilent; Glostrup; Denmark). For HER-2 immunohistochemistry automated antigen retrieval and detection were performed using Leica Bond RX (Leica Biosystems; Newcastle; UK). HER-2 immunoreactivity was detected using the Bond Polymer Refine Detection system (#DS9800, Leica Biosystems; Newcastle; UK).

HER-2 staining scoring criteria

No staining or membrane staining that was incomplete and faint/barely perceptible and in ≤10% of tumour cells (Score 0); incomplete membrane staining that was faint/ barely perceptible and in >10% of tumour cells (Score +1); weak to moderate complete membrane staining observed in >10% of tumour cells (Score 2+) and circumferential membrane staining that was complete, intense and in >10% of tumour cells (Score +3).

Digital polymerase chain reaction (PCR) for HER-3

PCR reactions were prepared with 5ng DNA digested with HaeIII and Bio-Rad 2x ddPCR supermix (no dUTP) for probes (Cat number 1863010) in a total volume of 22μl, and partitioned into ~14,000 droplets per sample in a AutoDG droplet generator according to manufacturer’s instructions. Emulsified PCR reactions were run on a 96 well plate on an Eppendorf Nexus GSX1 thermal cycler incubating the plates at 95°C for 10 min followed by 40 cycles of 95°C for 15 sec and 60°C for 60 sec, followed by 10 min incubation at 98°C. The temperature ramp increment was 2.5°C/sec for all steps. Plates were read on a Bio-Rad QX100 droplet reader.