Table 1

| Author, Year | Title | Country | Direction | In vivo/ Ex vivo | Diagnostic Technique | Obturation | Type of teeth | AI model | Ground truth | Comparison (if any) | Results |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hatvani 2019(24) | Deep learning-based super-resolution applied to dental computed tomography | Hungary | Prospective | Ex vivo | 2D CBCT | NR | Not specified | CNN (subpixel and U-net) | micro-CT | NA | DSC: 0.9101. |
| Dumont 2020(26) | Patient Specific Classification of Dental Root Canal and Crown Shape. | US | Retrospective | In vivo | CBCT | NR | Mandibular teeth. Training on permanent. Preliminary testing on mixed and primary teeth. | CNN (U-Net) | Manual segmentation of the volumetric images | NA | F1 Score: 0.7324 AUC: 0.9174 Sensitivity: 0.8271 Specificity: 0.9997 Accuracy: 0.9996 |
| Lin 2021(4) | Micro-Computed Tomography-Guided Artificial Intelligence for Pulp Cavity and Tooth Segmentation on Cone-beam Computed Tomography. | China | Prospective | Ex vivo | CBCT and micro-CT | Unobturated | Single-root premolars | CNN (U-Net) | micro-CT | Endodontist manually labeled (Control group) | DSC: 86.75% ± 2.42% Precision rate: 84.45% ± 7.77% Recall rate: 89.94% ± 4.56% Average symmetric surface distance: 0.08 ± 0.02 mm Hausdorff distance: 1.99 ± 0.67 mm |
| Deleat-Besson 2021(27) | Merging and Annotating Teeth and Roots from Automated Segmentation of Multimodal Images | US | Retrospective | In vivo | CBCT | NR | Mandibular teeth | CNN (U-Net) | NR | Compared two model to each other (with and without data augmentation) | F1-score of 0.84, F2-score of 0.89, Recall 0.93, Precision 0.78, Area Under the Precision Recall Curve (AUPRC) 0.92. |
| Deleat-Besson 2021(28) | Automatic Segmentation of Dental Root Canal and Merging with Crown Shape. | US | Retrospective | In vivo | CBCT | NR | Not specified | CNN (U-Net) | Manual segmentation of the volumetric images | NA | AUC: 0.96 Sensitivity: 0.9 Specificity: 0.99 Accuracy: 0.99 Mean F1: 0.78 |
| Orhan 2021(48) | Evaluation of artificial intelligence for detecting impacted third molars on cone-beam computed tomography scans. | Turkey | Retrospective | In vivo | CBCT | Unobturated | Impacted 3rd molars | CNN (U-net) | Manual examination by a single dentomaxillofacial radiologist | NA | Number of canals accuracy: 68.1% |
| Sherwood 2021(29) | A Deep Learning Approach to Segment and Classify C-Shaped Canal Morphologies in Mandibular Second Molars Using Cone-beam Computed Tomography. | India | Retrospective | In vivo | CBCT | Unobturated | Mandibular 2nd molars | CNN (U-Net, residual U-Net, and Xception U-Net) | 2 endodontists with 3 years of clinical experience each | U-net, Residual U-Net, Xception U-net | DSC: 0.768 (Xception U-Net), 0.736 ( residual U-Net), 0.660 (U-Net) Sensitivity: 0.786 (Xception U-Net), 0.746 (residual U-Net), 0.720 (U-Net) PPV: 80.0% (Xception U-Net), 78.2% (residual U-Net), 77.6% (U-Net) |
| Zhang 2021(30) | Root Canal Segmentation in CBCT Images by 3D U-Net with Global and Local Combination Loss. | China | Retrospective | In vivo | CBCT | NR | Not specified | ROI locator + Dice U-net + Dice Local | Experienced radiologists manually drawing the root canal | 3D Mask RCNN, 3D U-net, V-net, ROI locator + Dice U-net, and ROI locator + Dice U-net + Dice Local (Proposed) | DSC 0.952 Volumetric Overlap Error (VOE) 0.077 Average Symmetric Surface Distance (ASD) (mm) 0.125 Maximum Symmetric Surface Distance (SD) (mm) 0.332 |
| Albitar 2022(44) | AI for Detection and Localization of Unobturated Second Mesial Buccal (MB2) Canals in Cone-Beam Computed Tomography | US | Retrospective | In vivo | CBCT | Obturated | Maxillary molars (MB2 canal) | CNN (U-Net) | Clinically confirmed electronic health records or radiographic documentation by an OMFR | NA | Sensitivity: 0.8 Specificity: 1 Accuracy: 0.9 PPV: 1 and NPV: 0.83 |
| Lin 2022(25) | Segmentation and accuracy validation of mandibular molar and pulp cavity on cone-beam CT images by U-net neural network. | China | Retrospective | In vivo | CBCT | Unobturated | Mandibular molars | CNN (U-net) | 3D models reconstructed by the endodontist's labeling, and Micro-CT machine 3-D reconstruction in the testing set | NA | Pulp cavity: DSC: 81.21±2.27% ASSD: (0.15±0.05) mm Hausdorff distance (AHD): (3.29±1.85) mm |
| Duman 2023(31) | Second mesiobuccal canal segmentation with YOLOv5 architecture using cone beam computed tomography images. | Turkey | Retrospective | In vivo | CBCT | Unobturated | Maxillary molars (MB2 canal) | CNN (You Only Look Once v5 (YOLOv5x)) | Two dentomaxillofacial radiologists looking for presence or absence of an MB2 | NA | Sensitivity 0.92, Precision 0.83, F1 score 0.87, AUC 0.84, Mean average precision (mAP) at 0.5 IoU 0.88 |
| Kim 2023(32) | Automatic Segmentation of Internal Tooth Structure from CBCT Images Using Hierarchical Deep Learning | South Korea | Retrospective | In vivo | CBCT | NR | Not specified | CNN (Dual-Hierarchy U-Net) | Two experts cross-checked, with a final inspection by an oral & maxillofacial surgeon | U-Net and Attention U-Net | DSC: 78.58 Precision: 98.84 |
| Madhuri 2023(49) | Detection of Mid Mesial Canal in Dental CBCT Images Using Combined YOLO and 2D U-Net Model | India | Retrospective | In vivo | CBCT | NR | Mandibular molars | YOLO CNN for object detection and 2D U-NET CNN for segmentation | NR | NA | YOLO: Mean average precision(MAP) 0.988 Precision 0.945 Recall 0.902 U-Net: Accuracy 0.9777 |
| Wang 2023(33) | Root canal treatment planning by automatic tooth and root canal segmentation in dental CBCT with deep multi-task feature learning. | China | Retrospective | In vivo | CBCT | Both | Anterior and premolar teeth | CNN (DentalNet and PulpNet) | Endodontists manually label the voxels | NA | PulpNet: DSC 0.875 ± 0.031 Hausdorff distance (HD) 0.956±0.511 99% HD (HD99) 0.364±0.188 Minimum distance from the ground truth landmark to the predicted segmentation surface 0.671±0.589 The euclidean distance between the landmark prediction and its ground truth 0.949±0.536. |
| Song 2023(5) | Age estimation based on 3D pulp segmentation of first molars from CBCT images using U-Net | China | Retrospective | In vivo | CBCT | Unobturated | 1st molars | CNN (U-net) | An oral and maxillofacial radiologist | NA | DSC: 95.6% Automatic segmentation took 13–33 s while manual segmentation needs 15–25 min |
| Tan 2024(34) | A progressive framework for tooth and substructure segmentation from cone-beam CT images. | China | Retrospective | In vivo | CBCT | Unobturated | Not specified | CNN (HFF-Net) | NR | U-Net and V-Net | DSC 7.49 ± 0.09% 95% HD 0.454 ± 0.64 mm Average symmetric distance (ASD) 0.076 ± 0.6 mm |
| Gamal 2024(41) | Automatic Mandibular Semantic Segmentation of Teeth Pulp Cavity and Root Canals, and Inferior Alveolar Nerve on Pulpy3D Dataset | Egypt | Retrospective | In vivo | CBCT | NR | Mandibular teeth | CNN (U-net) | Dental medical experts and practitioners, led by an individual with 15 years of experience | NA | DSC: 0.80 Mean IoU: 0.70 |
| Slim 2024(42) | AI-driven segmentation of the pulp cavity system in mandibular molars on CBCT images using convolutional neural networks | Belgium | Retrospective | In vivo | CBCT | NR | Mandibular molars | CNN (U-net) | One endodontist and one oral radiologist, both with over five years of experience | 1st molar vs 2nd molar | 1st molar: IoU 80, DSC 88%, Recall 86%, Precision 91%, Accuracy 99%, 95% HD 0.14 mm 2nd molar: IoU 82, DSC 90%, Recall 88%, Precision 93%, Accuracy 99%, 95% HD 0.15 mm |
| Szilágyi 2011(22) | Identification of the root canal from dental micro-CT records | Hungary | NR (Prospective considering using micro-CT) | NR (Ex-vivo considering using micro-CT) | micro-CT | NR | Not specified | Histogram-based quick fuzzy c-means clustering | NR | NA | In most cases the algorithm performs automatically, but there are still a few nodes in the decision tree where the decision has to be made interactively. |
| Benyo 2012(23) | Identification of dental root canals and their medial line from micro-CT and cone-beam CT records | Hungary | Retrospective | In vivo | micro-CT | NR | Incisors and molars | Histogram based enhanced version (EnFCM) | NR | NA | Accuracy: 92% |
| Schneider 2022(54) | Benchmarking Deep Learning Models for Tooth Structure Segmentation. | Germany, Switzerland | Retrospective | In vivo | Bitewing | Unobturated | Not specified | CNN (Combination of various models such as U-Net, FPN, LinkNet, PSPNet, MAnet) | Annotated in a pixel-wise fashion by 1 dental expert | Different models | Deeper and more complex models did not necessarily perform better than less complex alternatives. Initializing models with pretrained weights may be recommended when training models for dental radiographic analysis. |
| Baydar 2023(35) | The U-Net Approaches to Evaluation of Dental Bite-Wing Radiographs: An Artificial Intelligence Study | Turkey | Retrospective | In vivo | Bitewing | Both | Not specified | CNN (U-net) | A 3-year experienced research assistant and an 11-year-experienced oral and maxillofacial radiologist manually segmenting | NA | Pulp: F1 score: 0.9631 Sensitivity: 0.9843 Precision: 0.9429, Root filling material: F1 score: 0.9722 Sensitivity: 0.9459 Precision: 1 |
| Vinayahalingam 2021(36) | Automated chart filing on panoramic radiographs using deep learning. | Netherlands | Retrospective | In vivo | Panoramic | Obturated | Not specified | CNN (ResNet-50) | Pixelwise labeled by clinicians independently and in duplicate. Then reviewed and revised by three specialist clinicians with at least 10 years of clinical experience | NA | Root canal fillings: Precision 0.912 Recall 0.856 F1 score 0.873 |
| Rohrer 2022(37) | Segmentation of Dental Restorations on Panoramic Radiographs Using Deep Learning. | Germany, Switzerland | Retrospective | In vivo | Panoramic | Obturated | Not specified | CNN (U-Net) | Dental experts | Full panoramic to tiles | Performance improvement: +294%. Mean F1-score increased from 0.33 to 0.9. |
| Zhang 2022(50) | A lightweight convolutional neural network model with receptive field block for C-shaped root canal detection in mandibular second molars. | China | Retrospective | In vivo | Panoramic | NR | Mandibular 2nd molars | Lightweight CNN with receptive field block (RFB) | A radiologist with 5 years of professional experience, then two dentists conducted a second review | NA | Accuracy: 0.9838 AUC: 0.996 |
| Gardiyanoglu 2023(38) | Automatic Segmentation of Teeth, Crown-Bridge Restorations, Dental Implants, Restorative Fillings, Dental Caries, Residual Roots, and Root Canal Fillings on Orthopantomographs: Convenience and Pitfalls. | Cyprus | Retrospective | In vivo | Panoramic | Obturated | Not specified | CNN (U-net) | Manually segmented by 2 dentomaxillofacial radiologists | NA | Root canal fillings: DSC 0.78 Accuracy 0.99 |
| Orhan 2023(45) | Determining the reliability of diagnosis and treatment using artificial intelligence software with panoramic radiographs. | Turkey | Retrospective | In vivo | Panoramic | Obturated | Not specified | Mask R-CNN | Three dentomaxillofacial radiologists | NA | Canal filling: Sensitivity 82.1%, specificity 98.1% Voids in the canal filling: Sensitivity 23.0% and specificity 99.2% Reliability between the ground truth and AI software: Canal filling: 0.914 Voids in the canal filling: 0.245* |
| Yang 2024(46) | External Validation of the Effect of the Combined Use of Object Detection for the Classification of the C-Shaped Canal Configuration of the Mandibular Second Molar in Panoramic Radiographs: A Multicenter Study. | Japan, South Korea | Retrospective | In vivo | Panoramic | Both | Mandibular 2nd Molars | CNN (YOLOv7 and EfficientNet) | A group of specialists and radiologists with over 8 years of expertise using CBCT | 4 external validation datasets | AUC: Workflows 1, 2, and 3: 0.863, 0.861, 0.876, respectively. Aichi Gakuin University dataset: 0.935, 0.945, 0.863. Asahi University dataset: 0.854, 0.857, 0.849. Osaka Dental University dataset: 0.821, 0.797, 0.831. Accuracy, Precision, Sensitivity, and Specificity were also reported for all of these datasets. |
| Ari 2022(39) | Automatic Feature Segmentation in Dental Periapical Radiographs. | Turkey | Retrospective | In vivo | Periapical | Both | Not specified | CNN (U-net) | A research assistant with 2 years of experience and a dentomaxillofacial radiologist with 12 years of experience | NA | Dental pulp: Sensitivity 0.97 Precision 0.87 F1 0.92 Root canal filling: Sensitivity 1 Precision 0.96 F1 0.98 |
| Lee 2023(40) | An Endodontic Forecasting Model Based on the Analysis of Preoperative Dental Radiographs: A Pilot Study on an Endodontic Predictive Deep Neural Network. | South Korea | Retrospective | In vivo | Periapical | Both | Single-root premolars | 17-layered DCNN with a self-attention layer | 2 independent, previously calibrated endodontists | DCNN without a self-attention layer (residual neural network [RESNET]-18) | Canal Visibility: AUC: 0.578 Accuracy: 76.00% F1 Score: 85.80% Sensitivity: 83.90% Specificity: 23.10% Precision: 88.00% |
| Yang 2023(47) | Evaluating the performance of generative adversarial network-synthesized periapical images in classifying C-shaped root canals. | South Korea | Retrospective | In vivo | Periapical | Unobturated | Mandibular 2nd molars | CNN (efficient-net) | Two clinical experts with over 15 and 17-years of expertise using CBCT images | NA | Accuracy 0.855 Sensitivity 0.910 Specificity 0.800 Precision 0.821 |
| Çelik 2024(43) | Evaluation of root canal filling length on periapical radiograph using artificial intelligence | Turkey | Retrospective | In vivo | Preapical | Obturated | Not specified | CNN (UPerNet, PSPNet, NonLocal Net, EMANet, and DMNet) | An oral and maxillofacial radiologist with more than 7 years of experience | UPerNet, PSPNet, NonLocal Net, EMANet, and DMNet | Accuracy: 88% IoU: 79% DSC: 88% |
| Liu 2022(59) | An Intelligent Evaluation Method of Root Canal Therapy Quality Based on Deep Learning | China | Retrospective | In vivo | NR (Periapical based on figures) | Obturated | Not specified | CenterNet CNN to detect the RCT teeth. U-Net full CNN to segment the root canal filling. | NR | Three professional doctors | Accuracy not reported for canal segmentation. For evaluation of treatment: The coincidence rate between the evaluation results of this method and the evaluation results of professional doctors is 83.3 %. |
| Zhou 2021(51) | Root Canal Therapy Evaluation Canal Based on Rule Embedded Neural Networks | China | Retrospective | In vivo | X-ray (the type NR) | Obturated | Not specified | CNN (A regular pretraining neural network combined with ResNet) | NR | Resnet and Basic CNN | RCT evaluation: Accuracy 91.6%. |
| Hasan 2023(52) | Experimental validation of computer-vision methods for the successful detection of endodontic treatment obturation and progression from noisy radiographs | Bangladesh, Australia | Retrospective | In vivo | Panoramic; Periapical; Bitewing | Both | Not specified | CNN (YOLOv5s, YOLOv5x, and YOLOv7 ) | Two dentists | NA | Overall accuracy: above 85%. |

NR: Not reported
DSC: Dice Similarity Coefficient
AUC: Area Under Curve
IoU: Inter-over union