## Summary
Supplementary Information
Does height matter? The Embodied impacts of tallness, slab thickness, building code and design tranches.
Avery Hoffer, Evan C Bentz, Shoshanna Saxe
Department of Civil and Mineral Engineering, University of Toronto, Toronto, Canada
Correspondence
Avery Hoffer, Department of Civil and Mineral Engineering, University of Toronto, Toronto, Canada
Email: avery.hoffer@mail.utoronto.ca
Key Values:
Storey Height - 2.7 m
Gross Floor Area - 489 m2 / Floor
Net Rentable Area - 423 m2 / Floor
Building Length - 35.6 m
Building Width - 14.8 m
Elevator Core Length - 9 m
Elevator Core Width - 6 m
Hallway Width - 1.5 m
Concrete Strength - 20 MPa
Steel Strength - 400 MPa
Acronyms:
CBW - Column, Beam & Wall
GFA - Gross Floor Area
NRA - Net Rentable Area
EPD - Environmental Product Declaration
GWP - Global Warming Potential
CSA - Canadian Standards Association
ACI - American Concrete Institute
TKM - Tonne-Kilometer

## Project Workflow
The project workflow consists of one input, an iterative structural design loop, and two outputs, displayed in Figure 5. Starting with the project input, the 1st Python file, “Python A – Building File Creation”, creates a structural building model which can then be imported into S-Frame. The Python code takes inputs, such as slab thickness, number of storeys and design tranches, and creates a .TEL file supported within S-Frame. The code also calculates and applies Dead, Live, Snow and Wind loads and load combinations, as well as support conditions and material properties. Once the file is created, the structural design loop begins, using the .TEL file as input. The structural design loop is necessary to ensure that the design of the members is near optimal. When the input file is created, placeholder values are used for the dimensions of the columns, beams and walls, and must be redesigned onc e initial results are generated. However, with new dimensions, the results continue to change and must be re-run. To do so automatically, this iterative structural design loop is created, which begins with the 2nd Python code “Python B – Run Automation”. This code automates the process of importing the created .TEL file into S-Frame, meshing the finite elements, adding additional supports, and running a linear analysis. Once completed, Python B exports the member forces, nodal displacements and slab strip forces. Next, another automated Python code, “Python C – Section Design”, uses the exported member forces from the previous step as imports into S-Concrete’s Multistorey Designer (MSD). Here, the columns, beams and walls are designed to have a utilization ratio between 75% to 90% where possible. First, the columns are designed to have a square cross section, and a minimum steel ratio (rho) of 1%. Columns are divided into 3 categories, Corner, Internal and External, and the number of designs is determined by the amount of design tranches. For a 5-Storey building with 1 design traunche (5 storeys / design), 3 columns are designed. 1 for the corners, 1 for the internal columns and 1 for the external columns. Similarly, a 5-Storey building with 5 design tranches (1 storey / design) design 15 columns (5 for each of the 3 categories). For each design, an initial cross section area estimate is calculated by dividing the maximum design tranches’ axial load over the factored compressive strength, which is square rooted to find the dimension. This value is then rounded up to the nearest 25 mm increment. The minimum steel is then determined by multiplying the initial area by 1% and rounding up to the nearest bar. Once the initial design is input into S-Concrete by Python C, the MSD is run and provides a utilization ratio for both shear and axial + moment. If both values are below 90%, and at least one is above 75%, the design is complete. Then, the concrete and rebar quantities for the design are quantified. If at least one of the utilization ratios are above 90%, the column dimensions are increased depending on how far over the 90% threshold the value is. If the ratio is at 95%, the dimensions would increase by a single 25 mm increment. However, if the ratio is at 250%, the dimensions would increase by 100 mm each. If the new rho is now below 1%, the amount of rebar must be increased as well, and the MSD is run once more. Conversely, if both utilization ratios are below 75%, the column dimensions are decreased. Like the increase previously mentioned, the amount of decrease is dependent on how far below 75% the ratio is, and the MSD is rerun. Once the result has converged to be between 75% and 90%, the quantities are calculated, and the automated code moves on to the next column design section. An exception to the above is that the columns cannot be smaller than 250 mm, therefore if both utilization ratios are less than 75%, but the column is at 250 mm, the design is complete. Additionally, S-Concrete has 37 column warnings and error checks, such as minimum clear spacing, minimum diameter and slenderness effects. These are displayed as messages on the MSD interface, and even if both ratios are within 75% to 90%, if an error message is present, the column dimensions and/or rebar must be redesigned to satisfy the warning messages, even if it moves the utilization ratios below 75%. Once every column section is designed, Python C moves on to design the coupling beams against shear and axial + moment. With 2 coupling beams per storey, one on each side of the elevator openings, there are no subcategories of beams. Like columns, however, the number of designs depends on the design tranches. The minimum beam width of 250 mm, and a minimum top and bottom rho of 0.75% are used, as well as a closed stirrup. The beam depth is changed to determine the minimum depth that would satisfy the utilization ratio goal, and the rebar would be automatically updated to satisfy the minimum rho requirement. 42 additional beam checks included in S-Concrete had to be designed against as well. Lastly, the walls are designed against shear, axial + moment, and torsion. 2 C-Shaped walls per story are located on each side of the elevator shafts, separated by the opening to allow for passage into the elevators. Each C-Shaped wall is comprised of 2 short walls and 1 long wall. The wall design is therefore split into 2 subcategories, short and long, and designs each separately. Therefore, the number of wall sections designed is the number of design tranches multiplied by 2. The long walls have a minimum thickness of 150 mm, and the short walls are dependent on the coupling beams sitting atop them, typically 250 mm. The initial design of the wall thickness is based on axial compression, and once the MSD is run, the design is iterated based on the values of the utilization ratios and the 47 wall warning checks, typically governed by torsion.
After every column, beam and wall is designed, the code calculates the total quantities of steel and concrete. If the design is similar in dimension to the previous iteration, the design loop is completed. If, however, the results differ, such as they would between the placeholder values and the first full iteration, the design loop continues. Here, the new dimensions for the columns, beams and walls are used as inputs in “Python A - Building File Creation”, and a new .TEL file is created with the updated dimensions. Python B is then used to input the new file back into S-Frame, and the process of running the linear analysis, exporting the member forces, displacements & strip forces, and designing columns, beams & walls is started again until the design converges. This entire process can be run by itself without supervision, simplifying the tedious process of iterative structural design.
After the column, beam and wall design is finalized, the slabs and foundations are designed and quantified. For designing the slabs, the exported slab strip forces from the final iteration of the S-Frame structural model are the inputs in “Python D – Slab Design”. The floor slab rebar is then designed against the slab strip moments and shear forces. For this to take place, the slabs are subdivided into 1-dimensional strips in the initial model creation, completed by ‘Python A’. The width of the strips is taken as 2 metres based on a slab strip study conducted to find the optimal number of strips in each direction. With these strips, the slab forces are averaged over their width to get a representative value for that area. There are 8 strips along the length, and 16 along the width due to a roughly 2:1 aspect ratio. The reinforcement for the 24 strips per floor is calculated and quantified.
Lastly, the foundations are designed, completed manually to optimize the substructure due to high design variability. Support reactions exported from the final iteration of the S-Frame model are used as inputs into S-Foundation as substructure loads. The footings are initially designed to withstand soil bearing, governing the footprint. If the area demand is too high, piles are used, inserted 10 metres deep into bedrock. The thickness and rebar within the footing are designed to withstand one-way shear, punching shear and flexure. The piles are designed to withstand axial + moment, shear + torsion and both vertical and lateral deflection.

## Structure
Table S1: Structural results for a building using 20 MPa Concrete, 400MPa Steel, CSA-19 Code, 2.7m storey height and 1 Storey / tranche | [14 empty] | Table S2: Structural results for a building using 3000 PSI Concrete, 60KSI Steel, ACI-19 Code, 2.7m storey height and 1 Storey / tranche
|  | Concrete | [5 empty] | Steel | [5 empty] | Total |  |  | Concrete | [5 empty] | Steel | [5 empty] | Total
Slab Thickness [mm] | Storeys | CBW Concrete [kg] | Slab Concrete [kg] | Foundation Concrete [kg] | Total Concrete [kg] | Concrete [kg/NRA] | Concrete CO2e [kg/NRA] | CBW Steel [kg] | Slab Steel [kg] | Foundation Steel [kg] | Total Steel [kg] | Steel [kg/NRA] | Steel CO2e [kg/NRA] | CO2e [kg/NRA] | Slab Thickness [mm] | Storeys | CBW Concrete [kg] | Slab Concrete [kg] | Foundation Concrete [kg] | Total Concrete [kg] | Concrete [kg/NRA] | Concrete CO2e [kg/NRA] | CBW Steel [kg] | Slab Steel [kg] | Foundation Steel [kg] | Total Steel [kg] | Steel [kg/NRA] | Steel CO2e [kg/NRA] | CO2e [kg/NRA]
175 | 5 | 270901.8 | 1106448 | 182000 | 1559349.8 | 737.7172 | 67.87 | 23147.34 | 45674 | 4797.459 | 73618.799 | 34.8285 | 29.7436 | 97.6135 | 175 | 5 | 245572 | 1106448 | 179000 | 1531020 | 724.3146 | 76.7773 | 17715 | 52838 | 4687.259 | 75240.259 | 35.5956 | 30.3987 | 107.176
175 | 6 | 329734.8 | 1327737.6 | 237400 | 1894872.4 | 747.0421 | 68.7279 | 28083.96 | 55254 | 5351.776 | 88689.736 | 34.9654 | 29.8605 | 98.5883 | 175 | 6 | 299365.2 | 1327737.6 | 236000 | 1863102.8 | 734.5172 | 77.8588 | 21505.32 | 63900 | 5423.7938 | 90829.1138 | 35.8088 | 30.5807 | 108.4396
175 | 7 | 390706.2 | 1549027.2 | 292800 | 2232533.4 | 754.4254 | 69.4071 | 33056.22 | 62965 | 5906.093 | 101927.313 | 34.4436 | 29.4149 | 98.822 | 175 | 7 | 359735.4 | 1549027.2 | 293000 | 2201762.6 | 744.0272 | 78.8669 | 25405.44 | 72334 | 6160.3286 | 103899.7686 | 35.1102 | 29.9841 | 108.851
175 | 8 | 454723.2 | 1770316.8 | 348200 | 2573240 | 760.8634 | 69.9994 | 38060.88 | 72208 | 6460.41 | 116729.29 | 34.5149 | 29.4757 | 99.4751 | 175 | 8 | 420688.8 | 1770316.8 | 350000 | 2541005.6 | 751.3322 | 79.6412 | 29580.96 | 83158 | 6896.8634 | 119635.8234 | 35.3743 | 30.2096 | 109.8509
175 | 9 | 527558.4 | 1991606.4 | 403600 | 2922764.8 | 768.1884 | 70.6733 | 43266.96 | 81513 | 7014.727 | 131794.687 | 34.6395 | 29.5821 | 100.2555 | 175 | 9 | 489418.2 | 1991606.4 | 407000 | 2888024.6 | 759.0577 | 80.4601 | 33766.2 | 93675 | 7633.3982 | 135074.5982 | 35.5016 | 30.3183 | 110.7785
175 | 10 | 599653.8 | 2212896 | 459000 | 3271549.8 | 773.8734 | 71.1964 | 47940.6 | 85734 | 7569.044 | 141243.644 | 33.4107 | 28.5327 | 99.7291 | 175 | 10 | 575676 | 2212896 | 464000 | 3252572 | 769.3843 | 81.5547 | 39309 | 99078 | 8369.933 | 146756.933 | 34.7148 | 29.6465 | 111.2012
175 | 11 | 670771.8 | 2434185.6 | 533200 | 3638157.4 | 782.3574 | 71.9769 | 53849.22 | 94583 | 9675.2436 | 158107.4636 | 33.9998 | 29.0358 | 101.0127 | 175 | 11 | 660540.6 | 2434185.6 | 548800 | 3643526.2 | 783.5119 | 83.0523 | 44423.04 | 109367 | 11102.0912 | 164892.1312 | 35.4588 | 30.2818 | 113.334
175 | 12 | 751869 | 2655475.2 | 607400 | 4014744.2 | 791.3945 | 72.8083 | 59920.92 | 103462 | 11781.4432 | 175164.3632 | 34.5288 | 29.4876 | 102.2958 | 175 | 12 | 743644.8 | 2655475.2 | 633600 | 4032720 | 794.9379 | 84.2634 | 49764.42 | 119581 | 13834.2494 | 183179.6694 | 36.1087 | 30.8369 | 115.1003
175 | 13 | 840515.4 | 2876764.8 | 681600 | 4398880.2 | 800.4149 | 73.6382 | 64790.58 | 112302 | 13887.6428 | 190980.2228 | 34.7505 | 29.677 | 103.3151 | 175 | 13 | 823131 | 2876764.8 | 718400 | 4418295.8 | 803.9477 | 85.2185 | 55604.76 | 129500 | 16566.4076 | 201671.1676 | 36.6958 | 31.3382 | 116.5567
175 | 14 | 935177.4 | 3098054.4 | 755800 | 4789031.8 | 809.1631 | 74.443 | 71002.14 | 121349 | 15993.8424 | 208344.9824 | 35.2023 | 30.0628 | 104.5058 | 175 | 14 | 913600.8 | 3098054.4 | 803200 | 4814855.2 | 813.5263 | 86.2338 | 61063.32 | 139569 | 19298.5658 | 219930.8858 | 37.1599 | 31.7346 | 117.9683
175 | 15 | 1041406.2 | 3319344 | 830000 | 5190750.2 | 818.5689 | 75.3083 | 76341.06 | 130093 | 18100.042 | 224534.102 | 35.4085 | 30.2389 | 105.5472 | 175 | 15 | 1053264.6 | 3319344 | 888000 | 5260608.6 | 829.5854 | 87.9361 | 67023 | 150059 | 22030.724 | 239112.724 | 37.7075 | 32.2022 | 120.1383
175 | 16 | 1168074 | 3540633.6 | 894000 | 5602707.6 | 828.3128 | 76.2048 | 86410.92 | 138914 | 19479.1342 | 244804.0542 | 36.1922 | 30.9081 | 107.1129 | 175 | 16 | 1118548.8 | 3540633.6 | 940400 | 5599582.4 | 827.8507 | 87.7522 | 79260.72 | 160394 | 25090.1102 | 264744.8302 | 39.1403 | 33.4258 | 121.178
175 | 17 | 1290853.8 | 3761923.2 | 958000 | 6010777 | 836.3693 | 76.946 | 92737.5 | 148028 | 20858.2264 | 261623.7264 | 36.4036 | 31.0887 | 108.0347 | 175 | 17 | 1301736.6 | 3761923.2 | 992800 | 6056459.8 | 842.7258 | 89.3289 | 91873.74 | 189502 | 28149.4964 | 309525.2364 | 43.0689 | 36.7808 | 126.1098
175 | 18 | 1423623.6 | 3983212.8 | 1022000 | 6428836.4 | 844.8435 | 77.7256 | 90835.02 | 157349 | 22237.3186 | 270421.3386 | 35.5373 | 30.3489 | 108.0745 | 175 | 18 | 1422360 | 3983212.8 | 1045200 | 6450772.8 | 847.7262 | 89.859 | 101447.64 | 202309 | 31208.8826 | 334965.5226 | 44.0194 | 37.5926 | 127.4515
175 | 19 | 1575585 | 4204502.4 | 1086000 | 6866087.4 | 854.815 | 78.643 | 101944.92 | 165816 | 23616.4108 | 291377.3308 | 36.2759 | 30.9796 | 109.6226 | 175 | 19 | 1469791.8 | 4204502.4 | 1097600 | 6771894.2 | 843.0881 | 89.3673 | 103983.18 | 193298 | 34268.2688 | 331549.4488 | 41.2773 | 35.2508 | 124.6181
175 | 20 | 1725057 | 4425792 | 1150000 | 7300849 | 863.4949 | 79.4415 | 109929.3 | 174693 | 24995.503 | 309617.803 | 36.6195 | 31.273 | 110.7146 | 175 | 20 | 1662883.2 | 4425792 | 1150000 | 7238675.2 | 856.1414 | 90.751 | 117242.04 | 230299 | 37327.655 | 384868.695 | 45.5197 | 38.8738 | 129.6248
200 | 5 | 263784.6 | 1264512 | 203000 | 1731296.6 | 819.064 | 75.3539 | 22039.26 | 48629 | 6325.672 | 76993.932 | 36.4253 | 31.1072 | 106.4611 | 200 | 5 | 244470.6 | 1264512 | 204000 | 1712982.6 | 810.3998 | 85.9024 | 18005.34 | 59436 | 6742.614 | 84183.954 | 39.8268 | 34.0121 | 119.9145
200 | 6 | 324615.6 | 1517414.4 | 255200 | 2097230 | 826.8204 | 76.0675 | 26814.96 | 58966 | 6685.7205 | 92466.6805 | 36.4544 | 31.1321 | 107.1996 | 200 | 6 | 301179.6 | 1517414.4 | 259106.6 | 2077700.6 | 819.1211 | 86.8268 | 21984.84 | 71473 | 6737.4129 | 100195.2529 | 39.5014 | 33.7342 | 120.561
200 | 7 | 393406.2 | 1770316.8 | 307400 | 2471123 | 835.0504 | 76.8246 | 32511.9 | 69200 | 7514.0423 | 109225.9423 | 36.91 | 31.5211 | 108.3458 | 200 | 7 | 361031.4 | 1770316.8 | 314213.2 | 2445561.4 | 826.4126 | 87.5997 | 26701.98 | 83745 | 7686.2931 | 118133.2731 | 39.92 | 34.0917 | 121.6914
200 | 8 | 462520.8 | 2023219.2 | 359600 | 2845340 | 841.3187 | 77.4013 | 38246.64 | 79470 | 8342.3641 | 126059.0041 | 37.2735 | 31.8316 | 109.2329 | 200 | 8 | 426693.6 | 2023219.2 | 369319.8 | 2819232.6 | 833.5992 | 88.3615 | 31682.64 | 96207 | 8635.1733 | 136524.8133 | 40.3681 | 34.4743 | 122.8359
200 | 9 | 531311.4 | 2276121.6 | 411800 | 3219233 | 846.1089 | 77.842 | 42873.84 | 90155 | 9170.6859 | 142199.5259 | 37.3742 | 31.9176 | 109.7596 | 200 | 9 | 502626.6 | 2276121.6 | 424426.4 | 3203174.6 | 841.8883 | 89.2402 | 37017.54 | 106205 | 9584.0535 | 152806.5935 | 40.1621 | 34.2984 | 123.5386
200 | 10 | 606609 | 2529024 | 464000 | 3599633 | 851.4803 | 78.3362 | 48076.68 | 98358 | 9970.089 | 156404.769 | 36.997 | 31.5954 | 109.9316 | 200 | 10 | 589197.6 | 2529024 | 479533 | 3597754.6 | 851.036 | 90.2098 | 42541.44 | 114755 | 10041.5757 | 167338.0157 | 39.5832 | 33.8041 | 124.0139
200 | 11 | 707178.6 | 2781926.4 | 536000 | 4025105 | 865.5674 | 79.6322 | 53597.04 | 108691 | 11924.0141 | 174212.0541 | 37.4629 | 31.9934 | 111.6256 | 200 | 11 | 684732.6 | 2781926.4 | 555826.4 | 4022485.4 | 865.0041 | 91.6904 | 47760.78 | 127001 | 13043.4337 | 187805.2137 | 40.386 | 34.4897 | 126.1801
200 | 12 | 800479.8 | 3034828.8 | 608000 | 4443308.6 | 875.874 | 80.5804 | 59367.42 | 119460 | 13849.0206 | 192676.4406 | 37.9808 | 32.4356 | 113.016 | 200 | 12 | 771012 | 3034828.8 | 632119.8 | 4437960.6 | 874.8198 | 92.7309 | 53227.44 | 139173 | 15553.9337 | 207954.3737 | 40.9924 | 35.0075 | 127.7384
200 | 13 | 890649 | 3287731.2 | 680000 | 4858380.2 | 884.025 | 81.3303 | 64938.54 | 130463 | 15774.0271 | 211175.5671 | 38.4252 | 32.8152 | 114.1455 | 200 | 13 | 889615.8 | 3287731.2 | 708413.2 | 4885760.2 | 889.007 | 94.2347 | 64117.86 | 179788 | 18064.4337 | 261970.2937 | 47.6678 | 40.7083 | 134.943
200 | 14 | 1020124.8 | 3540633.6 | 752000 | 5312758.4 | 897.6529 | 82.5841 | 71341.26 | 141808 | 17699.0335 | 230848.2935 | 39.0045 | 33.3099 | 115.8939 | 200 | 14 | 970441.2 | 3540633.6 | 784706.6 | 5295781.4 | 894.7844 | 94.8471 | 69052.08 | 165487 | 20574.9337 | 255114.0137 | 43.1045 | 36.8112 | 131.6584
200 | 15 | 1136332.8 | 3793536 | 824000 | 5753868.8 | 907.3714 | 83.4782 | 75652.56 | 152448 | 18955.983 | 247056.543 | 38.9602 | 33.272 | 116.7502 | 200 | 15 | 1071052.2 | 3793536 | 861000 | 5725588.2 | 902.9116 | 95.7086 | 76985.46 | 179070 | 21332.377 | 277387.837 | 43.7434 | 37.3569 | 133.0655
200 | 16 | 1243004.4 | 4046438.4 | 903200 | 6192642.8 | 915.5297 | 84.2287 | 80065.38 | 164584 | 20409.9698 | 265059.3498 | 39.1868 | 33.4655 | 117.6942 | 200 | 16 | 1196708 | 4046438.4 | 938800 | 6181946.4 | 913.9483 | 96.8785 | 84431 | 192045 | 25819.3974 | 302295.3974 | 44.6918 | 38.1668 | 135.0453
200 | 17 | 1391396.4 | 4299340.8 | 982400 | 6673137.2 | 928.5334 | 85.4251 | 88410.6 | 176108 | 21195.8996 | 285714.4996 | 39.7557 | 33.9514 | 119.3765 | 200 | 17 | 1311208.2 | 4299340.8 | 1016600 | 6627149 | 922.1343 | 97.7462 | 92058.42 | 205988 | 28553.3611 | 326599.7811 | 45.4447 | 38.8098 | 136.556
200 | 18 | 1565406 | 4552243.2 | 1061600 | 7179249.2 | 943.4587 | 86.7982 | 95585.4 | 188091 | 21981.8294 | 305658.2294 | 40.168 | 34.3035 | 121.1017 | 200 | 18 | 1437847 | 4552243.2 | 1094400 | 7084490.2 | 931.006 | 98.6866 | 100317 | 220623 | 31287.3249 | 352227.3249 | 46.2878 | 39.5298 | 138.2165
200 | 19 | 1744405.2 | 4805145.6 | 1140800 | 7690350.8 | 957.4342 | 88.0839 | 102491.94 | 200874 | 22767.7592 | 326133.6992 | 40.603 | 34.675 | 122.7589 | 200 | 19 | 1595849.4 | 4805145.6 | 1172200 | 7573195 | 942.8485 | 99.9419 | 108106.62 | 234704 | 34021.2886 | 376831.9086 | 46.9149 | 40.0653 | 140.0072
200 | 20 | 1922292 | 5058048 | 1220000 | 8200340 | 969.8805 | 89.229 | 110076.72 | 212950 | 25999.42 | 349026.14 | 41.2804 | 35.2535 | 124.4825 | 200 | 20 | 1741356 | 5058048 | 1250000 | 8049404 | 952.0289 | 100.9151 | 115929.84 | 249159 | 31141.455 | 396230.295 | 46.8634 | 40.0214 | 140.9364
225 | 5 | 247098.6 | 1422576 | 206000 | 1875674.6 | 887.3682 | 81.6379 | 19105.44 | 51037 | 6617.81 | 76760.25 | 36.3147 | 31.0128 | 112.6507 | 225 | 5 | 246614.4 | 1422576 | 225000 | 1894190.4 | 896.1279 | 94.9896 | 17743.98 | 60461 | 6943.214 | 85148.194 | 40.283 | 34.4017 | 129.3912
225 | 6 | 304219.8 | 1707091.2 | 262000 | 2273311 | 896.2393 | 82.454 | 23698.62 | 61516 | 8019.6649 | 93234.2849 | 36.7571 | 31.3905 | 113.8445 | 225 | 6 | 302923.8 | 1707091.2 | 280200 | 2290215 | 902.9036 | 95.7078 | 22087.98 | 73224 | 8051.0319 | 103363.0119 | 40.7503 | 34.8007 | 130.5085
225 | 7 | 369192.6 | 1991606.4 | 318000 | 2678799 | 905.229 | 83.2811 | 28713 | 73677 | 9121.9915 | 111511.9915 | 37.6825 | 32.1809 | 115.4619 | 225 | 7 | 363499.2 | 1991606.4 | 335400 | 2690505.6 | 909.185 | 96.3736 | 27058.38 | 87489 | 9212.2575 | 123759.6375 | 41.8213 | 35.7154 | 132.089
225 | 8 | 436735.8 | 2276121.6 | 374000 | 3086857.4 | 912.7313 | 83.9713 | 33999.54 | 84650 | 10224.3181 | 128873.8581 | 38.1058 | 32.5424 | 116.5136 | 225 | 8 | 446101.2 | 2276121.6 | 390600 | 3112822.8 | 920.4089 | 97.5633 | 34172.04 | 106096 | 10373.4831 | 150641.5231 | 44.5421 | 38.039 | 135.6023
225 | 9 | 523017 | 2560636.8 | 430000 | 3513653.8 | 923.4914 | 84.9612 | 39222.36 | 96530 | 11326.6447 | 147079.0047 | 38.6567 | 33.0128 | 117.974 | 225 | 9 | 516850.2 | 2560636.8 | 445800 | 3523287 | 926.0233 | 98.1585 | 37440.9 | 114256 | 11534.7087 | 163231.6087 | 42.9021 | 36.6384 | 134.7968
225 | 10 | 609093 | 2845152 | 486000 | 3940245 | 932.0509 | 85.7487 | 44830.74 | 105211 | 13975.506 | 164017.246 | 38.7977 | 33.1332 | 118.8819 | 225 | 10 | 618368.4 | 2845152 | 501000 | 3964520.4 | 937.7931 | 99.4061 | 43330.92 | 125315 | 14134.112 | 182780.032 | 43.236 | 36.9235 | 136.3296
225 | 11 | 705029.4 | 3129667.2 | 551800 | 4386496.6 | 943.2819 | 86.7819 | 50092.44 | 116654 | 14172.7847 | 180919.2247 | 38.9053 | 33.2251 | 120.007 | 225 | 11 | 698281.2 | 3129667.2 | 570000 | 4397948.4 | 945.7445 | 100.2489 | 49636.74 | 139136 | 14984.7761 | 203757.5161 | 43.8165 | 37.4193 | 137.6682
225 | 12 | 803422.8 | 3414182.4 | 617600 | 4835205.2 | 953.1254 | 87.6875 | 56080.44 | 127593 | 15916.598 | 199590.038 | 39.3436 | 33.5994 | 121.287 | 225 | 12 | 786402 | 3414182.4 | 639000 | 4839584.4 | 953.9886 | 101.1228 | 56698.56 | 151673 | 17273.6179 | 225645.1779 | 44.4796 | 37.9856 | 139.1084
225 | 13 | 913274.9999 | 3698697.6 | 683400 | 5295372.5999 | 963.5396 | 88.6456 | 62432.94 | 139862 | 17660.4113 | 219955.3513 | 40.0228 | 34.1795 | 122.8251 | 225 | 13 | 907635.6 | 3698697.6 | 708000 | 5314333.2 | 966.9896 | 102.5009 | 64277.7 | 166230 | 19562.4597 | 250070.1597 | 45.5025 | 38.8591 | 141.36
225 | 14 | 1043555.4 | 3983212.8 | 749200 | 5775968.2 | 975.9176 | 89.7844 | 68695.8 | 150068 | 19404.2247 | 238168.0247 | 40.2413 | 34.3661 | 124.1505 | 225 | 14 | 1017243 | 3983212.8 | 777000 | 5777455.8 | 976.1689 | 103.4739 | 70808.16 | 178122 | 21851.3015 | 270781.4615 | 45.7517 | 39.072 | 142.5459
225 | 15 | 1197223.2 | 4267728 | 815000 | 6279951.2 | 990.3333 | 91.1107 | 77081.22 | 162270 | 21137.659 | 260488.879 | 41.0785 | 35.081 | 126.1917 | 225 | 15 | 1168668 | 4267728 | 846000 | 6282396 | 990.7189 | 105.0162 | 77490.9 | 193082 | 21551.989 | 292124.889 | 46.0674 | 39.3416 | 144.3578
225 | 16 | 1353223.8 | 4552243.2 | 913356 | 6818823 | 1008.1051 | 92.7457 | 83199.66 | 174457 | 21340.8054 | 278997.4654 | 41.2474 | 35.2253 | 127.971 | 225 | 16 | 1271282.4 | 4552243.2 | 942800 | 6766325.6 | 1000.3438 | 106.0364 | 85574.4 | 207317 | 26548.6846 | 319440.0846 | 47.2265 | 40.3314 | 146.3679
225 | 17 | 1503095.4 | 4836758.4 | 1011712 | 7351565.8 | 1022.9333 | 94.1099 | 89685 | 187420 | 21533.5728 | 298638.5728 | 41.5541 | 35.4872 | 129.597 | 225 | 17 | 1368102.6 | 4836758.4 | 1039600 | 7244461 | 1008.0302 | 106.8512 | 93460.26 | 222460 | 28957.2259 | 344877.4859 | 47.988 | 40.9817 | 147.8329
225 | 18 | 1696361.4 | 5121273.6 | 1110068 | 7927703 | 1041.8165 | 95.8471 | 97342.14 | 198821 | 21726.3402 | 317889.4802 | 41.7753 | 35.6761 | 131.5233 | 225 | 18 | 1527525 | 5121273.6 | 1136400 | 7785198.6 | 1023.0894 | 108.4475 | 101044.26 | 235737 | 31365.7671 | 368147.0271 | 48.3799 | 41.3165 | 149.7639
225 | 19 | 1875393 | 5405788.8 | 1208424 | 8489605.8 | 1056.9399 | 97.2385 | 104810.82 | 211839 | 21919.1076 | 338568.9276 | 42.1512 | 35.9971 | 133.2356 | 225 | 19 | 1683453.6 | 5405788.8 | 1233200 | 8322442.4 | 1036.1284 | 109.8296 | 109591.62 | 251529 | 33774.3084 | 394894.9284 | 49.1637 | 41.9858 | 151.8154
225 | 20 | 2070316.8 | 5690304 | 1306780 | 9067400.8 | 1072.4306 | 98.6636 | 112335 | 224250 | 27306.1378 | 363891.1378 | 43.0386 | 36.7549 | 135.4186 | 225 | 20 | 1851170.4 | 5690304 | 1330000 | 8871474.4 | 1049.2578 | 111.2213 | 119675.28 | 267716 | 33818.039 | 421209.319 | 49.8178 | 42.5444 | 153.7657
250 | 5 | 256926.6 | 1580640 | 242000 | 2079566.6 | 983.8281 | 90.5122 | 19536.9 | 56477 | 7977.278 | 83991.178 | 39.7356 | 33.9342 | 124.4464 | 250 | 5 | 247867.2 | 1580640 | 248000 | 2076507.2 | 982.3807 | 104.1324 | 19109.64 | 72379 | 7991.08 | 99479.72 | 47.0631 | 40.1919 | 144.3243
250 | 6 | 313065 | 1896768 | 313600 | 2523433 | 994.8484 | 91.5261 | 24344.46 | 67365 | 9353.6094 | 101063.0694 | 39.8435 | 34.0264 | 125.5524 | 250 | 6 | 307886.4 | 1896768 | 318400 | 2523054.4 | 994.6992 | 105.4381 | 22662 | 85818 | 9364.651 | 117844.651 | 46.4596 | 39.6765 | 145.1146
250 | 7 | 389075.4 | 2212896 | 385200 | 2987171.4 | 1009.4353 | 92.868 | 29060.76 | 80580 | 10729.9408 | 120370.7008 | 40.6761 | 34.7374 | 127.6054 | 250 | 7 | 368618.4 | 2212896 | 388800 | 2970314.4 | 1003.7389 | 106.3963 | 27847.32 | 101734 | 10738.222 | 140319.542 | 47.4173 | 40.4943 | 146.8907
250 | 8 | 465804 | 2529024 | 456800 | 3451628 | 1020.5878 | 93.8941 | 34222.02 | 93032 | 12106.2722 | 139360.2922 | 41.2065 | 35.1903 | 129.0844 | 250 | 8 | 457203.6 | 2529024 | 459200 | 3445427.6 | 1018.7545 | 107.988 | 32865.24 | 117072 | 12111.793 | 162049.033 | 47.9151 | 40.9195 | 148.9075
250 | 9 | 550729.8 | 2845152 | 528400 | 3924281.8 | 1031.4165 | 94.8903 | 38693.7 | 105245 | 13482.6036 | 157421.3036 | 41.3749 | 35.3342 | 130.2245 | 250 | 9 | 548391.6 | 2845152 | 529600 | 3923143.6 | 1031.1173 | 109.2984 | 38852.46 | 134179 | 13485.364 | 186516.824 | 49.0221 | 41.8649 | 151.1633
250 | 10 | 660717 | 3161280 | 600000 | 4421997 | 1046.0076 | 96.2327 | 44571 | 116314 | 14858.935 | 175743.935 | 41.5716 | 35.5021 | 131.7348 | 250 | 10 | 648316.8 | 3161280 | 600000 | 4409596.8 | 1043.0743 | 110.5659 | 45150.72 | 147292 | 14858.935 | 207301.655 | 49.0365 | 41.8771 | 152.443
250 | 11 | 777351.6 | 3477408 | 665600 | 4920359.6 | 1058.085 | 97.3438 | 50379.72 | 128315 | 16421.5552 | 195116.2752 | 41.9582 | 35.8323 | 133.1761 | 250 | 11 | 758448 | 3477408 | 676800 | 4912656 | 1056.4284 | 111.9814 | 50917.08 | 162852 | 16926.1186 | 230695.1986 | 49.6092 | 42.3663 | 154.3477
250 | 12 | 895573.8 | 3793536 | 731200 | 5420309.8 | 1068.4624 | 98.2985 | 55780.2 | 141461 | 17984.1754 | 215225.3754 | 42.4257 | 36.2315 | 134.5301 | 250 | 12 | 858076.2 | 3793536 | 753600 | 5405212.2 | 1065.4863 | 112.9416 | 57565.26 | 180486 | 18993.3022 | 257044.5622 | 50.6691 | 43.2714 | 156.213
250 | 13 | 1037097 | 4109664 | 796800 | 5943561 | 1081.4831 | 99.4964 | 62995.08 | 155547 | 19546.7956 | 238088.8756 | 43.3224 | 36.9973 | 136.4937 | 250 | 13 | 974768.4 | 4109664 | 830400 | 5914832.4 | 1076.2557 | 114.0831 | 64783.14 | 216660 | 21060.4858 | 302503.6258 | 55.0432 | 47.0069 | 161.09
250 | 14 | 1183966.2 | 4425792 | 862400 | 6472158.2 | 1093.547 | 100.6063 | 68345.34 | 168269 | 21109.4158 | 257723.7558 | 43.5455 | 37.1878 | 137.7941 | 250 | 14 | 1098469.79 | 4425792 | 907200 | 6431461.79 | 1086.6709 | 115.1871 | 71534.45 | 215546 | 23127.6694 | 310208.1194 | 52.4133 | 44.761 | 159.9481
250 | 15 | 1334043 | 4741920 | 928000 | 7003963 | 1104.5083 | 101.6148 | 75236.22 | 182307 | 22672.036 | 280215.256 | 44.1893 | 37.7376 | 139.3524 | 250 | 15 | 1232809.19 | 4741920 | 984000 | 6958729.19 | 1097.375 | 116.3217 | 78739.3799 | 233417 | 25194.853 | 337351.2329 | 53.1995 | 45.4324 | 161.7541
250 | 16 | 1499736.6 | 5058048 | 1038400 | 7596184.6 | 1123.0314 | 103.3189 | 82511.58 | 196093 | 22271.641 | 300876.221 | 44.482 | 37.9876 | 141.3065 | 250 | 16 | 1393273.79 | 5058048 | 1081200 | 7532521.79 | 1113.6194 | 118.0437 | 85397.27 | 251471 | 27277.9718 | 364146.2418 | 53.8359 | 45.9759 | 164.0195
250 | 17 | 1658205 | 5374176 | 1148800 | 8181181 | 1138.3701 | 104.73 | 89491.56 | 209584 | 21871.246 | 320946.806 | 44.6581 | 38.138 | 142.8681 | 250 | 17 | 1509858 | 5374176 | 1178400 | 8062434 | 1121.847 | 118.9158 | 93106.56 | 303399 | 29361.0906 | 425866.6506 | 59.2572 | 50.6056 | 169.5214
250 | 18 | 1871089 | 5690304 | 1259200 | 8820593 | 1159.1554 | 106.6423 | 96503.94 | 224566 | 21470.851 | 342540.791 | 45.0149 | 38.4427 | 145.085 | 250 | 18 | 1692765 | 5690304 | 1275600 | 8658669 | 1137.8762 | 120.6149 | 102806.82 | 287205 | 31444.2094 | 421456.0294 | 55.3855 | 47.2992 | 167.9141
250 | 19 | 2051832.6 | 6006432 | 1369600 | 9427864.6 | 1173.7514 | 107.9851 | 106104.66 | 239475 | 21070.456 | 366650.116 | 45.6472 | 38.9828 | 146.9679 | 250 | 19 | 1824901.2 | 6006432 | 1372800 | 9204133.2 | 1145.8973 | 121.4651 | 111279.66 | 305387 | 33527.3282 | 450193.9882 | 56.0483 | 47.8653 | 169.3304
250 | 20 | 2266407 | 6322560 | 1480000 | 10068967 | 1190.8891 | 109.5618 | 116134.44 | 254234 | 20670.061 | 391038.501 | 46.2494 | 39.497 | 149.0588 | 250 | 20 | 2035656 | 6322560 | 1470000 | 9828216 | 1162.4147 | 123.216 | 119687.7 | 323328 | 35610.447 | 478626.147 | 56.6087 | 48.3438 | 171.5597

## EPDs
Table S3: Material GWP values used in study
INDUSTRY EPDs [kg CO2e / kg] | [5 empty] | Link | Reference
| Concrete | Steel |  |  |  | Canadian Concrete EPD | Concrete Ontario. Environmental Product Declaration. (2022).
Canadian | 0.092 | 0.854 |  |  |  | American Concrete EPD | National Ready Mixed Concrete Association (NRMCA). Environmental Product Declaration. (2019).
American | 0.106 | 0.854 |  |  |  | Canadian and American Steel EPD | Concrete Reinforcing Steel Institute (CRSI). Environmental Product Declaration. (2022).
Table S4: Elevator GWP values used in study
Published | Building Height Range | Representative Travel Height (m) | CO2e [kg / TKM] | TKM | Total CO2e [kg] | Link | Reference
2023-06-23 | Up to 24 | 35 | 9.07 | 2128 | 19300.96 | OTIS Gen2 Stream | OTIS. Gen2 Stream Environmental Product Declaration. (2023).
2024-06-03 | Up to 12 | 13.72 | 45.9 | 360.8 | 16560.72 | Schindler 3300 | Schindler. Schindler 3300 Environmental Product Declaration. (2024).
2024-11-15 | Up to 21 (Low-Mid) | 31.7 | 11.2 | 2028.3 | 22716.96 | Schindler 5000 | Schindler. Schindler 5000 Environmental Product Declaration. (2024).
2022-11-14 | 10-30 (Mid-High) | 29 | 7.8 | 4787 | 37338.6 | OTIS Gen3 Peak | OTIS. Gen3 Peak Environmental Product Declaration. (2022).
2024-08-15 | Up to 21 | 18 | 10.4 | 1102 | 11460.8 | KONE MonoSpace® 4 DX | Kone. MonoSpace 4 DX Environmental Product Declaration. (2024).
|  |  |  | Average: | 21475.608
TKM (Tonne-Kilometre) is calculated by multiplying the average car load in tonnes with the lifetime distance travelled in kilometers. The average car load is the rated lift load multiplied by the percentage rated load from Table 3 in ISO 25745-2. The lifetime distance travelled is taken as the product of the one way average travel distance, number of trips per day, operating days per year and the service lifetime.

## Warnings
Table S5: All possible warning messages in S-Concrete that were designed against |  |  |  | Link | Reference
# | Description of Message | Status | Type | S-Concrete Manual | Altair. S-CONCRETE 2021.1 Reference Manual. 2021.
1 | Axial Load and Moment Utilization equals or exceeds Maximum. | Borderline | Beams
| Utilization = Mf / Mr or Nf / Nr whichever is greater. | Unacceptable | Columns
| For Utilization < Maximum, status is "Acceptable". |  | Walls
For Maximum <= Utilization <= Maximum + 0.05, status is "Borderline".
For Utilization > Maximum + 0.05, status is "Unacceptable".
CSA-A23.3-14 Clauses 10.1 and 10.10, 14.2.2 (Empirical Design Method for walls)
CSA-A23.3-04 Clauses 10.1 and 10.10, 14.2.2 (Empirical Design Method for walls)
CSA-A23.3-94 Clauses 10.1 and 10.10, 14.5.1 (Empirical Design Method for walls)
ACI 318 Clauses 10.2 and 10.3, 14.5.1 (Empirical Design Method for walls)
BS8110 / CP65 Clauses 3.4.4 and 3.8.4 of Part 1
EN-1992-1-1 Clause 6.1
2 | Area of Steel provided does not meet the Minimum. | Warning | Beams
CSA-A23.3 Clause 10.5.1
ACI 318 Clause 10.5
BS8110 / CP65 Clause 3.12.5.3 of Part 1
3 | Area of Steel provided has exceeded the allowable. | Unacceptable | Beams
CSA-A23.3 Clauses 10.1.4 and 10.5.2
ACI 318 Clauses 10.3.2 and 10.3.3
BS8110 / CP65 Clause 3.2.2.1(b) of Part 1
4 | Shear and Torsion Utilization equals or exceeds Maximum. | Borderline | Beams
| For Utilization < Maximum, status is "Acceptable". | Unacceptable | Columns
| For Maximum <= Utilization <= Maximum + 0.05, status is "Borderline". |  | Walls
For Utilization > Maximum + 0.05, status is "Unacceptable".
CSA-A23.3-14 Clauses 11.3.1 and/or 11.3.10
CSA-A23.3-04 Clauses 11.3.1 and/or 11.3.10
CSA-A23.3-94 Clauses 11.3.3, 11.3.9 (Simplified) or Clauses 11.4.2, 11.4.10 (General)
ACI 318 Clause 11.1.1 and/or Clause 11.5 (2011¦2008), Clause 11.6 (2005 & earlier)
BS8110 / CP65 Clause 3.4.5 of Part 1
EN-1992-1-1 Clause 6.2 and/or 6.3
5 | Maximum shear/torsional stress has exceeded the allowable. | Unacceptable | Beams
| CSA-A23.3-14 Clause 11.3.10.4 |  | Columns
CSA-A23.3-04 Clause 11.3.10.4
CSA-A23.3-94 Clause 11.3.9.8 (Simplified) or Clauses 11.3.9.8 & 11.4.10.3(b) (General)
ACI 318 Clause 11.5.3.1 (2011¦2008), Clause 11.6.3.1 (2005 & earlier)
BS8110 / CP65 Clause 3.4.5.2 of Part 1, Clause 2.4.5 of Part 2
EN-1992-1-1 Clause 6.2.3(3) and 6.3.2(4)
6 | Maximum torsional stress for small sections has exceeded the allowable. | Unacceptable | Beams
| BS8110 / CP65 Clause 2.4.5 of Part 2 |  | Columns
7 | Shear and/or Torsion Reinforcement is required. | Unacceptable | Beams
CSA-A23.3 Clause 11.2.8.1 and/or Clause 11.2.9.1
ACI 318-11¦08 Clause 11.4.6.1 and/or Clause 11.5.1
ACI 318-05 Clause 11.5.6.1 and/or Clause 11.6.1
ACI 318-02 & 99 Clause 11.5.5.1 and/or Clause 11.6.1
BS8110 / CP65 Clause 3.4.5.3 of Part 1
8 | Shear Reinforcement Spacing exceeds the allowable. | Warning | Beams
| CSA-A23.3-14 Clauses 11.2.8.2, 11.3.8.1 and/or 11.3.8.3 |  | Columns
CSA-A23.3-04 Clauses 11.2.8.2, 11.3.8.1 and/or 11.3.8.3
CSA-A23.3-94 Clauses 11.2.8.4 and/or 11.2.11
ACI 318-11¦08 Clauses 11.4.5.3, 11.4.5.1, 11.4.6.3, and/or 11.5.6.1
ACI 318-05 Clauses 11.5.6.3, 11.5.5.1, 11.5.5.3, and/or 11.6.6.1
ACI 318-02 & 99 Clauses 11.5.5.3, 11.5.4.1, 11.5.4.3, and/or 11.6.6.1
BS8110 / CP65 Clauses 3.4.5.3 and 3.4.5.5 of Part 1, Clause 2.4.8 of Part 2
EN-1992-1-1 Clauses 9.2.2(6) and/or 9.2.3(2) & (3)
9 | Top Steel Area provided does not meet shear/torsional requirements. | Warning | Beams
CSA-A23.3-04 Clauses 11.3.9.2 and 11.3.9.3
CSA-A23.3-94 Clauses 11.3.9.5 and 11.2.8.4
ACI 318-11¦08 Clauses 11.5.3.7 and 11.5.5.3
ACI 318-05 (and earlier) Clauses 11.6.3.7 and 11.6.5.3
BS8110 / CP65 Clauses 2.4.7 and 2.4.9 of Part 2
10 | Bottom Steel Area provided does not meet shear/torsional requirements. | Warning | Beams
CSA-A23.3-14 Clauses 11.3.9.2 and 11.3.9.3
CSA-A23.3-04 Clauses 11.3.9.2 and 11.3.9.3
CSA-A23.3-94 Clauses 11.3.9.5 and 11.2.8.4
ACI 318-11¦08 Clauses 11.5.3.7 and 11.5.5.3
ACI 318-05 (and earlier) Clauses 11.6.3.7 and 11.6.5.3
BS8110 / CP65 Clauses 2.4.7 and 2.4.9 of Part 2
11 | Face Steel Area (if any) or Bar Spacing does not meet shear/torsional requirements. | Warning | Beams
CSA-A23.3-94 Clauses 11.3.9.5 and 11.2.8.4
ACI 318-11¦08 Clauses 11.5.3.7 and 11.5.5.3
ACI 318-05 (and earlier) Clauses 11.6.3.7 and 11.6.5.3
BS8110 / CP65 Clauses 2.4.7 and 2.4.9 of Part 2
12 | Diameter of Corner Bars does not meet the minimum size required for torsion. | Warning | Beams
CSA-A23.3 Clause 11.2.7
ACI 318 Clause 11.5.6.2 (2011¦2008), Clause 11.6.6.2 (2005 & earlier)
BS8110 / CP65 Clause 11.6.6.2 of ACI 318-99
13 | Clear Horizontal Spacing between longitudinal bars is less than the Minimum. | Warning | Beams
CSA-A23.1-14 Clause 6.6.5.2
CSA-A23.1-04 Clause 6.6.5.2
CSA-A23.1-94 Clause 12.5.2
ACI 318 Clauses 7.6.1 and 3.3.2(c)
BS8110 / CP65 Clause 3.12.11.1 of Part 1
14 | Clear Vertical Spacing between layers of longitudinal bars is less than the Minimum. | Warning | Beams
CSA-A23.1-14 Clause 6.6.5.2
CSA-A23.1-04 Clause 6.6.5.2
CSA-A23.1-94 Clause 12.5.2
ACI 318 Clause 7.6.2
BS8110 / CP65 Clause 3.12.11.1 of Part 1
15 | Spacing of Ties/Links or Spiral Pitch has exceeded the allowable. | Warning | Columns
CSA-A23.3 Clause 7.6.5.2, 7.6.4.3, 7.6.4.4, or 10.19.4
ACI 318 Clause 7.10.5.2, 7.10.4.3, 10.13.8.4 (2011¦2008), 10.16.8.5 (2005 & earlier)
BS8110 / CP65 Clause 3.12.7.1 of Part 1, for spirals see CSA-A23.3
EN-1992-1-1 Clause 9.5.3(3) or 9.5.3(4)
16 | Spiral Pitch does not meet the Minimum for the Clear Spacing Required. | Warning | Columns
CSA-A23.3-14 Clause 7.6.4.4, Clause 4.3.2.2.1(b) of A23.1-04
CSA-A23.3-04 Clause 7.6.4.4, Clause 4.3.2.2.1(b) of A23.1-04
CSA-A23.3-94 Clause 7.6.4.4, Clause 14.2.2.1(b) of A23.1-94
ACI 318 Clauses 7.10.5.2 and 7.10.4.3
BS8110 / CP65 Clause 7.6.4.4 of CSA-A23.3, Clause 14.2.2.1(b) of CSA-A23.1
EN-1992-1-1 Clause 8.2(2)
17 | fy of reinforcing is not within an Acceptable range. | Warning | Beams
| CSA-A23.3-14 Clause 8.5.1 or 21.2.7.1 (walls, Rd = 2.0) |  | Columns
| CSA-A23.3-04 Clause 8.5.1 or 21.2.7.1 (walls, Rd = 2.0) |  | Walls
CSA-A23.3-94 Clause 8.5.1, 300 <= fy <= 500 MPa
ACI 318-11¦08 Clause 9.4, 10.9.3, 21.1.5.4, 40 <= fy <= 80 or 100 ksi
ACI 318-05 (& earlier) Clause 9.4, 40 <= fy <= 80 ksi
BS8110 / CP65 Clause 3.1.7.4 of Part 1, 250 <= fy <= 460 N/mm2
EN-1992-1-1 Clause 3.2.2(3), 400 <= fyk <= 600 MPa
18 | fy of Shear Reinforcing is not within an Acceptable range. | Warning | Beams
| CSA-A23.3 Clause 8.5.1, 300 <= fy <= 500 MPa |  | Columns
| ACI 318-11¦08 Clauses 11.4.2 and 11.5.3.4, 40 <= fy <= 60 ksi |  | Walls
ACI 318-05 (& earlier) Clauses 11.5.2 and 11.6.3.4, 40 <= fy <= 60 ksi
BS8110 / CP65 Clauses 3.1.7.4 and 3.4.5.1 of Part 1, 250 <= fy <= 460 N/mm2
EN-1992-1-1 Clause 3.2.2(3), 400 <= fyk <= 600 MPa
19 | Strength of Concrete is not within an Acceptable range. | Warning | Beams
| CSA-A23.3-14 Clause 8.6.1.1, 21.2.6.1, or 21.2.6.2 (walls, Rd = 2.0) |  | Columns
| CSA-A23.3-04 Clause 8.6.1.1, 21.2.6.1, or 21.2.6.2 (walls, Rd = 2.0) |  | Walls
CSA-A23.3-94 Clause 8.6.1.1, 20 <= fc' <= 80 MPa
ACI 318 Clauses 5.1.1 and 11.1.2, 2500 <= fc' <= 10000 psi
BS8110/5328 Cl. 3.3.3 of BS8110, Cl. 5.1 of BS5328, 30 <= fcu <= 60 N/mm2
CP65 Clause 3.3.3, 30 <= fcu <= 60 N/mm2
EN-1992-1-1 Clause 3.1.2(2), 12 <= fck <= 90 MPa
20 | Concrete Density is not within an Acceptable range. | Warning | Beams
| CSA-A23.3 Clause 8.6.2.2, 1500 <= Wc <= 2500 kg/m3 |  | Columns
| ACI 318-11¦08 Clause 8.5.1, 90 <= Wc <= 160 pcf |  | Walls
ACI 318-05 (& earlier) Clause 8.5.1, 90 <= Wc <= 155 pcf
BS8110 / BS5328 Cl. 2.8, 2.9, and 2.10, 1500 <= Dc <= 3000 kg/m3
CP65 / BS5328 Cl. 2.8, 2.9, and 2.10, 1500 <= Dc <= 3000 kg/m3
EN-1992-1-1, 1500 <= Dc <= 3000 kg/m3
21 | Crack Widths located around the Top Bars may be excessive. | Warning | Beams
CSA-A23.3 Clause 10.6.1, Z <= Maximum
ACI 318-95 Clause 10.6.4, Z <= Maximum
22 | Crack Widths located around the Bottom Bars may be excessive. | Warning | Beams
CSA-A23.3 Clause 10.6.1, Z <= Maximum
ACI 318-95 Clause 10.6.4, Z <= Maximum
23 | C-to-C Spacing of Top Bars does not meet crack control limits. | Warning | Beams
ACI 318 Clause 10.6.4
BS8110 / CP65 Clause 3.12.11.2.3 of Part 1
24 | C-to-C Spacing of Bottom Bars does not meet crack control limits. | Warning | Beams
ACI 318 Clause 10.6.4
BS8110 / CP65 Clause 3.12.11.2.3 of Part 1
25 | Side Distance to Top Bar does not meet crack control limits. | Warning | Beams
BS8110 / CP65 Clause 3.12.11.2.5 of Part 1
26 | Side Distance to Bottom Bar does not meet crack control limits. | Warning | Beams
BS8110 / CP65 Clause 3.12.11.2.5 of Part 1
27 | Face Steel is required for crack control purposes. | Warning | Beams
CSA-A23.3 Clause 10.6.2
ACI 318 Clause 10.6.7
BS8110 / CP65 Clause 3.12.11.2.6 of Part 1
28 | Face Steel Spacing exceeds the allowable for crack control. | Warning | Beams
CSA-A23.3 Clause 10.6.2, S <= Smax
ACI 318 Clause 10.6.7, S <= Smax
BS8110 / CP65 Clause 3.12.11.2.6 of Part 1, S <= Smax
29 | Face Steel Diameter does not meet the minimum for crack control. | Warning | Beams
BS8110 / CP65 Clause 3.12.5.4 of Part 1, d >= Minimum
30 | Customized bars may have incompatible properties. | Warning | Beams
| Computed 'Area' does not equal the specified 'Area' (+/- 15%). |  | Columns
Walls
31 | Axial Load has exceeded buckling load capacity. (Nc = Euler Buckling Load) | Unacceptable | Columns
| CSA-A23.3 Clause 10.15.3, Nf < Ncr = .75 x Nc |  | Walls
ACI 318 Clause 10.10.6 (2011¦2008), Clause 10.12.3 (2005 & earlier), Nu > Ncr = .75 x Nc
BS8110 / CP65 Clause 10.15.3 of CSA-A23.3-94, Nf > Ncr = .75 x Nc
EN-1992-1-1 Clause 5.8.7.3, N < Ncr
32 | Diameter of Ties/Links or Spiral does not meet the Minimum required. | Warning | Columns
CSA-A23.3 Clause 7.6.5.1, 7.6.4.2, 10.19.2, or 10.19.3
ACI 318 Clause 7.10.5.1, 7.10.4.2, 10.13.8.3 (2011¦2008), 10.16.8.4 (2005 & earlier)
BS8110 / CP65 Clause 3.12.7.1 of Part 1, for spirals see CSA-A23.3
EN-1992-1-1 Clause 9.5.3(1)
33 | Spiral Steel Ratio does not meet the Minimum required. | Warning | Columns
CSA-A23.3 Clause 10.9.4
ACI 318 Clause 10.9.3
BS8110 / CP65 Clause 10.9.4 of CSA-A23.3
34 | Clear Spacing between bars does not meet the Minimum Required. | Warning | Columns
CSA-A23.1-14 Clause 6.6.5.2
CSA-A23.1-04 Clause 6.6.5.2
CSA-A23.1-94 Clause 12.5.2
ACI 318 Clauses 7.6.3 and 3.3.2(c)
BS8110 / CP65 Clause 3.12.11.1 of Part 1
EN-1992-1-1 Clause 8.2(2)
35 | Area of Vertical Steel provided does not meet the Minimum. | Warning | Columns
CSA-A23.3 Clause 10.10.5 or 10.9.1
ACI 318-11¦08 Clauses 10.8.4, 10.9.1, 10.13.7.3, 10.13.8.5
ACI 318-05 (& earlier) Clauses 10.8.4, 10.9.1, 10.16.7.4, 10.16.8.6
BS8110 / CP65 Clause 3.12.5.3 of Part 1
EN-1992-1-1 Clause 9.5.2(2)
36 | Area of Vertical Steel provided exceeds the Allowable. | Warning | Columns
CSA-A23.3 Clause 10.9.2
ACI 318-11¦08 Clause 10.9.1, 10.13.7.3, 10.13.8.5
ACI 318-05 (& earlier) Clause 10.9.1, 10.16.7.4, 10.16.8.6
BS8110 / CP65 Clause 3.12.6.2 of Part 1
EN-1992-1-1 Clause 9.5.2(3)
37 | Diameter of Vertical Bars does not meet the Minimum Required. | Warning | Columns
CSA-A23.3 for a robust cage, use d >= 16 mm
ACI 318 for a robust cage, use d >= 0.625 in
BS8110 / CP65 Clause 3.12.5.3 of Part 1
EN-1992-1-1 Clause 9.5.2(1)
38 | Number of Vertical Bars does not meet the Minimum Required. | Warning | Columns
CSA-A23.3 Clause 10.9.3
ACI 318 Clause 10.9.2
BS8110 / CP65 Clause 3.12.5.3 of Part 1
EN-1992-1-1 Clause 9.5.2(4)
39 | Lap Splice is inappropriate for the Vertical Bar Size specified. | Warning | Columns
CSA-A23.3 Clause 12.14.2.1
ACI 318 Clause 12.14.2.1
BS8110 / CP65 Clause 12.14.2.1 of CSA-A23.3 with d > 32mm
EN-1992-1-1 Clause 8.8(4)
40 | Bearing Splice is inappropriate for sections subjected to tensile loads. Use Mechanical Splices such as a tension coupler for sections that resist tension. Bearing Splices are intended for gravity loaded only columns subjected to primarily compressive loads. | Unacceptable | Columns
41 | For relatively small members, attention/consideration should be given to materials/compaction/cover and relevant fire resistance requirements. | Warning | Beams
| For beams, b < 125mm (5") or h < 150mm (6"). |  | Columns
For columns, b or h or D < 150mm (6").
42 | Hole size has exceeded the Limit. | Warning | Columns
CSA-A23.3-14 Hole Size = 0.5b, 0.5h, or 0.5D
CSA-A23.3-04 Hole Size = 0.5b, 0.5h, or 0.5D
CSA-A23.3-94 Clause 11.2.9.3
ACI 318 Clause 11.5.4.4 (2011¦2008), Clause 11.6.4.4 (2005 & earlier)
BS8110 / CP65 Clause 2.4.4.3 of Part 2
EN-1992-1-1, Hole cannot be greater than 0.75b, 0.75h, or 0.75D.
43 | Hole size is too large for ties/links to be effective. | Warning | Columns
Reduce hole size until outermost tie/link is effective.
44 | Moment Redistribution Percentage has exceeded the limit. | Warning | Beams
CSA-A23.3 Clause 9.2.4
ACI 318 Clauses 8.4.1, 8.4.2 (2011¦2008), 8.4.3 (2005 & earlier)
BS8110 / CP65 Clause 3.2.2.1
45 | Maximum Eccentricity has exceeded the limit for the Empirical Design Method. | Unacceptable | Walls
CSA-A23.3-14 Clause 14.2.2.2 (applicable for small moments only)
CSA-A23.3-04 Clause 14.2.2.2 (applicable for small moments only)
CSA-A23.3-94 Clause 14.5.1 (applicable for small moments only)
ACI 318 Clause 14.5.1 (applicable for small moments only)
UBC Clause 1914.5.1 (applicable for small moments only)
46 | Torsion may be significant and cannot be ignored. | Warning | Walls
CSA-A23.3 Clause 11.2.9.1 (applied to walls)
ACI 318 Clause 11.5.1 (2011¦2008), Clause 11.6.1 (2005 & earlier) applied to walls
UBC Clause 1911.6.1 (applied to walls)
BS8110 / CP65 Clause 2.4.6 of Part 2 (applied to walls)
47 | Panel Vertical Steel Ratio does not meet the minimum. | Warning | Walls
CSA-A23.3-14 Clauses 21.5.10.5, 21.5.10.7, and/or 21.5.10.8.7
CSA-A23.3-04 Clauses 14.1.8.5, 21.7.3.3.1, 21.6.5.1, 21.7.4.5, 21.7.4.7, 21.7.4.8
CSA-A23.3-94 Clauses 14.3.2, 21.9.3.3.1, 21.5.5.1 & 21.7.3.2(g)
ACI 318-11¦08 Clauses 14.3.2, 11.9.9.4, 21.9.2.1, 21.9.4.3
ACI 318-05¦02 Clauses 14.3.2, 11.10.9.4, 21.7.2.1, 21.7.4.3, 21.6.2.1 (1999)
UBC Clauses 1914.3.2, 1911.10.9.4, 1921.6.2.1 & 1921.6.5.5
BS8110 / CP65 Clause 3.12.5.3
48 | Vertical Distributed Reinforcement may require lateral ties/links. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.7 or 21.5.5.4 of A23.3
CSA-A23.3-04 Clause 14.1.8.7, 21.6.5.1, 21.6.5.2, 21.7.3.3.1
CSA-A23.3-94 Clause 14.3.6
ACI 318 Clause 14.3.6
UBC Clauses 1914.3.6
BS8110 / CP65 Clause 3.12.7.5
49 | Panel Horizontal Steel Ratio does not meet the minimum. | Warning | Walls
CSA-A23.3-14 Clauses 14.1.8.6, 21.5.5.1, 21.5.10.5, 21.5.10.8.6
CSA-A23.3-04 Clauses 14.1.8.6, 21.7.3.3.1, 21.6.5.1, 21.7.4.5, 21.7.4.8
CSA-A23.3-94 Clauses 14.3.2, 21.9.3.3.1, 21.5.5.1 & 21.7.3.2(g)
ACI 318-11¦08 Clauses 14.3.3, 11.9.9.2, 21.9.2.1
ACI 318-05¦02 Clauses 14.3.3, 11.10.9.2, 21.7.2.1, 21.6.2.1 (1999)
UBC Clauses 1914.3.3, 1911.10.9.2, 1921.6.2.1
BS8110 / CP65 Clause 3.9.4.19
50 | Panel Vertical Bar Spacing does not meet the minimum required. | Warning | Walls
CSA-A23.3-04 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-94 Clause 12.5.2 of CSA-A23.1
ACI 318 Clauses 3.3.2 and 7.6.3
UBC Clauses 1903.3.2 and 1907.6.3
BS8110 / CP65 Clause 3.12.11.1
51 | Panel Vertical Bar Spacing exceeds the maximum permitted. | Warning | Walls
CSA-A23.3-14 Clauses 14.1.8.4, 21.5.10.5
CSA-A23.3-04 Clauses 14.1.8.4, 21.6.5.1, 21.6.5.2, 21.7.4.5
CSA-A23.3-94 Clauses 14.3.5 and/or 21.5.5.1
ACI 318 Clauses 14.3.5, 21.9.2.1 (2011¦2008), 21.7.2.1 (2005 & 2002), 21.6.2.1 (1999)
UBC Clauses 1914.3.5 and 1921.6.2.1
BS8110 / CP65 Clause 14.3.5 of ACI 318-02
52 | Panel Horizontal Bar Spacing does not meet the minimum required. | Warning | Walls
CSA-A23.3-04 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-94 Clause 12.5.2 of CSA-A23.1
ACI 318 Clauses 3.3.2 and 7.6.3
UBC Clauses 1903.3.2 and 1907.6.3
BS8110 / CP65 Clause 3.12.11.1
53 | Panel Horizontal Bar Spacing exceeds the maximum permitted. | Warning | Walls
CSA-A23.3-14 Clauses 14.1.8.4, 11.3.8, 21.5.5.2, 21.5.10.5
CSA-A23.3-04 Clauses 14.1.8.4, 11.3.8, 21.6.5.1, 21.6.5.2, 21.7.4.5
CSA-A23.3-94 Clauses 14.3.5, 11.2 and/or 21.5.5.1
ACI 318-11¦08 Clauses 14.3.5, 11.4, 21.9.2.1
ACI 318-05¦02 Clauses 14.3.5, 11.5, 21.7.2.1, 21.6.2.1 (1999)
UBC Clauses 1914.3.5, 1911.5 and 1921.6.2.1
BS8110 / CP65 Cl. 3.4.5.3 & 3.4.5.5, Cl. 14.3.5 of ACI 318-02
54 | Number of Curtains of Reinf. in Panel does not meet the minimum required. | Warning | Walls
CSA-A23.3-14 Clauses 14.1.8.3, 21.5.10.5
CSA-A23.3-04 Clauses 14.1.8.3, 21.6.5.3, and/or 21.7.4.5
CSA-A23.3-94 Clauses 14.3.4 and/or 21.5.5.3
ACI 318 Clause 14.3.4, 21.9.2.2 (2011¦2008), 21.7.2.2 (2005 & 2002), 21.6.2.2 1999)
UBC Clauses 1914.3.4 and/or 1921.6.2.2
BS8110 / CP65 Clause 14.3.4 of ACI 318-02
55 | Clear Cover to Panel Reinforcing exceeds the limit permitted. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.3
CSA-A23.3-04 Clause 14.1.8.3
CSA-A23.3-94 Clause 14.3.4
ACI 318 Clause 14.3.4
UBC Clause 1914.3.4
BS8110 / CP65 Clause 14.3.4 of ACI 318-02
56 | Diameter of Bar in Panel has exceeded the limit permitted. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.2
CSA-A23.3-04 Clause 14.1.8.2, 21.6.4.4, or 21.7.4.4
CSA-A23.3-94 Clause 21.5.4.4
57 | Zone c-to-c vertical bar spacing does not meet the minimum required. | Warning | Walls
CSA-A23.3-14 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-04 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-94 Clause 12.5.2 of CSA-A23.1
ACI 318 Clauses 3.3.2 and 7.6.3
UBC Clauses 1903.3.2 and 1907.6.3
BS8110 / CP65 Clause 3.12.11.1
58 | Zone c-to-c vertical bar spacing has exceeded the maximum permitted. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.4, 21.5.5.2
CSA-A23.3-04 Clause 14.1.8.4, 21.6.5.1, or 21.6.5.2
CSA-A23.3-94 Clauses 14.3.5 and 21.5.5.1
ACI 318 Clause 14.3.5
UBC Clause 1914.3.5
BS8110 / CP65 Clause 14.3.5 of ACI 318-02
59 | Area of Zone Steel exceeds the maximum permitted. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.8.3, 21.5.4.3, 21.5.10.4
CSA-A23.3-04 Clause 14.1.8.8.3, 21.6.4.3, or 21.7.4.4
CSA-A23.3-94 Clause 10.9.2 or 21.5.4.3
ACI 318 Clause 10.9.1
UBC Clause 1910.9.1
BS8110 / CP65 Clauses 3.12.6.3 & 3.12.6.4
60 | Area of Zone Steel does not meet the minimum required. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.8.1, 21.5.6.1, 21.5.6.2, 21.5.6.3, 21.5.10.6
CSA-A23.3-04 Clause 14.1.8.8.1, 21.6.6.3, 21.6.6.4, 21.6.6.5, 21.7.4.6
CSA-A23.3-94 Clause 21.5.6.3, 21.5.6.4, 21.9.3.2, or 21.5.7
UBC Clause 1921.6.6.6
61 | Lap splice not permitted for chosen vertical bar size. | Warning | Walls
CSA-A23.3 Clause 12.14.2.1
ACI 318 Clause 12.14.2.1
UBC Clause 1912.14.2.1
62 | Bearing Splice not appropriate for a wall subjected to tensile loads. | Unacceptable | Walls
63 | Zone c-to-c tie/link spacing does not meet the minimum required. | Warning | Walls
CSA-A23.3-14 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-04 Clause 6.6.5.2 of CSA-A23.1
CSA-A23.3-94 Clause 12.5.2 of CSA-A23.1
ACI 318 Clauses 3.3.2 and 7.6.3
UBC Clause 1903.3.2 and 1907.6.3
BS8110 / CP65 Clause 3.12.11.1
64 | Zone c-to-c tie spacing exceeds the maximum permitted. Tie Spacing must also be less than or equal to bar spacing of horizontal distributed reinforcing. | Warning | Walls
CSA-A23.3-14 Clauses 7.6.5.2, 14.1.8.8.4, 21.5.6.4, 21.2.8.1, 21.6.3.7.4
CSA-A23.3-04 Clauses 7.6.5.2, 14.1.8.8.4, 21.6.6.8, 21.6.6.9, 21.7.3.3.2, 21.7.4.6, 21.8.3.1
CSA-A23.3-94 Clauses 7.6.5.2, 21.5.6.5, 21.9.3.3.2
BS8110 / CP65 Clause 3.12.7.5
65 | Diameter of Zone Ties does not meet the minimum size required. | Warning | Walls
CSA-A23.3-14 Clauses 7.6.5.1 and 21.5.6.4
CSA-A23.3-04 Clauses 7.6.5.1, 21.6.6.8, 21.7.3.3.2
CSA-A23.3-94 Clauses 7.6.5.1, 21.9.3.3.2, 21.5.6.5
ACI 318 Clause 7.10.5.1
UBC Clause 1907.10.5.1
BS8110 / CP65 Clause 3.12.7.5
66 | Diameter of Zone Vertical bars exceeds the maximum permitted. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.2
CSA-A23.3-04 Clause 21.6.4.4
CSA-A23.3-94 Clause 21.5.4.4
67 | Zone ties are required. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.7, 14.1.8.8.4, or 21.5.6.4
CSA-A23.3-04 Clause 14.1.8.7, 14.1.8.8.4, 21.6.6.1, 21.6.6.8, or 21.7.3.3.2
CSA-A23.3-94 Clause 14.3.6 or 21.5.6.5
ACI 318 Clause 14.3.6
UBC Clause 1914.3.6
BS8110 / CP65 Clause 3.12.7.5
68 | Zone required with minimum bars. | Warning | Walls
CSA-A23.3-14 Clause 14.1.8.8.1, 21.5.6.1, 21.5.10.6, 21.6.3.7.4
CSA-A23.3-04 Clause 14.1.8.8.1 or 21.6.6.1
CSA-A23.3-94 Clause 21.5.6.1
69 | Special confinement reinforcement is required. | Warning | Walls
CSA-A23.3-14 Clause 21.5.7.1.2, 21.5.8.4.1(a)
CSA-A23.3-04 Clause 21.6.7.1, 21.6.8.1, or 21.7.3.2
CSA-A23.3-94 Clause 21.9.3.2 or 21.5.7
70 | Neutral Axis Depth has exceeded the upper limit. | Warning | Walls
CSA-A23.3-94 Clause 21.5.7
71 | Axial Load has exceeded upper limit for shear walls. | Warning | Walls
UBC Clause 1921.6.6.3
72 | Panel Thickness or Zone Dimension does not meet the minimum size required. | Warning | Walls
CSA-A23.3-14 Clauses 14.1.7.1, 21.5.3, 21.6.3.7.3, 21.5.10.3
CSA-A23.3-04 Clauses 14.1.7.1, 21.6.3.2, 21.7.3.1
CSA-A23.3-94 Clauses 14.5.2, 21.9.3.1, 21.5.3
ACI 318 Clause 14.5.3.1
UBC Clause 1921.6.6.6 or 1914.5.3.1
BS8110 / CP65 Clause 3.9.3.7.2
73 | Flange Width has exceeded the maximum permitted | Warning | Walls
CSA-A23.3-14 Clauses 14.4.3.3
CSA-A23.3-04 Clauses 14.4.2.3 or 21.6.3.1
CSA-A23.3-94 Clause 21.9.3.1 or 21.5.3.1
ACI 318 Clause 21.9.5.2 (2011¦2008), 21.7.5.2 (2005 & earlier)
UBC Clause 1921.6.6.2
74 | Anchorage of Panel horizontal bars is insufficient to develop the yield strength (fy). | Warning | Walls
CSA-A23.3-14 Clause 21.5.5.3
CSA-A23.3-04 Clause 21.6.5.5
CSA-A23.3-94 Clause 21.5.5.4
ACI 318 Clause 21.9.6.4 (2011¦2008), 21.7.6.4 (2005 & earlier)
UBC Clause 1921.6.2.2
75 | Horizontal bars require standard hooks (sideways) to meet anchorage requirements. | Warning | Walls
CSA-A23.3-14 Clauses 21.5.5.3
CSA-A23.3-04 Update #3, Clauses 14.4.3 and 21.7.3.3.3
CSA-A23.3-94 Clause 21.9.3.3.3
ACI 318 Clause 21.9.6.5 (2011¦2008), 21.7.6.5 (2005 & earlier)
UBC Clause 1921.6.2.2
76 | Special Detailing Zone Reinforcing Length does not meet the minimum. | Warning | Walls
CSA-A23.3-94 Clause 21.9.3.2 or 21.5.7
ACI 318-11¦08 Clause 21.9.6.3 or 21.9.6.4
ACI 318-05 (& earlier) Clause 21.7.6.3 or 21.7.6.4
UBC Clause 1921.6.6.4
77 | Zone Tie Leg Spacing exceeds the maximum permitted. | Warning | Walls
CSA-A23.3-94 Clause 21.4.4.4
ACI 318-11¦08 Clauses 21.6.4.2, 21.9.6.4
ACI 318-05 (& earlier) Clauses 21.4.4.3, 21.7.6.4
UBC Clause 1921.6.6.6
78 | Tie Spacing exceeds the maximum permitted for confinement purposes. | Warning | Walls
CSA-A23.3-94 Clause 21.4.4
ACI 318-11¦08 Clause 21.6.4 or 21.9.6.5
ACI 318-05 (& earlier) Clause 21.4.4 or 21.7.6.5
UBC Clause 1921.6.6.6
79 | Ties Required for confinement purposes. | Warning | Walls
CSA-A23.3-94 Clause 21.9.3.2 or 21.5.7
ACI 318-11¦08 Clause 21.9.6.4 or 21.9.6.5
ACI 318-05 (& earlier) Clause 21.7.6.4 or 21.7.6.5
UBC Clause 1921.6.6.4 or 1921.6.6.5
80 | Insufficient concrete cover is provided for the steel shape. | Warning | Composite
| The steel shape is too large for the column size specified. | Unacceptable | Columns
81 | Fy of structural steel shape is not within an Acceptable range. | Warning | Composite
| CSA-A23.3 Clause 10.17.6, 300 <= Fy <= 350 MPa |  | Columns
ACI 318-11¦08 Clause 10.13.7.1 or 10.13.8.1, 40 <= Fy <= 50 ksi
ACI 318-05 (& earlier) Clause 10.16.7.2 or 10.16.8.2, 40 <= Fy <= 50 ksi
UBC Clause 1910.16.7.2 or 1910.16.8.2, 40 <= Fy <= 50 ksi
82 | Number of Bars in Each Direction does not meet the minimum of 3. | Warning | Composite
| CSA-A23.3 Clause 10.19.6 |  | Columns
ACI 318 Clause 10.13.8.6 (2011¦2008), 10.16.8.7 (2005 & earlier)
UBC Clause 1910.16.8.7
83 | Total Area of Steel (Vertical Bars + Steel Shape) has exceeded the allowable. | Warning | Composite
| CSA-A23.3 Clause 10.17.5, Ast + At <= 0.2Ag |  | Columns
84 | Computed Cross-Sectional Area of the Steel Shape does not match the table value (>5% difference). The model used to generate the N vs M diagram may not be adequate. | Warning | Composite
Columns
85 | Simplified Method of Shear Design cannot be used for this section. | Warning | Beams
| CSA-A23.3-14 Clause 11.3.6.3 or 11.3.6.1 |  | Columns
| CSA-A23.3-04 Clause 11.3.6.3 or 11.3.6.1 |  | Walls
CSA-A23.3-94 Clause 11.3.1
86 | Maximum Concrete Strain has exceeded the limit. | Warning | Walls
CSA-A23.3-14 Clause 21.5.7.5
CSA-A23.3-04 Clause 21.6.7.4
87 | Squat wall zone reinforcing length does not meet the minimum. | Warning | Walls
CSA-A23.3-04 Clause 21.7.4.6
88 | Interface Shear or Sliding Shear Utilization equals or exceeds Maximum. | Borderline | Walls
| For Utilization < Maximum, status is "Acceptable". | Unacceptable
For Maximum <= Utilization <= Maximum + 0.05, status is "Borderline".
For Utilization > Maximum + 0.05, status is "Unacceptable".
CSA-A23.3-14 Clause 11.5
CSA-A23.3-04 Clause 11.5
CSA-A23.3-94 Clause 11.6
89 | Slenderness effects provisions implemented may be unconservative and may not be appropriate. | Warning | Columns
BS8110 / CP65 Clause 3.8.3.3
90 | Cannot generate alternative load cases for minimum moment evaluation. Load case limit reached. The alternative load cases may or may not govern the capacity of the section. | Warning | Columns
91 | Area of longitudinal steel does not meet the minimum required for seismic purposes. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.3.1 or 21.11.3.4.2
CSA-A23.3-04 Update #3 Clause 21.3.2.1
92 | Steel Ratio (Rho) does not meet the minimum required for seismic purposes. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.3.1 or 21.11.3.4.2
CSA-A23.3-04 Update #3 Clause 21.3.2.1
93 | A minimum of two(2) bars must be specified for seismic purposes. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.3.1 or 21.11.3.4.2
CSA-A23.3-04 Update #3 Clause 21.3.2.1
94 | Hoops (or closed stirrups) required for seismic purposes. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.4.1, 21.4.3.2 or 21.11.3.4.4
CSA-A23.3-04 Update #3 Clause 2.2 (Definition of Hoop)
95 | Mr(pos) >= 0.5*Mr(neg) or 1/3*Mr(neg) evaluated with Nf = 0 at face of joint. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.3.2 or 21.4.3.1
CSA-A23.3-04 Update #3 Clause 21.3.2.2 or 21.7.2.1.1
96 | Seismic beam provisions may not be applicable (column provisions more appropriate). | Warning | Beams
CSA-A23.3-14 Clause 21.3.1 or 21.4
CSA-A23.3-04 Update #3 Clause 21.3.2, 21.3.3, or 21.7.2.1
97 | Spacing of hoops (stirrups) has exceeded the maximum permitted. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.4, 21.4.3 or 21.11.3.4
CSA-A23.3-04 Update #3 Clause 21.3.3.2 or 21.7.2.1.2
98 | Compressive axial load applied has exceeded the limit for a beam. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.1
CSA-A23.3-04 Update #3 Clause 21.12.2.2 or 21.12.2.5
99 | Every corner and alternate bar must be laterally supported. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.4.3
CSA-A23.3-04 Update #3 Clause 21.3.3.3
100 | Some bars are more than 150mm away from a laterally supported bar. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.4.3
CSA-A23.3-04 Update #3 Clause 21.3.3.3
101 | Stirrups required throughout length of beam for seismic purposes. | Warning | Beams
CSA-A23.3-14 Clause 21.3.1.4.5, 21.4.3.3 or 21.11.3.4.2
CSA-A23.3-04 Update #3 Clause 21.12.2.2, 21.12.2.5, or 21.3.3
102 | Transverse reinforcement provided is inadequate for confinement/anti-buckling. | Warning | Columns
CSA-A23.3-14 Clause 21.3.2.6.2, 21.4.4.5
CSA-A23.3-04 Update #3 Clause 21.4.4.2 or 21.7.2.2.5
103 | Transverse reinforcement provided is inadequate for buckling prevention. | Warning | Columns
CSA-A23.3-14 Clause 21.3.2.6.3 or 21.3.2.6.7, 21.4.4.3, 21.11.3.3.2
CSA-A23.3-04 Update #3 Clause 21.4.4.3, 21.4.4.7, 21.7.2.2.3, or 21.12.2.6(a)
104 | Spacing of laterally supported longitudinal bars has exceeded the limit. | Warning | Columns
CSA-A23.3-14 Clause 21.3.2.6.4, 21.4.4.4
CSA-A23.3-04 Update #3 Clause 21.4.4.4 or 21.7.2.2.4
105 | Neutral Axis Depth has exceeded the limit. | Warning | Columns
CSA-A23.3-14 Clause 21.11.3.3.2
CSA-A23.3-04 Update #3 Clause 21.12.2.6(c)
106 | Compressive axial load applied has exceeded the limit. | Warning | Columns
CSA-A23.3-04 Update #3 Clause 21.12.2.2 or 21.12.2.5

## Design Groups
Table S6: Results of largest design tranches per building
Slab Thickness [mm] | Storeys | Storeys / tranche | CBW Concrete [kg] | CBW Steel [kg] | CBW CO2e [kg] | % CBW Emissions Increase from 1 Storey / Tranche | % Total Emissions Increase from increase tranches
175 | 5 | 5 | 280953 | 24083.4 | 46414.8996 | 3.858% | 0.8356%
200 | 5 | 5 | 280953 | 24083.4 | 46414.8996 | 7.717% | 1.478%
225 | 5 | 5 | 287433 | 24164.4 | 47080.2336 | 20.57% | 3.373%
250 | 5 | 5 | 287433 | 24164.4 | 47080.2336 | 16.76% | 2.569%
175 | 10 | 10 | 740430 | 57303.6 | 117056.8344 | 21.8% | 4.968%
200 | 10 | 10 | 740430 | 57303.6 | 117056.8344 | 20.84% | 4.345%
225 | 10 | 10 | 713862 | 63070.8 | 119537.7672 | 26.73% | 5.017%
250 | 10 | 10 | 766674 | 63562.2 | 124816.1268 | 26.27% | 4.663%
175 | 15 | 15 | 1598913 | 102171.6 | 234354.5424 | 45.56% | 10.96%
200 | 15 | 15 | 1654965 | 102754.8 | 240009.3792 | 41.89% | 9.571%
225 | 15 | 15 | 1750059 | 103532.4 | 249422.0976 | 41.74% | 9.179%
250 | 15 | 15 | 1825389 | 111551.4 | 263200.6836 | 40.76% | 8.625%
175 | 20 | 10 | 2148840 | 149593.8 | 325446.3852 | 28.85% | 7.784%
200 | 20 | 10 | 2187396 | 154885.8 | 333512.9052 | 23.13% | 5.953%
225 | 20 | 10 | 2397078 | 155582.4 | 353398.5456 | 23.39% | 5.851%
250 | 20 | 10 | 2552814 | 156732.6 | 368708.5284 | 19.83% | 4.842%

## Storey Height
Table S8: Results of 2.4m storey height
Slab Thickness [mm] | Storeys | CBW Concrete [kg] | CBW Steel [kg] | CBW CO2e [kg] | % CBW Emissions Increase from 2.7m storey height | % Total Emissions Increase from 2.7m storey height
175 | 5 | 239152.2 | 20192.88 | 39246.7219 | 12.18% | 2.639%
175 | 10 | 529078.8 | 43352.16 | 85697.9942 | 10.83% | 2.469%
175 | 15 | 900231 | 71089.68 | 143531.8387 | 10.85% | 2.611%
175 | 20 | 1475834.4 | 107102.88 | 227242.6243 | 10.03% | 2.707%
200 | 5 | 241168.1999 | 20221.68 | 39456.7891 | 8.431% | 1.614%
200 | 10 | 540944.3999 | 43100.16 | 86574.4214 | 10.62% | 2.214%
200 | 15 | 943939.8 | 72901.2 | 149100.0864 | 11.85% | 2.708%
200 | 20 | 1561111.2 | 109141.92 | 236829.4301 | 12.56% | 3.233%
225 | 5 | 243414.6 | 20250.48 | 39688.0531 | 1.636% | 0.2683%
225 | 10 | 545926.8 | 43692.48 | 87538.6435 | 7.192% | 1.35%
225 | 15 | 980736.6 | 73796.88 | 153250.3027 | 12.91% | 2.839%
225 | 20 | 1638650.4 | 113098.56 | 247342.007 | 13.64% | 3.412%
250 | 5 | 243414.6 | 20250.48 | 39688.0531 | 1.572% | 0.2409%
250 | 10 | 545926.8 | 44691.36 | 88391.687 | 10.58% | 1.878%
250 | 15 | 1039565.4 | 75068.88 | 159748.8403 | 14.57% | 3.082%
250 | 20 | 1762135.2 | 116316.96 | 261451.1222 | 15.03% | 3.669%

## Foundations
Table S7: Foundation results for buildings using the same design parameters as Tables S1 & S2
Input |  | CSA |  |  |  | ACI
Slab Thickness [mm] | Storeys | Concrete [kg] | Steel [kg] | CO2e [kg] | CO2e [kg/NRA] | Concrete [kg] | Steel [kg] | CO2e [kg] | CO2e [kg/NRA] | % Difference
175 | 5 | 182000 | 4797.459 | 20841.03 | 9.8597 | 179000 | 4687.259 | 22976.9192 | 10.8702 | 10.25%
175 | 10 | 459000 | 7569.044 | 48691.9636 | 11.5179 | 464000 | 8369.933 | 56331.9228 | 13.3251 | 15.69%
175 | 15 | 830000 | 18100.042 | 91817.4359 | 14.4794 | 888000 | 22030.724 | 112942.2383 | 17.8107 | 23.01%
175 | 20 | 1150000 | 24995.503 | 127146.1596 | 15.038 | 1150000 | 37327.655 | 153777.8174 | 18.1878 | 20.95%
200 | 5 | 203000 | 6325.672 | 24078.1239 | 11.3912 | 204000 | 6742.614 | 27382.1924 | 12.9543 | 13.72%
200 | 10 | 464000 | 9970.089 | 51202.456 | 12.1118 | 479533 | 10041.5757 | 59406.0036 | 14.0523 | 16.02%
200 | 15 | 824000 | 18955.983 | 91996.4095 | 14.5076 | 861000 | 21332.377 | 109483.85 | 17.2653 | 19.01%
200 | 20 | 1220000 | 25999.42 | 134443.5047 | 15.9011 | 1250000 | 31141.455 | 159094.8026 | 18.8167 | 18.34%
225 | 5 | 206000 | 6617.81 | 24603.6097 | 11.6398 | 225000 | 6943.214 | 29779.5048 | 14.0885 | 21.04%
225 | 10 | 486000 | 13975.506 | 56647.0821 | 13.3997 | 501000 | 14134.112 | 65176.5316 | 15.4173 | 15.06%
225 | 15 | 815000 | 21137.659 | 93031.5608 | 14.6709 | 846000 | 21551.989 | 108081.3986 | 17.0442 | 16.18%
225 | 20 | 1306780 | 27306.1378 | 143543.2017 | 16.9773 | 1330000 | 33818.039 | 169860.6053 | 20.09 | 18.33%
250 | 5 | 242000 | 7977.278 | 29076.5954 | 13.7559 | 248000 | 7991.08 | 33112.3823 | 15.6652 | 13.88%
250 | 10 | 600000 | 14858.935 | 67889.5305 | 16.059 | 600000 | 14858.935 | 76289.5305 | 18.046 | 12.37%
250 | 15 | 928000 | 22672.036 | 104737.9187 | 16.5169 | 984000 | 25194.853 | 125820.4045 | 19.8416 | 20.13%
250 | 20 | 1480000 | 20670.061 | 153812.2321 | 18.1919 | 1470000 | 35610.447 | 186231.3217 | 22.0262 | 21.08%

## Building Loads
Table S9: Building Loads for a 10-Storey structure |  |  |  | Link | Reference
Load Category | Subcategory | Load Weight | Weight Unit | National Building Code of Canada | Canadian Comission on Building and Fire Codes. National Building Code of Canada 2020. (2020).
Live | Roof | 1 | KPa
Live | Unit | 1.9 | KPa
Live | Hallway | 4.8 | KPa
Dead | Superimposed | 2 | KPa
Dead | Exterior Cladding | 4 | KN/m
Snow | Rood Main Load | 1.12 | KPa
Snow | Roof Drift Load | 1.74 | KPa
Wind | Roof | 0.76 | KPa
Wind | Windward - Maximum | 0.61 | KPa
Wind | Leeward | 0.31 | KPa
Wind | Side | 0.53 | KPa

## Column Count
Table S10: Columns per slab thickness
Slab Thickness [mm] | Maximum Spacing [m] | Columns / Floor
175 | 4.9 | 36
200 | 5.6 | 30
225 | 6.3 | 30
250 | 7 | 24

## Results
Table S11: S-Concrete results for CSA 2 storey building, 250 mm slab, 2 run iterations
Name | Floor(s) | Width [mm] | Depth [mm] | Concrete [kg/m] | Steel [kg/m] | Quantity | Length [m] | Concrete [kg] | Steel [kg]
Beams | 10 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 11 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 12 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 13 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 14 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 15 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 16 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 17 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 18 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 19 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 2 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 20 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 21 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 3 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 4 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 5 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 6 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 7 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 8 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Beams | 9 | 250 | 200 | 117 | 19.6 | 2 | 3 | 351 | 58.8
Corner Columns | 1 - 2 | 500 | 500 | 591 | 48.8 | 4 | 10.8 | 6382.8 | 527.04
Corner Columns | 10 - 11 | 350 | 350 | 288 | 24.3 | 4 | 10.8 | 3110.4 | 262.44
Corner Columns | 11 - 12 | 425 | 425 | 428 | 25.9 | 4 | 10.8 | 4622.4 | 279.72
Corner Columns | 12 - 13 | 350 | 350 | 288 | 24.3 | 4 | 10.8 | 3110.4 | 262.44
Corner Columns | 13 - 14 | 325 | 325 | 251 | 14.4 | 4 | 10.8 | 2710.8 | 155.52
Corner Columns | 14 - 15 | 325 | 325 | 251 | 14.4 | 4 | 10.8 | 2710.8 | 155.52
Corner Columns | 15 - 16 | 325 | 325 | 251 | 14.4 | 4 | 10.8 | 2710.8 | 155.52
Corner Columns | 16 - 17 | 325 | 325 | 251 | 14.4 | 4 | 10.8 | 2710.8 | 155.52
Corner Columns | 17 - 18 | 300 | 300 | 213 | 13.9 | 4 | 10.8 | 2300.4 | 150.12
Corner Columns | 18 - 19 | 325 | 325 | 251 | 14.4 | 4 | 10.8 | 2710.8 | 155.52
Corner Columns | 19 - 20 | 300 | 300 | 213 | 13.9 | 4 | 10.8 | 2300.4 | 150.12
Corner Columns | 2 - 3 | 475 | 475 | 536 | 32.9 | 4 | 10.8 | 5788.8 | 355.32
Corner Columns | 20 - 21 | 400 | 400 | 378 | 25.4 | 4 | 10.8 | 4082.4 | 274.32
Corner Columns | 3 - 4 | 475 | 475 | 536 | 32.9 | 4 | 10.8 | 5788.8 | 355.32
Corner Columns | 4 - 5 | 475 | 475 | 536 | 32.9 | 4 | 10.8 | 5788.8 | 355.32
Corner Columns | 5 - 6 | 450 | 450 | 480 | 26.4 | 4 | 10.8 | 5184 | 285.12
Corner Columns | 6 - 7 | 425 | 425 | 428 | 25.9 | 4 | 10.8 | 4622.4 | 279.72
Corner Columns | 7 - 8 | 425 | 425 | 428 | 25.9 | 4 | 10.8 | 4622.4 | 279.72
Corner Columns | 8 - 9 | 400 | 400 | 378 | 25.4 | 4 | 10.8 | 4082.4 | 274.32
Corner Columns | 9 - 10 | 375 | 375 | 332 | 24.8 | 4 | 10.8 | 3585.6 | 267.84
Exterior Columns | 1 - 2 | 750 | 750 | 1336 | 78.1 | 18 | 48.6 | 64929.6 | 3795.66
Exterior Columns | 10 - 11 | 550 | 550 | 717 | 51.3 | 18 | 48.6 | 34846.2 | 2493.18
Exterior Columns | 11 - 12 | 525 | 525 | 653 | 50.1 | 18 | 48.6 | 31735.8 | 2434.86
Exterior Columns | 12 - 13 | 475 | 475 | 536 | 32.9 | 18 | 48.6 | 26049.6 | 1598.94
Exterior Columns | 13 - 14 | 475 | 475 | 536 | 32.9 | 18 | 48.6 | 26049.6 | 1598.94
Exterior Columns | 14 - 15 | 425 | 425 | 428 | 25.9 | 18 | 48.6 | 20800.8 | 1258.74
Exterior Columns | 15 - 16 | 375 | 375 | 332 | 24.8 | 18 | 48.6 | 16135.2 | 1205.28
Exterior Columns | 16 - 17 | 350 | 350 | 288 | 24.3 | 18 | 48.6 | 13996.8 | 1180.98
Exterior Columns | 17 - 18 | 350 | 350 | 288 | 24.3 | 18 | 48.6 | 13996.8 | 1180.98
Exterior Columns | 18 - 19 | 350 | 350 | 288 | 24.3 | 18 | 48.6 | 13996.8 | 1180.98
Exterior Columns | 19 - 20 | 325 | 325 | 251 | 14.4 | 18 | 48.6 | 12198.6 | 699.84
Exterior Columns | 2 - 3 | 750 | 750 | 1336 | 78.1 | 18 | 48.6 | 64929.6 | 3795.66
Exterior Columns | 20 - 21 | 475 | 475 | 536 | 32.9 | 18 | 48.6 | 26049.6 | 1598.94
Exterior Columns | 3 - 4 | 700 | 700 | 1162 | 75.8 | 18 | 48.6 | 56473.2 | 3683.88
Exterior Columns | 4 - 5 | 675 | 675 | 1082 | 58.9 | 18 | 48.6 | 52585.2 | 2862.54
Exterior Columns | 5 - 6 | 675 | 675 | 1082 | 58.9 | 18 | 48.6 | 52585.2 | 2862.54
Exterior Columns | 6 - 7 | 650 | 650 | 1002 | 58 | 18 | 48.6 | 48697.2 | 2818.8
Exterior Columns | 7 - 8 | 625 | 625 | 926 | 57.1 | 18 | 48.6 | 45003.6 | 2775.06
Exterior Columns | 8 - 9 | 600 | 600 | 855 | 53.7 | 18 | 48.6 | 41553 | 2609.82
Exterior Columns | 9 - 10 | 575 | 575 | 785 | 52.5 | 18 | 48.6 | 38151 | 2551.5
Interior Columns | 1 - 2 | 1025 | 1025 | 2496 | 153.4 | 4 | 10.8 | 26956.8 | 1656.72
Interior Columns | 10 - 11 | 700 | 700 | 1162 | 75.8 | 4 | 10.8 | 12549.6 | 818.64
Interior Columns | 11 - 12 | 675 | 675 | 1082 | 58.9 | 4 | 10.8 | 11685.6 | 636.12
Interior Columns | 12 - 13 | 625 | 625 | 926 | 57.1 | 4 | 10.8 | 10000.8 | 616.68
Interior Columns | 13 - 14 | 575 | 575 | 785 | 52.5 | 4 | 10.8 | 8478 | 567
Interior Columns | 14 - 15 | 525 | 525 | 653 | 50.1 | 4 | 10.8 | 7052.4 | 541.08
Interior Columns | 15 - 16 | 475 | 475 | 536 | 32.9 | 4 | 10.8 | 5788.8 | 355.32
Interior Columns | 16 - 17 | 450 | 450 | 480 | 26.4 | 4 | 10.8 | 5184 | 285.12
Interior Columns | 17 - 18 | 375 | 375 | 332 | 24.8 | 4 | 10.8 | 3585.6 | 267.84
Interior Columns | 18 - 19 | 425 | 425 | 428 | 25.9 | 4 | 10.8 | 4622.4 | 279.72
Interior Columns | 19 - 20 | 350 | 350 | 288 | 24.3 | 4 | 10.8 | 3110.4 | 262.44
Interior Columns | 2 - 3 | 1000 | 1000 | 2374 | 151.6 | 4 | 10.8 | 25639.2 | 1637.28
Interior Columns | 20 - 21 | 375 | 375 | 332 | 24.8 | 4 | 10.8 | 3585.6 | 267.84
Interior Columns | 3 - 4 | 975 | 975 | 2258 | 141.4 | 4 | 10.8 | 24386.4 | 1527.12
Interior Columns | 4 - 5 | 850 | 850 | 1714 | 123.9 | 4 | 10.8 | 18511.2 | 1338.12
Interior Columns | 5 - 6 | 900 | 900 | 1924 | 127.6 | 4 | 10.8 | 20779.2 | 1378.08
Interior Columns | 6 - 7 | 850 | 850 | 1714 | 123.9 | 4 | 10.8 | 18511.2 | 1338.12
Interior Columns | 7 - 8 | 775 | 775 | 1424 | 90.5 | 4 | 10.8 | 15379.2 | 977.4
Interior Columns | 8 - 9 | 775 | 775 | 1424 | 90.5 | 4 | 10.8 | 15379.2 | 977.4
Interior Columns | 9 - 10 | 700 | 700 | 1162 | 75.8 | 4 | 10.8 | 12549.6 | 818.64
Long Walls | 1 - 2 | 550 | NA | 11457 | 346 | 2 | 5.4 | 61867.8 | 1868.4
Long Walls | 2 - 3 | 550 | NA | 11457 | 346 | 2 | 5.4 | 61867.8 | 1868.4
Long Walls | 3 - 4 | 550 | NA | 11462 | 289.6 | 2 | 5.4 | 61894.8 | 1563.84
Long Walls | 4 - 5 | 500 | NA | 10412 | 345.2 | 2 | 5.4 | 56224.8 | 1864.08
Long Walls | 5 - 6 | 500 | NA | 10417 | 267.9 | 2 | 5.4 | 56251.8 | 1446.66
Long Walls | 6 - 7 | 450 | NA | 9374 | 261.6 | 2 | 5.4 | 50619.6 | 1412.64
Long Walls | 7 - 8 | 425 | NA | 8852 | 260 | 2 | 5.4 | 47800.8 | 1404
Long Walls | 8 - 9 | 400 | NA | 8331 | 255.3 | 2 | 5.4 | 44987.4 | 1378.62
Long Walls | 9 - 10 | 375 | NA | 7809 | 253.7 | 2 | 5.4 | 42168.6 | 1369.98
Long Walls | 10 - 11 | 350 | NA | 7287 | 252.2 | 2 | 5.4 | 39349.8 | 1361.88
Long Walls | 11 - 12 | 325 | NA | 6765 | 250.6 | 2 | 5.4 | 36531 | 1353.24
Long Walls | 12 - 13 | 300 | NA | 6243 | 249 | 2 | 5.4 | 33712.2 | 1344.6
Long Walls | 13 - 14 | 275 | NA | 5721 | 247.5 | 2 | 5.4 | 30893.4 | 1336.5
Long Walls | 14 - 15 | 250 | NA | 5199 | 265.5 | 2 | 5.4 | 28074.6 | 1433.7
Long Walls | 15 - 16 | 200 | NA | 4155 | 317.2 | 2 | 5.4 | 22437 | 1712.88
Long Walls | 16 - 17 | 175 | NA | 3633 | 314.9 | 2 | 5.4 | 19618.2 | 1700.46
Long Walls | 17 - 18 | 175 | NA | 3633 | 314.9 | 2 | 5.4 | 19618.2 | 1700.46
Long Walls | 18 - 19 | 175 | NA | 3633 | 314.9 | 2 | 5.4 | 19618.2 | 1700.46
Long Walls | 19 - 20 | 200 | NA | 4155 | 317.2 | 2 | 5.4 | 22437 | 1712.88
Long Walls | 20 - 21 | 225 | NA | 4677 | 319.4 | 2 | 5.4 | 25255.8 | 1724.76
Short Walls | 1 - 2 | 575 | NA | 3024 | 134.5 | 4 | 10.8 | 32659.2 | 1452.6
Short Walls | 2 - 3 | 575 | NA | 3030 | 84.6 | 4 | 10.8 | 32724 | 913.68
Short Walls | 3 - 4 | 525 | NA | 2760 | 122.5 | 4 | 10.8 | 29808 | 1323
Short Walls | 4 - 5 | 500 | NA | 2634 | 76.2 | 4 | 10.8 | 28447.2 | 822.96
Short Walls | 5 - 6 | 475 | NA | 2502 | 74.8 | 4 | 10.8 | 27021.6 | 807.84
Short Walls | 6 - 7 | 450 | NA | 2370 | 74.2 | 4 | 10.8 | 25596 | 801.36
Short Walls | 7 - 8 | 425 | NA | 2238 | 73 | 4 | 10.8 | 24170.4 | 788.4
Short Walls | 8 - 9 | 400 | NA | 2106 | 72.4 | 4 | 10.8 | 22744.8 | 781.92
Short Walls | 9 - 10 | 375 | NA | 1974 | 71 | 4 | 10.8 | 21319.2 | 766.8
Short Walls | 10 - 11 | 350 | NA | 1842 | 70.4 | 4 | 10.8 | 19893.6 | 760.32
Short Walls | 11 - 12 | 325 | NA | 1710 | 69.3 | 4 | 10.8 | 18468 | 748.44
Short Walls | 12 - 13 | 300 | NA | 1578 | 68.6 | 4 | 10.8 | 17042.4 | 740.88
Short Walls | 13 - 14 | 250 | NA | 1314 | 71.9 | 4 | 10.8 | 14191.2 | 776.52
Short Walls | 14 - 15 | 250 | NA | 1314 | 78.6 | 4 | 10.8 | 14191.2 | 848.88
Short Walls | 15 - 16 | 275 | NA | 1446 | 78.7 | 4 | 10.8 | 15616.8 | 849.96
Short Walls | 16 - 17 | 275 | NA | 1446 | 77.8 | 4 | 10.8 | 15616.8 | 840.24
Short Walls | 17 - 18 | 275 | NA | 1446 | 77.8 | 4 | 10.8 | 15616.8 | 840.24
Short Walls | 18 - 19 | 275 | NA | 1446 | 77.2 | 4 | 10.8 | 15616.8 | 833.76
Short Walls | 19 - 20 | 450 | NA | 2370 | 83.3 | 4 | 10.8 | 25596 | 899.64
Short Walls | 20 - 21 | 500 | NA | 2629 | 114.1 | 4 | 10.8 | 28393.2 | 1232.28