New Modeling of AgFeNi2S4-Graphene-TiO2 Ternary Nanocomposite synthesized via the Pechini Method for the Enhanced Electrophotocatalytic Reduction of CO2

Zambaga Otgonbayar 1, Won-Chun Oh 1. 2

1 Department of Advanced Materials Science & Engineering, Hanseo University, Seosan-si, Chungnam, Korea, 356-706

2 Anhui International Joint Research Center for Nano Carbon-based Materials and Environmental Health, College of Materials Science and Engineering, Anhui University of Science & Technology, Huainan 232001, PR China

- Characterization

The crystal structure of the synthesized samples was characterized using X-ray diffraction measurements (SHIMADZU XRD-6000) equipped with a Cu Ka X-ray source (1.5406 Å). We used the Debye-Scherrer equation to measure the particle size of AgFeNi2S4 and TiO2 based on the data acquired via XRD analysis.

L=Kλβcosθ                                                    d=0.9 λβcosθ

where L is the particle size, λ is the wavelength of X-ray radiation (1.5406 Å), β is the full-width at half maximum (FWHM) of the peak (in radians) and 2θ is the Bragg angle. The surface morphology of the nanocomposite was observed using an energy-dispersive X-ray (EDX) analyzer incorporated into the SEM. The transmission electron microscopy (TEM) and  high-resolution transmission electron microscopic (HRTEM) images of the samples using a (Hitachi  HT7700, Hitachi H9500) operated at 300 kV. The X-ray photoelectron spectra (XPS) with a monochromatized Al Ka X-ray source (10 kV, 1500 W, pass energy = 40 eV) was adopted to determine the surface chemical state. UV–vis diffuse reflectance spectra (DRS) of nanocomposites were acquired from a SHIMADZU UV-2600 UV-vis spectrometer ranging from 200 to 800 nm. The bandgap energies by applying a modified Kubelka–Munk function obtained from the UV–vis DRS data. The raman spectroscopy conducted using a Confocal-Raman imaging system with a 633-nm excitation laser (Renishaw in Via Reflex). The photocurrent analysis conducted using a computer-controlled Versa-STAT-3 electrochemical analyzer. Photoluminescence spectroscopy (PL) carried out at RT in a conventional PL system. The ND 10% filter united 514-nm laser as the excitation source and noted the measurement range at the 530-1000 nm region. The electrochemical impedance spectroscopy (EIS) conducted on an electrochemical analyzer (Zahner, Germany) in a standard three-electrode system using the prepared samples as the working electrodes with an active area of ca. 0.25 cm2, a Pt wire as the counter electrode, and Ag/AgCl (saturated KCl) as a reference electrode. The electrolytes were a mixed aqueous solution containing K3[Fe(CN)6] (1 mmol/L), K4[Fe(CN)6] (1 mmol/L), and KCl (0.1 mol/L). We fitted impedance data with ZSimpWin software (Princeton Applied Research).

Scheme S1. Schematic diagram of the device of photocatalytic CO2 reduction with AgFeNi2S4-Graphene-TiO2.

Scheme S2. Schematic diagram of the working electrode preparation and electrochemical  CO2 reduction with AgFeNi2S4-Graphene-TiO2.

Figure S1. Supplementary TEM images of (a-b) AgFeNi2S4-Graphene, (c-d) AgFeNi2S4-Graphene-TiO2.

Figure S2. Cyclic voltammetry test of AgFeNi2S4-Graphene-TiO2 in pure methanol electrolyte under 100 mV s-1 scan rate.

Figure S3. The FTIR result of the final product: reference (olive line), final methanol product (blue and red line).

Table S1. Characteristic vibrational group of the final-product from the FTIR measurement

| № | Vibrational state | Mode | Experimental (cm-1) | Theoretical (cm-1) |
| --- | --- | --- | --- | --- |
| 1 | Hydroxyl group | (O-H) | 3293.82 cm-1 | 3400-3300 cm-1 |
| 2 | Alcohol group | C-O-H | 1267.003 cm-1 | 1440-1220 cm-1 |
| 3 | Methyl group | (C-H) in (CH3) δ | 1643.053 cm-1 | 1450 cm-1 |
| 4 | Carbonyl group | C-O | 1020.15 cm-1 | 1300-1000 cm-1 |

Corresponding author

E-mail: wc_oh@hanseo.ac.kr

Tel: +82-41-660-1337, Fax: +82-41-688-3352