## Sheet1
Supplementary Table 5 Measured and calibrated retention time (RT) and mass to charge ratio (m/z) of the deconvoluted ions in both negative and positive ionization modes assigned to metabolites with MZmine 2. RT and m/z of the measured standards included in the library are shown in the table. Error of m/z and RT of assigned ions to metabolites respect the m/z and RT of standards are shown before and after calibration. After the chromatogram builder and deconvolution algorithms of MZmine 2, several ions with the same exact mass may have been separated into two or more independent deconvoluted peaks presenting slightly different retention times and or m/z. The following table show all the peaks assigned to a molecular compound based on the exact mass of their parent ion (in negative or positive mode). For the final dataset of this study includes, all identified metabolic features assigned to a same metabolite were summed to finally have a single variable per metabolite. Last column of the table shows whether such metabolite match passed the matching filtering as described at the end of the table.
*ID match filtering pass. A metabolite match is considered wrong if 1) PPM error after calibration is higher than 6, and/or 2) RT error after calibration is larger than 0.25 at RT lower than 2 minutes, and/or 3) RT error is larger than 0.3 between RT 2-10 minutes.
NEGATIVE IONIZATION MODE
|  | Library |  | LC-MS analyses |  | Calibrated |  | Matching Error Before calibration |  | Matching Error After calibration
Compound name | KEGG ID | m/z | RT | m/z | RT | m/z | RT | m/z | PPM | m/z | PPM | RT | ID match Filtering pass*
2,5-DIHYDROXYBENZOATE | C00628 | 153.0193 | 5.4 | 153.0201 | 5.17 | 153.0195 | 5.11 | 0.000729 | 4.77 | 0.000133 | 0.87 | -0.29 | YES
2-Deoxy-D Ribose | C01801 | 133.0506 | 1.4 | 133.0512 | 1.7 | 133.0507 | 1.64 | 0.000587 | 4.41 | 6.9e-05 | 0.52 | 0.24 | YES
2-Deoxy-D Ribose | C01801 | 133.0506 | 1.4 | 133.0512 | 1.66 | 133.0507 | 1.6 | 0.000587 | 4.41 | 6.9e-05 | 0.52 | 0.2 | YES
2-DEOXY-D-GLUCOSE | C00586 | 163.0612 | 1.35 | 163.0618 | 1.51 | 163.0612 | 1.44 | 0.000645 | 3.96 | 1e-05 | 0.06 | 0.09 | YES
2-DEOXY-D-GLUCOSE | C00586 | 163.0612 | 1.35 | 163.0619 | 1.64 | 163.0613 | 1.58 | 0.000694 | 4.26 | 5.9e-05 | 0.36 | 0.23 | YES
2-METHYLGLUTARIC ACID | CA1107 | 145.0506 | 3.52 | 145.0512 | 3.81 | 145.0506 | 3.74 | 0.00054 | 3.72 | -2.5e-05 | -0.17 | 0.22 | YES
2-METHYLMALEATE | C02226 | 129.0193 | 2.06 | 129.0199 | 1.85 | 129.0194 | 1.79 | 0.000591 | 4.58 | 8.8e-05 | 0.68 | -0.27 | NO
2-OXOADIPATE | C00322 | 159.0299 | 1.88 | 159.0307 | 1.78 | 159.03 | 1.72 | 0.000768 | 4.83 | 0.000149 | 0.94 | -0.16 | YES
3-HYDROXY-3-METHYLGLUTARATE | C03761 | 161.0455 | 1.85 | 161.0464 | 1.86 | 161.0458 | 1.8 | 0.000845 | 5.25 | 0.000217 | 1.35 | -0.05 | YES
3-HYDROXYBENZALDEHYDE | C03067 | 121.0295 | 8.82 | 121.0299 | 9 | 121.0294 | 8.94 | 0.000417 | 3.44 | -5.5e-05 | -0.45 | 0.12 | YES
3-HYDROXYBENZALDEHYDE | C03067 | 121.0295 | 8.82 | 121.03 | 8.66 | 121.0295 | 8.6 | 0.000481 | 3.98 | 1e-05 | 0.08 | -0.22 | YES
3-Hydroxycinnamic acid |  | 163.04 | 9.39 | 163.0407 | 9.26 | 163.04 | 9.21 | 0.000653 | 4.01 | 1.8e-05 | 0.11 | -0.18 | YES
3-HYDROXYPHENYLACETATE | C05593 | 151.0401 | 7.74 | 151.0408 | 8.16 | 151.0402 | 8.1 | 0.00073 | 4.84 | 0.000142 | 0.94 | 0.36 | NO
3-METHOXY-4-HYDROXYMANDELATE | C05584 | 197.0455 | 1.53 | 197.0485 | 1.44 | 197.0477 | 1.38 | 0.002915 | 14.79 | 0.002148 | 10.9 | -0.15 | NO
3-METHOXY-4-HYDROXYMANDELATE | C05584 | 197.0455 | 1.53 | 197.0429 | 1.43 | 197.0422 | 1.36 | -0.002627 | -13.33 | -0.003395 | -17.23 | -0.17 | NO
3-METHOXY-4-HYDROXYMANDELATE | C05584 | 197.0455 | 2.3 | 197.0463 | 2.54 | 197.0455 | 2.48 | 0.000757 | 3.84 | -1.1e-05 | -0.05 | 0.18 | YES
4-ACETAMIDOBUTANOATE | C02946 | 144.0666 | 1.86 | 144.0674 | 2.03 | 144.0669 | 1.97 | 0.00083 | 5.76 | 0.000269 | 1.87 | 0.11 | YES
4-ACETAMIDOBUTANOATE | C02946 | 144.0666 | 1.86 | 144.0674 | 1.83 | 144.0669 | 1.77 | 0.000814 | 5.65 | 0.000252 | 1.75 | -0.09 | YES
4-AMINOBUTANOATE | C00334 | 102.056 | 1.25 | 102.0565 | 1.38 | 102.0561 | 1.32 | 0.000448 | 4.39 | 5e-05 | 0.49 | 0.07 | YES
4-HYDROXYBENZALDEHYDE | C00633 | 121.0295 | 7.71 | 121.0301 | 7.62 | 121.0296 | 7.56 | 0.000601 | 4.96 | 0.000129 | 1.07 | -0.15 | YES
4-HYDROXYBENZALDEHYDE | C00633 | 121.0295 | 7.71 | 121.0301 | 7.44 | 121.0296 | 7.38 | 0.00056 | 4.63 | 8.9e-05 | 0.73 | -0.33 | NO
4-Hydroxybenzoic acid | C00156 | 137.0244 | 5 | 137.025 | 4.88 | 137.0245 | 4.82 | 0.000591 | 4.31 | 5.7e-05 | 0.42 | -0.18 | YES
4-HYDROXY-L-PROLINE | C01157 | 130.051 | 1.33 | 130.0515 | 1.72 | 130.051 | 1.66 | 0.000582 | 4.48 | 7.6e-05 | 0.58 | 0.33 | NO
4-PYRIDOXATE | C00847 | 182.0459 | 1.37 | 182.0467 | 1.81 | 182.046 | 1.75 | 0.000794 | 4.36 | 8.5e-05 | 0.47 | 0.38 | NO
5,6-DIHYDROURACIL | C00429 | 113.0357 | 1.36 | 113.0361 | 1.36 | 113.0357 | 1.3 | 0.000472 | 4.18 | 3.2e-05 | 0.29 | -0.06 | YES
5-OXO-L-PROLINE | C01879 | 128.0353 | 1.37 | 128.036 | 1.79 | 128.0355 | 1.72 | 0.000659 | 5.14 | 0.00016 | 1.25 | 0.35 | NO
5-OXO-L-PROLINE | C01879 | 128.0353 | 1.37 | 128.036 | 1.56 | 128.0355 | 1.5 | 0.000674 | 5.26 | 0.000175 | 1.37 | 0.13 | YES
6-CARBOXYHEXANOATE | C02656 | 159.0663 | 6.46 | 159.0672 | 6.45 | 159.0665 | 6.39 | 0.000878 | 5.52 | 0.000258 | 1.62 | -0.07 | YES
6-HYDROXYNICOTINATE | C01020 | 138.0197 | 1.84 | 138.0205 | 1.96 | 138.02 | 1.9 | 0.000841 | 6.09 | 0.000303 | 2.2 | 0.06 | YES
6-Phosphogluconic acid | C00345 | 275.0173 | 1.55 | 275.0207 | 1.47 | 275.0197 | 1.41 | 0.003409 | 12.4 | 0.002338 | 8.5 | -0.14 | NO
ADENINE | C00147 | 134.0472 | 1.35 | 134.0479 | 1.79 | 134.0474 | 1.73 | 0.000657 | 4.9 | 0.000135 | 1.01 | 0.38 | NO
ADENINE | C00147 | 134.0472 | 1.35 | 134.0477 | 1.42 | 134.0471 | 1.35 | 0.000426 | 3.18 | -9.6e-05 | -0.71 | 0 | YES
ADENOSINE 5'-MONOPHOSPHATE | C00020 | 346.0558 | 1.49 | 346.0541 | 1.39 | 346.0528 | 1.33 | -0.001664 | -4.81 | -0.003012 | -8.7 | -0.16 | NO
ADENOSINE 5'-MONOPHOSPHATE | C00020 | 346.0558 | 1.49 | 346.0591 | 1.4 | 346.0577 | 1.33 | 0.003242 | 9.37 | 0.001894 | 5.47 | -0.16 | YES
ALPHA-D-GLUCOSE 1-PHOSPHATE | C00103 | 259.0224 | 1.54 | 259.0234 | 1.56 | 259.0224 | 1.49 | 0.000985 | 3.8 | -2.4e-05 | -0.09 | -0.05 | YES
ALPHA-D-GLUCOSE 1-PHOSPHATE | C00103 | 259.0224 | 1.54 | 259.0233 | 1.52 | 259.0222 | 1.46 | 0.000808 | 3.12 | -0.000201 | -0.78 | -0.08 | YES
ALPHA-D-GLUCOSE 1-PHOSPHATE | C00103 | 259.0224 | 1.54 | 259.0236 | 1.56 | 259.0226 | 1.5 | 0.001124 | 4.34 | 0.000115 | 0.44 | -0.04 | YES
ALPHA-D-GLUCOSE 1-PHOSPHATE | C00103 | 259.0224 | 1.54 | 259.0233 | 1.56 | 259.0223 | 1.49 | 0.000856 | 3.31 | -0.000153 | -0.59 | -0.05 | YES
alpha-hydroxybutyric acid | C01188 | 103.0401 | 1.95 | 103.0407 | 1.94 | 103.0403 | 1.88 | 0.000672 | 6.52 | 0.000271 | 2.63 | -0.07 | YES
ALPHA-KETOGLUTARIC ACID | C00026 | 145.0143 | 1.79 | 145.0149 | 1.76 | 145.0144 | 1.7 | 0.000664 | 4.58 | 9.9e-05 | 0.68 | -0.09 | YES
ASCORBATE | C00072 | 175.0248 | 1.36 | 175.0253 | 1.47 | 175.0246 | 1.41 | 0.000486 | 2.78 | -0.000195 | -1.12 | 0.05 | YES
ASPARTATE | C00049 | 132.0302 | 1.41 | 132.0307 | 1.38 | 132.0302 | 1.32 | 0.000507 | 3.84 | -7e-06 | -0.05 | -0.09 | YES
AZELAIC ACID | C08261 | 187.0976 | 11.3 | 187.0983 | 11.15 | 187.0976 | 11.09 | 0.000698 | 3.73 | -3e-05 | -0.16 | -0.21 | YES
AZELAIC ACID | C08261 | 187.0976 | 11.3 | 187.0981 | 11.13 | 187.0974 | 11.08 | 0.000549 | 2.94 | -0.00018 | -0.96 | -0.22 | YES
AZELAIC ACID | C08261 | 187.0976 | 11.3 | 187.0981 | 11.16 | 187.0974 | 11.11 | 0.000565 | 3.02 | -0.000164 | -0.88 | -0.19 | YES
Benzoic acid | C00180 | 121.0295 | 10.96 | 121.03 | 10.69 | 121.0296 | 10.63 | 0.000522 | 4.31 | 5.1e-05 | 0.42 | -0.33 | YES
Benzoic acid | C00180 | 121.0295 | 10.96 | 121.03 | 10.69 | 121.0295 | 10.63 | 0.000506 | 4.18 | 3.4e-05 | 0.28 | -0.33 | YES
BETA-ALANINE | C00099 | 88.0404 | 1.28 | 88.0408 | 1.37 | 88.0405 | 1.3 | 0.000432 | 4.91 | 8.9e-05 | 1.01 | 0.02 | YES
BETAINE | C00719 | 116.0717 | 1.34 | 116.0721 | 1.46 | 116.0717 | 1.39 | 0.000452 | 3.9 | 0 | 0 | 0.05 | YES
Catechin | C06562 | 289.0717 | 1.49 | 289.0686 | 1.78 | 289.0675 | 1.72 | -0.003078 | -10.65 | -0.004204 | -14.54 | 0.23 | NO
Chlorogenic acid | C00852 | 353.0878 | 5 | 353.0881 | 5.4 | 353.0867 | 5.34 | 0.000287 | 0.81 | -0.001088 | -3.08 | 0.34 | NO
Chlorogenic acid | C00852 | 353.0878 | 5 | 353.0887 | 4.94 | 353.0873 | 4.88 | 0.00089 | 2.52 | -0.000486 | -1.38 | -0.12 | YES
CITRATE | C00158 | 191.0197 | 1.48 | 191.0204 | 1.48 | 191.0196 | 1.42 | 0.000644 | 3.37 | -0.0001 | -0.52 | -0.06 | YES
CITRATE | C00158 | 191.0197 | 1.48 | 191.0204 | 1.79 | 191.0196 | 1.73 | 0.000631 | 3.3 | -0.000113 | -0.59 | 0.25 | YES
Cytidine | C00475 | 242.0782 | 1.29 | 242.0785 | 1.44 | 242.0776 | 1.38 | 0.000261 | 1.08 | -0.000682 | -2.82 | 0.09 | YES
DEHYDROASCORBATE | C05422 | 173.0092 | 1.51 | 173.0099 | 1.8 | 173.0092 | 1.74 | 0.000752 | 4.35 | 7.8e-05 | 0.45 | 0.23 | YES
D-GULONIC ACID GAMA-LACTONE | C01040 | 177.0405 | 1.36 | 177.041 | 1.46 | 177.0403 | 1.4 | 0.000582 | 3.28 | -0.000108 | -0.61 | 0.04 | YES
D-ORNITHINE | C00515 | 131.0826 | 1.24 | 131.0832 | 1.27 | 131.0827 | 1.2 | 0.000616 | 4.7 | 0.000105 | 0.8 | -0.04 | YES
D-XYLOSE | C01394 | 149.0455 | 1.32 | 149.046 | 1.43 | 149.0454 | 1.37 | 0.000428 | 2.87 | -0.000153 | -1.02 | 0.05 | YES
ETHANOLAMINE PHOSPHATE | C00346 | 140.0118 | 1.39 | 140.0126 | 1.36 | 140.0121 | 1.3 | 0.000799 | 5.71 | 0.000254 | 1.81 | -0.09 | YES
FERULATE | C01494 | 193.0506 | 10.14 | 193.0512 | 10.06 | 193.0504 | 10 | 0.000544 | 2.82 | -0.000208 | -1.08 | -0.14 | YES
FORMYL-L-METHIONYL PEPTIDE | C03145 | 176.0387 | 3.57 | 176.0365 | 3.97 | 176.0358 | 3.91 | -0.002237 | -12.71 | -0.002922 | -16.6 | 0.34 | NO
Fumaric acid | C00122 | 115.0037 | 1.79 | 115.0041 | 1.47 | 115.0037 | 1.41 | 0.000432 | 3.75 | -1.6e-05 | -0.14 | -0.38 | NO
Galacturonic acid | C00333 | 193.0354 | 1.34 | 193.0359 | 1.45 | 193.0352 | 1.39 | 0.000562 | 2.91 | -0.000189 | -0.98 | 0.05 | YES
Galangin | C10044 | 269.0455 | 15.88 | 269.0466 | 15.86 | 269.0456 | 15.81 | 0.001134 | 4.21 | 8.6e-05 | 0.32 | -0.07 | YES
GGPP Geranylgeranyl pyrophosphate | C00353 | 449.1863 | 19.34 | 449.1875 | 19.61 | 449.1857 | 19.56 | 0.00118 | 2.63 | -0.00057 | -1.27 | 0.22 | YES
GGPP Geranylgeranyl pyrophosphate | C00353 | 449.1863 | 19.34 | 449.1875 | 19.63 | 449.1857 | 19.58 | 0.00116 | 2.58 | -0.000589 | -1.31 | 0.24 | YES
GLUCONIC ACID | C00257 | 195.051 | 1.52 | 195.0526 | 1.44 | 195.0519 | 1.38 | 0.001625 | 8.33 | 0.000865 | 4.44 | -0.14 | YES
GLUCONIC ACID | C00257 | 195.051 | 1.52 | 195.0524 | 1.44 | 195.0516 | 1.37 | 0.001344 | 6.89 | 0.000584 | 3 | -0.15 | YES
Glutamic acid | C00025 | 146.0459 | 1.29 | 146.0463 | 1.39 | 146.0457 | 1.32 | 0.000381 | 2.61 | -0.000188 | -1.29 | 0.03 | YES
GLUTARATE | C00489 | 131.035 | 1.78 | 131.0356 | 1.39 | 131.0351 | 1.33 | 0.000579 | 4.42 | 6.8e-05 | 0.52 | -0.45 | NO
GLUTARATE | C00489 | 131.035 | 2.23 | 131.0357 | 2.47 | 131.0352 | 2.41 | 0.000747 | 5.7 | 0.000236 | 1.8 | 0.18 | YES
Gluthathione reduced | C00051 | 306.0765 | 1.35 | 306.0768 | 1.48 | 306.0756 | 1.41 | 0.000306 | 1 | -0.000886 | -2.89 | 0.06 | YES
Gluthathione reduced | C00051 | 306.0765 | 1.35 | 306.0772 | 1.79 | 306.076 | 1.72 | 0.000692 | 2.26 | -0.000501 | -1.64 | 0.37 | NO
Gluthathione reduced | C00051 | 306.0765 | 1.35 | 306.077 | 1.61 | 306.0758 | 1.55 | 0.000476 | 1.55 | -0.000716 | -2.34 | 0.2 | YES
GLYCERALDEHYDE | C02154 | 89.0244 | 1.39 | 89.0249 | 1.42 | 89.0245 | 1.35 | 0.000426 | 4.78 | 7.9e-05 | 0.89 | -0.04 | YES
GLYCERALDEHYDE | C02154 | 89.0244 | 1.39 | 89.025 | 1.73 | 89.0246 | 1.67 | 0.000541 | 6.07 | 0.000194 | 2.18 | 0.28 | NO
GLYCERATE | C00258 | 105.0193 | 1.58 | 105.0197 | 1.46 | 105.0193 | 1.4 | 0.000411 | 3.91 | 2e-06 | 0.02 | -0.18 | YES
Glycine | C00037 | 74.0247 | 1.31 | 74.0251 | 1.38 | 74.0249 | 1.32 | 0.000396 | 5.35 | 0.000107 | 1.45 | 0.01 | YES
GLYCOLATE | C00160 | 75.0088 | 1.75 | 75.0092 | 1.61 | 75.0089 | 1.54 | 0.00046 | 6.13 | 0.000168 | 2.23 | -0.21 | YES
Glyoxilic acid | C00048 | 72.9931 | 1.45 | 72.9935 | 1.43 | 72.9932 | 1.37 | 0.000388 | 5.32 | 0.000104 | 1.43 | -0.08 | YES
GUANOSINE | C00387 | 344.0402 | 1.84 | 344.0356 | 1.48 | 344.0343 | 1.42 | -0.004515 | -13.12 | -0.005855 | -17.02 | -0.42 | NO
GUANOSINE | C00387 | 282.0844 | 1.36 | 282.0851 | 1.8 | 282.084 | 1.73 | 0.000705 | 2.5 | -0.000394 | -1.39 | 0.37 | NO
HOMOGENTISATE | C00544 | 167.035 | 2.51 | 167.0358 | 2.63 | 167.0352 | 2.56 | 0.000857 | 5.13 | 0.000207 | 1.24 | 0.05 | YES
HOMOGENTISATE | C00544 | 167.035 | 2.51 | 167.0358 | 2.48 | 167.0352 | 2.42 | 0.00086 | 5.15 | 0.00021 | 1.25 | -0.09 | YES
HOMOGENTISATE | C00544 | 167.035 | 2.51 | 167.0358 | 2.63 | 167.0352 | 2.57 | 0.000831 | 4.97 | 0.00018 | 1.08 | 0.06 | YES
HYDROXYPYRUVATE | C00168 | 103.0037 | 1.58 | 103.0042 | 1.46 | 103.0038 | 1.4 | 0.000574 | 5.58 | 0.000173 | 1.68 | -0.18 | YES
HYDROXYPYRUVATE | C00168 | 103.0037 | 1.58 | 103.0043 | 1.94 | 103.0039 | 1.88 | 0.000623 | 6.05 | 0.000222 | 2.15 | 0.3 | NO
Hypoxanthine | C00262 | 135.0312 | 1.4 | 135.0303 | 1.43 | 135.0298 | 1.37 | -0.000873 | -6.46 | -0.001399 | -10.36 | -0.03 | NO
Hypoxanthine | C00262 | 135.0312 | 1.4 | 135.0304 | 1.44 | 135.0299 | 1.38 | -0.000796 | -5.9 | -0.001322 | -9.79 | -0.02 | NO
Inosine | C00294 | 267.0735 | 1.41 | 267.0729 | 1.41 | 267.0718 | 1.34 | -0.000632 | -2.37 | -0.001673 | -6.26 | -0.07 | NO
Isorhamnetin | C10084 | 315.051 | 13.65 | 315.0522 | 13.51 | 315.051 | 13.46 | 0.001179 | 3.74 | -4.9e-05 | -0.15 | -0.19 | YES
Jasmonic acid | C08491 | 209.1183 | 13.47 | 209.1192 | 13.61 | 209.1184 | 13.55 | 0.000877 | 4.19 | 6.2e-05 | 0.3 | 0.08 | YES
Kaempferol | C05903 | 285.0404 | 13.49 | 285.0415 | 13.39 | 285.0404 | 13.33 | 0.001106 | 3.88 | -5e-06 | -0.02 | -0.16 | YES
L-ARGININE | C00062 | 173.1044 | 1.25 | 173.1052 | 1.26 | 173.1045 | 1.2 | 0.000779 | 4.5 | 0.000105 | 0.61 | -0.05 | YES
L-ASPARAGINE | C00152 | 131.0462 | 1.31 | 131.0467 | 1.37 | 131.0462 | 1.3 | 0.000461 | 3.52 | -4.9e-05 | -0.37 | -0.01 | YES
L-GLUTAMINE | C00064 | 145.0619 | 1.32 | 145.0623 | 1.37 | 145.0618 | 1.31 | 0.000481 | 3.31 | -8.4e-05 | -0.58 | -0.01 | YES
L-HISTIDINE | C00135 | 154.0622 | 1.26 | 154.0626 | 1.35 | 154.062 | 1.29 | 0.000453 | 2.94 | -0.000147 | -0.96 | 0.03 | YES
LL-2,6-DIAMINOHEPTANEDIOATE | C00666 | 189.0881 | 1.31 | 189.0886 | 1.38 | 189.0878 | 1.32 | 0.000494 | 2.61 | -0.000243 | -1.28 | 0.01 | YES
L-LYSINE | C16440 | 145.0983 | 1.23 | 145.099 | 1.26 | 145.0984 | 1.2 | 0.000749 | 5.16 | 0.000184 | 1.27 | -0.03 | YES
L-METHIONINE | C01733 | 148.0438 | 1.37 | 148.0443 | 1.79 | 148.0437 | 1.72 | 0.000523 | 3.53 | -5.3e-05 | -0.36 | 0.35 | NO
L-PHENYLALANINE | C00079 | 164.0717 | 2.19 | 164.0726 | 2.33 | 164.072 | 2.27 | 0.000919 | 5.6 | 0.00028 | 1.71 | 0.08 | YES
L-PROLINE | C00148 | 114.056 | 1.35 | 114.0563 | 1.41 | 114.0559 | 1.34 | 0.000305 | 2.67 | -0.00014 | -1.23 | -0.01 | YES
L-SERINE | C00065 | 104.0353 | 1.29 | 104.0358 | 1.37 | 104.0354 | 1.31 | 0.000462 | 4.44 | 5.7e-05 | 0.54 | 0.02 | YES
L-SORBOSE | C01452 | 179.0561 | 1.29 | 179.0566 | 1.38 | 179.0559 | 1.32 | 0.000536 | 2.99 | -0.000161 | -0.9 | 0.03 | YES
L-THREONINE | C00188 | 118.051 | 1.31 | 118.0515 | 1.38 | 118.051 | 1.31 | 0.00053 | 4.49 | 7e-05 | 0.6 | 0 | YES
L-TYROSINE | C00082 | 180.0666 | 1.37 | 180.0674 | 1.72 | 180.0667 | 1.66 | 0.00077 | 4.28 | 6.9e-05 | 0.38 | 0.29 | NO
Lumazine | C03212 | 163.0257 | 1.36 | 163.0252 | 1.39 | 163.0246 | 1.32 | -0.000517 | -3.17 | -0.001152 | -7.07 | -0.04 | NO
Malic acid | C00149 | 133.0143 | 1.41 | 133.0147 | 1.49 | 133.0142 | 1.42 | 0.000423 | 3.18 | -9.5e-05 | -0.71 | 0.01 | YES
MELIBIOSE | C05402 | 341.1089 | 1.24 | 341.1078 | 1.38 | 341.1064 | 1.32 | -0.001189 | -3.48 | -0.002517 | -7.38 | 0.08 | NO
MELIBIOSE | C05402 | 341.1089 | 1.24 | 341.1093 | 1.37 | 341.108 | 1.31 | 0.000377 | 1.11 | -0.000952 | -2.79 | 0.07 | YES
MELIBIOSE | C05402 | 341.1089 | 1.24 | 341.1053 | 1.38 | 341.104 | 1.32 | -0.003617 | -10.6 | -0.004945 | -14.5 | 0.08 | NO
MELIBIOSE | C05402 | 341.1089 | 1.24 | 341.1109 | 1.38 | 341.1096 | 1.31 | 0.001939 | 5.69 | 0.000611 | 1.79 | 0.07 | YES
N-ACETYL-DL-GLUTAMIC ACID | C00624 | 188.0564 | 1.39 | 188.0573 | 1.48 | 188.0565 | 1.41 | 0.000841 | 4.47 | 0.000109 | 0.58 | 0.02 | YES
N-ACETYL-DL-GLUTAMIC ACID | C00624 | 188.0564 | 1.39 | 188.0572 | 1.79 | 188.0565 | 1.72 | 0.000771 | 4.1 | 3.8e-05 | 0.2 | 0.33 | NO
N-ACETYL-DL-METHIONINE | C02712 | 190.0543 | 3.72 | 190.0548 | 3.83 | 190.054 | 3.77 | 0.000433 | 2.28 | -0.000307 | -1.62 | 0.05 | YES
N-ACETYL-D-TRYPTOPHAN | C03137 | 245.0932 | 10.29 | 245.0935 | 10.22 | 245.0926 | 10.16 | 0.000368 | 1.5 | -0.000586 | -2.39 | -0.13 | YES
N-ACETYL-L-ASPARTIC ACID | C01042 | 174.0408 | 1.57 | 174.0414 | 1.8 | 174.0407 | 1.73 | 0.000583 | 3.35 | -9.5e-05 | -0.55 | 0.16 | YES
N-ACETYL-L-ASPARTIC ACID | C01042 | 174.0408 | 1.57 | 174.0411 | 1.39 | 174.0404 | 1.33 | 0.000338 | 1.94 | -0.00034 | -1.96 | -0.24 | YES
N-ACETYL-L-LEUCINE | C02710 | 172.0979 | 9.01 | 172.0981 | 8.56 | 172.0974 | 8.5 | 0.000201 | 1.17 | -0.000469 | -2.73 | -0.51 | NO
Naringenin | C00509 | 271.0612 | 13.31 | 271.0623 | 13.28 | 271.0612 | 13.22 | 0.001076 | 3.97 | 2e-05 | 0.07 | -0.09 | YES
Naringin | C09789 | 579.1719 | 10.7 | 579.1731 | 10.7 | 579.1709 | 10.65 | 0.001194 | 2.06 | -0.001062 | -1.83 | -0.05 | YES
NICOTINATE | C00253 | 122.0247 | 1.55 | 122.0254 | 1.81 | 122.025 | 1.75 | 0.000693 | 5.68 | 0.000218 | 1.79 | 0.2 | YES
N-METHYL-L-GLUTAMATE | C01046 | 160.0615 | 1.34 | 160.062 | 1.78 | 160.0614 | 1.72 | 0.000488 | 3.05 | -0.000136 | -0.85 | 0.38 | NO
N-METHYL-L-GLUTAMATE | C01046 | 160.0615 | 1.34 | 160.062 | 1.39 | 160.0614 | 1.33 | 0.000512 | 3.2 | -0.000111 | -0.69 | -0.01 | YES
NORLEUCINE | C01933 | 130.0873 | 1.44 | 130.088 | 1.86 | 130.0874 | 1.8 | 0.000599 | 4.6 | 9.2e-05 | 0.71 | 0.36 | NO
OLEATE | C00712 | 281.2486 | 21.8 | 281.2495 | 22.16 | 281.2484 | 22.11 | 0.000916 | 3.26 | -0.000179 | -0.64 | 0.31 | YES
Oxalic acid | C00209 | 88.988 | 1.36 | 88.9886 | 1.22 | 88.9882 | 1.16 | 0.000531 | 5.97 | 0.000184 | 2.07 | -0.2 | YES
Oxalic acid | C00209 | 88.988 | 1.36 | 88.9886 | 1.78 | 88.9882 | 1.72 | 0.000517 | 5.81 | 0.000171 | 1.92 | 0.36 | NO
Oxalic acid | C00209 | 88.988 | 1.36 | 88.9886 | 1.22 | 88.9882 | 1.16 | 0.000529 | 5.94 | 0.000182 | 2.05 | -0.2 | YES
PALMITOLEIC ACID | C08362 | 253.2173 | 23.02 | 253.2183 | 23.38 | 253.2174 | 23.33 | 0.001048 | 4.14 | 6.1e-05 | 0.24 | 0.31 | YES
PHENYLACETIC ACID | C07086 | 135.0452 | 3.82 | 135.0459 | 3.74 | 135.0453 | 3.68 | 0.000712 | 5.27 | 0.000186 | 1.38 | -0.14 | YES
Phloroglucinol | C02183 | 125.0244 | 1.43 | 125.025 | 1.37 | 125.0245 | 1.31 | 0.000589 | 4.71 | 0.000102 | 0.82 | -0.12 | YES
PURINE | C00465 | 119.0363 | 1.38 | 119.0355 | 1.38 | 119.035 | 1.32 | -0.000829 | -6.96 | -0.001293 | -10.86 | -0.06 | NO
Pyruvic acid | C00022 | 87.0088 | 1.51 | 87.0093 | 1.44 | 87.0089 | 1.38 | 0.000487 | 5.6 | 0.000148 | 1.7 | -0.13 | YES
PYRUVIC ALDEHYDE | C00546 | 71.0139 | 1.38 | 71.0142 | 1.38 | 71.014 | 1.32 | 0.000389 | 5.48 | 0.000113 | 1.59 | -0.06 | YES
PYRUVIC ALDEHYDE | C00546 | 71.0139 | 1.38 | 71.0142 | 1.42 | 71.014 | 1.36 | 0.000387 | 5.45 | 0.00011 | 1.55 | -0.02 | YES
Quercitin | C00389 | 301.0354 | 12.41 | 301.0364 | 12.3 | 301.0352 | 12.24 | 0.000963 | 3.2 | -0.00021 | -0.7 | -0.17 | YES
QUINATE | C00296 | 191.0561 | 1.57 | 191.0568 | 1.67 | 191.056 | 1.61 | 0.000649 | 3.39 | -9.6e-05 | -0.5 | 0.04 | YES
QUINATE | C00296 | 191.0561 | 1.57 | 191.0566 | 1.49 | 191.0559 | 1.42 | 0.000529 | 2.77 | -0.000215 | -1.12 | -0.15 | YES
Mevalonic Acid | C00418 | 147.0663 | 1.78 | 147.0667 | 2 | 147.0662 | 1.94 | 0.000411 | 2.79 | -0.000162 | -1.1 | 0.16 | YES
Mevalonic Acid | C00418 | 147.0663 | 1.78 | 147.0665 | 1.38 | 147.0659 | 1.31 | 0.000168 | 1.15 | -0.000404 | -2.75 | -0.47 | NO
SALICYLATE | C00805 | 137.0244 | 11.39 | 137.025 | 11.51 | 137.0245 | 11.46 | 0.000585 | 4.27 | 5.2e-05 | 0.38 | 0.07 | YES
SALICYLATE | C00805 | 137.0244 | 11.39 | 137.025 | 11.34 | 137.0245 | 11.28 | 0.000633 | 4.62 | 9.9e-05 | 0.73 | -0.11 | YES
Saponarin | C08064 | 593.1512 | 9.06 | 593.1511 | 9.35 | 593.1488 | 9.29 | -0.000109 | -0.18 | -0.002419 | -4.08 | 0.23 | YES
Sinapic acid | C00482 | 223.0612 | 10 | 223.0616 | 10.21 | 223.0607 | 10.15 | 0.000341 | 1.53 | -0.000528 | -2.37 | 0.15 | YES
Sinapic acid | C00482 | 223.0612 | 10 | 223.0613 | 10.4 | 223.0604 | 10.35 | 6.9e-05 | 0.31 | -0.0008 | -3.59 | 0.35 | YES
Sinapic acid | C00482 | 223.0612 | 10 | 223.0616 | 9.87 | 223.0607 | 9.81 | 0.000325 | 1.46 | -0.000544 | -2.44 | -0.19 | YES
SUBERIC ACID | C08278 | 173.0819 | 9.84 | 173.0823 | 9.78 | 173.0817 | 9.72 | 0.000417 | 2.41 | -0.000258 | -1.49 | -0.12 | YES
SUCCINATE SEMIALDEHYDE | C00232 | 101.0244 | 1.79 | 101.0249 | 1.52 | 101.0245 | 1.45 | 0.000431 | 4.27 | 3.8e-05 | 0.37 | -0.34 | NO
SUCCINATE SEMIALDEHYDE | C00232 | 101.0244 | 1.79 | 101.0249 | 1.41 | 101.0245 | 1.35 | 0.000458 | 4.53 | 6.4e-05 | 0.64 | -0.44 | NO
SUCCINATE SEMIALDEHYDE | C00232 | 101.0244 | 1.79 | 101.0248 | 1.37 | 101.0245 | 1.3 | 0.000425 | 4.21 | 3.1e-05 | 0.31 | -0.49 | NO
SUCCINATE | C00042 | 117.0193 | 1.88 | 117.02 | 1.86 | 117.0196 | 1.8 | 0.000706 | 6.03 | 0.00025 | 2.14 | -0.08 | YES
THYMIDINE | C00214 | 241.083 | 1.96 | 241.084 | 1.99 | 241.0831 | 1.92 | 0.001041 | 4.32 | 0.000102 | 0.42 | -0.04 | YES
Tryptophan | C00078 | 203.0826 | 3.5 | 203.0833 | 3.67 | 203.0825 | 3.61 | 0.000736 | 3.63 | -5.5e-05 | -0.27 | 0.11 | YES
URATE | C00366 | 167.0211 | 1.39 | 167.0216 | 1.46 | 167.0209 | 1.4 | 0.000521 | 3.12 | -0.000129 | -0.78 | 0.01 | YES
URATE | C00366 | 167.0211 | 1.39 | 167.0216 | 1.78 | 167.0209 | 1.72 | 0.00051 | 3.06 | -0.00014 | -0.84 | 0.33 | NO
URIDINE 5'-DIPHOSPHOGLUCOSE | C00029 | 565.0477 | 1.68 | 565.048 | 1.68 | 565.0458 | 1.62 | 0.000282 | 0.5 | -0.001919 | -3.4 | -0.06 | YES
URIDINE 5'-DIPHOSPHOGLUCOSE | C00029 | 565.0477 | 1.68 | 565.0438 | 1.37 | 565.0416 | 1.31 | -0.003927 | -6.95 | -0.006128 | -10.84 | -0.37 | NO
URIDINE 5'-DIPHOSPHOGLUCOSE | C00029 | 565.0477 | 1.68 | 565.0452 | 1.63 | 565.043 | 1.57 | -0.002561 | -4.53 | -0.004762 | -8.43 | -0.11 | NO
URIDINE 5'-DIPHOSPHOGLUCOSE | C00029 | 565.0477 | 1.68 | 565.0553 | 1.61 | 565.053 | 1.55 | 0.007499 | 13.27 | 0.005298 | 9.38 | -0.13 | NO
URIDINE | C00299 | 243.0623 | 1.37 | 243.0632 | 1.78 | 243.0622 | 1.72 | 0.00089 | 3.66 | -5.7e-05 | -0.23 | 0.35 | NO
Zeatin | C00371 | 218.1047 | 2.06 | 218.1045 | 2.39 | 218.1036 | 2.32 | -0.000274 | -1.25 | -0.001123 | -5.15 | 0.26 | YES
POSITIVE IONIZATION MODE
|  | Library |  | LC-MS analyses |  | Calibrated |  | Matching Error Before calibration |  | Matching Error After calibration
Compound name | KEGG ID | m/z | RT | m/z | RT | m/z | RT | m/z | PPM | m/z | PPM | RT | ID match Filtering pass*
(S)-1-PHENYLETHANOL | C07112 | 123.0804 | 11.9 | 123.0797 | 12.15 | 123.0804 | 12.2 | -0.0008 | -6.47 | -5e-05 | -0.41 | 0.3 | YES
1,2 Phenylenediamine | C14402 | 109.076 | 1.35 | 109.0753 | 1.46 | 109.076 | 1.33 | -0.00069 | -6.31 | -3e-05 | -0.26 | -0.02 | YES
1-AMINOCYCLOPROPANE-1-CARBOXYLATE | C01234 | 102.055 | 1.29 | 102.0544 | 1.46 | 102.055 | 1.33 | -0.0006 | -5.92 | 1e-05 | 0.14 | 0.04 | YES
2,6-DIHYDROXYPYRIDINE | C03056 | 112.0393 | 1.41 | 112.0386 | 1.47 | 112.0393 | 1.35 | -0.00071 | -6.37 | -4e-05 | -0.32 | -0.06 | YES
2,6-DIHYDROXYPYRIDINE | C03056 | 112.0393 | 1.41 | 112.0386 | 1.82 | 112.0393 | 1.7 | -0.00066 | -5.91 | 2e-05 | 0.14 | 0.29 | NO
2-AMINOPHENOL | C01987 | 110.06 | 1.39 | 110.0593 | 1.51 | 110.06 | 1.39 | -0.0007 | -6.33 | -3e-05 | -0.28 | 0 | YES
2-DEOXY-D-GLUCOSE | C00586 | 165.0758 | 1.35 | 165.0764 | 1.35 | 165.0774 | 1.22 | 0.00061 | 3.72 | 0.00161 | 9.78 | -0.13 | NO
2-HYDROXYPHENYLACETIC ACID | C05852 | 153.0546 | 8.82 | 153.0536 | 8.84 | 153.0545 | 8.83 | -0.001 | -6.57 | -8e-05 | -0.51 | 0.01 | YES
2-HYDROXYPYRIDINE | C02502 | 96.0444 | 1.39 | 96.0437 | 1.45 | 96.0443 | 1.33 | -0.00065 | -6.73 | -6e-05 | -0.67 | -0.06 | YES
2-HYDROXYPYRIDINE | C02502 | 96.0444 | 1.39 | 96.0437 | 1.79 | 96.0443 | 1.67 | -0.00067 | -6.98 | -9e-05 | -0.93 | 0.28 | NO
3-(2-HYDROXYPHENYL)PROPANOATE | C01198 | 167.0703 | 10.74 | 167.0717 | 10.92 | 167.0727 | 10.95 | 0.00144 | 8.6 | 0.00245 | 14.65 | 0.21 | NO
3-HYDROXY-3-METHYLGLUTARATE | C03761 | 163.0601 | 1.85 | 163.0592 | 1.44 | 163.0601 | 1.32 | -0.00095 | -5.85 | 3e-05 | 0.2 | -0.53 | NO
3-HYDROXY-3-METHYLGLUTARATE | C03761 | 163.0601 | 1.85 | 163.0592 | 1.82 | 163.0602 | 1.7 | -0.00094 | -5.74 | 5e-05 | 0.31 | -0.15 | YES
3-HYDROXYPHENYLACETATE | C05593 | 153.0546 | 7.74 | 153.0537 | 8.06 | 153.0546 | 8.04 | -0.00093 | -6.05 | 0 | 0 | 0.3 | YES
3-METHYL-2-OXINDOLE | CA1325 | 148.0757 | 11.21 | 148.0747 | 11 | 148.0756 | 11.03 | -0.00097 | -6.53 | -7e-05 | -0.48 | -0.18 | YES
4-ACETAMIDOBUTANOATE | C02946 | 146.0812 | 1.38 | 146.0803 | 1.46 | 146.0812 | 1.33 | -0.00088 | -6.05 | 0 | 0 | -0.05 | YES
4-AMINOBUTANOATE | C00334 | 104.0706 | 1.25 | 104.07 | 1.42 | 104.0706 | 1.3 | -0.00062 | -5.98 | 1e-05 | 0.07 | 0.05 | YES
4-GUANIDINOBUTANOATE | C01035 | 146.0924 | 1.32 | 146.0916 | 1.46 | 146.0925 | 1.34 | -0.00084 | -5.78 | 4e-05 | 0.27 | 0.02 | YES
4-HYDROXY-L-PHENYLGLYCINE | CA1445 | 168.0655 | 1.35 | 168.0645 | 1.45 | 168.0656 | 1.32 | -0.00099 | -5.86 | 3e-05 | 0.19 | -0.03 | YES
4-PYRIDOXATE | C00847 | 184.0604 | 1.37 | 184.0593 | 1.8 | 184.0604 | 1.68 | -0.00118 | -6.42 | -7e-05 | -0.36 | 0.31 | NO
5,6-DIHYDROURACIL | C00429 | 115.0502 | 1.36 | 115.0495 | 1.46 | 115.0502 | 1.34 | -0.0007 | -6.12 | -1e-05 | -0.06 | -0.02 | YES
5,6-DIHYDROURACIL | C00429 | 115.0502 | 1.36 | 115.0495 | 1.77 | 115.0502 | 1.66 | -0.00069 | -5.98 | 1e-05 | 0.07 | 0.3 | NO
5-AMINOLEVULINIC ACID | C00430 | 132.0655 | 1.26 | 132.0647 | 1.47 | 132.0655 | 1.34 | -0.00084 | -6.39 | -4e-05 | -0.34 | 0.08 | YES
5-HYDROXY-L-TRYPTOPHAN | C01017 | 221.0921 | 1.4 | 221.0939 | 1.8 | 221.0952 | 1.68 | 0.00181 | 8.19 | 0.00315 | 14.25 | 0.28 | NO
5'-METHYLTHIOADENOSINE | C00170 | 298.0968 | 2.86 | 298.0952 | 2.88 | 298.097 | 2.78 | -0.00161 | -5.41 | 0.00019 | 0.64 | -0.08 | YES
6-HYDROXYNICOTINATE | C01020 | 140.0342 | 1.39 | 140.0333 | 1.82 | 140.0341 | 1.7 | -0.00094 | -6.74 | -0.0001 | -0.69 | 0.31 | NO
6-HYDROXYNICOTINATE | C01020 | 140.0342 | 1.39 | 140.0334 | 1.5 | 140.0342 | 1.37 | -0.00085 | -6.04 | 0 | 0.01 | -0.02 | YES
6-Phosphogluconic acid | C00345 | 277.0319 | 1.55 | 277.0307 | 1.49 | 277.0324 | 1.37 | -0.00117 | -4.22 | 0.00051 | 1.83 | -0.18 | YES
ACETOACETATE | C00164 | 103.039 | 1.82 | 103.0384 | 1.44 | 103.039 | 1.32 | -0.00058 | -5.64 | 4e-05 | 0.41 | -0.5 | NO
ACETOACETATE | C00164 | 103.039 | 1.82 | 103.0383 | 1.82 | 103.0389 | 1.7 | -0.00064 | -6.23 | -2e-05 | -0.18 | -0.12 | YES
ADENINE | C00147 | 136.0618 | 1.35 | 136.0609 | 1.44 | 136.0617 | 1.32 | -0.00091 | -6.68 | -9e-05 | -0.62 | -0.03 | YES
ADENINE | C00147 | 136.0618 | 1.35 | 136.0608 | 1.78 | 136.0616 | 1.66 | -0.00096 | -7.05 | -0.00014 | -1 | 0.31 | NO
ADENOSINE 5'-MONOPHOSPHATE | C00020 | 348.0704 | 1.49 | 348.0704 | 1.45 | 348.0725 | 1.33 | 0 | -0.01 | 0.0021 | 6.05 | -0.16 | NO
ADENOSINE | C00212 | 268.104 | 1.38 | 268.1031 | 1.47 | 268.1047 | 1.35 | -0.00096 | -3.57 | 0.00067 | 2.48 | -0.03 | YES
ADENOSINE | C00212 | 268.104 | 1.38 | 268.103 | 1.78 | 268.1046 | 1.67 | -0.00103 | -3.85 | 0.00059 | 2.2 | 0.29 | NO
AGMATINE SULFATE | C00179 | 131.1291 | 1.22 | 131.1283 | 1.35 | 131.1291 | 1.22 | -0.0008 | -6.11 | -1e-05 | -0.06 | 0 | YES
ALLANTOIN | C01551 | 159.0513 | 1.36 | 159.0503 | 1.46 | 159.0512 | 1.33 | -0.00099 | -6.24 | -3e-05 | -0.19 | -0.03 | YES
ALPHA-AMINOADIPATE | C00956 | 162.0761 | 1.34 | 162.0751 | 1.46 | 162.0761 | 1.33 | -0.00099 | -6.08 | -1e-05 | -0.03 | -0.01 | YES
ALPHA-AMINOADIPATE | C00956 | 162.0761 | 1.34 | 162.0751 | 1.77 | 162.0761 | 1.65 | -0.00095 | -5.84 | 3e-05 | 0.21 | 0.31 | NO
ALPHA-D-GLUCOSE 1-PHOSPHATE | C00103 | 261.037 | 1.54 | 261.0362 | 1.48 | 261.0378 | 1.36 | -0.00082 | -3.14 | 0.00076 | 2.92 | -0.18 | YES
Aniline | C00292 | 94.0651 | 1.93 | 94.0645 | 1.74 | 94.065 | 1.62 | -0.00066 | -7 | -9e-05 | -0.95 | -0.31 | NO
ASCORBATE | C00072 | 177.0394 | 1.36 | 177.0384 | 1.48 | 177.0395 | 1.35 | -0.00097 | -5.5 | 0.0001 | 0.55 | -0.01 | YES
ASPARTATE | C00049 | 134.0448 | 1.41 | 134.0439 | 1.43 | 134.0447 | 1.31 | -0.00091 | -6.83 | -0.0001 | -0.77 | -0.1 | YES
BETA-ALANINE | C00099 | 90.055 | 1.28 | 90.0543 | 1.4 | 90.0548 | 1.28 | -0.0007 | -7.74 | -0.00015 | -1.68 | 0 | YES
CAFFEINE | C07481 | 195.0877 | 4.9 | 195.0887 | 4.58 | 195.0899 | 4.51 | 0.00108 | 5.52 | 0.00226 | 11.57 | -0.39 | NO
Catechin | C06562 | 291.0863 | 1.47 | 291.0833 | 1.5 | 291.0851 | 1.38 | -0.00296 | -10.15 | -0.00119 | -4.1 | -0.09 | YES
Chlorogenic acid | C00852 | 355.1024 | 5 | 355.1007 | 4.87 | 355.1029 | 4.8 | -0.00166 | -4.67 | 0.00049 | 1.38 | -0.2 | YES
Cytidine | C00475 | 244.0928 | 1.29 | 244.0916 | 1.46 | 244.0931 | 1.33 | -0.00123 | -5.03 | 0.00025 | 1.02 | 0.04 | YES
CYTOSINE | C00380 | 112.0505 | 1.26 | 112.0498 | 1.41 | 112.0505 | 1.29 | -0.00073 | -6.52 | -5e-05 | -0.46 | 0.03 | YES
DEHYDROASCORBATE | C05422 | 175.0237 | 1.39 | 175.0227 | 1.71 | 175.0238 | 1.59 | -0.00099 | -5.66 | 7e-05 | 0.39 | 0.2 | YES
D-MANNOSAMINE | C03570 | 180.0866 | 1.21 | 180.0856 | 1.42 | 180.0867 | 1.3 | -0.00106 | -5.9 | 3e-05 | 0.15 | 0.09 | YES
D-ORNITHINE | C00515 | 133.0971 | 1.24 | 133.0962 | 1.27 | 133.097 | 1.14 | -0.00091 | -6.81 | -0.0001 | -0.76 | -0.1 | YES
Epigallocatechin | C12136 | 307.0813 | 1.44 | 307.0792 | 1.49 | 307.0811 | 1.37 | -0.00208 | -6.78 | -0.00023 | -0.73 | -0.07 | YES
Epigallocatechin | C12136 | 307.0813 | 1.44 | 307.0829 | 1.79 | 307.0847 | 1.67 | 0.0016 | 5.21 | 0.00346 | 11.27 | 0.23 | NO
Epigallocatechin | C12136 | 307.0813 | 1.44 | 307.0826 | 1.46 | 307.0844 | 1.34 | 0.00129 | 4.21 | 0.00315 | 10.26 | -0.1 | NO
ETHANOLAMINE PHOSPHATE | C00346 | 142.0264 | 1.39 | 142.0256 | 1.39 | 142.0264 | 1.26 | -0.00083 | -5.87 | 3e-05 | 0.18 | -0.13 | YES
FERULATE | C01494 | 195.0652 | 10.14 | 195.0639 | 9.89 | 195.0651 | 9.9 | -0.00125 | -6.41 | -7e-05 | -0.35 | -0.24 | YES
FERULATE | C01494 | 195.0652 | 10.14 | 195.0639 | 10.44 | 195.0651 | 10.46 | -0.00126 | -6.48 | -8e-05 | -0.42 | 0.32 | YES
Fisetin | C10041 | 287.055 | 10.13 | 287.0534 | 10.43 | 287.0551 | 10.45 | -0.00159 | -5.54 | 0.00015 | 0.52 | 0.32 | YES
Gallic acid | C01424 | 171.0288 | 1.67 | 171.0278 | 1.47 | 171.0288 | 1.35 | -0.00099 | -5.8 | 4e-05 | 0.25 | -0.32 | NO
GAMMA-LINOLENIC ACID | C06426 | 279.2319 | 19.34 | 279.2301 | 19.14 | 279.2318 | 19.3 | -0.00177 | -6.34 | -8e-05 | -0.29 | -0.04 | YES
Glutamic acid | C00025 | 148.0605 | 1.29 | 148.0595 | 1.43 | 148.0604 | 1.3 | -0.00102 | -6.88 | -0.00012 | -0.83 | 0.01 | YES
GLUTARATE | C00489 | 133.0495 | 1.78 | 133.0487 | 1.45 | 133.0495 | 1.32 | -0.00089 | -6.67 | -8e-05 | -0.61 | -0.46 | NO
Gluthathione reduced | C00051 | 308.0911 | 1.35 | 308.0903 | 1.66 | 308.0922 | 1.54 | -0.00079 | -2.56 | 0.00108 | 3.49 | 0.19 | YES
Gluthathione reduced | C00051 | 308.0911 | 1.35 | 308.0877 | 1.49 | 308.0895 | 1.37 | -0.0034 | -11.05 | -0.00154 | -5 | 0.02 | YES
Glycine | C00037 | 76.0393 | 1.31 | 76.0387 | 1.5 | 76.0391 | 1.38 | -0.00062 | -8.21 | -0.00016 | -2.16 | 0.07 | YES
GUANINE | C00242 | 152.0567 | 1.33 | 152.0557 | 1.46 | 152.0566 | 1.34 | -0.00097 | -6.4 | -5e-05 | -0.35 | 0.01 | YES
GUANOSINE | C00387 | 284.099 | 1.36 | 284.0985 | 1.78 | 284.1002 | 1.66 | -0.00048 | -1.68 | 0.00124 | 4.37 | 0.3 | NO
HISTAMINE | C00388 | 112.0869 | 1.3 | 112.0862 | 1.28 | 112.0868 | 1.15 | -0.00076 | -6.76 | -8e-05 | -0.71 | -0.15 | YES
HOMOGENTISATE | C00544 | 169.0495 | 2.51 | 169.0484 | 2.18 | 169.0495 | 2.07 | -0.00111 | -6.55 | -8e-05 | -0.5 | -0.44 | NO
Homoorientin | C01821 | 449.1079 | 9.21 | 449.1051 | 8.84 | 449.1078 | 8.84 | -0.00281 | -6.25 | -9e-05 | -0.2 | -0.37 | NO
Homoorientin | C01821 | 449.1079 | 9.21 | 449.105 | 9.36 | 449.1077 | 9.37 | -0.00292 | -6.51 | -0.00021 | -0.46 | 0.16 | YES
Hypoxanthine | C00262 | 137.0458 | 1.4 | 137.0448 | 1.75 | 137.0457 | 1.64 | -0.00094 | -6.86 | -0.00011 | -0.81 | 0.24 | YES
Jasmonic acid | C08491 | 211.1329 | 13.47 | 211.1318 | 13.44 | 211.1331 | 13.51 | -0.00108 | -5.11 | 0.0002 | 0.94 | 0.04 | YES
L-2,3-DIAMINOPROPIONIC ACID | C03401 | 105.0658 | 1.27 | 105.0666 | 1.42 | 105.0673 | 1.3 | 0.00078 | 7.41 | 0.00141 | 13.47 | 0.03 | NO
L-ARGININE | C00062 | 175.119 | 1.25 | 175.1179 | 1.28 | 175.119 | 1.15 | -0.00104 | -5.93 | 2e-05 | 0.12 | -0.1 | YES
L-ASPARAGINE | C00152 | 133.0608 | 1.31 | 133.0598 | 1.41 | 133.0606 | 1.28 | -0.00098 | -7.34 | -0.00017 | -1.29 | -0.03 | YES
L-ASPARAGINE | C00152 | 133.0608 | 1.31 | 133.0597 | 1.73 | 133.0605 | 1.61 | -0.00107 | -8.02 | -0.00026 | -1.97 | 0.3 | NO
LEUCINE | C16439 | 132.1019 | 1.37 | 132.1011 | 1.81 | 132.1019 | 1.7 | -0.00085 | -6.44 | -5e-05 | -0.38 | 0.33 | NO
L-GLUTAMINE | C00064 | 147.0764 | 1.32 | 147.0755 | 1.41 | 147.0764 | 1.29 | -0.00092 | -6.25 | -3e-05 | -0.2 | -0.03 | YES
L-HISTIDINE | C00135 | 156.0768 | 1.26 | 156.0758 | 1.28 | 156.0767 | 1.15 | -0.00096 | -6.12 | -1e-05 | -0.07 | -0.11 | YES
LL-2,6-DIAMINOHEPTANEDIOATE | C00666 | 191.1026 | 1.31 | 191.1016 | 1.43 | 191.1027 | 1.31 | -0.00108 | -5.66 | 7e-05 | 0.39 | 0 | YES
L-LYSINE | C16440 | 147.1128 | 1.23 | 147.1119 | 1.27 | 147.1128 | 1.14 | -0.00093 | -6.34 | -4e-05 | -0.29 | -0.09 | YES
L-METHIONINE | C01733 | 150.0583 | 1.37 | 150.0574 | 1.76 | 150.0583 | 1.64 | -0.00096 | -6.39 | -5e-05 | -0.33 | 0.27 | NO
L-PHENYLALANINE | C00079 | 166.0863 | 2.15 | 166.0853 | 2.3 | 166.0863 | 2.19 | -0.00095 | -5.72 | 6e-05 | 0.33 | 0.04 | YES
L-PIPECOLIC ACID | C00408 | 130.0863 | 1.35 | 130.0854 | 1.46 | 130.0862 | 1.33 | -0.00082 | -6.27 | -3e-05 | -0.22 | -0.02 | YES
L-PIPECOLIC ACID | C00408 | 130.0863 | 1.35 | 130.0856 | 1.77 | 130.0864 | 1.65 | -0.0007 | -5.35 | 9e-05 | 0.7 | 0.3 | NO
L-PROLINE | C00148 | 116.0706 | 1.35 | 116.0699 | 1.44 | 116.0706 | 1.31 | -0.00071 | -6.15 | -1e-05 | -0.09 | -0.04 | YES
L-SERINE | C00065 | 106.0499 | 1.29 | 106.049 | 1.42 | 106.0496 | 1.29 | -0.00086 | -8.12 | -0.00022 | -2.07 | 0 | YES
L-THREONINE | C00188 | 120.0655 | 1.31 | 120.0648 | 1.42 | 120.0655 | 1.29 | -0.00076 | -6.31 | -3e-05 | -0.26 | -0.02 | YES
L-TYROSINE | C00082 | 182.0812 | 1.37 | 182.0801 | 1.78 | 182.0812 | 1.67 | -0.00111 | -6.07 | 0 | -0.02 | 0.3 | NO
LUMICHROME | C01727 | 243.0877 | 11.03 | 243.086 | 10.8 | 243.0875 | 10.83 | -0.00162 | -6.65 | -0.00014 | -0.59 | -0.2 | YES
Luteolin | C01514 | 287.055 | 12.36 | 287.0534 | 12.04 | 287.0552 | 12.09 | -0.00155 | -5.4 | 0.00019 | 0.65 | -0.27 | YES
MALEAMATE | C01596 | 116.0342 | 1.44 | 116.0335 | 1.44 | 116.0342 | 1.31 | -0.00074 | -6.4 | -4e-05 | -0.35 | -0.13 | YES
Methyleugenol | C10454 | 179.1067 | 16.1 | 179.1056 | 16 | 179.1067 | 16.11 | -0.00108 | -6.05 | 0 | 0 | 0.01 | YES
METHYLMALONATE | C02170 | 119.0339 | 1.99 | 119.0333 | 2.25 | 119.034 | 2.14 | -0.00057 | -4.8 | 0.00015 | 1.25 | 0.15 | YES
MEVALOLACTONE | CA1383 | 131.0703 | 1.37 | 131.0694 | 1.5 | 131.0702 | 1.38 | -0.00088 | -6.73 | -9e-05 | -0.68 | 0.01 | YES
N-ACETYL-DL-GLUTAMIC ACID | C00624 | 190.071 | 1.77 | 190.07 | 1.99 | 190.0711 | 1.87 | -0.00105 | -5.51 | 0.0001 | 0.54 | 0.1 | YES
N-ACETYLGLYCINE | CA1212 | 118.0499 | 1.55 | 118.0492 | 1.9 | 118.0499 | 1.79 | -0.00069 | -5.84 | 2e-05 | 0.21 | 0.24 | YES
N-ACETYL-L-ASPARTIC ACID | C01042 | 176.0554 | 1.57 | 176.0543 | 1.78 | 176.0554 | 1.67 | -0.00104 | -5.9 | 3e-05 | 0.15 | 0.1 | YES
N-ACETYL-L-LEUCINE | C02710 | 174.1125 | 9.01 | 174.1114 | 8.57 | 174.1124 | 8.56 | -0.00108 | -6.2 | -3e-05 | -0.15 | -0.45 | NO
N-ACETYLPUTRESCINE | C02714 | 131.1179 | 1.27 | 131.117 | 1.44 | 131.1178 | 1.31 | -0.00093 | -7.06 | -0.00013 | -1 | 0.04 | YES
NEPSILON,NEPSILON,NEPSILON-TRIMETHYLLYSINE | C03793 | 189.1598 | 1.3 | 189.1587 | 1.35 | 189.1598 | 1.22 | -0.00107 | -5.64 | 8e-05 | 0.41 | -0.08 | YES
NICOTINAMIDE | C00153 | 123.0553 | 1.36 | 123.0545 | 1.45 | 123.0553 | 1.32 | -0.00079 | -6.39 | -4e-05 | -0.33 | -0.04 | YES
NICOTINAMIDE | C00153 | 123.0553 | 1.36 | 123.0546 | 1.78 | 123.0553 | 1.66 | -0.0007 | -5.67 | 5e-05 | 0.38 | 0.3 | NO
NORADRENALINE | C00547 | 170.0812 | 1.29 | 170.0802 | 1.48 | 170.0812 | 1.36 | -0.00098 | -5.76 | 5e-05 | 0.29 | 0.07 | YES
O-PHOSPHO-L-SERINE | C01005 | 186.0162 | 1.54 | 186.0151 | 1.39 | 186.0162 | 1.26 | -0.00114 | -6.14 | -2e-05 | -0.09 | -0.28 | NO
PALMITOLEIC ACID | C08362 | 255.2319 | 23.02 | 255.2301 | 22.98 | 255.2316 | 23.2 | -0.00181 | -7.08 | -0.00026 | -1.03 | 0.18 | YES
PANTOLACTONE | C01012 | 131.0703 | 1.96 | 131.0696 | 1.87 | 131.0704 | 1.76 | -0.00066 | -5.06 | 0.00013 | 1 | -0.2 | YES
Phloroglucinol | C02183 | 127.039 | 1.43 | 127.0383 | 1.78 | 127.039 | 1.67 | -0.00072 | -5.63 | 5e-05 | 0.42 | 0.24 | YES
Phloroglucinol | C02183 | 127.039 | 1.43 | 127.0382 | 1.44 | 127.039 | 1.32 | -0.00074 | -5.85 | 3e-05 | 0.2 | -0.11 | YES
Phloroglucinol | C02183 | 127.039 | 1.87 | 127.0382 | 2.31 | 127.039 | 2.2 | -0.00076 | -6.02 | 0 | 0.03 | 0.33 | NO
PICOLINIC ACID | C10164 | 124.0393 | 1.35 | 124.0386 | 1.59 | 124.0393 | 1.47 | -0.00076 | -6.1 | -1e-05 | -0.05 | 0.12 | YES
Quercitin | C00389 | 303.05 | 12.41 | 303.0481 | 12.23 | 303.05 | 12.28 | -0.00184 | -6.07 | 0 | -0.01 | -0.13 | YES
RIBOFLAVIN | C00255 | 377.1456 | 8.29 | 377.1442 | 7.87 | 377.1465 | 7.85 | -0.00132 | -3.49 | 0.00097 | 2.56 | -0.44 | NO
RS-Mevalonic Acid Lithium Salt | C00418 | 149.0809 | 1.78 | 149.0796 | 1.43 | 149.0805 | 1.31 | -0.00123 | -8.26 | -0.00033 | -2.21 | -0.47 | NO
RS-Mevalonic Acid Lithium Salt | C00418 | 149.0809 | 1.78 | 149.0799 | 1.91 | 149.0808 | 1.79 | -0.00102 | -6.81 | -0.00011 | -0.76 | 0.01 | YES
SALICYLATE | C00805 | 139.039 | 11.39 | 139.0381 | 11.41 | 139.0389 | 11.44 | -0.00087 | -6.27 | -3e-05 | -0.22 | 0.05 | YES
Saponarin | C08064 | 595.1658 | 9.06 | 595.162 | 9.31 | 595.1656 | 9.31 | -0.00379 | -6.37 | -0.00019 | -0.31 | 0.25 | YES
Sinapic acid | C00482 | 225.0758 | 10 | 225.0744 | 9.96 | 225.0757 | 9.97 | -0.00142 | -6.29 | -5e-05 | -0.24 | -0.03 | YES
SPERMIDINE | C00315 | 146.1652 | 1.7 | 146.1643 | 1.27 | 146.1652 | 1.15 | -0.00087 | -5.92 | 2e-05 | 0.13 | -0.55 | NO
SPERMIDINE | C00315 | 146.1652 | 1.7 | 146.1643 | 1.83 | 146.1652 | 1.71 | -0.00088 | -6.05 | 0 | 0 | 0.01 | YES
SPHINGANINE | C00836 | 302.3054 | 17.66 | 302.3035 | 17.68 | 302.3054 | 17.82 | -0.00183 | -6.05 | 0 | 0 | 0.16 | YES
SUCCINATE | C00042 | 119.0339 | 1.41 | 119.0344 | 1.46 | 119.0351 | 1.34 | 0.00046 | 3.85 | 0.00118 | 9.9 | -0.07 | NO
SUCCINATE | C00042 | 119.0339 | 1.41 | 119.0342 | 1.78 | 119.0349 | 1.66 | 0.00028 | 2.33 | 0.001 | 8.38 | 0.25 | NO
SUCCINATE | C00042 | 119.0339 | 1.41 | 119.0332 | 1.82 | 119.034 | 1.7 | -0.00064 | -5.37 | 8e-05 | 0.68 | 0.29 | NO
SUCCINATE | C00042 | 119.0339 | 1.41 | 119.0332 | 1.44 | 119.0339 | 1.32 | -0.0007 | -5.88 | 2e-05 | 0.17 | -0.09 | YES
Syringaldehyde |  | 183.0653 | 9.42 | 183.0637 | 9.34 | 183.0648 | 9.35 | -0.00157 | -8.55 | -0.00046 | -2.5 | -0.07 | YES
THYMIDINE | C00214 | 243.0976 | 1.93 | 243.0965 | 1.84 | 243.098 | 1.72 | -0.00105 | -4.32 | 0.00042 | 1.73 | -0.21 | YES
THYMINE | C00178 | 127.0502 | 1.83 | 127.0495 | 1.94 | 127.0502 | 1.83 | -0.00074 | -5.81 | 3e-05 | 0.24 | 0 | YES
TRIMETHYLAMINE | C00565 | 60.0808 | 1.28 | 60.0802 | 1.4 | 60.0806 | 1.27 | -0.00056 | -9.26 | -0.00019 | -3.21 | -0.01 | YES
Tryptophan | C00078 | 205.0971 | 3.5 | 205.096 | 3.66 | 205.0973 | 3.57 | -0.0011 | -5.38 | 0.00014 | 0.67 | 0.07 | YES
Umbelliferone | C09315 | 163.039 | 9.63 | 163.0378 | 9.28 | 163.0387 | 9.29 | -0.00122 | -7.45 | -0.00023 | -1.4 | -0.34 | NO
Umbelliferone | C09315 | 163.039 | 9.63 | 163.0394 | 9.53 | 163.0404 | 9.53 | 0.0004 | 2.45 | 0.00139 | 8.5 | -0.1 | NO
URACIL | C00106 | 113.0346 | 1.37 | 113.0338 | 1.48 | 113.0345 | 1.35 | -0.00072 | -6.33 | -3e-05 | -0.28 | -0.02 | YES
URACIL | C00106 | 113.0346 | 1.37 | 113.0339 | 1.78 | 113.0346 | 1.67 | -0.00069 | -6.09 | 0 | -0.04 | 0.3 | NO
URATE | C00366 | 169.0356 | 1.39 | 169.0346 | 1.48 | 169.0357 | 1.36 | -0.00099 | -5.89 | 3e-05 | 0.17 | -0.03 | YES
URIDINE | C00299 | 245.0768 | 1.37 | 245.076 | 1.73 | 245.0775 | 1.61 | -0.00084 | -3.44 | 0.00064 | 2.61 | 0.24 | YES
Vitexin | C01460 | 433.1129 | 9.85 | 433.1107 | 9.8 | 433.1133 | 9.82 | -0.00218 | -5.03 | 0.00044 | 1.02 | -0.03 | YES
XANTHINE | C00385 | 153.0407 | 1.36 | 153.0398 | 1.78 | 153.0407 | 1.66 | -0.00094 | -6.15 | -2e-05 | -0.1 | 0.3 | NO
XANTHURENIC ACID | C02470 | 206.0448 | 3.36 | 206.0437 | 3.19 | 206.045 | 3.09 | -0.00105 | -5.1 | 0.0002 | 0.95 | -0.27 | YES
Zeatin | C00371 | 220.1193 | 2.08 | 220.1167 | 2.36 | 220.118 | 2.25 | -0.00258 | -11.7 | -0.00124 | -5.65 | 0.17 | YES